SUPPLEMENTAL INFORMATION FOR IN STREAM USE
Information requirements for the installation of an in-stream micro-turbine to generate electricity.  

· Location, include photos of area.

· Design Drawing of the site

· Plan showing length, height and cross section of channel 

· General Arrangement Longitudinal Section

· Information respecting the type and composition of the materials to be used in the construction (Note: water intake should be properly screened to prevent entrainment of fish. Guidelines available upon request)

· Baseline data on the water flow of the water course and historic water levels

· Site Specific: what are the respective volumes of flow during average annual flow conditions for both channels: the channel in which turbine to be placed and the channel on the other side of island.

· Description of the existing bed channel material and cut bank stratigraphy of the water course

· Fluvial Classification study for stream stability analysis

· Description of operation and maintenance requirements 

· Site Specific: will the structure be removed (or partly removed) during the off-season? 

· Impacts to existing habitat: use impacts on spawning, nursery, rearing, and food supply or migration route (i.e. will the structure prevent the movement of fish? If so, can a fish way be incorporated into the design to allow fish passage?  What fish species use the river?)

· In water work timing restriction for cold and/or warm water fishery

· Construction sequencing (time restrictions taken into account)

· Estimated volume of any materials that will be removed and where they will be removed to

· Anticipated changes to the existing channel/shoreline morphology as a result of the proposed work

· The intended life of the undertaking

· Proposed start and completion date of in-water construction

· Monitoring, prior to, during and post construction. Please provide photos.

· Abandonment and restoration plan would be required with other regulatory instruments attached to the project. 

To be completed and filed with an application form.  If information requirements are not applicable, please explain why.

