Section 17, Page 1 – REVISED February 2003

 


17.0
CARE AND MAINTENANCE PRECAUTIONS
On-site personnel will be very limited during the care and maintenance period at Nanisivik Mine. Remaining personnel have been selected for their training, experience, knowledge of specialized systems, and ability to respond to a variety of emergency situations if they arise. 

Automated fire detection systems are operational as are the powerhouse alarm panels.  An auto dialler has been tied into the alarm system to automatically alert off duty personnel of potential problems.  The personnel receiving the automated call will then proceed to investigate the alarm and call upon the necessary personnel for assistance.  

A general town site alarm system has been set up which will activate by calling 436-7333.  After the town site alarm has been activated the auto dialler will notify employees to respond to the alarm.  

Emergency response drills are conducted at least once a month. After completion of the simulation a critical analysis of the response is undertaken to highlight what was effective and what areas need improvement.  

An emergency supply of gasoline for the Nanisivik fire truck has been secured to ensure that adequate fuel supplies will be available in case of a large fire.  The suburban has been converted into an ambulance for transporting casualties to the Arctic Bay health centre or airport for medi-vac. In addition to employees receiving fire fighting and mine rescue training, a portion of the remaining staff is receiving, or has already received, advanced first aid training and will serve as the site medical attendant.



-
NANISIVIK MINE-


Emergency Response Plan

