Section 16, Page 1 – REVISED February 2003

 


16.0 FIRE PROCEDURES

16.1
Surface Fire

All personnel at Nanisivik have received fire-fighting training and will be called upon in the event of a surface fire. During regular business hours the employee that discovers a surface fire, whether by alarm notification or visual identification, will sound the general town site alarm and make a radio announcement twice to notify all personnel of the emergency.  After regular business hours an auto-dialler connected to the alarm panel will notify the on-call powerhouse operator.  All Nanisivik residents have complete phone lists and can notify the town rapidly of an emergency.  In addition to this, all employees have been concentrated into a single group of apartments and can be quickly alerted in the event of busy/inoperable phone lines. 

As part of the emergency response training, all employees are instructed to rally to the town site garage in the event of an emergency.  Fire fighting equipment has been relocated to this location due to the closure of the building that formerly housed the Nanisivik Fire Department. Once everyone has met at the rally point, the fire chief or his designate will take control of the situation and initiate a response to the fire emergency. 

16.2
Underground Fire or Accident

While in care and maintenance there will be no personnel or equipment permitted into the underground workings of the mine.  All openings to surface have been secured to further prevent accidental entry. 

When the decision is made that re-entry of the underground areas is necessary, former fire fighting procedures will be re-evaluated and if necessary, revised.

16.3
Fire Evacuation Procedures

Dome

If you hear the fire bells or are told of a fire:

1.
If the alarm bell has not sounded advise other personnel in your area of the fire. Advise diners of the fire emergency and the need to exit the building. If possible, trip one of the pull stations to sound the fire bell.  (Located in the coatrooms of the dome exits). When the sprinklers activate they automatically sound the fire bell.

2.
Exit the dome by way of the safest nearest exit.

3.
Close but do not lock doors behind you. Feel all doors before passing through. Do not pass through hot doors – use an alternate exit.  Do not pass through smoke unnecessarily. 

4.
Proceed to Recreational Centre report for roll call. Group will then proceed to the Townsite Garage under the direction of the Fire Chief, or his designate, to initiate the fire fighting response. 

5.
Personnel who have visitors in the building are responsible to see that these people are safely evacuated.

Recreation Centre Fire Procedures

If you hear a fire alarm or told of a fire: 

1.  Advise other people in your area of fire. Check washrooms on the way out.

2.  Exit the Recreation Centre through the nearest safe exit.

3.  Close but do not lock doors behind you. Feel all doors before passing through. Do not pass through hot doors - Use an alternative exit. Do not pass through smoke unnecessarily.

4.  During Dome operating hours proceed to the Dome and await instructions from the Fire Chief. When Dome is closed, go to the residential area and notify personnel.

5.  Do a roll call to ensure everyone is accounted for.



-
NANISIVIK MINE-


Emergency Response Plan

