Section 6, Page 1 – REVISED February 2003




6.0
Response Equipment and Resources
Nanisivik Mine has a full complement of construction equipment to undertake major civil works projects. Included in this equipment list are bulldozers, loaders, graders and dump trucks. Due to its remote location, the Mine also maintains a full maintenance shop and large quantities of spare parts. Therefore, the Mine is equipped to handle most emergency repairs and cleanup without external help. The Mine has a large staff that can be made available for cleanup.

Nanisivik Mine also maintains emergency equipment for containment and cleanup of oil spills. This equipment includes absorbent pads, oil booms
, an oil skimmer and pumps. A list of this equipment is provided in Table 6.1.

Table 6.1
Inventory of Dedicated Emergency Equipment

	Equipment
	Amount in Inventory

	3M Absorbent Pads Type 156
	2,000 sheets

	3M Absorbent Pads Type 151
	1,600 sheets

	3M Absorbent Rolls Type 100
	300 feet

	Oil Absorbent Boom Type 270 
	500 feet

	Slurp Oil Skimmer
	1

	Self Priming Centrifugal Pump
	1

	1 ½” Hose (suction and discharge)
	150 feet

	¼” Rope
	200 feet

	Bentonite
	10 tonnes

	Geotextile clay liner
	150 metres x 4 metres

	Geotextile cloth
	70 metres

	Emergency Lighting
	

	Waste Fuel Tank
	


All emergency spill equipment is located at the Dock.

Table 6.2
Inventory of Non-Dedicated Emergency Equipment

	Equipment
	Amount in Inventory

	*24” Containment Boom
	1,500’

	*16’ Aluminium Boat with 25 hp Outboard Motor
	1

	*4,000 KVA Generator
	1

	*Emergency Lighting Unit
	2

	*Tool Kit
	1

	*Port-a-tank, 1,000 gal. 4 ton
	1

	*Pressure Washer
	2

	*Pump 3” SPATE
	1

	*Skimmer TDS-118
	1

	*Power Pack TDS-118
	1

	Oil Water separator
	2

	966 Loader
	3

	980 Loader
	2

	D4 Tractor
	1

	D8 Tractor
	2

	Haul Trucks
	4

	ATV
	3

	Pressure Washer
	1

	DJB Water Truck
	1

	Fire Truck
	1


*Contents of CCG Arctic Community Pack located at Nanisivik Dock.

�PAGE \# "'Page: '#'�'"  ��I’m not familiar with a piece of equipment called an oil berm.







-
NANISIVIK MINE-


Emergency Response Plan


