
DEW LINE CLEANUP:  POST-CONSTRUCTION - LANDFILL MONITORING

VISUAL INSPECTION CHECKLIST

INSPECTION REPORT – PAGE 1 OF 2

	SITE NAME:
	Cambridge Bay Cam M

	LANDFILL DESIGNATION:
	Main South

	DATE OF INSPECTION:
	August 2005

	DATE OF PREVIOUS INSPECTION:
	August 2004

	INSPECTED BY:
	Alistair Kent

	REPORT PREPARED BY:
	Alistair Kent


VISUAL INSPECTION REPORT – MAIN LANDFILL SOUTH - PAGE 2 OF 2

	Checklist Item
	Present

Yes/No
	Location

(Describe relative to existing monuments/features and relative to landfill design i.e. surface, berms, toe)
	Length
	Width
	Depth
	Extent relative to Area of Landfill (%)
	Description
	Photographic Records

Focal length,

location, view point & direction (relative to magnetic north)

Feature of note

Scale
	Additional Comments/Preliminary Stability Assessment

	Settlement
	No
	
	
	
	
	
	
	
	

	Erosion
	Yes
	Minor rills on the landfill slopes
	
	
	
	
	
	
	Self-Armoring

	Frost Action
	Yes
	Just above mid-slope bench on south slope
	
	
	
	
	
	MLFS-6
	Unchanged

	Animal Burrows
	No
	
	
	
	
	
	
	
	

	Vegetation
	Yes
	Sparse, near south corner only
	Grass and herbs
	<1°
	6 to 12” high
	
	
	
	

	Staining
	No
	
	
	
	
	
	
	
	

	Vegetation Stress
	No
	
	
	
	
	
	
	
	

	Seepage Points
	No
	Previous 2004 East side colour change not observed
	
	
	
	
	

	Debris Exposed
	No
	
	
	
	
	
	
	
	

	Presence/Condition – Monitoring Instruments
	Good
	
	
	
	
	
	
	
	

	Features of Note.
	None
	
	
	
	
	
	
	
	


S:\Projects\2005\50714 CAM-M DEW Line Monitoring\2005 CAM-M\2005 FINAL Report\Appendix B - Main Landfill-South\50714 App B1 Main South Visual Inspection Checklist10-Oct-2005.doc



