
DEW LINE CLEANUP:  POST-CONSTRUCTION - LANDFILL MONITORING

VISUAL INSPECTION CHECKLIST

INSPECTION REPORT – PAGE 1 OF 2

	SITE NAME:
	Cambridge Bay Cam M

	LANDFILL DESIGNATION:
	Airstrip

	DATE OF INSPECTION:
	August 2005

	DATE OF PREVIOUS INSPECTION:
	August 2004

	INSPECTED BY:
	Alistair Kent

	REPORT PREPARED BY:
	Alistair Kent


VISUAL INSPECTION REPORT – AIRPORT LANDFILL  – PAGE 2 OF 2

	Checklist Item
	Present

Yes/No
	Location

(Describe relative to existing monuments/features and relative to landfill design i.e. surface, berms, toe)
	Length
	Width
	Depth
	Extent relative to Area of Landfill (%)
	Description
	Photographic Records

Focal length,

location, view point & direction (relative to magnetic north)

Feature of note

Scale
	Additional Comments/Preliminary Stability Assessment

	Settlement
	No
	
	
	
	
	
	
	
	

	Erosion
	Minor Rills
	
	
	
	
	
	Sporadic occurrence
	
	Acceptable

	Frost Action
	No
	
	
	
	
	
	
	
	

	Animal Burrows
	No
	
	
	
	
	
	
	
	

	Vegetation
	Sparse
	
	
	
	
	
	
	
	

	Staining
	No
	
	
	
	
	
	
	
	

	Vegetation Stress
	No
	
	
	
	
	
	
	
	

	Seepage Points
	No
	
	
	
	
	
	
	
	

	Debris Exposed
	Yes
	ALF-5
	
	
	
	
	Steel drums and structural steel
	ALF-5
	Acceptable

	Presence/Condition – Monitoring Instruments
	N/A
	
	
	
	
	
	
	
	

	Features of Note.
	
	
	
	
	
	
	
	
	


D:\data\DEW\Corrections january 2006\50714 App E1 Airstrip Visual Inspection Checklist10-Oct-2005.doc



