
DEW LINE CLEANUP:  POST-CONSTRUCTION - LANDFILL MONITORING

VISUAL INSPECTION CHECKLIST

INSPECTION REPORT – PAGE 1 OF 2

	SITE NAME:
	Cambridge Bay Cam M

	LANDFILL DESIGNATION:
	DCC Tier II

	DATE OF INSPECTION:
	August 2005

	DATE OF PREVIOUS INSPECTION:
	August 2004

	INSPECTED BY:
	Alistair Kent

	REPORT PREPARED BY:
	Alistair Kent


VISUAL INSPECTION CHECKLIST –DCC TIER II LANDFILL -  INSPECTION REPORT – 
PAGE 2 OF 2

	Checklist Item
	Present

Yes/No
	Location

(Describe relative to existing monuments/features and relative to landfill design i.e. surface, berms, toe)
	Length
	Width
	Depth
	Extent relative to Area of Landfill (%)
	Description
	Photographic Records

Focal length,

location, view point & direction (relative to magnetic north)

Feature of note

Scale
	Additional Comments/Preliminary Stability Assessment

	Settlement
	No
	
	
	
	
	
	
	
	

	Erosion
	Yes
	Shallow rills on S,E,N slopes
	
	6”
	2”
	~ 2%
	Gravel armoured
	
	Acceptable.

	Frost Action
	No
	
	
	
	
	
	
	
	

	Animal Burrows
	No
	
	
	
	
	
	
	
	

	Vegetation
	Sparse to none scattered
	
	
	
	
	
	
	
	

	Staining
	No
	
	
	
	
	
	
	
	

	Vegetation Stress
	No
	
	
	
	
	
	
	
	

	Seepage Points
	Very slight increase in dampness observed at location TII-2
	Acceptable

	Debris Exposed
	No
	
	
	
	
	
	
	
	

	Presence/Condition – Monitoring Instruments
	Good
	See photos
	
	
	
	
	
	
	

	Features of Note.
	None
	Minor cracks at two locations on south side slope
	<20m
	2-3 mm
	N/a
	
	No displacement across crack
	TII-2
	Acceptable


D:\data\DEW\Corrections january 2006\50714 App F1 DCC Visual Inspection Checklist10-Oct-2005.doc



