Note to file; CAM-M; S3 and S4 locations

-original soil samples from S3 and S4 locations were secured on August 14, 2019

- S3 and S4 sites were returned to on 29 August for purposes of obtaining thermal KD2 unit readings.  Location S3 in particular had infilled with water and had to be re-dug at an adjacent location for purposes of thermal soil testing.