## VT-1
Thermistor Annual Maintenance Report
Contractor Name: |  | Biogenie/Sila Remediation |  |  |  | Inspection Date: |  | 2013-08-24
Prepared By: |  | Brandon MacKay
Thermistor Information
Site Name: |  | FOX-3 |  | Thermistor Location |  | Tier II
Thermistor Number: |  | VT-1 |  | Inclination: | Vertical
Install Date: |  | 2011-09-07 |  | First Date Event |  | 2012-08-25 |  | Last Date Event |  | 2013-08-24
Coordinates and Elevation |  |  | N | 7615563 |  | E | 409318 |  | Elev | 422 m
Length of Cable (m) |  | 9.54 | Cable Lead Above Ground (m) |  |  | 3.71 | Nodal Points |  | 14
Datalogger Serial # |  | 9100022 |  |  |  |  | Cable Serial Number |  |  | VT-1
Thermistor Inspection
|  |  |  | Good |  | Needs Maintenance
| Casing |  |  | X |  | □
| Cover |  |  | X |  | □
| Data Logger |  |  | X |  | □
| Cable |  |  | X |  | □
| Beads |  |  | X |  | □
| Battery Installation Date |  |  | 2011-09-07
| Battery Levels |  |  | Main | 11.34 |  |  | Aux | 13.26
Manual Ground Temperature Readings
| Bead | ohms |  | Degrees C |  |  | Bead | ohms |  | Degrees C
| 1 | 14.52 |  | 2.3402 |  |  | 9 | 18.763 |  | -2.6555
| 2 | 14.121 |  | 2.8927 |  |  | 10 | 19.34 |  | -3.2356
| 3 | 13.422 |  | 3.9041 |  |  | 11 | 20 |  | -3.8759
| 4 | 13.903 |  | 3.202 |  |  | 12 | 20.53 |  | -4.3731
| 5 | 15.179 |  | 1.4641 |  |  | 13 | 20.99 |  | -4.7932
| 6 | 16.624 |  | -0.3161 |  |  | 14 | 21.37 |  | -5.1326
| 7 | 17.379 |  | -1.1785
| 8 | 18.006 |  | -1.8634
Observations and Proposed Maintenance
Reset clock: 00:42:38 behind

## VT-2
Thermistor Annual Maintenance Report
Contractor Name: |  | Biogenie/Sila Remediation |  |  |  | Inspection Date: |  | 2013-08-24
Prepared By: |  | Brandon MacKay
Thermistor Information
Site Name: |  | FOX-3 |  | Thermistor Location |  |  | Tier II
Thermistor Number: |  | VT-2 |  | Inclination | Vertical
Install Date: |  | 2011-09-07 |  | First Date Event |  | 2012-08-25 |  | Last Date Event |  | 2013-08-24
Coordinates and Elevation |  |  | N | 7615562 |  | E | 409336 |  | Elev | 422.44m
Length of Cable (m) |  | 7.52 | Cable Lead Above Ground (m) |  |  | 3.92 | Nodal Points |  | 10
Datalogger Serial # |  | 9100028 |  |  |  |  | Cable Serial Number |  |  | VT-2
Thermistor Inspection
|  |  |  | Good |  | Needs Maintenance
| Casing |  |  | X |  | □
| Cover |  |  | X |  | □
| Data Logger |  |  | X |  | □
| Cable |  |  | X |  | □
| Beads |  |  | X |  | □
| Battery Installation Date |  |  | 2011-09-07
| Battery Levels |  |  | Main | 11.34 |  |  | Aux | 13.26
Manual Ground Temperature Readings
| Bead | ohms |  | Degrees C |  |  | Bead | ohms |  | Degrees C
| 1 | 15.218 |  | 1.4136 |  |  | 9 | 18.075 |  | -1.9371
| 2 | 14.682 |  | 2.1208 |  |  | 10 | 18.8 |  | -2.6933
| 3 | 14.041 |  | 3.0056
| 4 | 13.155 |  | 4.3062
| 5 | 13.889 |  | 3.222
| 6 | 14.997 |  | 1.7017
| 7 | 16.724 |  | -0.4328
| 8 | 17.246 |  | -1.0297
Observations and Proposed Maintenance
Reset clock: 00:48:42 behind

## VT-3
Thermistor Annual Maintenance Report
Contractor Name: |  | Biogenie/Sila Remediation |  |  |  | Inspection Date: |  | 2013-08-24
Prepared By:
Thermistor Information
Site Name: |  | FOX-3 |  | Thermistor Location |  |  | Tier II
Thermistor Number: |  | VT-3 |  | Inclination | Vertical
Install Date: |  | 2011-09-07 |  | First Date Event |  | 2012-08-25 |  | Last Date Event |  | 2013-08-24
Coordinates and Elevation |  |  | N | 7615523 |  | E | 409367 |  | Elev | 422.59 m
Length of Cable (m) |  | 8.05 | Cable Lead Above Ground (m) |  |  | 4,32 | Nodal Points |  | 11
Datalogger Serial # |  | 9100048 |  |  |  |  | Cable Serial Number |  | VT-3
Thermistor Inspection
|  |  |  | Good |  | Needs Maintenance
| Casing |  |  | X |  | □
| Cover |  |  | X |  | □
| Data Logger |  |  | X |  | □
| Cable |  |  | X |  | □
| Beads |  |  | X |  | □
| Battery Installation Date |  |  | 2011-09-07
| Battery Levels |  |  | Main | 11.34 |  |  | Aux | 13.02
Manual Ground Temperature Readings
| Bead | ohms |  | Degrees C |  |  | Bead | ohms |  | Degrees C
| 1 | 14.84 |  | 1.9093 |  |  | 9 | 17.976 |  | -1.8312
| 2 | 14.704 |  | 2.0912 |  |  | 10 | 18.501 |  | -2.3854
| 3 | 14.2 |  | 2.7819 |  |  | 11 | 19.198 |  | -3.0946
| 4 | 13.227 |  | 4.1969
| 5 | 13.734 |  | 3.4455
| 6 | 14.72 |  | 2.0697
| 7 | 16.568 |  | -0.2504
| 8 | 16.755 |  | -0.4688
Observations and Proposed Maintenance
Reset clock: 00:48:58 behind

## VT-4
Thermistor Annual Maintenance Report
Contractor Name: |  | Biogenie/Sila Remediation |  |  |  | Inspection Date: |  | 2013-08-24
Prepared By: |  | Brandon MacKay
Thermistor Information
Site Name: |  | FOX-3 |  | Thermistor Location |  | Tier II
Thermistor Number: |  | VT-4 |  | Inclination | Vertical
Install Date: |  | 2011-09-07 |  | First Date Event |  | 2012-08-25 |  | Last Date Event |  | 2013-08-24
Coordinates and Elevation |  |  | N | 7615522 |  | E | 409384 |  | Elev | 422.56
Length of Cable (m) |  | 10 | Cable Lead Above Ground (m) |  |  | 4.05 | Nodal Points |  | 15
Datalogger Serial # |  | 9100049 |  |  |  |  | Cable Serial Number |  |  | VT-4
Thermistor Inspection
|  |  |  | Good |  | Needs Maintenance
| Casing |  |  | X |  | □
| Cover |  |  | X |  | □
| Data Logger |  |  | X |  | □
| Cable |  |  | X |  | □
| Beads |  |  | X |  | □
| Battery Installation Date |  |  | 2011-09-07
| Battery Levels |  |  | Main | 11.34 |  |  | Aux | 13.26
Manual Ground Temperature Readings
| Bead | ohms |  | Degrees C |  |  | Bead | ohms |  | Degrees C
| 1 | 14.801 |  | 1.9613 |  |  | 9 | 18.385 |  | -2.2645
| 2 | 14.233 |  | 2.7359 |  |  | 10 | 19.204 |  | -3.1006
| 3 | 13.295 |  | 4.0943 |  |  | 11 | 19.774 |  | -3.6593
| 4 | 13.492 |  | 3.8002 |  |  | 12 | 20.45 |  | -4.299
| 5 | 14.246 |  | 2.7177 |  |  | 13 | 20.7 |  | -4.5296
| 6 | 15.886 |  | 0.5704 |  |  | 14 | 21.28 |  | -5.0528
| 7 | 17.052 |  | -0.8102 |  |  | 15 | 21.4 |  | -5.1591
| 8 | 17.806 |  | -1.6478
Observations and Proposed Maintenance
Reset Clock: 00:49:30 behind