DEW LINE CLEANUP:  POST-CONSTRUCTION - LANDFILL MONITORING

VISUAL INSPECTION CHECKLIST

INSPECTION REPORT – PAGE 1 OF 2

	SITE NAME:
	PIN-3, Lady Franklin Point 

	LANDFILL DESIGNATION:
	South Landfill

	DATE OF INSPECTION:
	August 16, 2006

	DATE OF PREVIOUS INSPECTION:
	August 2005

	INSPECTED BY:
	James Theriault

	REPORT PREPARED BY:
	James Theriault


VISUAL INSPECTION CHECKLIST – SOUTH LANDFILL - INSPECTION REPORT – PAGE 2 OF 2

	Checklist Item
	Severity Rating
	Extent
	Present

Yes/No
	Location


	Length
	Width
	Depth
	Extent relative to Area of Landfill (%)
	Description
	Photographic Records


	Additional Comments



	Settlement
	Not observable
	None
	No
	
	
	
	
	
	
	
	

	Erosion
	Acceptable
	Occassional 
	Yes
	Perimeter of both cell – see photo log
	
	
	
	< 2
	Numerous ruts/depressions from equipment traffic
	Photographs 5, 7, 8, 10, 11 13,
	Granular fill, is self armouring, Acceptable

	Frost Action
	Not observable
	None
	No
	
	
	
	
	
	
	
	

	Animal Burrows
	Not observable
	None
	No
	
	
	
	
	
	
	
	

	Vegetation
	Not observable
	None
	Sparse
	
	
	
	
	
	
	
	Acceptable

	Staining
	Acceptable
	Occassional
	Yes
	Perimeter of both cells – see photo log
	
	
	
	< 1
	Rust coloured staining, intermittent ponding water
	Photographs 4, 13, 23
	Rust colour staining, possible seepage, Acceptable

	Vegetation Stress
	Acceptable
	Occassional
	No
	
	
	
	
	
	
	Photographs 4, 16, 18, 19, 23
	Possible seepage, Acceptable

	Seepage Points
	Acceptable
	Occasional
	Yes
	Southeast corner of East Cell
	1
	1
	surficial
	point
	Trickle of seepage flowing to rust stained ponded water
	Photographs 13 and 2
	Only one flowing point observed, Acceptable 

	Debris Exposed
	Not observable
	None
	No
	
	
	
	
	
	
	
	

	Presence/Condition – Monitoring Instruments
	Not observable
	None
	No
	
	
	
	
	
	
	
	

	Features of Note.
	Not Observable
	None
	No
	
	
	
	
	
	
	
	Acceptable


Preliminary Stability Assessment

	Checklist Item
	Severity Rating
	Extent

	Settlement
	Not observable
	None

	Erosion
	Acceptable
	Occassional

	Frost Action
	Not observable
	None

	Animal Burrows
	Not observable
	None

	Vegetation
	Not observable
	None

	Staining
	Acceptable
	Occassional

	Vegetation Stress
	Acceptable
	Occassional

	Seepage Points
	Acceptable
	Occasional

	Debris Exposed
	Not observable
	None

	Presence/Condition – Monitoring Instruments
	Not observable
	None

	Overall Landfill Performance
	Acceptable


S:\Projects\2006\60725 DEW PIN-3 Lady Franklin Point\DRAFT CD\Appendix C South Landfill\60725 App C1 South Landfill Visual Inspection Checklist-Dec-2006-jat.doc



