## VT-5
Thermal Monitoring
Thermistor Annual Maintenance Report
Contarctor Name: |  | IEG Nunasi Consultants |  |  |  | Inspection Date: |  | 2011-08-25
Prepared By: |  | Ryan Lennie
Thermistor Information
Site Name: |  | PIN-3 |  | Thermistor Location |  | Tier II Soil Disposal Facility
Thermistor Number: |  | VT-5 |  | Inclination |  | Vertical
Install Date: |  | 2003-09-09 |  | First Date Event |  |  |  | Last Date Event
Coordinates and Elevation |  |  | N | 9430.72 |  | E | 10848.42 |  | Elev | 18.5
Length of Cable (m) |  | 11.5 | Cable Lead Above Ground |  |  | 0 | Nodal Points |  | 16
Datalogger Serial # |  | 108066 |  |  |  |  | Cable Serial Number |  |  | 1611
Code | PIN-3VT-5
Thermistor Inspection
|  |  |  | Good |  | Needs Maintenance
| Casing |  |  | x
| Cover |  |  | x
| Data Logger |  |  |  |  | x | Earth ground screw missing
| Cable |  |  | x
| Beads |  |  |  |  | x | Bead 10 (see below)
| Battery Installation Date |  |  | 2011-08-25
| Battery Levels |  |  | Main | 11.34 V |  |  | Aux | 12.70 V
Manual Ground Temperature Readings
| Bead | ohms |  | Degrees C |  |  | Bead | ohms |  | Degrees C
| 1 | 9240 |  | 11.5788 |  |  | 9 | 18100 |  | -1.979
| 2 | 8994 |  | 12.154 |  |  | 10 | 1400 |  | 42.7121
| 3 | 8736 |  | 12.7757 |  |  | 11 | 19920 |  | -3.8075
| 4 | 10790 |  | 8.307 |  |  | 12 | 20630 |  | -4.4745
| 5 | 11780 |  | 6.4902 |  |  | 13 | 21380 |  | -5.1543
| 6 | 12850 |  | 4.7214 |  |  | 14 | 22130 |  | -5.8103
| 7 | 14480 |  | 2.3421 |  |  | 15 | 23200 |  | -6.7078
| 8 | 17220 |  | -1.0238 |  |  | 16 | 24310 |  | -7.5944
Observations and Proposed Maintenance
Memory 82% full
Bead 10 has been recording erratically since February 20, 2011

## VT-6
Thermal Monitoring
Thermistor Annual Maintenance Report
Contarctor Name: |  | IEG Nunasi Consultants |  |  |  | Inspection Date: |  | 2011-08-25
Prepared By: |  | Ryan Lennie
Thermistor Information
Site Name: |  | PIN-3 |  | Thermistor Location |  |  | Tier II Soil Disposal Facility
Thermistor Number: |  | VT-6 |  | Inclination |  |  | Vertical
Install Date: |  | 2003-09-08 |  | First Date Event |  |  |  | Last Date Event
Coordinates and Elevation |  |  | N | 9431.74 |  | E | 10888.36 |  | Elev | 18.5
Length of Cable (m) |  | 11.5 | Cable Lead Above Ground |  |  | 4.5 | Nodal Points |  | 16
Datalogger Serial # |  | 111096 |  |  |  |  | Cable Serial Number |  |  | 1612
Code | PIN-3 VT-6
Thermistor Inspection
|  |  |  | Good |  | Needs Maintenance
| Casing |  |  | x |  | □
| Cover |  |  | x |  | □
| Data Logger |  |  | x |  | □
| Cable |  |  | x |  | □
| Beads |  |  | x |  | □
| Battery Installation Date |  |  | 2011-08-25
| Battery Levels |  |  | Main | 11.34 V |  |  | Aux | 13.06 V
Manual Ground Temperature Readings
| Bead | ohms |  | Degrees C |  |  | Bead | ohms |  | Degrees C
| 1 | 9128 |  | 11.8386 |  |  | 9 | 18210 |  | -2.0949
| 2 | 10770 |  | 8.3457 |  |  | 10 | 18900 |  | -2.8053
| 3 | 8820 |  | 12.5712 |  |  | 11 | 19790 |  | -3.6828
| 4 | 10350 |  | 9.1784 |  |  | 12 | 20670 |  | -4.5114
| 5 | 12060 |  | 6.0092 |  |  | 13 | 21400 |  | -5.1721
| 6 | 13360 |  | 3.9397 |  |  | 14 | 22070 |  | -5.7586
| 7 | 15560 |  | 0.93452 |  |  | 15 | 23290 |  | -6.7813
| 8 | 17490 |  | -1.3224 |  |  | 16 | 24160 |  | -7.4772
Observations and Proposed Maintenance
Memory 82% full.

## VT-7
Thermal Monitoring
Thermistor Annual Maintenance Report
Contarctor Name: |  | IEG Nunasi Consultants |  |  |  | Inspection Date: |  | 2011-08-25
Prepared By: |  | Ryan Lennie
Thermistor Information
Site Name: |  | PIN-3 |  | Thermistor Location |  | Tier II Soil Disposal Facility
Thermistor Number: |  | VT-7 |  | Inclination |  | Vertical
Install Date: |  | 2003-09-10 |  | First Date Event |  |  |  | Last Date Event
Coordinates and Elevation |  |  | N | 9373.65 |  | E | 10849.85 |  | Elev | 17.4
Length of Cable (m) |  | 10.5 | Cable Lead Above Ground |  |  | 0 | Nodal Points |  | 16
Datalogger Serial # |  | 111099 |  |  |  |  | Cable Serial Number |  |  | 1613
Code | PIN-3VT-7
Thermistor Inspection
|  |  |  | Good |  | Needs Maintenance
| Casing |  |  | x
| Cover |  |  | x
| Data Logger |  |  |  |  | x | Earth ground screw missing and hole stripped
| Cable |  |  | x
| Beads |  |  | x
| Battery Installation Date |  |  | 2011-08-25
| Battery Levels |  |  | Main | 11.34 V |  |  | Aux | 12.70 V
Manual Ground Temperature Readings
A | Bead | ohms |  | Degrees C |  | B | Bead | ohms |  | Degrees C
| 1 | 8680 |  | 12.9132 |  |  | 9 | 18720 |  | -2.6227
| 2 | 9680 |  | 10.5905 |  |  | 10 | 19600 |  | -3.4989
| 3 | 11570 |  | 6.86 |  |  | 11 | 20500 |  | -4.3542
| 4 | 12620 |  | 5.0862 |  |  | 12 | 21150 |  | -4.9484
| 5 | 13820 |  | 3.2648 |  |  | 13 | 21820 |  | -5.5419
| 6 | 16310 |  | 0.021952 |  |  | 14 | 22430 |  | -6.0663
| 7 | 17140 |  | -0.93438 |  |  | 15 | 22910 |  | -6.4688
| 8 | 17820 |  | -1.6806 |  |  | 16 | 23130 |  | -6.6504
Observations and Proposed Maintenance
Memory 82% full

## VT-8
Thermal Monitoring
Thermistor Annual Maintenance Report
Contarctor Name: |  | IEG Nunasi Consultants |  |  |  | Inspection Date: |  | 2011-08-25
Prepared By: |  | Ryan Lennie
Thermistor Information
Site Name: |  | PIN-3 |  | Thermistor Location |  | Tier II Soil Disposal Facility
Thermistor Number: |  | VT-8 |  | Inclination |  | Vertical
Install Date: |  | 2003-09-09 |  | First Date Event |  |  |  | Last Date Event
Coordinates and Elevation |  |  | N | 9374.48 |  | E | 10889.74 |  | Elev | 17.4
Length of Cable (m) |  | 10.5 | Cable Lead Above Ground |  |  | 3.5 | Nodal Points |  | 16
Datalogger Serial # |  | 111091 |  |  |  |  | Cable Serial Number |  |  | 1614
Code | PIN-3VT-8
Thermistor Inspection
|  |  |  | Good |  | Needs Maintenance
| Casing |  |  | x
| Cover |  |  | x
| Data Logger |  |  | x
| Cable |  |  | x
| Beads |  |  | x
| Battery Installation Date |  |  | 2011-08-25
| Battery Levels |  |  | Main | 11.34 V |  |  | Aux | 12.65 V
Manual Ground Temperature Readings
| Bead | ohms |  | Degrees C |  |  | Bead | ohms |  | Degrees C
| 1 | 8415 |  | 13.5 |  |  | 9 | 18880 |  | -2.8
| 2 | 9865 |  | 10.2 |  |  | 10 | 19710 |  | -3.6
| 3 | 11550 |  | 6.9 |  |  | 11 | 20520 |  | -4.4
| 4 | 12430 |  | 5.4 |  |  | 12 | 20990 |  | -4.8
| 5 | 13740 |  | 3.4 |  |  | 13 | 22060 |  | -5.7
| 6 | 16330 |  | 0 |  |  | 14 | 22570 |  | -6.2
| 7 | 17370 |  | -1.2 |  |  | 15 | 23040 |  | -6.5
| 8 | 18090 |  | -2 |  |  | 16 | 23430 |  | -6.9
Observations and Proposed Maintenance
Memory 82% full