## Notes for Use
Nunavut Water Board - Notes for Use
Standard Form for Annual Reporting Requirements of NWB2 Exploration Water Licenses
Under the terms of your water licence issued by the Nunavut Water Board ("NWB") for the use of water and the disposal of waste into water associated with mineral exploration (NWB2 Licenses), Licensees are required to submit to the NWB an Annual Report no later than March 31st of the year following the calendar year being reported.
In order to aid the Licensee with the preparation of the Annual Report and facilitate its review by the NWB, Licensees are required to use the following form.
Recommendation and Helpful tips for use:
Metric units shall be used to report any relevant data.
How to Add additional space within Text boxes - Right click mouse on the row number (directly to the left of your screen) which falls within the text box range and click insert. Do not drag or drop text box to modify size of the text box because formatting will not be maintained and data will be lost. If you have large amounts of data recommend adding additional worksheets. Go to the help menu for assistance.
Electronic versions should be submitted in Adobe to ensure protection of your information. If you do not have shortcut keys to save as a PDF. Go to print menu . Choose to print "Entire Worksheet" then select printer option Adobe PDF and you will be prompted to save the document as a PDF document. Reminder ensure you have saved your document in Excel so that future changes can be made.
Modify the Header - Select "View" then "Header" from the main menu. Select "Custom Header" and change to reflect the valid Water Licence No.
Textboxes denoted with * are optional.
Annual Reports shall be submitted by either fax, mail or email in adobe acrobat or Excel format to:
Nunavut Water Board
c/o Manager of Licensing
P.O. Box 119
Gjoa Haven, NU X0B 1J0
Tel: 867-360-6338
Fax:867-360-6369
| Email: | licensing@nwb-oen.ca

## Standard Form
NWB Annual Report |  |  |  | Year being reported: |  |  | 2019
License No: | NWB 1BR-NUN1218 |  |  | Issued Date: |  | 2018-04-11
|  |  |  | Expiry Date: |  | 2028-04-10
Project Name:
Licensee:
Mailing Address:
Name of Company filing Annual Report (if different from Name of Licensee please clarify relationship between the two entities, if applicable):
General Background Information on the Project (*optional):
Licence Requirements: the licensee must provide the following information in accodance with
A summary report of water use and waste disposal activities, including, but not limited to: methods of obtaining water; sewage and greywater management; drill waste management; solid and hazardous waste management.
| Water Source(s): |  | Rain and melt water. Hydrocarbon contaminated.
| Water Quantity: |  |  |  | Quantity Allowable Domestic (cu.m)
Actual Quantity Used Domestic (cu.m)
Quantity Allowable Drilling (cu.m)
Total Quantity Used Drilling (cu.m)
Waste Management and/or Disposal
No water was released into the environment 2019
Additional Details:
A list of unauthorized discharges and a summary of follow-up actions taken.
| Spill No.: |  |  | (as reported to the Spill Hot-line)
Date of Spill:
Date of Notification to an Inspector:
Additional Details: (impacts to water, mitigation measures, short/long term monitoring, etc)
Revisions to the Spill Contingency Plan
Additional Details: No revisions to the Spill Contingency plan
Revisions to the Abandonment and Restoration Plan
Additional Details: Abandonment and Restoration plan updated
Progressive Reclamation Work Undertaken
Additional Details (i.e., work completed and future works proposed)
Results of the Monitoring Program including:
The GPS Co-ordinates (in degrees, minutes and seconds of latitude and longitude) of each location where sources of water are utilized;
Additional Details: No water was drawn from source
The GPS Co-ordinates (in degrees, minutes and seconds of latitude and longitude) of each location where wastes associated with the licence are deposited;
Additional Details:
Results of any additional sampling and/or analysis that was requested by an Inspector
Additional Details: No requests by Inspector
Any other details on water use or waste disposal requested by the Board by November 1 of the year being reported.
Additional Details: No request by NWB
Any responses or follow-up actions on inspection/compliance reports
Additional Details: (Dates of Report, Follow-up by the Licensee)
Any additional comments or information for the Board to consider
Date Submitted: |  | 2020-01-01
Submitted/Prepared by: |  | James H. Wilson for Nunatta Environmental Services Inc.
Contact Information: |  | Tel: | 867-979-1488
|  | Fax: | 867-979-1478
|  | email: | jim@nunatta.ca
1575 Federal Road
P.O. Box 267, Iqaluit,
Nunavut
X0A 0H0
Nunatta Environmental Services Inc. "NESI"
NESI owns and operates a Hydrocarbon Impacted Soil Landfarm on the outskirts of Iqaluit, Nu. Operations consists of accepting soils impacted with petroleum products at various concentrations at the geosynthetic lined platform and using indigenous soil microorganisms and unique soil farming practices break down compounds into, water, carbon and hydrogen sulphide.
Nunatta Environmental Services Inc. "Landfarm"

## GPS Coordinates
GPS Coordinates
GPS Coordinates for water sources utilized
|  | Latitude |  |  | Longitude
| Source Description | Deg | Min | Sec | Deg | Min | Sec
|  | º | ΄ | ˝ | º | ΄ | ˝
GPS Locations of areas of waste disposal
| Location Description (type) | Latitude |  |  | Longitude
|  | Deg | Min | Sec | Deg | Min | Sec
|  | º | ΄ | ˝ | º | ΄ | ˝
| Treated water discharge point | 68 | 32 | 46.47 | 63 | 45 | 49.9

## Soils received
Soils accepted at Landfarm in 2019
Project # | Customer | Cubic Metres | Date | Contaminant
19-32 | Darlene Nuqingaq | 1688 | May-Sept | Heating Oil
19-48 | Qulliq Energy Corporation | 20.3 | 2020-07-23 | PCB
19-53 | Northmart | 2 | 2020-07-12 | Heating Oil
n/a | Tower Arctic | 0.21 | 2020-06-07 | Unknown
n/a | Nunavut Airport Services | 1 | 2020-06-12 | Hydrocarbon
n/a | Qulliq Energy Corporation | 0.5 | 2020-02-02 | Glycol
| Total Soils 2019 | 1712.01

## Soils removed
Soils removed from Landfarm 2019
Project # | Customer | Cu/M
18-53 | Qikiqtaaluk Environmental | 4101.24
Cubic meters
| Total removed | 4101.24
Soil removed from the Nunatta landfarm taken to the Qikiqtaaluk
Environmental landfarm and put in their cell. All rocks and cobbles
separated from soil also taken to Qikiqtaaluk Environmental landfarm.
Rocks 3 inches or smaller were screened out by Nunatta in 2019.
Rocks larger than 3 inches were separated in 2018.

## Water snow received
Water/Snow received at Landfarm 2019
SNOW
Project # | Customer | Cu/m | Date | Contaminant
n/a | Uqsuq Corporation | 1 | 2019-01-30 | Home Heating Oil
19-25 | Iqaluit Housing Authority | 1 | 2019-03-15 | Home Heating Oil
n/a | Northview REIT | 33 | 2019-03-28 | Sewage
n/a | City of Iqaluit | 28 | 2019-04-01 | Sewage
n/a | Northview REIT | 12 | 2019-04-05 | Sewage
19-32 | Darlene Nuqingaq | 3 | 2019-05-29 | Home Heating Oil
| Total cu/m of snow | 78
WATER
Project # | Customer | Litres
19-32 | Darlene Nuqingaq | 5520 | May 27, 2019 -Sept 24, 2019
Water was held until late summer when soil was dry and then released into an excavated hole in the soil pile. The soil soaked up the
water stripping it of hydrocarbons. It also helped thaw out frozen soil allowing screening possible earlier in the summer.
| Total liters of water | 5520
| Total cubic meters of water | 5.52
Total snow and water taken in by Nunatta in 2019 21.2 cubic meters
Snow to water was calculated by using 200L per cubic metre of snow.
Snow was delivered by truck and loader. This compacts the snow, removing air and increasing water per cubic meter.
Snow was put into the soil in cell #1. This removes hydrocarbons putting them into the soil and not the water. Then our remediation
practices can breakdown the hydrocarbons into harmless components. This also reduces costs as filtering and polishing water is expensive.

## Cell Volumes
Soils contained in Landfarm cells
Cell # | Dimension | Cell reference | Soil in progress | Rocks | Protective layer | Total soil contained | Soil remediated and ready to remove.
| Meters |  | cubic meters | C/m | C/m | C/m
1 | 60X30 |  | 2000 |  | 687 | 2687 | 0
2 | 50X25 |  | 80 |  |  | 80 | 0
3 | 90X30 |  | 1899 |  | 1062 | 2961 | 0
4 | 60X30 |  | 460 |  | 750 | 1210 | 0
|  | Totals | 4439 | 0 | 2499 | 6938

## Map overview
Map Overview

## Landfarm
Landfarm

## Landfarm Details
Landfarm Details

## Monitoring well location
Monitoring Well Locations

## Monitoring Summary
2019 Monitoring Summary
The summer of 2019 was very warm to start the thawing season. But as summer advanced,
the weather was wet and cloudy. This kept soil from thawing down deep. Nunatta removed
piles of soil stored for Qikiqtaaluk Environmental Services (QE) for screening.
Nunatta moved screening equipment to the cell containing the QE soil and screened as it thawed.
QE transported over 4100 cubic meters of screened soil of the more than 6500 cubic metres
Nunatta had stored for QE over the winter of 2018/2019. The remaining soil will be thawed and
removed during the summer of 2020. All attempts were made to get all soil out in summer of 2019.
But due to cool temperatures the thawing process was slow. Removing layers of thawed soil did
allow Nunatta the ability to remove a lot of the soil prior to freeze up. The screening process at times,
separates frozen soil lumps and this adds contamination to the stone and cobble piles and often
results in having to re-screen stones to remove contaminated soil. This adds time, costs, and the
additional contamination requires the running of equipment to clean up.
During the summer of 2019, efforts to collect water samples were unsuccessful. This was unlike
2018, where Nunatta managed to collect enough water samples to do F1 and B-tex tests. The 2018
results showed no evidence of hydrocarbons.
In 2019, John Mesher, Water Inspector for Crown-Indigenous Relations and Northern Affairs
conducted an inspection of the Nunatta landfarm with Jim Wilson. It was noted that recent
excavation and removal of the gravel along the north side of the Nunatta landfarm has left the landfarm sitting 4-6
the landfarm 4-6 metres above the gravel pit floor. This has resulted in any surface water to drain
toward the gravel pit.
The Water Inspector's complete report is included in this report.

## Water pumped in 2019
Water pumped within landfarm cells 2019
Date | Action | From | Destination | Litre
No water was pumped within Nunatta landfarm during the summer of 2019.
Low snow accumulation in 2019 left the cells low in volume this summer.
Summer rains did fill the cells, but not to levels where it was necessary to
release or move water. Winds during the summer helped with evaporation of any
water contained in the cells.
No water released in to the emvironment
|  |  | Total pumped | 0
|  |  | Total Cu/M | 0

## Construction of cell #2
Consruction of cell #2
In 2013 Nunatta Environmental applied for and was approved for an extension and replacement of
liner for cell #2. The cell was used for rocks and cobbles removed from the screening process.
The liner used in cell #2 was only 20 mm and Nunatta felt this liner should be brought up to the
30 mm standard & at the same time the cell could be made longer to accommodate our equipment.
Permission was granted for the summer of 2014 construction season but due to cold weather
and no place to put all the rocks stored in that cell delayed the work. Nunatta made note to this in
the 2014 annual report and indicated our intentions were to finish the work summer of 2015.
Again in 2015 the weather was cold and the rock pile did not thaw until late summer, we did
remove as many of the rocks as possible but the soil in the lower 1.5-2 meters remained frozen
and we were unable to remove this thick hard layer.
The plan was to attempt to get the rocks off the cover layer in summer of 2016.
Nunatta would then remove the soil cover layer and place it into cell #1.
Nunatta intended to complete this work as soon as weather would cooperate.
Nunatta did remove all the rocks and most of the liner cover material in 2018 but early snow
stopped this work in September.
The summer of 2019 was wet and windy so cell #2 was set up as a screening cell for cleaning
rocks out of the soil taken in from the Iqaluit Airport as reported in 2018 annual report. This
soil was screened out and held for removal by Qikiiqtaaluk Environmental who had not
completed building a landfarm large enough to hold 6000 cubic meters.
Some soil was removed and most of the small stone but the pile did not thaw fast enough
to complete this work in the summer of 2019. Work will be finished in 2010 and the screening plant
will be removed from Cell #2. This should allow Nunatta to finish removing the overburden and
begin work on the new cell liner.

## Spring Soil Samples Cell 1
2019 Spring Soil Sample Results-Cell # 1
TABLE 1 |  | CLIENT: Nunatta Environmental Services Inc.
PARACEL LABORATORIES LTD. |  | ATTENTION: Jim Wilson
WORKORDER: 1928649 |  | PROJECT: Nunatta Cell Samples July 2019
REPORT DATE: 07/18/2019 |  | REFERENCE: Standing Offer
Parameter | Units | MDL | Regulation | Sample
|  |  |  | Cell #1, TP#1 1928649-01 | Cell #1, TP#2 1928649-02 | Cell #1, TP#3 1928649-03 | Cell #1, TP#4 1928649-04
Sample Date (m/d/y) |  |  | Select Reg | 2019-07-10 09:30 | 2019-07-10 09:30 | 2019-07-10 09:30 | 2019-07-10 09:30
Physical Characteristics
% Solids | % by Wt. | 0.1 | REGS | 93.7 | 94.2 | 92.5 | 95.5
General Inorganics
Nitrogen, Total | ug/g dry | 11 | REGS | N/A | N/A | N/A | N/A
Total Kjeldahl Nitrogen | ug/g dry | 10 | REGS | N/A | N/A | N/A | N/A
Anions
Nitrate as N | ug/g dry | 1 | REGS | N/A | N/A | N/A | N/A
Metals
Antimony | ug/g dry | 1 | REGS | 1 | ND (1) | ND (1) | ND (1)
Arsenic | ug/g dry | 1 | REGS | 2 | 2 | 2 | 2
Barium | ug/g dry | 1 | REGS | 32 | 34 | 37 | 27
Beryllium | ug/g dry | 0.5 | REGS | ND (0.5) | ND (0.5) | ND (0.5) | ND (0.5)
Boron | ug/g dry | 5 | REGS | ND (5.0) | ND (5.0) | ND (5.0) | ND (5.0)
Cadmium | ug/g dry | 0.5 | REGS | ND (0.5) | ND (0.5) | ND (0.5) | ND (0.5)
Chromium | ug/g dry | 5 | REGS | 21 | 25 | 24 | 22
Cobalt | ug/g dry | 1 | REGS | 5 | 6 | 7 | 5
Copper | ug/g dry | 5 | REGS | 13 | 14 | 20 | 12
Lead | ug/g dry | 1 | REGS | 5 | 8 | 7 | 12
Molybdenum | ug/g dry | 1 | REGS | 2 | ND (1) | 1 | ND (1)
Nickel | ug/g dry | 5 | REGS | 8 | 9 | 10 | 9
Selenium | ug/g dry | 1 | REGS | ND (1) | ND (1) | ND (1) | ND (1)
Silver | ug/g dry | 0.3 | REGS | ND (0.3) | ND (0.3) | ND (0.3) | ND (0.3)
Thallium | ug/g dry | 1 | REGS | ND (1) | ND (1) | ND (1) | ND (1)
Tin | ug/g dry | 5 | REGS | ND (5) | ND (5) | ND (5) | ND (5)
Uranium | ug/g dry | 1 | REGS | ND (1) | ND (1) | ND (1) | ND (1)
Vanadium | ug/g dry | 10 | REGS | 40 | 48 | 46 | 44
Zinc | ug/g dry | 20 | REGS | 73 | 46 | 48 | 47
Volatiles
Benzene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02) | ND (0.02)
Ethylbenzene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
Toluene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
m/p-Xylene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
o-Xylene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
Xylenes, total | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
Hydrocarbons
F1 PHCs (C6-C10) | mg/kg dry | 7 | REGS | ND (7) | ND (7) | ND (7) | ND (7)
F2 PHCs (C10-C16) | mg/kg dry | 4 | REGS | 37 | 28 | 153 | 71
F3 PHCs (C16-C34) | mg/kg dry | 8 | REGS | 459 | 38 | 51 | 284
F4 PHCs (C34-C50) | mg/kg dry | 6 | REGS | 93 | 8 | 17 | 172
PCBs
PCBs, total | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)

## Spring Soil Samples Cell 3
Spring Soil Sample Results-Cell # 3
TABLE 1 |  | CLIENT: Nunatta Environmental Services Inc.
PARACEL LABORATORIES LTD. |  | ATTENTION: Jim Wilson
WORKORDER: 1928649 |  | PROJECT: Nunatta Cell Samples July 2019
REPORT DATE: 07/18/2019 |  | REFERENCE: Standing Offer
Parameter | Units | MDL | Regulation | Sample
Cell #3, TP#1 1928649-06
Sample Date (m/d/y) |  |  | Select Reg | 2019-07-10 09:30
Physical Characteristics
% Solids | % by Wt. | 0.1 | REGS | 93.3
General Inorganics
Nitrogen, Total | ug/g dry | 11 | REGS | N/A
Total Kjeldahl Nitrogen | ug/g dry | 10 | REGS | N/A
Anions
Nitrate as N | ug/g dry | 1 | REGS | N/A
Metals
Antimony | ug/g dry | 1 | REGS | N/A
Arsenic | ug/g dry | 1 | REGS | N/A
Barium | ug/g dry | 1 | REGS | N/A
Beryllium | ug/g dry | 0.5 | REGS | N/A
Boron | ug/g dry | 5 | REGS | N/A
Cadmium | ug/g dry | 0.5 | REGS | N/A
Chromium | ug/g dry | 5 | REGS | N/A
Cobalt | ug/g dry | 1 | REGS | N/A
Copper | ug/g dry | 5 | REGS | N/A
Lead | ug/g dry | 1 | REGS | N/A
Molybdenum | ug/g dry | 1 | REGS | N/A
Nickel | ug/g dry | 5 | REGS | N/A
Selenium | ug/g dry | 1 | REGS | N/A
Silver | ug/g dry | 0.3 | REGS | N/A
Thallium | ug/g dry | 1 | REGS | N/A
Tin | ug/g dry | 5 | REGS | N/A
Uranium | ug/g dry | 1 | REGS | N/A
Vanadium | ug/g dry | 10 | REGS | N/A
Zinc | ug/g dry | 20 | REGS | N/A
Volatiles
Benzene | mg/kg dry | 0.02 | REGS | ND (0.02)
Ethylbenzene | mg/kg dry | 0.05 | REGS | ND (0.05)
Toluene | mg/kg dry | 0.05 | REGS | ND (0.05)
m/p-Xylene | mg/kg dry | 0.05 | REGS | ND (0.05)
o-Xylene | mg/kg dry | 0.05 | REGS | ND (0.05)
Xylenes, total | mg/kg dry | 0.05 | REGS | ND (0.05)
Hydrocarbons
F1 PHCs (C6-C10) | mg/kg dry | 7 | REGS | ND (7)
F2 PHCs (C10-C16) | mg/kg dry | 4 | REGS | 596
F3 PHCs (C16-C34) | mg/kg dry | 8 | REGS | 541
F4 PHCs (C34-C50) | mg/kg dry | 6 | REGS | 333
PCBs
PCBs, total | ug/g dry | 0.05 | REGS | N/A

## Spring Soil Samples Cell 4
Spring Soil Sample Results-Cell # 4
TABLE 1 |  | CLIENT: Nunatta Environmental Services Inc.
PARACEL LABORATORIES LTD. |  | ATTENTION: Jim Wilson
WORKORDER: 1928649 |  | PROJECT: Nunatta Cell Samples July 2019
REPORT DATE: 07/18/2019 |  | REFERENCE: Standing Offer
Parameter | Units | MDL | Regulation | Sample
|  |  |  | Cell #4, TP#1 1928649-07 | Cell #4, TP#2 1928649-08 | Cell #4, TP#3 1928649-09
Sample Date (m/d/y) |  |  | Select Reg | 2019-07-10 09:30 | 2019-07-10 09:30 | 2019-07-10 09:30
Physical Characteristics
% Solids | % by Wt. | 0.1 | REGS | 92.4 | 90.1 | 93.3
General Inorganics
Nitrogen, Total | ug/g dry | 11 | REGS | 245 | 450 | 369
Total Kjeldahl Nitrogen | ug/g dry | 10 | REGS | 243 | 450 | 369
Anions
Nitrate as N | ug/g dry | 1 | REGS | 1 | ND (1) | ND (1)
Metals
Antimony | ug/g dry | 1 | REGS | N/A | N/A | N/A
Arsenic | ug/g dry | 1 | REGS | N/A | N/A | N/A
Barium | ug/g dry | 1 | REGS | N/A | N/A | N/A
Beryllium | ug/g dry | 0.5 | REGS | N/A | N/A | N/A
Boron | ug/g dry | 5 | REGS | N/A | N/A | N/A
Cadmium | ug/g dry | 0.5 | REGS | N/A | N/A | N/A
Chromium | ug/g dry | 5 | REGS | N/A | N/A | N/A
Cobalt | ug/g dry | 1 | REGS | N/A | N/A | N/A
Copper | ug/g dry | 5 | REGS | N/A | N/A | N/A
Lead | ug/g dry | 1 | REGS | N/A | N/A | N/A
Molybdenum | ug/g dry | 1 | REGS | N/A | N/A | N/A
Nickel | ug/g dry | 5 | REGS | N/A | N/A | N/A
Selenium | ug/g dry | 1 | REGS | N/A | N/A | N/A
Silver | ug/g dry | 0.3 | REGS | N/A | N/A | N/A
Thallium | ug/g dry | 1 | REGS | N/A | N/A | N/A
Tin | ug/g dry | 5 | REGS | N/A | N/A | N/A
Uranium | ug/g dry | 1 | REGS | N/A | N/A | N/A
Vanadium | ug/g dry | 10 | REGS | N/A | N/A | N/A
Zinc | ug/g dry | 20 | REGS | N/A | N/A | N/A
Volatiles
Benzene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Ethylbenzene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Toluene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
m/p-Xylene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
o-Xylene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Xylenes, total | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Hydrocarbons
F1 PHCs (C6-C10) | mg/kg dry | 7 | REGS | ND (7) | ND (7) | ND (7)
F2 PHCs (C10-C16) | mg/kg dry | 4 | REGS | 638 | 2070 | 592
F3 PHCs (C16-C34) | mg/kg dry | 8 | REGS | 395 | 491 | 385
F4 PHCs (C34-C50) | mg/kg dry | 6 | REGS | 113 | 374 | 51
PCBs
PCBs, total | ug/g dry | 0.05 | REGS | N/A | N/A | N/A

## Fall Soil Samples Cell 1
2019 Fall Soil Sample Results- Cell # 1
In the Fall of 2018, Nunatta Environmental Services received a large amount of soil from the Iqaluit Airport Services landfarm cleanup.
This was a contract won by Qikiqtaaluk Environmental (QE) who had not completed building their landfarm and needed space to store the soil.
Nunatta Environmental Services and QE made a deal to store soil and separate rocks and cobbles from the soil in 2 stages.
Rocks larger than 3 inch separated as soil is brought into the landfarm and everything down to 3/4 inch separated when soil screened and removed
from the Nunatta Landfarm. All soil and rocks are the property of QE and will be removed by them as the soil thaws in the summer of 2020.
This soil was not tested by Nunatta but QE does have the sample results taken almost daily at the excavation site inside the airport.
Below are the sample results from Nunatta soil, which is stored in cell # 4 until room is made to move it to another cell.
This is the soil from cell #1 and from the remaining soil in cell #4 from 2018.
TABLE 1 |  | CLIENT: Nunatta Environmental Services Inc.
PARACEL LABORATORIES LTD. |  | ATTENTION: Jim Wilson
WORKORDER: 1944057 |  | PROJECT: Nunatta Land Farm
REPORT DATE: 11/01/2019 |  | REFERENCE: Standing Offer
Parameter | Units | MDL | Regulation | Sample
|  |  |  | Landfarm Cell1#1 1944057-01 | Landfarm Cell1#2 1944057-02 | Landfarm Cell1#3 1944057-03
Sample Date (m/d/y) |  |  | Select Reg | 2019-10-25 08:30 | 2019-10-25 08:30 | 2019-10-25 08:30
Physical Characteristics
% Solids | % by Wt. | 0.1 | REGS | 91.5 | 82 | 89.3
Microbiological Parameters
Heterotrophic Plate Count | CFU/g | 1000 | REGS | 22000 | 37000 | 5000
Metals
Antimony | ug/g dry | 1 | REGS | ND (1) | ND (1) | ND (1)
Arsenic | ug/g dry | 1 | REGS | 2 | 3 | 3
Barium | ug/g dry | 1 | REGS | 29 | 32 | 31
Beryllium | ug/g dry | 0.5 | REGS | ND (0.5) | ND (0.5) | ND (0.5)
Boron | ug/g dry | 5 | REGS | ND (5.0) | ND (5.0) | ND (5.0)
Cadmium | ug/g dry | 0.5 | REGS | ND (0.5) | ND (0.5) | ND (0.5)
Chromium | ug/g dry | 5 | REGS | 25 | 29 | 27
Cobalt | ug/g dry | 1 | REGS | 6 | 6 | 5
Copper | ug/g dry | 5 | REGS | 12 | 18 | 12
Lead | ug/g dry | 1 | REGS | 8 | 5 | 10
Molybdenum | ug/g dry | 1 | REGS | ND (1) | 1 | ND (1)
Nickel | ug/g dry | 5 | REGS | 9 | 10 | 9
Selenium | ug/g dry | 1 | REGS | ND (1) | ND (1) | ND (1)
Silver | ug/g dry | 0.3 | REGS | ND (0.3) | ND (0.3) | ND (0.3)
Thallium | ug/g dry | 1 | REGS | ND (1) | ND (1) | ND (1)
Tin | ug/g dry | 5 | REGS | ND (5) | ND (5) | ND (5)
Uranium | ug/g dry | 1 | REGS | ND (1) | ND (1) | ND (1)
Vanadium | ug/g dry | 10 | REGS | 52 | 51 | 49
Zinc | ug/g dry | 20 | REGS | 46 | 41 | 46
Volatiles
Acetone | ug/g dry | 0.5 | REGS | ND (0.50) | ND (0.50) | ND (0.50)
Benzene | ug/g dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Bromodichloromethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Bromoform | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Bromomethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Carbon Tetrachloride | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Chlorobenzene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Chloroethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Chloroform | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Chloromethane | ug/g dry | 0.2 | REGS | ND (0.20) | ND (0.20) | ND (0.20)
Dibromochloromethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Dichlorodifluoromethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Ethylene dibromide (dibromoethane, 1,2-) | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,2-Dichlorobenzene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,3-Dichlorobenzene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,4-Dichlorobenzene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,1-Dichloroethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,2-Dichloroethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,1-Dichloroethylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
cis-1,2-Dichloroethylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
trans-1,2-Dichloroethylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,2-Dichloroethylene, total | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,2-Dichloropropane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
cis-1,3-Dichloropropylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
trans-1,3-Dichloropropylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,3-Dichloropropene, total | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Ethylbenzene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Hexane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Methyl Ethyl Ketone (2-Butanone) | ug/g dry | 0.5 | REGS | ND (0.50) | ND (0.50) | ND (0.50)
Methyl Butyl Ketone (2-Hexanone) | ug/g dry | 2 | REGS | ND (2.00) | ND (2.00) | ND (2.00)
Methyl Isobutyl Ketone | ug/g dry | 0.5 | REGS | ND (0.50) | ND (0.50) | ND (0.50)
Methyl tert-butyl ether | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Methylene Chloride | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Styrene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,1,1,2-Tetrachloroethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,1,2,2-Tetrachloroethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Tetrachloroethylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Toluene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,1,1-Trichloroethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,1,2-Trichloroethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Trichloroethylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Trichlorofluoromethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,3,5-Trimethylbenzene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Vinyl Chloride | ug/g dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
m/p-Xylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
o-Xylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Xylenes, total | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Hydrocarbons
F1 PHCs (C6-C10) | mg/kg dry | 7 | REGS | ND (7) | ND (7) | ND (7)
F2 PHCs (C10-C16) | mg/kg dry | 4 | REGS | 120 | 20 | 134
F3 PHCs (C16-C34) | mg/kg dry | 8 | REGS | 188 | ND (8) | 722
F4 PHCs (C34-C50) | mg/kg dry | 6 | REGS | 148 | 26 | 580
Semi-Volatiles
Acenaphthene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Acenaphthylene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Anthracene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Benzo[a]anthracene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Benzo[a]pyrene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | 0.03
Benzo[b]fluoranthene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | 0.02
Benzo[g,h,i]perylene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | 0.04
Benzo[k]fluoranthene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
1,1-Biphenyl | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Chrysene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | 0.03
Dibenzo[a,h]anthracene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Fluoranthene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | 0.03
Fluorene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Indeno[1,2,3-cd]pyrene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
1-Methylnaphthalene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
2-Methylnaphthalene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Methylnaphthalene (1&2) | mg/kg dry | 0.04 | REGS | ND (0.04) | ND (0.04) | ND (0.04)
Naphthalene | mg/kg dry | 0.01 | REGS | ND (0.01) | ND (0.01) | ND (0.01)
Phenanthrene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | 0.02
Pyrene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | 0.04
Quinoline | mg/kg dry | 0.1 | REGS | ND (0.10) | ND (0.10) | ND (0.10)
PCBs
PCBs, total | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)

## Fall Soil Samples Cell 3
Fall Soil Sample Results-Cell # 3
TABLE 1 |  | CLIENT: Nunatta Environmental Services Inc.
PARACEL LABORATORIES LTD. |  | ATTENTION: Jim Wilson
WORKORDER: 1944057 |  | PROJECT: Nunatta Land Farm
REPORT DATE: 11/01/2019 |  | REFERENCE: Standing Offer
Parameter | Units | MDL | Regulation | Sample
|  |  |  | Landfarm Cell3#1 1944057-05 | Landfarm Cell3#2 1944057-06 | Landfarm Cell3#3 1944057-07
Sample Date (m/d/y) |  |  | Select Reg | 2019-10-25 08:30 | 2019-10-25 08:30 | 2019-10-25 08:30
Physical Characteristics
% Solids | % by Wt. | 0.1 | REGS | 85.8 | 88.3 | 90.3
Microbiological Parameters
Heterotrophic Plate Count | CFU/g | 1000 | REGS | 37000 | 18000 | 42000
Metals
Antimony | ug/g dry | 1 | REGS | N/A | N/A | N/A
Arsenic | ug/g dry | 1 | REGS | N/A | N/A | N/A
Barium | ug/g dry | 1 | REGS | N/A | N/A | N/A
Beryllium | ug/g dry | 0.5 | REGS | N/A | N/A | N/A
Boron | ug/g dry | 5 | REGS | N/A | N/A | N/A
Cadmium | ug/g dry | 0.5 | REGS | N/A | N/A | N/A
Chromium | ug/g dry | 5 | REGS | N/A | N/A | N/A
Cobalt | ug/g dry | 1 | REGS | N/A | N/A | N/A
Copper | ug/g dry | 5 | REGS | N/A | N/A | N/A
Lead | ug/g dry | 1 | REGS | N/A | N/A | N/A
Molybdenum | ug/g dry | 1 | REGS | N/A | N/A | N/A
Nickel | ug/g dry | 5 | REGS | N/A | N/A | N/A
Selenium | ug/g dry | 1 | REGS | N/A | N/A | N/A
Silver | ug/g dry | 0.3 | REGS | N/A | N/A | N/A
Thallium | ug/g dry | 1 | REGS | N/A | N/A | N/A
Tin | ug/g dry | 5 | REGS | N/A | N/A | N/A
Uranium | ug/g dry | 1 | REGS | N/A | N/A | N/A
Vanadium | ug/g dry | 10 | REGS | N/A | N/A | N/A
Zinc | ug/g dry | 20 | REGS | N/A | N/A | N/A
Volatiles
Acetone | ug/g dry | 0.5 | REGS | ND (0.50) | ND (0.50) | ND (0.50)
Benzene | ug/g dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Bromodichloromethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Bromoform | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Bromomethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Carbon Tetrachloride | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Chlorobenzene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Chloroethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Chloroform | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Chloromethane | ug/g dry | 0.2 | REGS | ND (0.20) | ND (0.20) | ND (0.20)
Dibromochloromethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Dichlorodifluoromethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Ethylene dibromide (dibromoethane, 1,2-) | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,2-Dichlorobenzene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,3-Dichlorobenzene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,4-Dichlorobenzene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,1-Dichloroethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,2-Dichloroethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,1-Dichloroethylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
cis-1,2-Dichloroethylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
trans-1,2-Dichloroethylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,2-Dichloroethylene, total | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,2-Dichloropropane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
cis-1,3-Dichloropropylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
trans-1,3-Dichloropropylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,3-Dichloropropene, total | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Ethylbenzene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Hexane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Methyl Ethyl Ketone (2-Butanone) | ug/g dry | 0.5 | REGS | ND (0.50) | ND (0.50) | ND (0.50)
Methyl Butyl Ketone (2-Hexanone) | ug/g dry | 2 | REGS | ND (2.00) | ND (2.00) | ND (2.00)
Methyl Isobutyl Ketone | ug/g dry | 0.5 | REGS | ND (0.50) | ND (0.50) | ND (0.50)
Methyl tert-butyl ether | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Methylene Chloride | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Styrene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,1,1,2-Tetrachloroethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,1,2,2-Tetrachloroethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Tetrachloroethylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Toluene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,1,1-Trichloroethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,1,2-Trichloroethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Trichloroethylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Trichlorofluoromethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,3,5-Trimethylbenzene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Vinyl Chloride | ug/g dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
m/p-Xylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
o-Xylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Xylenes, total | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Hydrocarbons
F1 PHCs (C6-C10) | mg/kg dry | 7 | REGS | ND (7) | ND (7) | ND (7)
F2 PHCs (C10-C16) | mg/kg dry | 4 | REGS | 278 | 93 | 425
F3 PHCs (C16-C34) | mg/kg dry | 8 | REGS | 340 | 199 | 389
F4 PHCs (C34-C50) | mg/kg dry | 6 | REGS | 281 | 171 | 297
Semi-Volatiles
Acenaphthene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Acenaphthylene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Anthracene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Benzo[a]anthracene | mg/kg dry | 0.02 | REGS | 0.03 | ND (0.02) | 0.04
Benzo[a]pyrene | mg/kg dry | 0.02 | REGS | 0.05 | 0.03 | 0.05
Benzo[b]fluoranthene | mg/kg dry | 0.02 | REGS | 0.03 | ND (0.02) | 0.07
Benzo[g,h,i]perylene | mg/kg dry | 0.02 | REGS | 0.06 | 0.04 | 0.06
Benzo[k]fluoranthene | mg/kg dry | 0.02 | REGS | 0.02 | ND (0.02) | 0.02
1,1-Biphenyl | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Chrysene | mg/kg dry | 0.02 | REGS | 0.05 | ND (0.02) | 0.07
Dibenzo[a,h]anthracene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Fluoranthene | mg/kg dry | 0.02 | REGS | 0.02 | 0.02 | 0.02
Fluorene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Indeno[1,2,3-cd]pyrene | mg/kg dry | 0.02 | REGS | 0.02 | 0.02 | 0.03
1-Methylnaphthalene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
2-Methylnaphthalene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Methylnaphthalene (1&2) | mg/kg dry | 0.04 | REGS | ND (0.04) | ND (0.04) | ND (0.04)
Naphthalene | mg/kg dry | 0.01 | REGS | 0.01 | ND (0.01) | 0.02
Phenanthrene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Pyrene | mg/kg dry | 0.02 | REGS | 0.15 | 0.05 | 0.22
Quinoline | mg/kg dry | 0.1 | REGS | ND (0.10) | ND (0.10) | ND (0.10)
PCBs
PCBs, total | ug/g dry | 0.05 | REGS | N/A | N/A | N/A

## Fall Soil Samples Cell 4
Fall Soil Sample Results-Cell # 4
TABLE 1 |  | CLIENT: Nunatta Environmental Services Inc.
PARACEL LABORATORIES LTD. |  | ATTENTION: Jim Wilson
WORKORDER: 1944057 |  | PROJECT: Nunatta Land Farm
REPORT DATE: 11/01/2019 |  | REFERENCE: Standing Offer
Parameter | Units | MDL | Regulation | Sample
|  |  |  | Landfarm Cel4#1 1944057-08 | Landfarm Cel4#2 1944057-09 | Landfarm Cel4#3 1944057-10
Sample Date (m/d/y) |  |  | Select Reg | 2019-10-25 08:30 | 2019-10-25 08:30 | 2019-10-25 08:30
Physical Characteristics
% Solids | % by Wt. | 0.1 | REGS | 90.7 | 88.6 | 88.9
Microbiological Parameters
Heterotrophic Plate Count | CFU/g | 1000 | REGS | TNTC | TNTC | TNTC
Metals
Antimony | ug/g dry | 1 | REGS | ND (1) | ND (1) | ND (1)
Arsenic | ug/g dry | 1 | REGS | 2 | 3 | 3
Barium | ug/g dry | 1 | REGS | 36 | 37 | 35
Beryllium | ug/g dry | 0.5 | REGS | ND (0.5) | ND (0.5) | ND (0.5)
Boron | ug/g dry | 5 | REGS | ND (5.0) | ND (5.0) | ND (5.0)
Cadmium | ug/g dry | 0.5 | REGS | ND (0.5) | ND (0.5) | ND (0.5)
Chromium | ug/g dry | 5 | REGS | 26 | 27 | 25
Cobalt | ug/g dry | 1 | REGS | 6 | 5 | 6
Copper | ug/g dry | 5 | REGS | 16 | 12 | 16
Lead | ug/g dry | 1 | REGS | 7 | 9 | 7
Molybdenum | ug/g dry | 1 | REGS | 1 | 1 | 1
Nickel | ug/g dry | 5 | REGS | 10 | 9 | 10
Selenium | ug/g dry | 1 | REGS | ND (1) | ND (1) | ND (1)
Silver | ug/g dry | 0.3 | REGS | ND (0.3) | ND (0.3) | ND (0.3)
Thallium | ug/g dry | 1 | REGS | ND (1) | ND (1) | ND (1)
Tin | ug/g dry | 5 | REGS | ND (5) | ND (5) | ND (5)
Uranium | ug/g dry | 1 | REGS | ND (1) | ND (1) | ND (1)
Vanadium | ug/g dry | 10 | REGS | 50 | 54 | 49
Zinc | ug/g dry | 20 | REGS | 61 | 53 | 53
Volatiles
Acetone | ug/g dry | 0.5 | REGS | ND (0.50) | ND (0.50) | ND (0.50)
Benzene | ug/g dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Bromodichloromethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Bromoform | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Bromomethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Carbon Tetrachloride | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Chlorobenzene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Chloroethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Chloroform | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Chloromethane | ug/g dry | 0.2 | REGS | ND (0.20) | ND (0.20) | ND (0.20)
Dibromochloromethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Dichlorodifluoromethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Ethylene dibromide (dibromoethane, 1,2-) | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,2-Dichlorobenzene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,3-Dichlorobenzene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,4-Dichlorobenzene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,1-Dichloroethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,2-Dichloroethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,1-Dichloroethylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
cis-1,2-Dichloroethylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
trans-1,2-Dichloroethylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,2-Dichloroethylene, total | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,2-Dichloropropane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
cis-1,3-Dichloropropylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
trans-1,3-Dichloropropylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,3-Dichloropropene, total | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Ethylbenzene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Hexane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Methyl Ethyl Ketone (2-Butanone) | ug/g dry | 0.5 | REGS | ND (0.50) | ND (0.50) | ND (0.50)
Methyl Butyl Ketone (2-Hexanone) | ug/g dry | 2 | REGS | ND (2.00) | ND (2.00) | ND (2.00)
Methyl Isobutyl Ketone | ug/g dry | 0.5 | REGS | ND (0.50) | ND (0.50) | ND (0.50)
Methyl tert-butyl ether | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Methylene Chloride | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Styrene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,1,1,2-Tetrachloroethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,1,2,2-Tetrachloroethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Tetrachloroethylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Toluene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,1,1-Trichloroethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,1,2-Trichloroethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Trichloroethylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Trichlorofluoromethane | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
1,3,5-Trimethylbenzene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Vinyl Chloride | ug/g dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
m/p-Xylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
o-Xylene | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Xylenes, total | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05)
Hydrocarbons
F1 PHCs (C6-C10) | mg/kg dry | 7 | REGS | ND (7) | ND (7) | ND (7)
F2 PHCs (C10-C16) | mg/kg dry | 4 | REGS | 46 | 290 | 81
F3 PHCs (C16-C34) | mg/kg dry | 8 | REGS | 291 | 221 | 200
F4 PHCs (C34-C50) | mg/kg dry | 6 | REGS | 105 | 82 | 58
Semi-Volatiles
Acenaphthene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Acenaphthylene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Anthracene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Benzo[a]anthracene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Benzo[a]pyrene | mg/kg dry | 0.02 | REGS | ND (0.02) | 0.02 | ND (0.02)
Benzo[b]fluoranthene | mg/kg dry | 0.02 | REGS | ND (0.02) | 0.04 | ND (0.02)
Benzo[g,h,i]perylene | mg/kg dry | 0.02 | REGS | ND (0.02) | 0.02 | ND (0.02)
Benzo[k]fluoranthene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
1,1-Biphenyl | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Chrysene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Dibenzo[a,h]anthracene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Fluoranthene | mg/kg dry | 0.02 | REGS | ND (0.02) | 0.02 | ND (0.02)
Fluorene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Indeno[1,2,3-cd]pyrene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
1-Methylnaphthalene | mg/kg dry | 0.02 | REGS | ND (0.02) | 0.04 | ND (0.02)
2-Methylnaphthalene | mg/kg dry | 0.02 | REGS | ND (0.02) | 0.04 | ND (0.02)
Methylnaphthalene (1&2) | mg/kg dry | 0.04 | REGS | ND (0.04) | 0.08 | ND (0.04)
Naphthalene | mg/kg dry | 0.01 | REGS | ND (0.01) | 0.04 | ND (0.01)
Phenanthrene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02)
Pyrene | mg/kg dry | 0.02 | REGS | ND (0.02) | 0.04 | ND (0.02)
Quinoline | mg/kg dry | 0.1 | REGS | ND (0.10) | ND (0.10) | ND (0.10)
PCBs
PCBs, total | ug/g dry | 0.05 | REGS | N/A | N/A | N/A

## Water samples
2019 Water Sample Results
The summer of 2019 was generally cool, wet, and windy.
Nunatta Staff did check the water wells and on one accasion did find one well MW12 thawed but could not gather
enough water to make up a sample.
Many of the wells have gone dry due to excavation and removal of the gravel adjacent to the Nunatta landfarm.
The gravel adjacent to the landfarm has been lowered by as much as 6 meters and no water could be collected.
This was noted in the inspection report (attached) by Johnathan Mesher, Water Inspector for
Crown-Indigenous Relations and Northern Affairs.

## CIRNA Inspection Report
Nunatta Landfarm CIRNA Inspection
Inspection carried out on July 10, 2019 by:
Jonathan Mesher, Water Resource Officer
Nunavut Region
Crown Indigenous Relations & Northern Affairs Canada
Report 1BR-NUN_2019_INSPECTION.PDF attached

## 2019 Summary
2019
Summary of Activities at Nunatta Environmental Services Inc. (NESI)
NWB licence 1BR-NUN-1217 Type "B"
Landfarm in Iqaluit for 2019 season
Water
21.2 cubic meters of water was brought into Nunatta Landfarm during the year of 2019. Most came in as snow but
water from a fuel spill cleanup amounted to about 5 cubic meters.
This is added to our soil piles in a manner to assure there is no run off into the catch basin in the spring.
No water was released into the environment during 2019.
Soils
NESI landfarm received 1712 cubic meters of hydrocarbon contaminated soil for treatment in 2019.
This soil was put into cell #1 and treated with fertilizers and turned a couple times to mix it with old soil.
The old soil is high in microbial activity which assists in breaking down hydrocarbons.
Qikiqtaaluk Environmental brought NESI 6487 cubic meters of soil from a clean up at the Iqaluit Airport.
Nunatta ran it through the screening plant removing all rocks larger than 3 inches. Nunatta than stored the soil at its
landfarm. In the summer of 2019, Nunatta screened soil down to minus 3/4 inch and all thawed soil and rocks were
removed by Qikiqtaaluk Enviromental and transported to their landfarm.
The remaining QE soil will be screened and removed during the summer of 2020.
Test Wells
Monitoring Wells did not produce water this year.
Nunatta attempted water sampling late in the season, but test wells remained frozen.
Remediation practices
Nunatta Environmental Services has been improving soil remediation practices and each year find
ways of reducing the time the soil spends in our landfarm. With these practices of careful monitoring
and proper additions to the soil including innoculation of bacteria and enzymes from remediated soil
into the new soils, Nunatta has been able to reduce the remediation time to less than 1/2 of what it was 6 years ago.
Information gathered from soil sampling and testing in association with the University of Saskatchewan's
Soil Toxicology Department, Nunatta has been able to put them into practice at its landfarm.
We cannot thank Dr. Stephen Sciciliano enough for his assistance and for taking my phone calls and
answering my emails over the past few years.
Using our new practices and with the right equipment we are hoping to go out into other communities
and assist with soil cleanup where historic large spills have occurred. The plan is to clean soils
contaminated with hydrocarbons in situ.
Soil: Spring and Fall soil samples were taken and samples sent to Paracell Labs in Ottawa for analysis.
The results indicate hydrocarbon remediaton is progressing at a very generous rate compared to the last few years.
Nunatta believes this is due to much higher microbial activity.
Lab reports show microbial count exceeds the normal found in Baffin Island soils.
Soils not innoculated with old soil show plate counts of 2,000-4,000 .
Soils contained in cells which have been screened, fertilizer added, and innoculated with
cleaned soil show counts as high as TNTC (Too Numberous To Count).
These microbes are responsible for the breakdown of hydrocarbons into harmless components.
Managing and feeding microbes is the most important step in operating the Nunatta landfarm.

## Format Control (hidden)
Select | Select | Part A | Item 1
Yes | 2008 | Part B | Item 2
No | 2009 | Part C | Item 3
| 2010 | Select | Select
2011
2012
2013
2014
2015
No Spill Contingency Plan (SCP) submitted or approved
SCP submitted and approved - no revision required or proposed
SCP addendum attached for Board consideration
Other: (see additional details)
N/A - not applicable
Select
No Abandonment and Restoration (AR) Plan submitted or approved
AR plan submitted and approved - no revision required or proposed
AR addendum attached for Board consideration
Other: (see additional details)
N/A - not applicable
No additional sampling requested by an Inspector or the Board
Additional sampling requested by an Inspector or the Board (See below)
Select
No inspection and/or compliance report issued by INAC
No inspection report issued by INAC
No compliance report issued by INAC
Inspection and Compliance Report received by the Licensee (Date):
Inspection Report received by the Licensee (Date):
Compliance Report received by the Licensee (Date):
Select
Select
Not Applicable (N/A)
Details described below
Details attached