## Notes for Use
Nunavut Water Board - Notes for Use
Standard Form for Annual Reporting Requirements of NWB2 Exploration Water Licenses
Under the terms of your water licence issued by the Nunavut Water Board ("NWB") for the use of water and the disposal of waste into water associated with mineral exploration (NWB2 Licenses), Licensees are required to submit to the NWB an Annual Report no later than March 31st of the year following the calendar year being reported.
In order to aid the Licensee with the preparation of the Annual Report and facilitate its review by the NWB, Licensees are required to use the following form.
Recommendation and Helpful tips for use:
Metric units shall be used to report any relevant data.
How to Add additional space within Text boxes - Right click mouse on the row number (directly to the left of your screen) which falls within the text box range and click insert. Do not drag or drop text box to modify size of the text box because formatting will not be maintained and data will be lost. If you have large amounts of data recommend adding additional worksheets. Go to the help menu for assistance.
Electronic versions should be submitted in Adobe to ensure protection of your information. If you do not have shortcut keys to save as a PDF. Go to print menu . Choose to print "Entire Worksheet" then select printer option Adobe PDF and you will be prompted to save the document as a PDF document. Reminder ensure you have saved your document in Excel so that future changes can be made.
Modify the Header - Select "View" then "Header" from the main menu. Select "Custom Header" and change to reflect the valid Water Licence No.
Textboxes denoted with * are optional.
Annual Reports shall be submitted by either fax, mail or email in adobe acrobat or Excel format to:
Nunavut Water Board
c/o Manager of Licensing
P.O. Box 119
Gjoa Haven, NU X0B 1J0
Tel: 867-360-6338
Fax:867-360-6369
| Email: | licensing@nwb-oen.ca

## Standard Form
NWB Annual Report |  |  |  | Year being reported: |  |  | 2021
License No: | NWB 1BR-NUN1828 |  |  | Issued Date: |  | 2018-04-11
|  |  |  | Expiry Date: |  | 2028-04-10
Project Name:
Licensee:
Mailing Address:
Name of Company filing Annual Report (if different from Name of Licensee please clarify relationship between the two entities, if applicable):
General Background Information on the Project (*optional):
Licence Requirements: the licensee must provide the following information in accodance with
A summary report of water use and waste disposal activities, including, but not limited to: methods of obtaining water; sewage and greywater management; drill waste management; solid and hazardous waste management.
| Water Source(s): |  | Rain and melt water. Hydrocarbon contaminated.
| Water Quantity: |  |  |  | Quantity Allowable Domestic (cu.m)
Actual Quantity Used Domestic (cu.m)
Quantity Allowable Drilling (cu.m)
Total Quantity Used Drilling (cu.m)
Waste Management and/or Disposal
No water was released into the environment 2021
Additional Details:
A list of unauthorized discharges and a summary of follow-up actions taken.
| Spill No.: |  |  | (as reported to the Spill Hot-line)
Date of Spill:
Date of Notification to an Inspector:
Additional Details: (impacts to water, mitigation measures, short/long term monitoring, etc)
Revisions to the Spill Contingency Plan
Additional Details: No revisions to the Spill Contingency plan
Revisions to the Abandonment and Restoration Plan
Additional Details: Abandonment and Restoration plan updated
Progressive Reclamation Work Undertaken
Additional Details (i.e., work completed and future works proposed)
Results of the Monitoring Program including:
The GPS Co-ordinates (in degrees, minutes and seconds of latitude and longitude) of each location where sources of water are utilized;
Additional Details: No water was drawn from source
The GPS Co-ordinates (in degrees, minutes and seconds of latitude and longitude) of each location where wastes associated with the licence are deposited;
Additional Details:
Results of any additional sampling and/or analysis that was requested by an Inspector
Additional Details: No requests by Inspector
Any other details on water use or waste disposal requested by the Board by November 1 of the year being reported.
Additional Details: No request by NWB
Any responses or follow-up actions on inspection/compliance reports
Additional Details: (Dates of Report, Follow-up by the Licensee)
Any additional comments or information for the Board to consider
Date Submitted: |  | 2020-01-01
Submitted/Prepared by: |  | James H. Wilson for Nunatta Environmental Services Inc.
Contact Information: |  | Tel: | 867-979-1488
|  | Fax: | 867-979-1478
|  | email: | jim@nunatta.ca
1575 Federal Road
P.O. Box 267, Iqaluit,
Nunavut
X0A 0H0
Nunatta Environmental Services Inc. "NESI"
NESI owns and operates a Hydrocarbon Impacted Soil Landfarm on the outskirts of Iqaluit, Nu. Operations consists of accepting soils impacted with petroleum products at various concentrations at the geosynthetic lined platform and using indigenous soil microorganisms and unique soil farming practices break down compounds into, water, carbon and hydrogen sulphide.
Nunatta Environmental Services Inc. "Landfarm"
Note on A49: ====== ID#AAAAECTnx_A NWB (2020-01-06 21:07:05) If more than one spill incident occurred simply copy rows and "insert copied cells" as needed.

## GPS Coordinates
GPS Coordinates
GPS Coordinates for water sources utilized
|  | Latitude |  |  | Longitude
| Source Description | Deg | Min | Sec | Deg | Min | Sec
|  | º | ΄ | ˝ | º | ΄ | ˝
GPS Locations of areas of waste disposal
| Location Description (type) | Latitude |  |  | Longitude
|  | Deg | Min | Sec | Deg | Min | Sec
|  | º | ΄ | ˝ | º | ΄ | ˝
| Treated water discharge point | 68 | 32 | 46.47 | 63 | 45 | 49.9

## Soils received
Soils accepted at Landfarm in 2021
Project # | Customer | Cubic Metres | Date | Contaminant
21-29 | Uquutaq Society | 0.38 | 2021-06-07 | heating fuel
Port | Tower Arctic | 1.5 | 2021-10-05 | Diesel fuel
21-53 | Narwhal plumbing spill Apex | 15 | 2021-10-28 | Heating fuel
| Total Soils 2021 | 16.88

## Soils removed
Soils removed from Landfarm 2021
Project # | Customer | Cu/M
Cubic meters
Total removed

## Water snow received
Water/Snow received at Landfarm 2021
SNOW
Project # | Customer | Cu/m | Date | Contaminant
3423 | City of Iqaluit | 6 | 2021-01-13 | Hydraulic oil from sewage truck
21-16 | Canadian North | 1 | 2021-02-02 | snow filled with sewage water and glycol
21-27 | Pentecostal church #761 | 52 | 4/28, 29/2021 | snow mixed with heating fuel
21-56 | Canadian North | 4 | 2021-11-22 | snow with de-icing fluid from spill
| Total cu/M received in 2021 | 63
WATER
Project # | Customer | Litres | Date | Contaminant
21-27 | Pentecostal church #761 | 10000 | 05/01-07/2021 | heating fuel
| Nunavut Excavating | 22000 | 12/06021 | diesel fuel from sewage bypass trench
| Total litres received 2021 | 32000

## Cell Volumes
Soils contained in Landfarm cells freezeup 2021
Cell # | Dimension | Cell reference | Soil in progress | Rocks | Protective layer | Total soil contained | Soil remediated and ready to remove.
| Meters |  | cubic meters | C/m | C/m | C/m
1 | 60X30 |  | 1100 | 800 | 687 | 2587 | 0
2 | 50X25 |  | 0 | 0 | 400 | 400 | 0
3 | 90X30 |  | 240 | 10 | 1062 | 1312 | 200
4 | 60X30 |  | 1200 | 200 | 800 | 2200 | 0
|  | Totals | 2540 | 1010 | 2949 | 6499

## Map overview
Map Overview

## Landfarm
Landfarm

## Landfarm Details
Landfarm Details

## Monitoring well location
Monitoring Well Locations

## Monitoring Summary
2021 Monitoring Summary
During the summer of 2021 Nunatta was very busy at a large fuel spill in Baker Lake, NU
Some soil screening and some yard work did take place, but very limited due to staff shortages.
There was very little soil delivered to our landfarm in the year of 2021, so we only turned out soil enough
to thaw it out and mix in some ingredients. We did get dry enough weather in late August to screen out
part of cell #1 and this was placed into cell #4 and cell #4 was started but due to rains and then early frost
we did not complete all that was contained in the cell. This will be summer of 2022 plan.
Water monitoring was not done in summer of 2021. No water was collected in the wells and only 1 well
showed sign of being wet. The other ones were still frozen even into September.
Nunatta staff attempted to take sample in August and in September with no collection availlable
Since the gravel has been removed from the area north and west of our landfarm not often have we been
able to collect water samples from our wells.
Area of pit is about 4 meters lower than our land and separated by only a gravel road.

## Water pumped in 2021
Water pumped within landfarm cells 2019
Date | Action | From | Destination | Litre
No water was pumped within Nunatta landfarm during the summer of 2021.
In the spring of the yuear we had very little water collect in our cells what water he
had evaporated off early in the summer and for the first time ever we saw our cells dry
We saw no need to even transfer water from cell to cell
For this reason no water was pumped out of the landfarm into the environment
No water released in to the environment in 2021
|  |  | Total pumped | 0
|  |  | Total Cu/M | 0

## Construction of cell #2
Consruction of cell #2
In 2013 Nunatta Environmental applied for and was approved for an extension and replacement of
liner for cell #2. The cell was used for rocks and cobbles removed from the screening process.
The liner used in cell #2 was only 20 mm and Nunatta felt this liner should be brought up to the
30 mm standard & at the same time the cell could be made longer to accommodate our equipment.
Permission was granted for the summer of 2014 construction season but due to cold weather
and no place to put all the rocks stored in that cell delayed the work. Nunatta made note to this in
the 2014 annual report and indicated our intentions were to finish the work summer of 2015.
Jobs within our landfarm has required us to use cell #2 to contain rocks and some stored soil
in summer of 2020 the screening of cell #3 was completed and this will allow us to start once
again to strip out material contained in cell #2 and if weather is good we will be able to replace the
old liner and make the cell useable again for containment of contaminated soils
Due to staff being away dealing with large gasoline spill in Baker Lake no work was done to
Nunatta landfarm cell #2 this year

## Spring Soil Samples Cell 1
TABLE 1 |  | CLIENT: Nunatta Environmental Services
PARACEL LABORATORIES LTD. |  | ATTENTION: Jim Wilson
WORKORDER: 2124486 | 2124486 | PROJECT: Spring Landfarm 2021
REPORT DATE: 06/14/2021 | 2021-06-14 | REFERENCE: Standing Offer
Parameter | Units | MDL | Regulation
|  |  |  | Cell #1- S#1 2124486-01 | Cell #1- S#2 2124486-02 | Cell #1- S#3 2124486-03 | Cell #1- S#4 2124486-04 | Cell #1- S#5 2124486-05 | Cell #1- S#6 2124486-06 | Cell #1- S#7 2124486-07
Sample Date (m/d/y) |  |  | Select Reg | 06/07/2021 10:57 AM | 06/07/2021 10:58 AM | 06/07/2021 10:59 AM | 06/07/2021 11:02 AM | 06/07/2021 11:04 AM | 06/07/2021 11:06 AM | 06/07/2021 11:08 AM
Physical Characteristics
% Solids | % by Wt. | 0.1 | REGS | 89.1 | 92.6 | 93.1 | 92.3 | 92.9 | 94.1 | 94.5
Microbiological Parameters
Heterotrophic Plate Count | CFU/g | 1000 | REGS | 50000 | 2000 | 1000 | 10000 | 2000 | ND (1000) | 1000
Metals
Antimony | ug/g dry | 1.0 | REGS | ND (1.0) | ND (1.0) | ND (1.0) | ND (1.0) | ND (1.0) | ND (1.0) | ND (1.0)
Arsenic | ug/g dry | 1.0 | REGS | 3.3 | 2.4 | 2.5 | 3.2 | 3.6 | 3.5 | 3.5
Barium | ug/g dry | 1.0 | REGS | 30.9 | 21.4 | 24.8 | 32.8 | 27.6 | 30.3 | 28.8
Beryllium | ug/g dry | 0.5 | REGS | ND (0.5) | ND (0.5) | ND (0.5) | ND (0.5) | ND (0.5) | ND (0.5) | ND (0.5)
Boron | ug/g dry | 1.0 | REGS | 2.3 | 1.5 | 1.3 | 1.1 | 1.4 | 1.5 | 1.4
Cadmium | ug/g dry | 0.5 | REGS | ND (0.5) | ND (0.5) | ND (0.5) | ND (0.5) | ND (0.5) | ND (0.5) | ND (0.5)
Chromium | ug/g dry | 5.0 | REGS | 27.8 | 18.5 | 27.7 | 26.7 | 25.6 | 27.2 | 26.8
Cobalt | ug/g dry | 5.0 | REGS | 5.8 | ND (5.0) | 6.0 | 6.5 | 5.5 | 5.9 | 5.7
Copper | ug/g dry | 5.0 | REGS | 17.2 | 12.6 | 11.4 | 16.8 | 12.5 | 13.7 | 12.6
Lead | ug/g dry | 1.0 | REGS | 8.5 | 7.9 | 10.3 | 6.4 | 13.8 | 18.1 | 11.6
Molybdenum | ug/g dry | 1.0 | REGS | 1.1 | ND (1.0) | ND (1.0) | 1.1 | ND (1.0) | ND (1.0) | ND (1.0)
Nickel | ug/g dry | 5.0 | REGS | 9.9 | 6.8 | 8.9 | 10.0 | 8.9 | 8.9 | 9.0
Selenium | ug/g dry | 1.0 | REGS | ND (1.0) | ND (1.0) | ND (1.0) | ND (1.0) | ND (1.0) | ND (1.0) | ND (1.0)
Silver | ug/g dry | 0.3 | REGS | ND (0.3) | ND (0.3) | ND (0.3) | ND (0.3) | ND (0.3) | ND (0.3) | ND (0.3)
Thallium | ug/g dry | 1.0 | REGS | ND (1.0) | ND (1.0) | ND (1.0) | ND (1.0) | ND (1.0) | ND (1.0) | ND (1.0)
Tin | ug/g dry | 5.0 | REGS | ND (5.0) | ND (5.0) | ND (5.0) | ND (5.0) | ND (5.0) | ND (5.0) | ND (5.0)
Uranium | ug/g dry | 1.0 | REGS | ND (1.0) | ND (1.0) | ND (1.0) | ND (1.0) | ND (1.0) | ND (1.0) | ND (1.0)
Vanadium | ug/g dry | 10.0 | REGS | 53.3 | 38.0 | 50.6 | 49.4 | 51.4 | 52.6 | 51.8
Zinc | ug/g dry | 20.0 | REGS | 54.6 | 32.7 | 36.2 | 44.5 | 42.5 | 45.3 | 44.3
Volatiles
Benzene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02) | ND (0.02) | ND (0.02) | ND (0.02) | ND (0.02)
Ethylbenzene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
Toluene | mg/kg dry | 0.05 | REGS | 0.24 | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
m/p-Xylene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
o-Xylene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
Xylenes, total | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
Hydrocarbons
F1 PHCs (C6-C10) | mg/kg dry | 7 | REGS | ND (7) | 54 | ND (7) | ND (7) | ND (7) | ND (7) | ND (7)
F2 PHCs (C10-C16) | mg/kg dry | 4 | REGS | 586 | 1960 | 488 | 9 | 29 | 32 | 45
F3 PHCs (C16-C34) | mg/kg dry | 8 | REGS | 1030 | 333 | 101 | 46 | 216 | 232 | 288
F4 PHCs (C34-C50) | mg/kg dry | 6 | REGS | 87 | 22 | 11 | 18 | 184 | 216 | 321
F4G PHCs (gravimetric) | ug/g dry | 50 | REGS | N/A | N/A | N/A | N/A | 355 | 478 | 582
PCBs
PCBs, total | ug/g dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)

## Spring Soil Samples Cell 3
TABLE 1 |  | CLIENT: Nunatta Environmental Services Inc.
PARACEL LABORATORIES LTD. |  | ATTENTION: Jim Wilson
WORKORDER: 2124486 | 2124486 | PROJECT: Spring Landfarm 2021
REPORT DATE: 06/14/2021 | 2021-06-14 | REFERENCE: Standing Offer
Parameter | Units | MDL | Regulation
|  |  |  | Cell #3- S#1 2124486-14 | Cell #3- S#2 2124486-15
Sample Date (m/d/y) |  |  | Select Reg | 06/07/2021 11:15 AM | 06/07/2021 11:16 AM
Physical Characteristics
% Solids | % by Wt. | 0.1 | REGS | 94.0 | 93.5
Microbiological Parameters
Heterotrophic Plate Count | CFU/g | 1000 | REGS | 2000 | 2000
Metals
Antimony | ug/g dry | 1.0 | REGS | N/A | N/A
Arsenic | ug/g dry | 1.0 | REGS | N/A | N/A
Barium | ug/g dry | 1.0 | REGS | N/A | N/A
Beryllium | ug/g dry | 0.5 | REGS | N/A | N/A
Boron | ug/g dry | 1.0 | REGS | N/A | N/A
Cadmium | ug/g dry | 0.5 | REGS | N/A | N/A
Chromium | ug/g dry | 5.0 | REGS | N/A | N/A
Cobalt | ug/g dry | 5.0 | REGS | N/A | N/A
Copper | ug/g dry | 5.0 | REGS | N/A | N/A
Lead | ug/g dry | 1.0 | REGS | N/A | N/A
Molybdenum | ug/g dry | 1.0 | REGS | N/A | N/A
Nickel | ug/g dry | 5.0 | REGS | N/A | N/A
Selenium | ug/g dry | 1.0 | REGS | N/A | N/A
Silver | ug/g dry | 0.3 | REGS | N/A | N/A
Thallium | ug/g dry | 1.0 | REGS | N/A | N/A
Tin | ug/g dry | 5.0 | REGS | N/A | N/A
Uranium | ug/g dry | 1.0 | REGS | N/A | N/A
Vanadium | ug/g dry | 10.0 | REGS | N/A | N/A
Zinc | ug/g dry | 20.0 | REGS | N/A | N/A
Volatiles
Benzene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02)
Ethylbenzene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05)
Toluene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05)
m/p-Xylene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05)
o-Xylene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05)
Xylenes, total | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05)
Hydrocarbons
F1 PHCs (C6-C10) | mg/kg dry | 7 | REGS | ND (7) | ND (7)
F2 PHCs (C10-C16) | mg/kg dry | 4 | REGS | 44 | 32
F3 PHCs (C16-C34) | mg/kg dry | 8 | REGS | 295 | 222
F4 PHCs (C34-C50) | mg/kg dry | 6 | REGS | 265 | 187
F4G PHCs (gravimetric) | ug/g dry | 50 | REGS | 500 | 438
PCBs
PCBs, total | ug/g dry | 0.05 | REGS | N/A | N/A

## Spring Soil Samples Cell 4
TABLE 1 |  | CLIENT: Nunatta Environmental Services Inc.
PARACEL LABORATORIES LTD. |  | ATTENTION: Jim Wilson
WORKORDER: 2124486 | 2124486 | PROJECT: Spring Landfarm 2021
REPORT DATE: 06/14/2021 | 2021-06-14 | REFERENCE: Standing Offer
Parameter | Units | MDL | Regulation
|  |  |  | Cell #4- S#1 2124486-08 | Cell #4- S#2 2124486-09 | Cell #4- S#3 2124486-10 | Cell #4- S#4 2124486-11 | Cell #4- S#5 2124486-12 | Cell #4- S#6 2124486-13
Sample Date (m/d/y) |  |  | Select Reg | 06/07/2021 10:47 AM | 06/07/2021 10:48 AM | 06/07/2021 10:49 AM | 06/07/2021 10:50 AM | 06/07/2021 10:52 AM | 06/07/2021 10:53 AM
Physical Characteristics
% Solids | % by Wt. | 0.1 | REGS | 93.2 | 94.2 | 94.5 | 94.5 | 93.4 | 93.4
Microbiological Parameters
Heterotrophic Plate Count | CFU/g | 1000 | REGS | 120000 | 33000 | 28000 | 35000 | 8000 | 44000
Metals
Antimony | ug/g dry | 1.0 | REGS | N/A | N/A | N/A | N/A | N/A | N/A
Arsenic | ug/g dry | 1.0 | REGS | N/A | N/A | N/A | N/A | N/A | N/A
Barium | ug/g dry | 1.0 | REGS | N/A | N/A | N/A | N/A | N/A | N/A
Beryllium | ug/g dry | 0.5 | REGS | N/A | N/A | N/A | N/A | N/A | N/A
Boron | ug/g dry | 1.0 | REGS | N/A | N/A | N/A | N/A | N/A | N/A
Cadmium | ug/g dry | 0.5 | REGS | N/A | N/A | N/A | N/A | N/A | N/A
Chromium | ug/g dry | 5.0 | REGS | N/A | N/A | N/A | N/A | N/A | N/A
Cobalt | ug/g dry | 5.0 | REGS | N/A | N/A | N/A | N/A | N/A | N/A
Copper | ug/g dry | 5.0 | REGS | N/A | N/A | N/A | N/A | N/A | N/A
Lead | ug/g dry | 1.0 | REGS | N/A | N/A | N/A | N/A | N/A | N/A
Molybdenum | ug/g dry | 1.0 | REGS | N/A | N/A | N/A | N/A | N/A | N/A
Nickel | ug/g dry | 5.0 | REGS | N/A | N/A | N/A | N/A | N/A | N/A
Selenium | ug/g dry | 1.0 | REGS | N/A | N/A | N/A | N/A | N/A | N/A
Silver | ug/g dry | 0.3 | REGS | N/A | N/A | N/A | N/A | N/A | N/A
Thallium | ug/g dry | 1.0 | REGS | N/A | N/A | N/A | N/A | N/A | N/A
Tin | ug/g dry | 5.0 | REGS | N/A | N/A | N/A | N/A | N/A | N/A
Uranium | ug/g dry | 1.0 | REGS | N/A | N/A | N/A | N/A | N/A | N/A
Vanadium | ug/g dry | 10.0 | REGS | N/A | N/A | N/A | N/A | N/A | N/A
Zinc | ug/g dry | 20.0 | REGS | N/A | N/A | N/A | N/A | N/A | N/A
Volatiles
Benzene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02) | ND (0.02) | ND (0.02) | ND (0.02)
Ethylbenzene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
Toluene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
m/p-Xylene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
o-Xylene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
Xylenes, total | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
Hydrocarbons
F1 PHCs (C6-C10) | mg/kg dry | 7 | REGS | ND (7) | ND (7) | ND (7) | ND (7) | ND (7) | ND (7)
F2 PHCs (C10-C16) | mg/kg dry | 4 | REGS | 162 | 103 | 25 | 58 | 53 | 12
F3 PHCs (C16-C34) | mg/kg dry | 8 | REGS | 83 | 172 | 179 | 279 | 197 | 196
F4 PHCs (C34-C50) | mg/kg dry | 6 | REGS | 31 | 48 | 69 | 85 | 62 | 75
F4G PHCs (gravimetric) | ug/g dry | 50 | REGS | N/A | N/A | N/A | N/A | N/A | N/A
PCBs
PCBs, total | ug/g dry | 0.05 | REGS | N/A | N/A | N/A | N/A | N/A | N/A

## Fall Soil Samples Cell 1
TABLE 1 |  | CLIENT: Nunatta Environmental Services Inc.
PARACEL LABORATORIES LTD. |  | ATTENTION: Jim Wilson
WORKORDER: 2144252 | 2144252 | PROJECT: Fall Landfarm 2021
REPORT DATE: 11/01/2021 | 2021-11-01 | REFERENCE: Standing Offer
Parameter | Units | MDL | Regulation
|  |  |  | Cell #1-S#1 2144252-05 | Cell #1-S#2 2144252-06 | Cell #1-S#3 2144252-07 | Cell #1-S#4 2144252-08
Sample Date (m/d/y) |  |  | Select Reg | 10/19/2021 01:20 PM | 10/19/2021 01:20 PM | 10/19/2021 01:20 PM | 10/19/2021 01:20 PM
Physical Characteristics
% Solids | % by Wt. | 0.1 | REGS | 88.7 | 97.4 | 92.8 | 93.3
Microbiological Parameters
Heterotrophic Plate Count | CFU/g | 1000 | REGS | 31000 | ND (1000) | 1000 | 41000
Volatiles
Benzene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02) | ND (0.02)
Ethylbenzene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
Toluene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
m/p-Xylene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
o-Xylene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
Xylenes, total | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
Hydrocarbons
F1 PHCs (C6-C10) | mg/kg dry | 7 | REGS | ND (7) | ND (7) | ND (7) | ND (7)
F2 PHCs (C10-C16) | mg/kg dry | 4 | REGS | 91 | 21 | 30 | 501
F3 PHCs (C16-C34) | mg/kg dry | 8 | REGS | 105 | 148 | 229 | 212
F4 PHCs (C34-C50) | mg/kg dry | 6 | REGS | 21 | 113 | 203 | 48
F4G PHCs (gravimetric) | ug/g dry | 50 | REGS | N/A | N/A | 431 | N/A

## Fall Soil Samples Cell 3
TABLE 1 |  | CLIENT: Nunatta Environmental Services Inc.
PARACEL LABORATORIES LTD. |  | ATTENTION: Jim Wilson
WORKORDER: 2144252 | 2144252 | PROJECT: Fall Landfarm 2021
REPORT DATE: 11/01/2021 | 2021-11-01 | REFERENCE: Standing Offer
Parameter | Units | MDL | Regulation
|  |  |  | Cell #3-S#1 2144252-09 | Cell #3-S#2 2144252-10 | Cell #3-S#3 2144252-11 | Cell #3-S#4 2144252-12
Sample Date (m/d/y) |  |  | Select Reg | 10/19/2021 01:20 PM | 10/19/2021 01:20 PM | 10/19/2021 01:20 PM | 10/19/2021 01:20 PM
Physical Characteristics
% Solids | % by Wt. | 0.1 | REGS | 92.0 | 92.1 | 92.3 | 93.8
Microbiological Parameters
Heterotrophic Plate Count | CFU/g | 1000 | REGS | 1000 | 1000 | 9000 | 8000
Volatiles
Benzene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02) | ND (0.02)
Ethylbenzene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
Toluene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
m/p-Xylene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
o-Xylene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
Xylenes, total | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
Hydrocarbons
F1 PHCs (C6-C10) | mg/kg dry | 7 | REGS | ND (7) | ND (7) | ND (7) | ND (7)
F2 PHCs (C10-C16) | mg/kg dry | 4 | REGS | 82 | 72 | 57 | 61
F3 PHCs (C16-C34) | mg/kg dry | 8 | REGS | 235 | 233 | 223 | 214
F4 PHCs (C34-C50) | mg/kg dry | 6 | REGS | 130 | 158 | 130 | 147
F4G PHCs (gravimetric) | ug/g dry | 50 | REGS | 283 | 260 | 282 | 427

## Fall Soil Samples Cell 4
TABLE 1 |  | CLIENT: Nunatta Environmental Services Inc.
PARACEL LABORATORIES LTD. |  | ATTENTION: Jim Wilson
WORKORDER: 2144252 | 2144252 | PROJECT: Fall Landfarm 2021
REPORT DATE: 11/01/2021 | 2021-11-01 | REFERENCE: Standing Offer
Parameter | Units | MDL | Regulation
|  |  |  | Cell #4-S#1 2144252-01 | Cell #4-S#2 2144252-02 | Cell #4-S#3 2144252-03 | Cell #4-S#4 2144252-04
Sample Date (m/d/y) |  |  | Select Reg | 10/19/2021 01:20 PM | 10/19/2021 01:20 PM | 10/19/2021 01:20 PM | 10/19/2021 01:20 PM
Physical Characteristics
% Solids | % by Wt. | 0.1 | REGS | 91.9 | 92.5 | 94.6 | 91.6
Microbiological Parameters
Heterotrophic Plate Count | CFU/g | 1000 | REGS | 69000 | 49000 | 38000 | 62000
Volatiles
Benzene | mg/kg dry | 0.02 | REGS | ND (0.02) | ND (0.02) | ND (0.02) | ND (0.02)
Ethylbenzene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
Toluene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
m/p-Xylene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
o-Xylene | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
Xylenes, total | mg/kg dry | 0.05 | REGS | ND (0.05) | ND (0.05) | ND (0.05) | ND (0.05)
Hydrocarbons
F1 PHCs (C6-C10) | mg/kg dry | 7 | REGS | ND (7) | ND (7) | ND (7) | ND (7)
F2 PHCs (C10-C16) | mg/kg dry | 4 | REGS | 127 | 158 | 53 | 145
F3 PHCs (C16-C34) | mg/kg dry | 8 | REGS | 164 | 137 | 144 | 115
F4 PHCs (C34-C50) | mg/kg dry | 6 | REGS | 77 | 50 | 46 | 37
F4G PHCs (gravimetric) | ug/g dry | 50 | REGS | N/A | N/A | N/A | N/A

## Water samples
2021 Water Sample Results
The summer of 2019 was generally cool, wet, and windy.
Nunatta Staff did check the water wells and on one accasion did find one well MW12 thawed but could not gather
enough water to make up a sample.
Many of the wells have gone dry due to excavation and removal of the gravel adjacent to the Nunatta landfarm.
The gravel adjacent to the landfarm has been lowered by as much as 6 meters and no water could be collected.
This was noted in the inspection report (attached) by Johnathan Mesher, Water Inspector for
Crown-Indigenous Relations and Northern Affairs.
2020 Water Sample Results
During the summer of 2020 no water samples were collected by Nunatta staff
the summer was cloudy and cool and even well #12 stayed frozen
the wells located on other side of landfarm were dry and have been dry since the excavationof all the material
in the gravel pit area.
Nunatta staff will continue to monitor these wells and should we get warm summer will take samples

## 2010 CIRNA Inspection Report
Nunatta Landfarm CIRNA Inspection 2021

## 2021 Summary
Summary of Activities at Nunatta Environmental Services Inc. (NESI)
NWB licence 1BR-NUN-1217 Type "B"
Landfarm in Iqaluit for 2021 season
Water/ Snow
63 cubic meters of snow was brought into Nunatta Land farm and melted into soil pile
32,000 Liters of water was delivered to landfarm. 22,000 came in late November and froze immediatly will deal with 2022
This is added to our soil piles in a manner to assure there is no run off in the spring.
No water was released into the environment during 2021.
Soils
The total soil for the year of 2021 was 17 cubic meters all contained P50 heating oil
This soil was placed into cell #1 to be screened and blended with older soil under remediation already
This is the first year we have not had a large amount of soil come into the landfarm
Test Wells
Monitoring Wells did not produce water this year.
Nunatta attempted water sampling late in the season, but test wells remained dry close to the edge and frozen opposite side.
of the property
Remediation practices
Nunatta Environmental Services has been improving soil remediation practices and each year find
ways of reducing the time the soil spends in our landfarm. With these practices of careful monitoring
and proper additions to the soil including innoculation of bacteria and enzymes from remediated soil
into the new soils, Nunatta has been able to reduce the remediation time to less than 1/2 of what it was 6 years ago.
Information gathered from soil sampling and testing in association with the University of Saskatchewan's
Soil Toxicology Department, Nunatta has been able to put them into practice at its landfarm.
We cannot thank Dr. Stephen Sciciliano enough for his assistance and for taking my phone calls and
answering my emails over the past few years.
Nunatta constructed 2 temporary cells in Baker Lake this summer and will be constructing a large one on the Petrolium
Products site in the summer of 2022 to remediate the soil recovered from the gasoline spill of 2021
We plan to do work on our own cell #2 if the summer allows us time to complete this project
Soil: Spring and Fall soil samples were taken and samples sent to Paracell Labs in Ottawa for analysis.
The results indicate hydrocarbon remediaton is progressing at a very generous rate compared to the last few years.
Nunatta believes this is due to much higher microbial activity.
Lab reports show microbial count exceeds the normal found in Baffin Island soils.
Soils not innoculated with old soil show plate counts of 2,000-4,000 .
Soils contained in cells 3 and 4 which have been screened, fertilizer added, and innoculated with
remediated soil show bacteria counts as high as TNTC (Too Numberous To Count).
These microbes are responsible for the breakdown of hydrocarbons into harmless components.
Managing and feeding microbes is the most important step in operating the Nunatta landfarm.
Previous management was storing soil and in doing so created a large healthy colony of the otherwise very sparcle
populated bacteria responsible for making the enzyme that breaks down fuel in Arctic conditions

## Format Control (hidden)
Select | Select | Part A | Item 1
Yes | 2008 | Part B | Item 2
No | 2009 | Part C | Item 3
| 2010 | Select | Select
2011
2012
2013
2014
2015
No Spill Contingency Plan (SCP) submitted or approved
SCP submitted and approved - no revision required or proposed
SCP addendum attached for Board consideration
Other: (see additional details)
N/A - not applicable
Select
No Abandonment and Restoration (AR) Plan submitted or approved
AR plan submitted and approved - no revision required or proposed
AR addendum attached for Board consideration
Other: (see additional details)
N/A - not applicable
No additional sampling requested by an Inspector or the Board
Additional sampling requested by an Inspector or the Board (See below)
Select
No inspection and/or compliance report issued by INAC
No inspection report issued by INAC
No compliance report issued by INAC
Inspection and Compliance Report received by the Licensee (Date):
Inspection Report received by the Licensee (Date):
Compliance Report received by the Licensee (Date):
Select
Select
Not Applicable (N/A)
Details described below
Details attached