	
	                 ç¡¡ç§�çÓ�— HŽ·µÍï­

              MUNICIPALITY OF QIKIQTARJUAQ

                                           P. O. Box 4
                              Qikiqtarjuaq, NU  X0A 0B0

                    Tel. (867) 927-8832  Fax (867) 927-8120 


Rita Becker

Licensing Administrator

Nunavut Water Board

Fax to 867 360 6369




May 7, 2001

RE:  NWB5QIK – Dew-Line FOX-5, Qikiqtarjuaq

Thank you for your fax of April 10, 2001.  For your information we just received the full application via mail today.  

In regards to the water licence application, the Municipal Council is concerned with the following areas:

Area 7 – Quantity of Water Involved – The Municipal Council sees no need for this camp to supply its own water.  There is an existing potable water supply with adequate volume to supply both the community and the work camp.  This water fill station is accessible by the DEW Line access road, which will be utilised for the duration of this project.  Therefore, it is felt there is no need or requirement for the contractor to provide their own water when they can easily access the municipal water supply system.

Area 8 – Camp Sewage and Camp Grey Water can be disposed of within the municipal sewage lagoon thereby reducing the environmental damage from the burial of camp sewage as indicated in the application.  Sewage trucks can easily access the work camp via DEW Line access road which will be utilised for the duration of this project thereby providing sewage removal at the frequency required.  

Please forward these concerns to the board for their review and consideration.  We will await a copy of your Water Licence.

Sincerely,

Jacopie Newkingnak

Deputy Mayor

cc
UMA Engineering, Eva Schulz, fax to 403 270 0399


NIRB, Gladys Joudrey, fax to 867 983 2594


DIAND, Paul Smith, 867 975 4560

C:\windows\TEMP\waterboard licece.doc

