## Soil-Main Landfill
Soil Chemical Analysis Results - USAF
Sample Name | Location | Cu [mg/L] | Ni [mg/L] | Co [mg/L] | Cd [ug/L] | Pb [mg/L] | Zn [mg/L] | Cr [mg/L] | As [mg/L] | Hg [ug/L] | PCBs [mg/L] | TPH [mg/L]
C311-7W | MW-7 | 0.054 | 0.17 | 0.018 | 0.29 | 0.029 | 2.3 ( 1 ) | 0.29 | 0.021 | 0.044 ( 1 ) | <0.000050 | <2
(1):Due to the sample matrix, sample required dilution. Detection limit was adjusted accordingly.
S/P/CD/9229/CAM-1/2011/T/Analysis.xls