YEAR BEING REPORTED:  2014

The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence #1 BW –DUV 1214 issued to the Hamlet of Pangnirtung.

i) - iii)	tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Not applicable

| Month Reported | Quantity of Water Obtained from all sources (litres) | Quantity of Sewage Waste Discharged (Estimated) |
| --- | --- | --- |
| January 2014 |  |  |
| February 2014 |  |  |
| March 2014 |  |  |
| April 2014 |  |  |
| May 2014 |  |  |
| June 2014 |  |  |
| July 2014 |  |  |
| August 2014 |  |  |
| September 2014 |  |  |
| October 2014 |  |  |
| November 2014 |  |  |
| December 2014 |  |  |
| ANNUAL TOTAL |  |  |

- a summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;

NO

- a list of unauthorized discharges and summary of follow-up action taken;

Nothing happened

- a summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year;

The Culvert crossing will be kept active for heavy traffic movement during present and any future construction and also to reduce the traffic volume over the steel bridge.

________________________________________________________________________

- a summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

Water quality and erosion of Duval River bed needs to be monitored in each summer.

The licence was recently handed over from DFO to Hamlet. During summer 2015,

Hamlet will be monitoring the quality of water of the River and also the

erosion status of the Channel bed.

__________________________________________________________________

- any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and

NO

________________________________________________________________

- updates or revisions to the approved Operation and Maintenance Plans.

No O&M manual was handed over to Hamlet by DFO. However, Hamlet is doing routine monitoring and they will fix if any serious erosion occurs.

_________________________________________________________________

ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

The Hamlet started extended sampling and testing program to satisfy water Licence

requirements. They are using an accredited lab called Caduecon Lab in Ottawa.

The Hamlet will maintain CGS Report Card in order to operate this Facility more

productively.

FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:

_____________________________________________________________________________________

Hamlet is working closely with Water Licence Compliance Group (WLCG) and

receiving direction to move forward. They are working hard to satisfy their Water

licence requirements to receive  a new licence shortly. Hamlet is submitting the 2014

Annual Report in time.

_______________________________________________________________________

The Lab Test Results for 2014 are not available. Because this licence was recently

handed over to Hamlet from DFO.