[image: image1.png]




File No. 
NWB2REP0305/B1

NWB2REP0305/B2

November 21, 2005

Mrs. Phyllis Beaulieu

Manager of Licensing 

Nunavut Water Board

P.O Box 119







Via E-mail to:

      Gjoa Haven, NU






licensing@nwb.nunavut.ca
X0E-1J0

RE: Qilalugaq Project – Abandonment & Restoration Plan

The Department of the Environment (DOE) thanks Nunavut Water Board for the opportunity to provide comments on the Abandonment & Restoration plan (A&R) of the Qilalugaq claim group. 

DOE has provided general comments, however we recognize that an updated version of the A&R plan may address these concerns. As the A&R plan is retrospective, please provide an updated version. 

General comments:

1. Description of area and site:

A brief description of the site should be included in the A&R plan.  The description should include previous history of the site, the location (coordinates), the type of exploration, approximate area being disturbed. The location of fuel caches and chemical storage facilities should be including the description so that more focus can be placed on these areas when looking for contaminated soils.  

2. Contact Information:

All contact information for the owner & site supervisor & emergency contacts should be included in the plan. 

3. Removal / Disposal of Hazardous Materials:

Please provide a detailed list and schedule for the removal and disposal of: 

· All chemical & fuel stored on site, dispose of fuels & chemicals according to territorial & federal regulations. 

· Hazardous materials: should be accompanied by hazardous waste manifests with appropriate information (generator number, carrier number and receiver number).

· Contaminated soils: should be treated on site or removed and replaced with new soil.

· Used Drums: All used fuel and oil drums should be removed from the site and/ or returned for deposit. 

4. Restoration:

· Drill Holes & Sumps: Drill holes should be backfilled or capped. The sumps should be properly closed out at the end of a project. 

· Physical restoration & re-vegetation: disturbed areas should be physically restored to as natural a state as possible, this can include re-vegetation.  

In summary, DOE has no major objections to the proposed A&R plan provided all remaining environmental obligations are addressed. As noted this is a retrospective A&R plan and many of the concerns may have already been addressed. Please provide an update to inform of new developments. 

Once again the Department of Environment thanks Nunavut Water Board for the opportunity to comment on this application.

Sincerely, 

Michael Mifflin

Coordinator Land Use Planning 

Department of Environment 

Government of Nunavut

PAGE  
1

