Spill Contingency Plan for the Turner Lake Project, NTS 76N/2

Prepared by: Navasota Resources Ltd.


          #207-141 Victoria St.


         Kamloops, B.C.


         V2C 1Z5


         (250) 374-7377


         info@navasota.com

This document prepared under the guidelines set forth in “Environmental Protection Act: Consolidation of Spill Contingency Planning and Reporting Regulations, R-068-93.”

Navasota Resources Ltd. has applied for a Water Use Licence to engage in early stage exploratory diamond drilling on the Turner Lake Property, located at 67o 13’ N and 108o 57’ W. This is anticipated to be a multi-year program utilizing a 10 man camp for seasonal periods up to eight weeks.

4.(2) (a) Person in Charge
Lorne M. Warner P. Geol.


  #207-141 Victoria St.


  Kamloops, B.C.


  V2C 1Z5


  Project Geologist

        (b) Contact 
As Above. Satellite Communications will be in effect (613) 988-5110.

        (c) Storage site description 

A level 10 x 10m fuel storage area will be wood floored, plastic lined and surrounded by hand constructed 30cm high berms such that contained volume is greater than expected maximum storage. (10m x 10m x 0.30m = 30,000L less volume occupied by full drums.) Exact location to be determined on site. General camp location to be 200m west of shore of Turner Lake.

        (d) Type and amount of contaminants to be stored 

Total contaminants to be stored on site will not exceed:


 10 – 100lb Propane Cylinders


 2 – 45 gallon drums Gasoline


 20 – 45 gallon drums P50 Diesel


 5 – drums Jet B


 Maximum volume on site at any time expected to be ~5000L.

        (e) Site map 

See Attached

        (f) Steps to be taken in case of a spill

Stop flow of contaminant. 


Any spilt fuel will be absorbed by polypropylene based (or other equally effective) hydrocarbon-specific absorbents and bagged for transport to an acceptable disposal facility.


Contaminated soil will also be removed to disposal facility.

All spills of volume greater than or equal to the limit set out in Schedule B shall be reported to the 24 Hour Spill Report Line (867) 920-8130 with the required information as set out in Section 11 (1).

        (g) Activation 
Spill contingency plan is activated upon commencement of construction, and remains in effect until all operations and reclamation are completed.

        (h) Training
All field personnel will be instructed and rehearsed in spill containment and use of absorbents as per manufacturer’s instructions.

         (i) Equipment
 Appropriately sized absorbent spill kits will be located at fuel storage site (45 gallon) as well as all sites of fuel transfer. (ie Drill rig, helicopter pad, camp generator.)

         (j) This Spill contingency plan was prepared on April 22, 2003.

Respectfully Submitted

Lorne M. Warner P.Geo

President 

Navasota Resources Ltd.

