[image: image1.png]



P.O. Box 119


Gjoa Haven, NU  X0B 1J0
kNK5 wmoEp5 vtmpR

Tel: (867) 360-6338
Nunavut Water Board
Fax: (867) 360-6369
NUNAVUT IMALIRIYIN KATIMAYING
July 31, 2002




NWB File No: NWB2BUR

Alex McPherson
Platinex Inc.
391-56 St.
Delta, BC, V4L 1Z4
Phone: (604) 943-0729
Fax: (604) 943-0177  

Re: Additional Information for Water Licence Application for Exploration Drilling at Burnt Creek by Platinex Inc.
Dear Mr. McPherson,

The Nunavut Water Board (NWB) has done a preliminary technical review of your water licence application for the Burnt Creak Project. We have noticed that many areas of the application are left blank. The NWB requires questions 3, 15, of the application form, and questions 1,2,5,7, 9, 21, 23, 25, 29, 32 (sewage, greywater and solid waste), 33-39 of the supplementary questionnaire to be filled out and the following additional information to be provided:

1. The project summary- translated into Inuinnaqtun;

2. The proposed duration of the project. The application says multiyear, yet the start and end date of the project is within 2002;

3. The maximum number of people that will be on site at one time; 

4. The number of drill sites proposed;

5. The latitude and longitude in degrees and minutes of the camp and drill sites;

6. The exact location of the water supply lake, in relation to the camp;

7. The location of fuel supply storage area;

8. The location and estimated volume needed for the sump;

9. A map detailing the camp layout, including the above items, and drill sites;

10. The proposed plan for dealing with sewage and greywater;

11. A description of the incineration system used on camp; and,

12.  A description of fish screen to be used at the water supply intake;

The NWB also requires that Licencees submit a detailed Spill Contingency Plan for the Board approval prior to the commencement of the project that meets the Northwest Territories Water Boards Guidelines for Contingency Planning, January 1987. 

Please submit the above mentioned items so that your application for a water licence can be processed further. If you have any questions or concerns, please do not hesitate to call the office or email me at nunavutwaterboard@nt.sympatico.ca .  

Sincerely,

ORIGINAL SIGNED BY
Alexandra Thomson

Technical Consultant

Cc:
Paul Smith, DIAND Iqaluit


C. Bodykevich, DIAND Inspector

J. Kaniak, Kitikmeot Inuit Association

Gladys Joudrey, Nunavut Impact Review Board
Josee Gallipeau, Nunavut Wildlife Management Board

P. Pacholek, Environment Canada


P. Partridge, Department of Sustainable Development


J. DeGroot, Department of Fisheries and Oceans
DECISION
LICENCE NUMBER: NWB1CUL0207
This is the decision of the Nunavut Water Board (NWB) with respect to an application for Licence renewal dated, March 15, 2002 by:
Homestake Canada Inc.
for water use associated with monitoring of water in and adjacent to the tailings containment area and the quarry pit area, as well as soil sampling in and adjacent to the quarry pit area.
With respect to this application, the NWB gave notice to the public that Homestake Canada Inc. had filed an application for renewal with the NWB and decided to conduct a written hearing on this application. 

DECISION
After having been satisfied that the application did not require screening pursuant to Article 12 of the Nunavut Land Claims Agreement, the NWB decided that the application was complete and could continue through the regulatory process. After reviewing the submissions of the Applicant and other comments through distribution of the application, the NWB, having due regard to the facts and circumstances, to the purpose, scope and intent of the Nunavut Land Claims Agreement, determined that:

Licence Number NWB1CUL0207 be issued subject to the terms and conditions contained therein.
REASONS FOR DECISION will be provided separately.

SIGNED this 8th day of July, 2002 at Gjoa Haven.           

ORIGINAL SIGNED BY
Thomas Kudloo

Chairperson


TABLE OF CONTENTS
DECISION
i

TABLE OF CONTENTS
ii

LICENCE: NWB1CUL0207
1

PART A: Scope and Definitions
2

PART B: General Conditions
3

PART C: Conditions Applying to Waste Disposal
5

PART D: Conditions Applying to Modifications
6

PART E: Conditions Applying to Spill Prevention and Contingency Planning
6

PART F: Conditions Applying to Abandonment and Restoration
7

SCHEDULE I
Surveillance Network Program
8

SCHEDULE II
Licensing Considerations
12

SCHEDULE III
General Conditions for the Administration of Licenses 

Issued by the Nunavut Water Board
14

FIGURE I
Site Map - Project Environmental Impact Area with Active 

SNP Stations
16

LICENCE NWB1CUL0207




Pursuant to the Agreement Between the Inuit of the Nunavut Settlement Area and Her Majesty the Queen in right of Canada, the Nunavut Water Board, hereinafter referred to as the Board, hereby grants to 

Homestake Canada Inc.
(Licensee)

P.O. Box 11115, 1100-1055 West Georgia Street 

Vancouver, BC   V6E 3P3
of


(Mailing Address)

hereinafter called the Licensee, the right to alter, divert or otherwise use water and dispose of waste for a period subject to restrictions and conditions contained within this Licence:

NWB1CUL0207
Licence Number 

NUNAVUT (KIVALLIQ REGION)
Water Management Area 


CULLATON LAKE, NUNAVUT 

(Latitude 61°16' N; Longitude 98°30' W   NTS: 65G/8)





Location 



WATER USE AND WASTE DISPOSAL
Purpose 






MONITORING OF WATER IN AND ADJACENT TO THE TAILINGS CONTAINMENT AREA AND DISPOSAL OF WASTE FROM TAILINGS POND No. 1
Description 

150 CUBIC METRES PER DAY
Quantity of Water Not to be Exceeded 

JULY 8, 2002
 
Date of Licence Renewal


OCTOBER 31, 2007
Expiry Date of Licence 

Dated this 8th day of July at Gjoa Haven, Nunavut.
ORIGINAL SIGNED BY
Thomas Kudloo

Chairperson


PART A: SCOPE AND DEFINITIONS 
PART A\: SCOPE AND DEFINITIONS " \l 2

1.
SCOPE
a.
This Licence allows for the monitoring of water in and adjacent to the Tailings Containment Area and Waste Rock Disposal Area, the monitoring of water and soil in the quarry pit area,  by Homestake Canada Inc. at the Cullaton Lake Gold Mine located at Cullaton Lake in the Kivalliq Region of Nunavut Territory (Latitude 61°16' N; Longitude 98°30' W  NTS: 65G/8) as shown in Figure 1, appended to this Licence.         

b.
This Licence is issued subject to the conditions contained herein with respect to the taking of water and the depositing of waste of any type in any waters or in any place under any conditions where such waste or any other waste that results from the deposit of such waste may enter any waters.  Whenever new Regulations are made or existing Regulations are amended by the Governor in Council under a future Nunavut Waters Act, or other statutes imposing more stringent conditions relating to the quantity or type of waste that may be so deposited or under which any such waste may be so deposited, this Licence shall be deemed, upon promulgation of such Regulations, to be subject to such requirements.

c.
Compliance with the terms and conditions of this Licence does not absolve the Licensee from responsibility for compliance with all applicable legislation.

2.
DEFINITIONS
In this Licence: NWB1CUL0207
 “Average Concentration” means the concentration as determined in Part B, Item 5 of the “Surveillance Network Program” submitted to the Board in accordance with the sampling and analysis requirements specified in the “Surveillance Network Program”;

“Board” means the Nunavut Water Board established under the Nunavut Land Claims Agreement;

“Freeboard”  means the vertical distance between water line and crest on a dam or dyke’s upstream slope;
“Grab Sample” means a single water or wastewater sample taken at a time and place representative of the total discharge;
“Inspector” means an Inspector designated by the Department of Indian and Northern Affairs Canada in a manner consistent with the Memorandum of Understanding between   the Department of Indian and Northern Affairs and the Board;

“Licensee”  means the individual or organization to whom Licence NWB1CUL0207 is issued or assigned;

“Minewater” means groundwater or any other water which is pumped or flows out of any underground workings or open pits; 

“Modification” means an alteration to a physical work that introduces a new structure or eliminates an existing structure and does not alter the purpose or function of the work, but does not include an expansion; 

“Nunavut Land Claims Agreement” (NLCA) means the “Agreement Between the Inuit of the Nunavut Settlement Area and Her Majesty the Queen in right of Canada,” including its preamble and schedules, and any renewals to that agreement made pursuant to it;

“Tailings” means the material rejected from the mill after the recoverable valuable minerals have been extracted. 

“Tailings Containment Area” comprises the tailings containment basin(s) and the engineered structures designed to contain tailings as described in Drawing Number 1, titled “Cullaton Lake Gold Mines Ltd, Tailings Pond General Arrg’t.”, revised October 1983; and

“Waste” means any substance that, by itself or in combination with other  substances found in water, would have the effect of altering the quality of any water to which the substance is added to an extent that is detrimental to its use by people or by any animal, fish or plant, or any water that would have that effect because of the quantity or concentration of the substance contained in it or because it has been treated or changed, by heat or other means;

"Sump" means a man-made pit, trench hollow or cavity in the earth's surface used for the purpose of  depositing waste material therein; and

"Combustible waste" means paper, non-treated wood products, kitchen food waste, and sewage waste.
PART B: GENERAL CONDITIONS tc "PART B\: GENERAL CONDITIONS " \l 2
1.
The Licensee shall have posted and shall maintain a security in the amount of fifty thousand ($50,000.00) dollars.

2.
The security deposit may be applied to carry out work necessary to fulfill requirements of this Licence where there is contravention of a condition of the Licence and failure by the Licensee to comply with a direction issued by the Board or by any other competent and authorized governmental body or official. This includes operational requirements as well as the provision of the Final Abandonment and Restoration Plan.

The Security Deposit shall be maintained until such time as the Board is satisfied that the Licensee has complied with all provisions of the approved Final Abandonment and Restoration Plan.  This clause shall survive the expiry of this Licence or renewals thereof.

3.
The Licensee shall file an Annual Report with the Board no later than March 31 of the year following the calendar year reported, which shall contain the following information:

a.
Tabular summaries for all data and information generated under the “Surveillance Network Program”;

b.
A summary of any construction work, modification and major maintenance work carried out on site;

c.
A list of unauthorized discharges and summary of follow-up actions taken;

d.
Any revisions to the approved Contingency Plan, QA/QC Plan, and A&R Plan;

e.
A summary of all activities authorized under this Licence;

f.
A summary of any abandonment and restoration work undertaken during the year and an outline of any work anticipated for the next year;

g.
A summary of any studies requested by the Board that relate to reclamation, and a brief description of any future studies planned; 

h.
A brief description of follow-up action taken to address concerns detailed in inspection and compliance reports prepared by an Inspector;

i.
A public consultation/participation report describing consultation with local organizations and the residents of the nearby communities; 

j.
Any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and

k.
An executive summary in terms understandable to the general public translated into Inuktitut of all plans, reports, or studies conducted under this Licence.

4.
All research and studies undertaken by the Licensee shall follow the “Ethical Principles for the Conduct of Research in the North”, Association of Canadian Universities for Northern Studies (1982).
5.
The Licensee shall comply with the “Surveillance Network Program” annexed to this Licence, and any renewal to the said “Surveillance Network Program” as may be made from time to time, pursuant to the conditions of this Licence.

6.
The “Surveillance Network Program” and compliance dates specified in the Licence may be modified at the discretion of the Board.

7.
The Licensee shall post signs in the appropriate area to identify the stations of the “Surveillance Network Program”.  All postings shall be located and maintained to the satisfaction of an Inspector.

8.
The Licensee shall ensure a copy of this Licence is maintained at the Licensee’s Head Office at all times.

PART C:  tc "PART C\:  " \l 2CONDITIONS APPLYING TO WASTE DISPOSAL tc "CONDITIONS APPLYING TO WASTE DISPOSAL " \l 2
1.
The Tailings containment Area shall be operated and maintained to engineering standards such that:

a.
Seepage from the Tailings Containment Area shall be minimized at station 940-20 and 940-22 if present; 

b.
Erosion of constructed facilities is addressed immediately;

c.
The solids fraction of the mill tailings shall be permanently contained within the Tailings Containment Area; and 

d.
An inspection of the Tailings Containment Area shall be carried out between June and September annually by a qualified geotechnical engineer registered in the Northwest Territories, unless directed otherwise by the Board. The engineer’s report shall be submitted to the Board within sixty (60) days of the inspection, including a covering letter from the licensee outlining an implementation plan to respond to the engineer’s recommendations.

2.
All Waste discharged by the Licensee from the Tailings Containment Area, the Quarry Pit and the Waste Rock Disposal Area shall meet the following effluent quality requirements:

Parameter

Maximum Average 

Maximum Concentration

Concentration


of any Grab Sample

Total Arsenic


0.30 mg/L


0.60 mg/L

Total Copper 


0.20 mg/L


0.40 mg/L

Total Cyanide


0.80 mg/L


1.60 mg/L

Total Lead


0.20 mg/L


0.40 mg/L

Total Nickel


0.30 mg/L


0.60 mg/L

Total Zinc


0.30 mg/L


0.60 mg/L

Total Suspended Solids
25.0 mg/L


50.0 mg/L

Oil and Grease





Visible Sheen


The waste discharged shall have a pH between 6.0 and 9.5

3. All waste discharges shall be conducted in such a manner to minimize surface erosion.

PART D: CONDITIONS APPLYING MODIFICATIONS

1.
The Licensee may, without written consent from the Board, carry out modifications to the planned undertakings provided that such modifications are consistent with the terms of this Licence and the following specific requirements are met:


a.
The Licensee has notified the Board in writing of such proposed modifications at least sixty (60) days prior to beginning the modifications;


b.
Such modifications do not place the Licensee in contravention of the Licence;

c.
The Board has not, during the sixty (60) days following notification of the proposed modifications, informed the Licensee that review of the proposal will require more than sixty (60) days; and

d.
The Board has not rejected the proposed modifications during the sixty (60) days following notification of the proposed modifications.

2.
Modifications for which all of the conditions referred to in Part D, Item 1 have not been met can be carried out only with written consent from the Board.

3.
The Licensee shall provide as-built plans and drawings of the modifications referred to in this Licence within ninety (90) days of completion of the modification.  These plans and drawings shall be submitted to the Board on material that will reproduce with a standard copier.

PART E:  CONDITIONS APPLYING TO SPILL PREVENTION AND CONTINGENCY PLANNING tc "CONDITIONS APPLYING TO SPILL PREVENTION AND CONTINGENCY PLANNING " \l 2
1. The Licensee shall ensure that any fuels, chemicals, or wastes associated with this undertaking do not enter any waters. All fuel is to be stored at a location that is a minimum of thirty (30) metres from the ordinary high water mark of any water source.

2. The Licensee shall complete an Environmental Site Assessment of the Quarry Pit Area in order to ensure that hydrocarbon contamination has not occurred as a result of reclamation activities.

2.
The Licensee shall submit to the Board for approval before December 1, 1999, a revised Spill Contingency Plan prepared in accordance with the Northwest Territories Water Board’s “Guidelines for Contingency Planning, January 1987”.

3.
The Licensee shall annually review the Spill Contingency Plan and modify the Plan to reflect changes in operation, technology and personnel. Any proposed modification shall be re-submitted to the Board for approval.

4.
If, during the period of this Licence, an unauthorized discharge of waste occurs, or if such a discharge is foreseeable, the Licensee shall:

a.
Employ the Contingency Plan;

b.
Report the incident immediately via the 24-Hour NWT Spill Reporting Line (867) 920-8130; and

c.
Submit to an Inspector a detailed report on each occurrence no later than thirty (30) days after initially reporting the event.

PART F: CONDITIONS APPLYING TO tc "PART F\: CONDITIONS APPLYING TO " \l 2 ABANDONMENT AND RESTORATION tc " ABANDONMENT AND RESTORATION " \l 2
1. The Licensee shall consider the Abandonment and Restoration to be complete upon completion of the monitoring of the Tailings Containment Area, the Quarry Pit and Waste Rock Disposal Area, including water quality sampling and analysis, on-going stability analysis of the tailings dam and the thermistor readings to determine permafrost aggradation.  

2. The Abandonment and Restoration Plan dated March 1996 approved by the Northwest Territories Water Board and amendments approved by the Nunavut Water Board in August 1998 and June 2001 for the drainage ditch and quarry pit shall remain in effect. 

2. Within sixty (60) days of issuance of this Licence, the Licensee shall submit to the Board for approval a revised status report and implementation schedule to reflect the current status of reclamation and monitoring. The status report shall include a detailed cost estimate of the remaining work required until final restoration- no detailed cost estimate was given.
3. The Licensee shall complete all reclamation and monitoring work within the time schedule specified in the approved Abandonment and Restoration Plan, or as subsequently revised and approved by the Board. 

4. The Licensee shall annually review the Abandonment and Restoration Plan and shall modify the Plan to reflect changing operations, technology and the results of reclamation and other studies.  The proposed modifications shall be submitted to the Board for approval. 

Part G: Conditions Applying to Camp Operations:
1. The Licensee shall obtain water for domestic purposes from Shear Lake up to a maximum of 50 cubic metres per day.

2. The Licensee shall equip all water intake hoses with a screen with an appropriate mesh size to ensure that there is no entrapment of fish. 

3. Areas designated for waste disposal that may impair the quality, quantity, or flow of water shall not be located within thirty (30) metres of the ordinary high water mark of any body of water, unless otherwise authorized by the Board.

4. The Licensee shall not discharge sewage effluent. 

5. The Licensee shall discharge and contain all greywater in a sump located at least thirty (30) metres from the high water mark of any water body at a site where direct flow into a water body is not possible and no additional impacts are created.

6. The Licensee shall incinerate all combustible waste, and shall ensure that all hazardous wastes and non-combustible waste generated through the course of the operation are backhauled and disposed of in an approved waste disposal site.

7. The Licensee shall not landfill any waste except for greywater and drill waste.  

8. All activities shall be conducted in such a way as to minimize impacts on surface drainage and the Licensee shall immediately undertake any corrective measures in the event of any impacts on surface drainage.

9. The Licensee shall ensure that any chemicals, fuel or wastes associated with the project do not enter water.  All sumps and fuel caches shall be located a minimum of thirty (30) metres from the normal high water mark and in such a manner that no fuel can enter any such water body.
SCHEDULE I
SURVEILLANCE NETWORK PROGRAM 
SURVEILLANCE NETWORK PROGRAM " \l 2

LICENCE NUMBER: 
NWB1CUL0207

EFFECTIVE DATE OF


LICENCE RENEWAL :
JULY 8, 2002
A.
SNP SAMPLING LOCATIONS, SAMPLING REQUIREMENTS, AND ANALYSIS REQUIREMENT. 

	Station Numbers
	Description
	Sampling

Requirements
	Analysis Requirements

	940-1
	Kognak River freshwater pumphouse
	Not required
	Not required

	940-2
	Tailings Pond No. 1 adjacent to the point of discharge to Tailings Pond No. 2.
	Oncer a year during peak flow
	Total Arsenic
Total Copper
Total Nickel

Total Zinc
Total Mercury
Total Cyanide

Total Lead
pH

Total Suspended Solids

	940-3
	Tailings Pond No.2 adjacent to the point of discharge to the marshland.
	Once a year during peak flow 

Not required
	Total Arsenic
Total Copper
Total Nickel

Total Zinc
Total Mercury
Total Cyanide

Total Lead
pH

Total Suspended Solids Not required

	940-3A
	Effluent discharge pipe at outlet to marshland
	Not required
	Not required

	940-4
	Mill tailings pump box at the mill
	Not required
	Not required

	940-5
	Tailings Pond No. 2 near the northwest corner, adjacent to the western most point of the tailings dam.
	Not required
	Not required

	940-6
	Tailings Pond No. 2 offshore, near middle of pond.
	Not required
	Not required

	940-7
	Tailings Containment Area diversion ditch adjacent to the northwest corner of Tailings Pond No. 2.
	Not required
	Not required

	940-8
	Channel in marshland approximately 600 metres downstream of Tailings Pond No. 2.  Also identified as SITE 8 in the Environmental Investigation of the Kognak River at Cullaton Lake Gold Mine by Diamond and Meach, 1984 (EIKR).
	Not required
	Not required

	940-9
	Outflow channels from marshland below Tailings Pond No. 2 to Kognak River. Also identified as SITE 9 in EIKR.
	Not required
	Not required

	940-10
	Control marsh site approximately 100 metres west of rad leading to the fresh water intake, 50 metres north of the Kognak River, and 30 metres east of a small creek. Also identified as SITE 10 in EIKR
	Not required
	Not required

	940-11
	Kognak River approximately 200 metres upstream of Station No. 940-1. Also identified as SITE 2 in EIKR
	Not required
	Not required

	940-12
	Kognak River approximately 1300 metres downstream of Station No. 940-1. Also identified as SITE 3 in EIKR
	Not required
	Not required

	940-13
	Kognak River approximately 2850 metres downstream of Station No. 940-1. Also identified as SITE 4 in EIKR
	Not required
	Not required

	940-14
	Kognak River approximately 4400 metres downstream of Station No. 940-1. Also identified as SITE 5 in EIKR
	Not required
	Not required

	940-15
	B Zone Mine at the outlet of the minewater discharge pipe.
	Not required
	Not required

	940-16A
	Shear Lake minewater disposal system at point of discharge
	Not required
	Not required


	940-17
	Environment Canada stream gauging station number 06HD001 - Kognak River below Mountain Lake.
	Not required
	Not required

	940-18
	Discharge from spillway or siphon at Tailings Pond No.1.
	Once a year during peak flow
	Total Arsenic
Total Copper
Total Nickel

Total Zinc
Total Mercury
Total Cyanide

Total Lead
pH

Total Suspended Solids

	940-19
	Piezometer stations within Tailings Pond No.1. 
	Once a year during peak flow
	Total Arsenic
Total Copper
Total Nickel

Total Zinc
Total Mercury
Total Cyanide

Total Lead
pH

Total Suspended Solids

	940-20
	Area of seepage from east side of Tailings Pond No.1.
	Once a year during peak flow
	Total Arsenic
Total Copper
Total Nickel

Total Zinc
Total Mercury
Total Cyanide

Total Lead
pH

Total Suspended Solids

	940-21
	Thermistors installed in Tailings Pond No.1.
	Once a year after June 1 and before August 31
	Temperature

	940-22
	Area of seepage from north east corner of Tailings Pond No.1.
	Once a year during peak flow if flow present
	Total Arsenic
Total Copper
Total Nickel

Total Zinc
Total Mercury
Total Cyanide

Total Lead
pH

Total Suspended Solids

	940-23
	Quarry pit 
	Once a year during peak flow 
	Total Arsenic
Total Copper
Total Nickel

Total Zinc
Total Mercury
Total Cyanide

Total Lead
pH

Total Suspended Solids

	940-24
	Quarry Pit Area- Area of seepage from the Quarry Pit to Tailings Pond No. 1 
	Once a year during peak flow.
	Hydrocarbons
Total Arsenic
Total Copper
Total Nickel

Total Zinc
Total Mercury
Total Cyanide

Total Lead
pH

Total Suspended Solids

	940-25
	Waste Rock Disposal Area- Area of seepage from Waste Rock Disposal Area to Shear Lake. 
	Once a year during peak flow.
	Total Arsenic
Total Copper
Total Nickel

Total Zinc
Total Mercury
Total Cyanide

Total Lead
pH

Total Suspended Solids

	940-26
	Thermistors installed in Waste Rock Disposal Area
	Once a year after June 1 and before August 31
	Temperature


*The pH, temperature and specific conductivity of the sample shall be recorded at the time of sampling., and laboratory value.

B. 
SNP GENERAL REQUIREMENTS






1.
All analyses shall be conducted in accordance with methods prescribed in the current edition of “Standard Methods for the Examination of Water and Wastewater”, or by such other methods as approved by the Board. 

2.
The Licensee shall annually review the approved quality assurance/quality control plan and modify the plan as necessary.  Proposed modification shall be submitted to the Board for approval.

3.
All analyses shall be performed in a laboratory approved by the Board.

4.
The following example is provided to illustrate the procedures for calculating the average concentration.  If the effluent stream is sampled weekly for each substance, the following values may be obtained:

Week 1

Sample #1
.15

Week 2

Sample #2
.12

Week 3

Sample #3
.10

Week 4

Sample #4
.18

Running Average= (.15+.12+.10+.18)/4=.137
Week 5

Sample #5
.20

Running Average= (.12+.10+.18+.20)/4=.150
Week 6

Sample #6
.16

Running Average= (.10+.18+.20+.16)/4=.160
C. 
OTHER REQUIREMENTS


1.
Thermistor temperatures at station Number 940-21 shall be measured and recorded once each year, after June 1st  and before August 31st. 

D.
REPORTS
1.
The Licensee shall, unless otherwise requested by an Inspector, include all data and information required by the “SNP” including the results of the approved quality assurance program in the Licensee’s Annual Report as required under Part B, Item 3 of the licence.  

SCHEDULE II - LICENSING CONSIDERATIONS 
SCHEDULE II - LICENSING CONSIDERATIONS " \l 2

I.
APPLICATIONS FOR LICENCE, RENEWAL, ASSIGNMENT OR CANCELLATION.
1.
An Application for an renewal or renewal shall be in the form set out by the Board and shall contain the information identified therein and be accompanied by a deposit equal to any water use fee that would be payable under subsection II (1) in respect of the first year of the Licence that is being applied for.

2.
The fee payable on the submission of an application for the renewal, renewal, cancellation or assignment of this Licence is thirty (30) dollars. (Cheque c/o Receiver General for Canada)

3.
An application for authorization for the assignment of the Licence shall be submitted to the Board, accompanied by the fee set out in (2), no less than 45 days before the date on which the applicant proposes to assign the Licence, and shall:

a.
Be signed by the assignor and the assignee; and 

b.
Include the name and address of the assignee.

4.
An application for cancellation of a Licence shall be in writing and shall set out the reason for the requested cancellation and a description of the measures taken or proposed to be taken, prior to cancellation, for abandonment of the appurtenant undertaking.

II.
SECURITY DEPOSITS

1.
Security deposits shall be in the form of: 

a.
A promissory note guaranteed by a bank in Canada and payable to the Receiver General; 

b.
A certified cheque drawn on a bank in Canada and payable to the Receiver General;

c.
A performance bond approved by the Treasury Board for the purposes of paragraph (c) of the definition “security deposit” in section 2 of the Government Contract Regulations;

d.
An irrevocable letter of credit from a bank in Canada; or 

e.
Cash


2.
Security deposits shall be furnished by the licensee:

a.
In respect of a licence for a term of one year or less, no later than 30 days after the licence is issued; and 

b.
In respect of a licence for a term of more than one year:

i.
For the first year of the licence, no later than 30 days after the licence is issued, and 

ii.
For each subsequent year of the licence, or for any portion of the final year of the licence, in advance, on the anniversary of the date of issuance of the licence.
SCHEDULE III - GENERAL CONDITIONS FOR THE ADMINISTRATION OF LICENCES

ISSUED BY THE NUNAVUT WATER BOARD (NWB)

ISSUED BY THE NUNAVUT WATER BOARD (NWB)
"
 
1.
At the time of issuance, a copy of the Licence is placed on the Water Register in the NWB Head Office in Gjoa Haven, and is available to the public.

2.
To enforce the terms and conditions of the Licence, the Department of Indian Affairs and Northern Development designates Inspectors in a manner consistent with the Memorandum of Understanding between the Department of Indian and Northern Affairs and the NWB. The Inspectors coordinate their activities with the NWB staff and officials of the Water Resources Division of DIAND. The Inspector responsible for Licence No. NWB1CUL0207  is located in the Nunavut District office.

3.
To keep the NWB and members of the public informed of the Licensee’s conformity to Licence conditions, the Inspectors prepare inspection and compliance reports which detail observations on how the Licensee has met each condition in the Licence. These reports are forwarded to the Licensee with a covering letter requesting what action, if any, should be taken. The inspection reports and covering letters are placed on the public Water Register, as are any responses received from the Licensee pertaining to the inspection reports. It is therefore of importance that the Licensee react in all areas of concern regarding inspection reports so that these concerns may be clarified. 

4.
If the Licensee contemplates the renewal of Licence No. NWB1CUL0207 , it is the responsibility of the Licensee to apply to the NWB for renewal of the Licence. The past performance of the Licensee, new documentation and information, and issues raised during a public hearing, if the NWB is required to hold one, will be used to determine the terms and conditions of the  Licence renewal. If the Licence expires before the NWB issues a new one, then water use and waste disposal must cease, or the Licensee will be in contravention of the Nunavut Land Claims Agreement.  The NWB recommends that an application for the renewal of Licence No. NWB1CUL0207 be filed at least six months before the Licence’s expiry date. 

5.
If Licence No. NWB1CUL0207 requires renewal, then a public hearing may be required. The Licensee should submit applications for renewal as soon as possible to give the NWB sufficient time to go through the renewal process. The duration of the process may vary depending on the scope of the renewal requested.

6.
The NWB can modify the Surveillance Network Program annexed to the Licence without a public hearing.  Requests for changes to the Surveillance Network Program should be forwarded to the NWB in writing, and should include the justification for the change.  

7.
Any communication with respect to this Licence shall be made in writing, with copy to interested parties, to the attention of:  

Philippe di Pizzo 


Executive Director 


Nunavut Water Board 


P. O. Box 119 


Gjoa Haven, Nunavut  X0E 1J0

Telephone:  (867) 360-6338;  Fax: (867) 360-6369




8.
Inspection and enforcement of the terms and conditions of this Licence are performed by:







Nunavut District Office 


Northern Affairs Program 


Department of Indian Affairs 


and Northern Development 


P. O. Box 100


Iqaluit, Nunavut  X0A 0H0

Telephone: (867) 979-4405;   Fax: (867) 979-6445

9.  The Licensee shall submit all reports, plans and studies to the Board in triplicate.

FIGURE 1
SITE MAP - PROJECT ENVIRONMENTAL IMPACT AREA WITH ACTIVE SNP STATIONS (Provided by Homestake Canada Inc.)
