General

1. Dan Utting (the Proponent) shall maintain a copy of the Project Terms and Conditions at the site of operation at all times.

2. The Proponent shall forward copies of all permits obtained and required for this project to the NIRB, prior to the commencement of the project.
3. The NIRB shall be notified of any changes in operating plans or conditions associated with this project prior to any such change.

Water
4. The Proponent shall be advised that the use of water and any disposal of wastewater as a result of the project proposal activities require a Nunavut Water Board licence and the project cannot proceed until this is obtained.

5. The Proponent shall not construct or disturb any stream, lakebed or banks of any definable water course unless authorized by the Department of Fisheries and Oceans.

Waste and Restoration
6. The Proponent shall remove all garbage and non-biological waste material from the site upon completion of activities and ensure transfer to an approved disposal facility. 

7. The Proponent shall keep all garbage and debris in bags placed in a covered metal container or equivalent until disposed of.
8. The Proponent shall not discharge or deposit any refuse substances or other waste materials in any body of water, or on the banks thereof, which will impair the quality of the waters of the natural environment.

9. The Proponent shall not locate any sumps or areas designated for waste disposal within thirty (30) metres of the ordinary high water mark of any body of water.  Sumps and areas designated for waste disposal shall be sufficiently bermed or otherwise contained to ensure that substances to do not enter a waterway unless otherwise authorized.

10. The Proponent shall backfill and recontour all sumps to match the natural environment prior to the expiry date of the licence.

11. The Proponent shall remove all fuel and associated equipment upon abandonment.

12. The Proponent shall complete all clean-up and restoration of the lands used prior to the expiry date of the licence.

Fuel and Chemical Storage

13. The Proponent shall locate all fuel and any hazardous materials (if applicable) a minimum of thirty (30) metres away from the high water mark of any water body and in such a manner as to prevent their release into the environment.
14. The Proponent shall report all spills of fuel, or other deleterious materials immediately to the 24 hour Spill Line at (867) 920-8130.

Wildlife 

15. The Proponent shall ensure that there is no damage to wildlife habitat in conducting this operation. Deliberate feeding of any wildlife is absolutely prohibited.

16. The Proponent shall ensure that aircraft/helicopter do not, unless for emergency, touch-down in areas where wildlife are present. 

17. The Proponent must avoid raptor nesting sites and concentrations of nesting or molting waterfowl by aircraft/helicopter at all times. 

18. The Proponent shall restrict aircraft/helicopter activity related to the project to a minimum altitude of 610m above ground level unless there is a specific requirement for low-level flying - such as choosing sample sites from a helicopter, and this does not disturb wildlife. 

19. The Proponent shall ensure that aircraft maintain a vertical distance of 1000 meters and a horizontal distance of 1500 meters from any observed groups (colonies) of migratory birds.
20. The Proponent shall ensure that there is minimal disturbance to any nesting birds and wildlife in the area.  Harassment of wildlife is prohibited.  This includes persistently worrying or chasing animals, or disturbing large groups of animals.

21. The Proponent shall cease activities that may interfere with migration or calving of caribou or muskox, until the caribou or muskox have passed or left the area.

22. The Proponent shall follow procedures outlined in the "Safety in Bear Country Manual", and should contact the Regional Biologist or the Wildlife manager for information and advice on measures which should be taken to minimize the possibility of conflicts/interactions with bears. Consideration should be given to setting up an electric fence around the camp.
23. The Proponent shall take extra precautions to avoid nesting areas of Ivory Gull, and, upon observing any evidence of Ivory Gull nest sites, shall record their locations and immediately contact Environment Canada NWRC, and Environment Canada CWS.

Camp

24. The Proponent shall ensure that all camps are located on gravel, sand or other durable land.
25. The Proponent shall not erect camps or store material on the surface ice of lakes or streams.

Archaeological

26. The Proponent shall ensure that any archaeological or palaeontological sites encountered are not disturbed.

27. The Proponent should be aware of the law regarding disturbance of archaeological and palaeontological sites and the removal of artifacts found.  If a site is found it should remain undisturbed and its location should be reported to the Government of Nunavut Department of Culture, Language, Elders and Youth. 

