[image: image1]
[image: image2]

[image: image3.jpg]-
A

M & T SERVICES LTD.






November 15, 2006
Phyllis Beaulieu

Manager of Licensing
Nunavut Water Board

P.O. Box 119

Gjoa Haven, NU, X0A 1J0

Re:  ‘B’ Class License Application – Camp Operations – Nuna M&T Services – 3BC-TEH
In response to the request from INAC (Stephen Bathory), letter dated November 10, 2006, for additional information and clarification, I spoke to Mr. Bathory and offer the following additional information.
Section 25, Spill Contingency Planning:

To further clarify the storage location of the lubricants, all cubes and drums in the 
quantities listed will be stored in the temporary shop or in Sea Cans adjacent to the 
shop.

Sections 32 – 35, Waste Treatment and Disposal:


Attached is the signed agreement from the Hamlet of Baker Lake for the use of Hamlet 
facilities.

Section 35, Waste Treatment and Disposal:


The sewage sump described in Section 35 is only a contingency sump in the event that access to the Hamlet sewage lagoon is not possible due to storms.  It is anticipated the sump would not be used.  Normal sewage storage on site is a 110 barrel storage tank which will be emptied on a regular basis utilizing our on site vacuum truck.

In the event the sump is utilized, any residual material will be picked up and disposed of in the Hamlet lagoon at the completion of the project.  Once any residue is removed, the sump area will be leveled to its original contours.
Section 38, Abandonment and Restoration:


Nuna M&T Services will provide to the Nunavut Water Board topographic elevations of the camp area in advance of camp construction.


As stated in Section 38 of the application, all camp structures will be removed from the site at the completion of the project.

Pages 17 and 48 – Spill Response Manual:


The Manual has been revised to reflect the Nunavut 24 hour Spill Report Contacts and the Director of Field Operations for DIAND has been added to the contact list.


Revised copy of the Manual is included in this submission.

Mr. Bathory points out that the Minister has not yet indicated his decision on the Meadowbank Gold Project and suggests that either the approval of this camp application (3BC-TEH) not be granted until the Minister reaches his decision or, that an interim license be issued.  Nuna M&T Services is requesting an Interim License be issued in order to expedite the construction of the camp when the Minister does reach a decision.
I trust the above clarifies the points brought forward by Mr. Bathory.  If there are any further questions, please contact the undersigned.

Sincerely,

Original Signed by
Neil Thompson

Nuna M&T Services
2

[image: image2][image: image3.jpg]