Northern Division


Environmental Protection Branch


Prairie and Northern Region


#301 - 5204 - 50th Ave


Yellowknife, NT  X1A 1E2


Ph, (867) 669-4700








May 30, 2000							





Our File:   New


Gladys Joudrey


Environmental Assessment Officer


Nunavut Impact Review Board


P.O. Box 2379


Cambridge Bay, NT  X0E 0C0				By Facsimile:  (867) 983-2594








Dionne Filiatrault


Technical Advisor


Nunavut Water Board


P.O. Box 119,


Gjoa Haven, NT  X0E 1J0					By Facsimile:  (867) 360-6369








Re:	Cominco Ltd.  Water Licence Application - NWB2ELL - Mineral Exploration -  Ellesmere Island





I have reviewed the above application on behalf of the Environmental Protection Branch, Environment Canada (EPB), and offer the following comments for your consideration.





The proponent shall ensure that any fuel or wastes associated with the proposed project do not enter waters frequented by fish.  All fuel caches should be located a minimum of thirty (30) metres from the normal high water mark of and in such a manner that no fuel can enter any such water body.


The contingency plan does not include notification to the Spill Line at 867-920-8130.





Please do not hesitate to contact me at (867) 669-4735 with any questions or comments regarding the foregoing.





Yours truly,

















Anne Wilson


Water Pollution Specialist








cc:	Steve Harbicht (Head, Assessment & Monitoring, EPB)


