[image: image1.png]



P.O. Box 119



Gjoa Haven, NU  X0B 1J0
kNK5 wmoEp5 vtmpq

Tel: (867) 360-6338

Nunavut Water Board
Fax: (867) 360-6369

NUNAVUT IMALIRIYIN KATIMAYINGI

March 1, 2001
           



File No: NWB2ELU0205NWB2TAH0101

 SET filenumber \* MERGEFORMAT 

 ASK "enter NWB file number" \* MERGEFORMAT 
March 6, 2002

Attention: Bruce McLeod

President

Sherwood Mining Corporation

860-625 Howe Street

Vancouver, BC V6C 2T6 

22 Gurdwara Road
Nepean, ON   K2E 8A2
email: Alan.Sexton@wmc.com
RE: Spill Contingency Plan
Dear Mr. McLeod:

The Nunavut Water Board has conditionally approved the “Spill Contingency Plan” (May 15, 2000) prepared by Hope Bay Joint Venture, operator for the Elu Inlet exploration project and recommends the following changes be made:

i. The plan purpose shall include the Sherwood Mining Corporation, Elu Inlet area project.

ii. Project Facility Description shall include Elu Inlet camp facilities.

iii. Response Equipment is upgraded to include materials on site at Elu Inlet camp and drill sites.  The equipment shall be listed separately for each operation.

iv. Field contacts be site specific for Elu Inlet operation.

v. Office contacts should reflect changes to incorporate Sherwood Mining Corporation. 

vi. Training shall be amended to reflect current programs, if any.

vii. Include site map of camp facilities.  Large site shall also be included indication of areas of drill sites and fuel caches for the 2002 proposed project. 

The revised Spill Contingency Plan shall be submitted with the necessary changes no later than May 15, 2002. If you have question regarding this approval do not hesitate to contact me. 

Sincerely,

Original signed by:

Dionne Filiatrault, P. Eng

Technical Advisor

cc.
Jane Howe


Paul Smith, DIAND Iqaluit


DIAND Inspector

J. Kaniak, Kitikmeot Inuit Association

Gladys Joudrey, Nunavut Impact Review Board
Josee Gallipeau, Nunavut Wildlife Management Board

P. Pacholek, Environment Canada


P. Partridge, Department of Sustainable Development


J. DeGroot, Department of Fisheries and Oceans
