
	[image: image1.png]


P.O. Box 119
	

	Gjoa Haven, NU     X0B 1J0
	kNK5 wmoEp5 vtmpq

	Tel: (867) 360-6338
	Nunavut Water Board

	Fax: (867) 360-6369
	NUNAVUT IMALIRIYIN KATIMAYING


DECISION






LICENCE NUMBER: NWB2FOR0406 -Type “B”
This is the decision of the Nunavut Water Board (NWB) with respect to an application for a new Licence dated May 26, 2004 made by:


EMNAK EXPLORATION INC.
to allow for the use of water and disposal of waste during camp operations at the Fort Ross Project located on lower Somerset Island within the Kitikmeot Region, Nunavut (latitude 72° 01.077’ N; and longitude 94° 12.091’ W). 
DECISION 

After having been satisfied that the application was in conformity with the applicable Land Use Plan and exempt from the requirement for screening by the Nunavut Impact Review Board in accordance with Schedule 12.1, Paragraph 5 of the Nunavut Land Claim Agreement (NLCA), the NWB decided that the application could proceed through the regulatory process. In accordance with S.55.1 of the Nunavut Waters and Nunavut Surface Rights Tribunal Act (NWNSRTA) and Article 13 of the NLCA, public notice of the application was given and interested persons were invited to make representations to the NWB.  

After reviewing the submission of the Applicant and representations made by interested persons, the NWB, having given due regard to the facts and circumstances, the merits of the submissions made to it and to the purpose, scope and intent of the NLCA and of the NWNSRTA, decided to waive the requirement to hold a public hearing and furthermore to delegate its authority to approve the application to the Chief Administrative Officer pursuant to S. 13.7.5 of the NLCA and S. 49(a) of the NWNSRTA and determined that:
Licence Number NWB2FOR0406 -Type “B” be issued subject to the terms and conditions contained therein. (Motion #: 2004 -32)
SIGNED this   11th      day of August 2004 at Gjoa Haven, NU.

Original signed by:

_______________________________                                                                          
Philippe di Pizzo

Chief Administrative Officer 

TABLE OF CONTENTS

DECISION
i

TABLE OF CONTENTS
ii

I.
INTRODUCTION
1

II.
GENERAL CONSIDERATIONS
1

A.
Term of the Licence
1

B.
Annual Report 
1

C.
Spill Contingency Planning 
1

D.
Abandonment and Restoration 
2

III.
LICENCE NWB2FOR0406– Type “B” 
3

PART A:
SCOPE AND DEFINITIONS
4

PART B:
GENERAL CONDITIONS
5

PART C:
CONDITIONS APPLYING TO WATER USE
7

PART D:
CONDITIONS APPLYING TO WASTE DISPOSAL
7

PART E:
CONDITIONS APPLYING TO CAMP AND ACCESS  

 INFRASTRUCTURES
8

PART F:
CONDITIONS APPLYING TO DRILLING OPERATIONS
8

PART G:
CONDITIONS APPLYING TO SPILL CONTINGENCY PLANNING
8

PART H:
CONDITIONS APPLYING TO ABANDONMENT AND

RESTORATION PLANNING
9

PART I:
CONDITIONS APPLYING TO THE MONITORING PROGRAM
10

I. INTRODUCTIONtc \l1 "INTRODUCTION
On May 26, 2004, a water licence application was filed with the Nunavut Water Board by Emnak Exploration Inc. for water use and waste disposal activities during camp operations in support of exploration activities at the Fort Ross Project located on lower Somerset Island within the Kitikmeot Region, Nunavut (latitude 72° 01.077’ N; and longitude 94° 12.091’ W).  After having been satisfied that the application was exempt from the requirement for screening by the Nunavut Impact Review Board in accordance with Schedule 12.1, Paragraph 5 of the Nunavut Land Claim Agreement (NLCA), the NWB decided that the application could proceed through the regulatory process.

In accordance with S.55.1 of the Nunavut Waters and Nunavut Surface Rights Tribunal Act (NWNSRTA) and Article 13 of the NLCA, public notice of the application was given and interested persons were invited to make representations to the NWB.  No public concerns were expressed, and after reviewing the submission of the Applicant and representations made by interested persons, the NWB, having given due regard to the facts and circumstances, the merits of the submissions made to it and to the purpose, scope and intent of the NLCA and of the NWNSRTA, decided to waive the requirement to hold a public hearing and furthermore to delegate its authority to approve the application to the Chief Administrative Officer pursuant to S.13.7.5 of the NLCA and  S.49(a) of the NWNSRTA.
II.
GENERAL CONSIDERATIONStc \l1 "II.
GENERAL CONSIDERATIONS
A.  Term of the Licencetc \l2 "Term of the Licence
In accordance with the Nunavut Waters and Nunavut Surface Rights Tribunal Act S. 45, the NWB may issue a licence for a term not exceeding twenty-five years.  The NWB believes that a term of approximately two years is appropriate. The licence term will allow the Licensee to properly carry out the terms and conditions of the licence and will ensure that sufficient time is given to permit the Licensee to develop, submit and implement the plans required under the licence to the satisfaction of the NWB.

B.  Annual Reporttc \l2 "Annual Report
The requirements imposed on the Licensee in this licence are for the purpose of ensuring that the NWB has an accurate annual update of water use and depositions of waste during a calendar year. This information is maintained on the public registry and is available to any interested parties upon request. 

C.  Spill Contingency Planning
The Board generally requires that all Licensees prepare a comprehensive Spill Contingency Plan to establish a state of readiness to ensure a prompt and effective response to possible spills or system failure events. The site-specific spill contingency plan will assist the Licensee in responding to emergencies such that the impacts to water in particular and the environment and public health in general are minimized.  The Plan submitted by the Licensee has been conditionally approved by the Board, with the requirement that additional information be submitted as an addendum to the approved Plan as per Part G, Item 1 of this license.

D.  Abandonment and Restoration (A&R)

To ensure that all future abandoned facilities are reclaimed in an appropriate manner, the NWB requires Licensees to submit an Abandonment and Restoration Plan. The Plan proposed by the Licensee as part of the Exploration/Remote Camp Supplementary Questionnaire has been approved by the Board, with additional conditions imposed under Part H of this Licence.

LICENCE NWB2FOR0406 –Type “B”
Pursuant to the Nunavut Waters and Nunavut Surface Rights Tribunal Act and the Agreement Between the Inuit of the Nunavut Settlement Area and Her Majesty the Queen in Right of Canada, the Nunavut Water Board, hereinafter referred to as the Board, hereby grants to 

EMNAK EXPLORATION INC.
(Licensee)
of

6 INUIT STREET, BOX 393, KUGLUKTUK, NU     X0B 0E0


(Mailing Address)

hereinafter called the Licensee, the right to alter, divert or otherwise use water for a period subject to restrictions and conditions contained within this licence:

NWB2FOR0406 - Type “B” 

Licence Number

NUNAVUT 04
Water Management Area




FORT ROSS PROJECT, KITIKMEOT REGION, NUNAVUT
Location 

                                                                                                                                             

WATER USE AND WASTE DISPOSAL
Purpose 

                                                                                                             

MUNICIPAL – TYPE “B”
Classification of Undertaking


10 CUBIC METRES DAILY

Quantity of Water Not to Exceed   


AUGUST 11, 2004
Date of Licence 

AUGUST 31, 2006
Expiry Date of Licence   


Dated this      11th       day of August 2004 at Gjoa Haven, NU.

Original signed by:


Philippe di Pizzo

Chief Administrative Officer

PART A:  SCOPE AND DEFINITIONS
1.
Scope
a. This Licence allows for the use of water and the disposal of waste during camp operations in support of exploration activities at the Fort Ross Project, located approximately 250 km south of Resolute Bay and 300 km north of Taloyoak within the Kitikmeot Region, Nunavut (latitude 72° 01.077’ N; and longitude 94° 12.091’ W);

b. This Licence is issued subject to the conditions contained herein with respect to the taking of water and the depositing of waste of any type in any waters or in any place under any conditions where such waste or any other waste that results from the deposits of such waste may enter any waters.  Whenever new Regulations are made or existing Regulations are amended by the Governor in Council under the Nunavut Waters and Nunavut Surface Rights Tribunal Act, or other statutes imposing more stringent conditions relating to the quantity or type of waste that may be so deposited or under which any such waste may be so deposited, this Licence shall be deemed, upon promulgation of such Regulations, to be subject to such requirements; and;

c. Compliance with the terms and conditions of this Licence does not absolve the Licensee from responsibility for compliance with the requirements of all applicable Federal, Territorial and Municipal legislation.

 2.
Definitions


In this Licence: NWB2FOR0406 -Type “B”
“Act” means the Nunavut Waters and Nunavut Surface Rights Tribunal Act;

“Amendment” means a change to original terms and conditions of this licence requiring correction, addition or deletion of specific terms and conditions of the licence; modifications inconsistent with the terms of the set terms and conditions of the Licence;

‘‘Appurtenant Undertaking’’ means an undertaking in relation to which a use of waters or a deposit of waste is permitted by a licence issued by the Board;

“Board” means the Nunavut Water Board established under the Nunavut Land Claims Agreement and the Nunavut Waters and Nunavut Surface Rights Tribunal Act;
“Chief Administrative Officer” means the Executive Director of the Nunavut Water Board;

“Greywater” means all liquid wastes from showers, baths, sinks, kitchens and domestic washing facilities, but does not include toilet wastes;

“Inspector” means an Inspector designated by the Minister under Section 85 (1) of the Act;

“Licensee” means the holder of this Licence

“Nunavut Land Claims Agreement” (NLCA) means the “Agreement Between the Inuit of the Nunavut Settlement Area and Her Majesty the Queen in right of Canada”, including its preamble and schedules, and any amendments to that agreement made pursuant to it;

“Sewage” means all toilet wastes and greywater;

“Spill Contingency Plan” means a Plan developed to deal with unforeseen petroleum and chemical events that may occur during the operations conducted under the Licence;
"Toilet Wastes" means all human excreta and associated products, but does not include greywater;

“Waste” means, as defined in S.4 of the Act, any substance that, by itself or in combination with other substances found in water, would have the effect of altering the quality of any water to which the substance is added to an extent that is detrimental to its use by people or by any animal, fish or plant, or any water that would have that effect because of the quantity or concentration of the substances contained in it or because it has been treated or changed, by heat or other means;

PART B:  GENERAL CONDITIONS

1. The Water use fee shall be paid in accordance with the requirements of the Act.

2. Licensee shall file an Annual Report on the appurtenant undertaking with the Board not later than March 31st of the year following the calendar year reported which shall contain the following information:

i. A summary report of water use and waste disposal activities; 

ii. A list of unauthorized discharges and a summary of follow-up actions taken;

iii. Revisions to the Spill Contingency Plan and Abandonment and Restoration Plan;

iv. Progressive reclamation work undertaken;

v. All information as required by Part I, Item 5 and

vi. Any other details on water use or waste disposal requested by the Board by November 1 of the year being reported.

3. The Licensee shall notify the NWB of any changes in operating plans or conditions associated with this project at least thirty (30) days prior to any such change.

4. The Licensee shall install flow meters or other such devices, or implement suitable methods required for the measuring of water volumes, to be operated and maintained to the satisfaction of an Inspector.

5. If the Licensee contemplates the renewal of Licence No. NWB2FOR0406, it is the responsibility of the Licensee to apply to the NWB for its renewal. The past performance of the Licensee, new documentation and information, and issues raised during a public hearing, if the NWB is required to hold one, will be used to determine the terms and conditions of the Licence renewal.  Note that if the Licence expires before the NWB issues a new one, then water use and waste disposal must cease, or the Licensee will be in contravention of the Nunavut Land Claims Agreement.  The NWB recommends that an application for the renewal of Licence No. NWB2FOR0406 be filed at least three months before the Licence expiry date.

6. If Licence No. NWB2FOR0406 requires an amendment, a public hearing may be required. The Licensee should submit applications for amendment as soon as possible to give the NWB sufficient time to go through the amendment process. The process may vary depending on the scope of the amendment requested

7. The Licensee shall ensure a copy of this Licence is maintained at the site of operations at all times.  Any communication with respect to this Licence shall be made in writing to the attention of:

(i) Chief Administrative Officer:

Executive Director

Nunavut Water Board

P.O. Box 119

Gjoa Haven, NU  X0B 1J0

Telephone:  
(867) 360-6338

Fax:  

(867) 360-6369

(ii) Inspector Contact:

Water Resources Officer

Nunavut District, Nunavut Region

P.O. Box 100

Iqaluit, NU  X0A 0H0

Telephone: 
(867) 975-4298

Fax:  

(867) 979-6445

8. The Licensee shall submit one paper copy and one electronic copy of all reports, studies, and plans to the Board. Reports or studies submitted to the Board by the Licensee shall include a detailed executive summary in Inuktitut.

PART C:  CONDITIONS APPLYING TO WATER USE 

1. The Licensee shall obtain water for domestic use from the unnamed creek approximately 100 metres from the camp, up to a maximum of 10 cubic metres per day.

2. The Licensee shall equip all water intake hoses with a screen of an appropriate mesh size to ensure that there is no entrainment of fish.

3. The Licensee shall not remove any material from below the ordinary high water mark of any water body.

4. The Licensee shall not do anything that will cause erosion to the banks of any body of water and shall provide necessary controls to prevent such erosion. 

5. Sediment and erosion control measures shall be implemented prior to and maintained during the operation to prevent entry of sediment into water. 

PART D:  CONDITIONS APPLYING TO WASTE DISPOSAL

1. Areas designated for waste disposal that may impair the quality, quantity, or flow of water shall be located at least thirty (30) metres above the ordinary high water mark of any water body, unless otherwise authorized by the Board. 

2. No open burning or on-site land filling of domestic waste is permitted.

3. The Licensee shall incinerate all combustible waste, and shall ensure that all hazardous wastes, waste oil and non-combustible waste generated through the course of the operation are backhauled and disposed of in an approved waste disposal site.

4. The Licensee shall contain all greywater in a sump located at least thirty (30) metres above the ordinary high water mark of any water body, at a site where direct flow into a water body is not possible and no additional impacts are created.

5. The Licensee shall contain all sewage in latrine pits located at least thirty (30) metres above the ordinary high water mark of any water body.  These latrine pits shall be treated with lime and covered with native material to achieve the pre-existing natural contours prior to abandonment.

PART E: CONDITIONS FOR CAMPS, ACCESS INFRASTRUCTURES and OPERATIONS

1. The Licensee shall not erect camps or store material on the surface of frozen streams or lakes except what is for immediate use.  Camps shall be located such as to minimize impacts on surface drainage.

2. All activities shall be conducted in such a way as to minimize impacts on surface drainage and the Licensee shall immediately undertake any corrective measures in the event of any impacts on surface drainage.

3. Winter lake and stream crossings, including ice bridges, shall be constructed entirely of water, ice or snow; stream crossings shall be removed or notched prior to spring break-up.

4. With respect to access road, pad construction or other earthworks, the deposition of debris or sediment into any water body is prohibited.  These materials shall be disposed of above the ordinary high water mark in such a fashion that they do not enter the water.

PART F:  CONDITIONS APPLYING TO DRILLING OPERATIONS

Not applicable 

PART G:  CONDITIONS APPLYING TO SPILL CONTINGENCY PLANNING

1. The Licensee shall within thirty (30) days of issuance of this licence, submit to the Board an addendum to the Spill Contingency Plan that is to include the following:

i) a description of the location and size of the facility for storage of fuels and the spill preventative measures in place including containment contingency in the event that more than one fuel drum should be discovered leaking;

ii) a site map that provides in detail the location of fuel use and fuel storage areas in relation to sensitive environmental components;

iii) an inventory of response equipment including supplies and where it is located;

iv) a copy of the Spill Report Form;

v) notification of the DIAND Water Resources Inspector at (867) 975-4298 following the occurrence of any spill of chemicals, petroleum products or waste associated with the project; and

vi) up-to-date MSDS information for products on site.

2. The Licensee shall annually review the Spill Contingency Plan and modify the Plan as necessary to reflect changes in personnel, operations and/or technology.  Any proposed modifications shall be submitted to the Board as an addendum to the original plan in accordance with Part B, Item 2(iii).

3. The Licensee shall ensure that any chemicals, petroleum products or wastes associated with the project do not enter water.  All sumps and fuel caches shall be located a minimum of thirty (30) metres above the ordinary high water mark of any adjacent water body. The Licensee is encouraged to use some form of secondary containment.

4. The Licensee shall ensure that any equipment maintenance and servicing be conducted only in designated areas and shall implement special procedures (such as the use of drip pans) to manage fluids, waste and contain potential spills.

5. If during the term of this Licence, an unauthorized discharge of waste occurs, or if such a discharge is foreseeable, the Licensee shall:

i. Employ the Spill Contingency Plan;

ii. Report the spill immediately to the 24-Hour Spill Line at (867) 920-8130 and to the DIAND Water Resources Inspector at (867) 975-4298; and

iii. Submit to the DIAND Water Resources Inspector on each occurrence, a detailed report including the GPS location, no later than thirty (30) days after initially reporting the event.

PART H:  CONDITIONS APPLYING TO ABANDONMENT AND RESTORATION

1. The Licensee shall annually review the Abandonment and Restoration Plan and if needed, modify the Plan to reflect changes in operation and/or technology.  Revisions shall be submitted with the Annual Report as an addendum to the Plan for the approval of the Board.

2. Licensee shall endeavor to carry out progressive reclamation for any components of the project no longer required for the Licensee’s operations.

3. The Licensee shall remove all materials from the site including scrap metal, discarded machinery and parts, barrels and kegs, building and building material prior to the expiry of this Licence.

4. The Licensee shall backfill and restore, to the satisfaction of an Inspector, all camp waste disposal sumps to the pre-existing contours of the land prior to the expiry of this Licence.

5. All disturbed areas shall be stabilized and re-vegetated as required, upon completion of work, and restored to a pre-disturbed state.

PART I:  CONDITIONS APPLYING TO THE MONITORING PROGRAM

1. The Licensee shall measure and record in cubic metres the daily quantities of water utilized for camp operations, for all purposes.

2. The Licensee shall determine the GPS co-ordinates (in degrees, minutes and seconds of latitude and longitude) of all locations where sources of water are utilized for all purposes.

3. The Licensee shall determine the GPS co-ordinates (in degrees, minutes and seconds of latitude and longitude) of all locations where wastes associated with camp operations are deposited.

4. Additional sampling and analysis may be requested by an Inspector.

5. The Licensee shall include all of the data and information required by the “Monitoring Program” in the Licensee's Annual Report, as required per Part B, Item 2.

6. Modifications to the Monitoring Program may be made only upon written approval of the Chief Administrative Officer.

1
PAGE  
i

