Technical Review






NWB2HAY0303

Feb 3, 2003

Contact:
Jerery Howe

Logistics Coordinator

BHP Billiton World Exploration Inc.

1400-1111 West Georgia Street

Vancouver, BC  V6E 4M3

Tel: 604-632-1450 Direct Line: 632-1451

Fax: 604-683-4125

Email : jeremy.howe@bhpbilliton.com  

Project

New application for exploration camp in Kitikmeot Region: Gjoa, Taloyoak, Kugarruk. 

Camp near Hayes River, Chantery Inlet and south of Bellot Strait. 

Camp sites: Hayes River Lat: 67.5 Long: 93  Second Camp: Lat 71.5 Long 94

NTS 56 L,K,M,N,O  57A,B,C,D,E,F,G  67 A, D

Project located on Crown lands. 

No Drilling proposed

Regional surface sampling

Small exploration project, 6 man temporary camps

Time Frame: July-Sept 

Communities to start then fly in camps mid july to mid aug. 

· Confirm w/ Jeremy that BHP only wants a licence for one year and not the standard 2 year NWB2 exploration licence

· Consider including a term that would allow for licensee to notify nwb of change of location for camp etc. (confirm with philippe re: NIRB/NPC requirements?)  

Water use

<25 L/d/p Max 6 prs camp.

Water to be drawn from local water sources in the area.

· Include ‘as otherwise approved by the Board’

Camp Operation

Latrine pits treated w/lime

Greywater sump

Incinerate burnables 

· Given nature of camp and no open burning allowed should al waste be backhauled? 

Fly out non-burnables, hazardous and bulky material

Drilling

No drilling proposed. 

Fuel Storage
No large scale or long term storage

Storage of fuel at least 30 m from normal high water mark. 

Spill plan enclosed w/ attached MSDS sheets.

· Review and approve as part of the licence renewal. File separate letter of approval for the spill plan and note any concerns if warranted.  

· Review MSDS for type of drill additives (ie non toxic)?

Camp fuel to be contained in lined berm greater than 110% of the capacity of any drum. 

All fuel backhauled and arrangements made to return empties to south. 

Abandonment and Restoration

Abandonment immediate and total. Nor reuse of site anticipated. 

Early stage exploration No AR plan required.

Baseline Data
Early stage exploration baseline data not warranted

