NWB2INU Preliminary Technical Review-Supplemental Information received 6 March 2003-03-07

Done by:  
Jim Wall


Date:  
6 March 2003

Licence:  
NWB2PER


	CONTACT INFORMATION
	Contact:
	Judy Stoeterau

	
	Position:
	VP, Exploration

	
	Company:
	Rhonda Corporation

	
	Address:
	Suite 810, 540 5th Ave. SW

	
	Address:
	Edmonton, AB 

	
	Tel:
	(403) 269-5369

	
	Fax:
	(403) 261-2866

	
	Email:
	judy@rhondacorp.com


	

	PROJECT SPECIFICS 
	YES
	NO
	COMMENT

	Is the application complete?

Form, questionnaire, maps
	   X
	
	Photos, information on camp layout and maps requested in email of 18 February 2003 arrived on

6 March 2003.  Application no longer deficient

	Conform to LUP   
	
	
	

	NIRB Screening
	
	
	

	Type of Project

Camp 

Geophysical Sampling

Drilling

Other:
	
	
	

	
	   X
	
	

	
	   X
	
	

	
	   X
	
	

	
	
	
	

	Location

Lat/Long  NTS Maps

IOL

Crown
	
	
	Region:
	Kitikmeot

	
	   X
	
	6663°0001'-6763°2001'N; 11292°0010'-11492°3010'W

NTS Maps #: 86I/4; 86J/1,8, 9,16; 86O/1,8; 86P/1 to 8

	
	
	
	

	
	
	
	

	Time Schedule

Multiple year project
	
	
	

	
	   X
	
	2003-2004

	Camp Size
	   X
	
	Proponent indicates a 12 person camp will be constructed

	Drilling: 

Land Based

Lake Based
	
	
	

	
	   X
	
	Water use 1500 L per day, depending on re-circulation efficiency

	
	
	
	

	Spill Contingency Plan 

Preliminary Plan Acceptable

MSDS sheet included

Additives Non Toxic
	
	
	

	
	   X
	
	Spill Contingency Plan submitted with the renewal application was previously approved in 2001; no significant changes have been made in the 2001 Plan to date.  

Minor updates are recommended 


	
	   X
	
	

	
	   
	
	

	Spill kits on site
	   X
	
	One kit at fuel storage site, one with drill

	Fuel Storage inventory 
	   X
	
	50 barrels P-40; 2 barrel gasoline; 50 barrels Jet-B; 3 cylinders propane (100lbs)

	Water use 

Requirements

Source
	
	
	

	
	   X
	
	3000 Liters / day

	
	   X
	
	Un-named lake adjacent to camp

	Sewage

Latrine Pit w/lime

Alternate:
	
	
	

	
	
	
	

	
	   X
	
	Blackwater and greywater sumps

	Solid Waste 

Incineration

Open burning

Backhaul
	
	
	

	
	
	
	

	
	
	
	

	
	   X
	
	Back-haul to Yellowknife

	Empty Fuel Barrels 

Backhaul

Alternate:
	
	
	

	
	   X
	
	Back-haul to Yellowknife

	
	
	
	

	Hazardous/Bulky  

Backhaul

Alternate:
	
	
	

	
	   X
	
	Back-haul to Yellowknife

	
	
	
	

	Waste Oil

Backhaul

Alternate
	
	
	

	
	   X
	
	Back-haul to Yellowknife

	
	
	
	

	Drill Cuttings 

Sump

Alternate
	
	
	

	
	   X
	
	Disposal of drill cuttings to a sump.  Preliminary Drilling Operations Plan could contain more detail, but acceptable

	
	
	
	

	Abandonment and Restoration Plan

Preliminary Plan acceptable
	
	
	

	
	   
	   X
	Minimal detail here; preliminary looks quite positive.  Should follow-up on A&R Plan, to see if more detailed info can be obtained

Term and condition of licence

	Baseline Data Collection on going
	
	  X
	

	Misc. Information Included:
	
	
	


	Regulatory Timeline

	Application Received:
	20 January 2003
	

	Preliminary Tech Review Completed:
	6 March 2003
	Action:  Supplemental information has addressed previous deficiencies; send to distribution



	NPC Conformity Review Received:
	
	

	NIRB Screening Received:
	
	

	Licence Drafted:
	
	


Created on 3/7/2003 6:30 PM 

Tech2

 FILENAME \p \\Mother\users\CENTRAL\Licenses\NWB2-exploration\Inu\Technical Review\0300307NWB2INUPrelimTechReviewAdditionalInfo-ITAE.doc

- 3 -

