

NWB2MAR0103


[image: image1.png]



P.O. Box 119


Gjoa Haven, NU X0B 1J0
kNK5 wmoEp5 vtmpq

Tel: (867) 360-6338
Nunavut Water Board
Fax: (867) 360-6369
NUNAVUT IMALIRIYIN KATIMAYINGI

March 1, 2001
           



File No: NWB2MAR0103 NWB2TAH0101

 SET filenumber \* MERGEFORMAT 

 ASK "enter NWB file number" \* MERGEFORMAT 
August 23, 2001

Paul McCarthy 

Wet Coast Capital Corp.

1100 Melville St., 6th Floor

Vancouver BC V6E 4A6

22 Gurdwara Road
Nepean, ON   K2E 8A2
email: Alan.Sexton@wmc.com
RE: NWB Licence No. NWB2MEL0103 NWB2MAR0103

Dear Mr. McCarthy:


Please find attached Licence No. NWB2MAR0103 issued to Wet Coast Capital Corp. by the Nunavut Water Board (Motion #: 2001-40 ASK MOTIONNUMBER "MOTION NUMBER: ###### ?" ) pursuant to its authority under Article 13 of the Agreement between the Inuit of the Nunavut Settlement Area and Her Majesty the Queen in Right of Canada.  The terms and conditions of the attached Licence related to water use and waste disposal, where applicable, are an integral part of this approval.

Sincerely,








Original signed by:

Philippe di Pizzo

Executive Director

Enclosure: 
Licence No. NWB2MAR0103
cc:
Paul Smith, DIAND Iqaluit


Philippe Lavallee, DIAND Inspector

Jack Kaniak, KIA

Gladys Joudrey, NIRB
Josee Gallipeau, NWMB

Paula Pacholek, EC


Earle Baddaloo, DSD

Jordan DeGroot, DFO

APPROVAL FOR WATER USE AND WASTE DISPOSAL

Pursuant to Article 13 of the Agreement Between the Inuit of the Nunavut Settlement Area and Her Majesty the Queen in right of Canada, the Nunavut Water Board, hereinafter referred to as the Board, hereby grants to Wet Coast Capital Corp. authorization to use water and dispose of waste into water, subject to the terms and conditions outlined herein and in the applicable land use permits. 

	APPLICATION NO:
	NWB2MAR0103

	LICENSEE:
	Wet Coast Capital Corp.

1100 Melville St., 6th Floor

Vancouver BC V6E 4A6

	START DATE:
	March 1, 2001August 23, 2001

	EXPIRY DATE:
	February 28, 2003October 31, 2003

	PURPOSE:
	Water Use and Waste Disposal Activities Associated with Exploration Activities

	LOCATION:
	Marceau Lake and Fontano Lake, Kitimeot Region, Nunavut

General Latitude: 6663°2301'N; Longitude: 11492°5510'W 

NTS Map: 86J/7 Scale 1:50,000


This approval issued and recorded at Gjoa Haven includes and is subject to the annexed conditions.








Original signed by:


Philippe di Pizzo








Executive Director

PART A:
SCOPE, DEFINITIONS & ENFORCEMENT

1.
Compliance with the terms and conditions of this approval does not absolve the Licensee from responsibility for compliance with all applicable legislation, guidelines, or directives.

2.
This approval is issued subject to the conditions contained herein with respect to the taking of water and the depositing of waste of any type in any waters or in any place under any conditions where such waste or any other waste that results from the deposits of such waste may enter any waters, and with respect to any other impacts of the Licensee’s activities on water quality, quantity or flow, including surface drainage.

3.
Definitions:

"Combustible waste" means paper, non-treated wood products, kitchen food waste, and sewage waste.

"Greywater" means all liquid wastes from showers, baths, sinks, kitchens and domestic washing facilities, but does not include toilet wastes.

"Sump" 
means a man-made pit, trench hollow or cavity in the earth's surface used for the purpose of depositing waste material therein; and

"Toilet Waste" means all human excreta and associated products, but does not include greywater.

4. The Licensee shall maintain a copy of this Licence at the sites of operation at all times.

5. Enforcement:

i. Subject to Part A, Item 5 (iv), failure to comply with this Licence will be a violation of the Northwest Territories Water Act, exposing the Licensee to the enforcement measures and the penalties provided for in the Act.

ii. Subject to Part A, Item 5 (iv), all inspection and enforcement services regarding this Licence will be provided by inspectors appointed under the Northwest Territories Water Act.
iii. Subject to Part A, Item 5 (iv), inspectors appointed under the Northwest Territories Water Act enjoy-with respect to this Licence, and for the purpose of enforcing this Licence, and with respect to the use of water and deposit or discharge of waste by the licensee-all powers, privileges and protections that are conferred upon them by the Northwest Territories Water Act or by other applicable law.

iv. To the extent that the Northwest Territories Water Act is, subsequent to the issuance of this Licence, replaced with respect to water management in Nunavut by other federal legislation (including, without limitation, a regulation or order referred to in Section 10.10.2 of the Nunavut Land Claims Agreement), and to the extent that the other federal legislation is consistent with the Nunavut Land Claims Agreement, the other federal legislation shall apply with respect to this Licence and the Northwest Territories Water Act shall cease to apply with respect to this Licence. 

PART B:
GENERAL CONDITIONS 
1. The Licensee shall file a report with the Board in electronic format (Microsoft Word) no later than March 31 of the year following the calendar year reported, which shall contain the following information:
i. A summary report of water use and waste disposal activities; 

ii. A list of unauthorized discharges and a summary of follow-up actions taken;

iii. Revision to the Contingency Plan;

iv. Progressive reclamation work undertaken;

v. Any other details on water use or waste disposal requested by the Board by November 1 of the year being reported.

2.  The NWB shall be notified of any changes in operating plans or conditions associated with this project at least thirty (30) days prior to any such change.  

PART C:
CONDITIONS FOR THE USE AND PROTECTION OF WATER
1.
The Licensee shall obtain water for domestic purposes from Marceau Lake and Fontano Lake up to a maximum of 50 cubic metres per day for each camp. 

2. The Licensee shall equip all water intake hoses with a screen with an appropriate mesh size to ensure that there is no entrapment of fish.

3. The Licensee shall not remove any material from below the ordinary high water mark of any water body.

4. The Licensee shall not do anything that will cause erosion of the banks of any body of water on or adjacent to the land and shall provide necessary controls to prevent such erosion. 

5. Sediment and erosion control measures shall be implemented prior to and maintained during the operation to prevent entry of sediment into water. 

PART D:
CONDITIONS APPLYING TO WASTE DISPOSAL
1. Areas designated for waste disposal that may impair the quality, quantity, or flow of water shall not be located within thirty (30) metres of the ordinary high water mark of any body of water, unless otherwise authorized by the Board.

2. The Licensee shall discharge and contain toilet waste in a sump designed to handle the proposed volume of toilet waste, and located at least thirty (30) metres from the high water mark of any water body at a site where direct flow into a water body is not possible and no additional impacts are created. 

3. The Licensee shall discharge and contain all greywater in a sump designed to handle the proposed volume of greywater, and located at least thirty (30) metres from the high water mark of any water body at a site where direct flow into a water body is not possible and no additional impacts are created.
4. The Licensee shall incinerate all combustible waste, and shall ensure that all hazardous wastes and non-combustible waste generated through the course of the operation are backhauled and disposed of in an approved waste disposal site. 

5. The Licensee shall not landfill any waste.

PART E:
CONDITIONS FOR CAMPS AND ACCESS INFRASTRUCTURES

1. The Licensee shall not erect camps or store material on the surface of frozen streams or lakes except what is for immediate use.  Camps shall be located such as to minimize impacts on surface drainage.

2. All activities shall be conducted in such a way as to minimize impacts on surface drainage and the Licensee shall immediately undertake any corrective measures in the event of any impacts on surface drainage. 

3. Winter lake and stream crossings, including ice bridges, shall be constructed entirely of water, ice or snow; stream crossings shall be removed or notched prior to spring break-up.

4. With respect to access road and pad construction or other earthworks, the deposition of debris or sediment into any water body is prohibited.  These materials shall be disposed of above the high water mark in such a fashion that they do not enter the water. 

PART F:
CONDITIONS APPLYING TO SPILL PREVENTION AND     CONTINGENCY PLANNING 

1. The Licensee shall ensure that any chemicals, fuel or wastes associated with the project do not enter water.  All sumps and fuel caches shall be located a minimum of thirty (30) metres from the normal high water mark, and be sufficiently bermed or otherwise contained to ensure that they cannot enter any water body. 

2. The Licensee shall submit a Spill Contingency Plan to the Board for approval within one (1) month of commencing operations.  

3. If, during the duration of this Licence, an unauthorized discharge of waste occurs, or if such a discharge is foreseeable, the Licensee shall:

i. Employ the Contingency Plan;

ii. Report the spill immediately to the 24-Hour Spill Line at (867) 920-8130 and to the DIAND Water Resources Inspector at (867) 975-4298; and 

iii. Submit to the DIAND Water Resources Inspector a detailed report on each occurrence no later than thirty (30) days after initially reporting the event.

PART G:
CONDITIONS APPLYING TO ABANDONMENT AND RESTORATION

1. The Licensee shall submit to the Board for approval, within six (6) months of issuance of this Licence, an Abandonment and Restoration Plan prepared in accordance with applicable sections of the "Guidelines for Abandonment and Restoration Planning for Mines in the Northwest Territories (1990)". The plan shall be revised annually to reflect changes in operation and/or technology.

2. If not approved by the Board, the plan referred to in Part G; Item 1 shall be revised and resubmitted within thirty (30) days of receiving notification of the Board's decision. 

3. The Licensee shall backfill and restore all sumps back to the natural surrounding contours of the land prior to the expiry of this permit. 

4. The Licensee shall undertake progressive restoration for any components of the project that are no longer required for the Licensee’s operations.

5. Upon expiry of this Licence, all disturbed areas shall be stabilized and re-vegetated as required, and restored to a pre-disturbed state in order to avoid impacts on surface drainage.

2

