Project Name: Muskox South (NWB2WET) & Muskox North (NWB2MAR)

Proponent: Wet Coast Capital Corporation

Plan Name:    Contingency Plan for Material Spills for Exploration Camps, Drilling Operations and Remote Sites

Date:July 2001

Spill Contingency Plan Technical Review Checklist:

· Capable of responding and taking action immediately

· Lines of authority and responsibility

· Proper reporting and communication procedures

· Plans of action and countermeasures in the event of a spill

· State of the art containment

· State of the art clean-up

· Reflect changes on site (change of personnel, etc.)

· Analysis of potential spills, fate and effects- which means identifying:

· All potential sources of spills

· Fuel transfer and storage

· The potential size and type of spills 

· List of fuels and hazardous

· How and where spills could migrate (including freezing effects)

· Site plan 

· Environmental sensitivity mapping-says no resource harvesting in the area?!
· Specific preventive measures and procedures

· Storage & transfer protocol

· Training

· Drills

· Specific hazards associated with the spills

·  Hazardous material information

· Where, and what type of clean-up material can be accessed

· Spill kits and location

· Response Action Plan—including system component failure and malfunction action plans

· Initial Action…Clean-Up (treatment and disposal of water)…Reporting

· Communication network

· Chain of command & organisation

· Assignment of specific responsibilities to personnel

· Response team 

· Reporting procedures & forms- no spill form
· Hazardous waste transportation & removal-no hazardous mats transportation authorisation
· Local assistance and resources to get help

· Spill Line & regional contacts

Comments:The plan contains all of the right info but need to bullet info that’s valuable to staff and include the spill number in the initial action list. A spill form should be attached and suitable gloves to handle excepted spills as a part of the spill kits. List of Assistance- include Spill line.Site plan maps were not included although referenced.

Approved by NWB:             YES  /
NO     

Signature: 




Date: July 25, 2001
