[image: image1.png]



P.O. Box 119 
kNK5 wmoEp5 vtmpq

Gjoa Haven, NU  X0B 1J0
Nunavut Water Board

Tel: (867) 360-6338
NUNAVUT IMALIRIYIN    
Fax: (867) 360-6369

KATIMAYINGI

August 8, 2001
Paul McCarthy

Project Manager

Wet Coast Capital Corp.

6th Floor, 110 Melville Street,  

Vancouver, B.C.V6E 4A6

Fax : 604-682-6509 

Re: NWB Water Licences #NWB2WET0002 & NWB2MAR
Dear Mr. McCarthy:

The Nunavut Water Board (NWB) has granted approval of Wet Coast Capital Corp.’s “Contingency Plan for Material Spills for Exploration Camps, Drilling Operations and Remote Sites” for the Muskox Property (North & South) project. The Licensee shall ensure the following provisions are incorporated into their plan:

· The referenced attachments of a hazardous material and spill kit site map, as well as a NWT spill form is appended to the Plan;  

· Suitable gloves for the nature of potential spills are included in the spill kits to ensure staff safety; 

· The spill number is included and referenced in bold in Section 3.0: Initial Action, Item G on p.5, as well as included in the list of contacts on p. 7.  

The Licensee shall also revise annually the submitted Contingency Plan entitled, “Contingency Plan for Material Spills for Exploration Camps, Drilling Operations and Remote Sites” received July 20, 2000 to reflect changes in operation and/or technology.

Although the plan meets NWB’s requirements for spill contingency, the Plan would benefit from having the information that is relevant to emergency site clean up bulleted so that staff have easy access to this information provided in the Plan, should an incident arise.

If you have any questions of comments, please do not hesitate to contact the NWB office at 867-360-6338 or Dionne Filiatrault by email at dionne@polarnet.ca.

Sincerely,
Dionne Filiatrault

Technical Advisor

CC: Environment Canada, Iqaluit Office

      Government of Nunavut
