NWB2WEL0204


[image: image1.png]00.2¢ Alcnat® bNLMY





P.O. Box 119

                                                              Gjoa Haven, NT  X0E 1J0

[image: image2.png]




Tel: (867) 360-6338
     Nunavut Water Board
Fax: (867) 360-6369
       NUNAVUT IMALIRIYIN KATIMAYINGI

June 14, 2002

Allan Huard, Senior Project Geologist

Noranda Inc

874 Tungsten Street

Thunder Bay, ON  P7B 6J3

Via email: huarda@normin.com   

RE: NWB Permit No. NWB2WEL0204
Dear Mr. Huard,


Please find attached Permit No. NWB2WEL0204 issued by the Nunavut Water Board (Motion #: 2002-06) pursuant to its authority under Article 13 of the Agreement between the Inuit of the Nunavut Settlement Area and Her Majesty the Queen in Right of Canada.  The terms and conditions of the attached permit related to water use and waste disposal are an integral part of this approval.

Sincerely,








Original signed by

Philippe di Pizzo

Executive Director

Enclosure: Permit No. NWB2WEL0204
cc:
Paul Smith, DIAND Iqaluit, 


C. Bodykevich, DIAND Inspector

Lands Manager, Qikiqtani Inuit Association

Gladys Joudrey, Nunavut Impact Review Board
Josee Gallipeau, Nunavut Wildlife Management Board

P. Pacholek, Environment Canada


P. Partridge, Department of Sustainable Development


J. DeGroot, Department of Fisheries and Oceans
APPROVAL FOR WATER USE AND WASTE DISPOSAL

Pursuant to Article 13 of the Agreement Between the Inuit of the Nunavut Settlement Area and Her Majesty the Queen in right of Canada, the Nunavut Water Board, hereinafter referred to as the Board, hereby grants to Noranda Inc. approval to use water and dispose of waste in conjunction with mineral exploration including, mapping, sampling, airborne and ground geophysical surveying and exploratory drilling, subject to the terms and conditions outlined herewith and in the applicable land use permit.

	APPLICATION NO:
	NWB2WEL0204

	LICENSEE:
	Noranda Inc

874 Tungsten Street

Thunder Bay, ON  P7B 6J3

Telephone: (807) 623-4339 

Facsimile: (807) 623-0452

email: huarda@normin.com   

	START DATE:
	June 15, 2002

	EXPIRY DATE:
	April 15, 2004

	PURPOSE:
	Water Use and Waste disposal associated with exploration 

	LOCATION:
	Baffin Region, Nunavut

General Latitude: 76°42' N; Longitude: 93°57' W  

NTS Map: 59B, UTM 17, 531413E and 7791674N, Datum NAD83


This permit issued and recorded at Gjoa Haven includes and is subject to the annexed conditions.








Original signed by

 
Philippe di Pizzo








Executive Director

PART A:
SCOPE, DEFINITIONS & ENFORCEMENT

1.
Compliance with the terms and conditions of this approval does not absolve the Licensee from responsibility for compliance with all applicable legislation, guidelines, or directives.

2.
This approval is issued subject to the conditions contained herein with respect to the taking of water and the depositing of waste of any type in any waters or in any place under any conditions where such waste or any other waste that results from the deposits of such waste may enter any waters, and with respect to any other impacts of the Licensee’s activities on water quality, quantity or flow, including surface drainage.

3.
Definitions:

"sump" 
means a man-made pit, trench hollow or cavity in the earth's surface used for the purpose of depositing waste material therein; and

"drill waste"  means all materials or chemicals, solid or liquid, associated with drilling of bore holes and includes bore hole cuttings.

"combustible waste" means paper, non-treated wood products, kitchen food waste, and sewage waste. 

4. The Licensee shall maintain a copy of this permit at the sites of operation at all times.

5. Enforcement

i. Failure to comply with this Licence will be a violation of the Nunavut Water and Nunavut Surface Rights Tribunal Act, exposing the Licensee to the enforcement measures and the penalties provided for in the Act.

ii. All inspection and enforcement services regarding this Licence will be provided by inspectors appointed under the Nunavut Water and Nunavut Surface Rights Tribunal Act.
iii. Inspectors appointed under the Nunavut Water and Nunavut Surface Rights Tribunal Act enjoy-with respect to this Licence, and for the purpose of enforcing this Licence, and with respect to the use of water and deposit or discharge of waste by the licensee-all powers, privileges and protections that are conferred upon them by the Nunavut Water and Nunavut Surface Rights Tribunal Act or by other applicable law.

PART B:
GENERAL CONDITIONS 
1. The Licensee shall file a report with the Board no later than March 31st of the year following the calendar year reported, which shall contain the following information:

i. A summary report of water use and waste disposal activities;

ii. A list of unauthorized discharges and a summary of follow-up actions taken;

iii. Revision to the Contingency Plan;

iv. Progressive reclamation work undertaken;

v. Any other details on water use or waste disposal requested by the Board by November 1 of the year being reported.

2.  The NWB shall be notified of any changes in operating plans or conditions associated with this project at least thirty (30) days prior to any such change.  

PART C:
CONDITIONS FOR THE USE AND PROTECTION OF WATER
1.
The Licensee shall obtain water for domestic purposes from the lake known as Lake Neergaard, up to a maximum volume of fifty (50) cubic metres per day. 

2. The Licensee shall equip all water intake hoses with a screen with an appropriate mesh size to ensure that there is no entrapment of fish.

3. If the drilling requires water in sufficient volume that the source water body may be drawn down the Licensee shall, at least 30 days prior to commencement of drilling, submit to the Board for approval the following: volume required, hydrological overview of the water body, details of impacts, and proposed mitigation measures.  The use of streams is not recommend as a water source.

4. The Licensee shall not remove any material from below the ordinary high water mark of any waterbody.

5. The Licensee shall not do anything that will cause erosion of the banks of any body of water on or adjacent to the land and shall provide necessary controls to prevent such erosion. 

6. Sediment and erosion control measures shall be implemented prior to and maintained during the operation to prevent entry of sediment into water. 

PART D:
CONDITIONS APPLYING TO DRILLING OPERATIONS AND TRENCHING

1. All drill waste shall be disposed of and contained on land in a sump located at least thirty (30) metres from the high water mark of any water body at a site where direct flow into a water body is not possible and no additional impacts are created.
2. No land-based drilling is to be done within thirty (30) metres of the high water mark of any water body or watercourse.  Drilling wastes from land-based drilling shall be disposed of in a sump such that they do not enter any water body.

3. Drilling on ice is not authorized.

4. Drilling additives or muds shall not be used in connection with holes drilled through the lake ice unless they are re-circulated or contained such that they do not enter the water, or are demonstrated to be non-toxic.

5. If artesian flow is encountered, drill holes shall be plugged and permanently sealed upon project termination.
PART E:
CONDITIONS APPLYING WASTE DISPOSAL

1. Areas designated for waste disposal that may impair the quality, quantity, or flow of water shall not be located within thirty (30) metres of the ordinary high water mark of any body of water, unless otherwise authorized by the Board.

2. The Licensee shall not discharge sewage effluent. 

3. The Licensee shall discharge and contain all greywater in a sump located at least thirty (30) metres from the high water mark of any water body at a site where direct flow into a water body is not possible and no additional impacts are created.
4. The Licensee shall construct a sump to contain all greywater discharged and shall ensure drainage is away from any water body. 

5.
The Licensee shall incinerate all combustible waste, and shall ensure that all hazardous wastes and non-combustible waste generated through the course of the operation are backhauled and disposed of in an approved waste disposal site. 

6.
The Licensee shall not landfill any waste except for greywater and drilling in accordance with Part D.

PART F:
CONDITIONS FOR CAMPS AND ACCESS INFRASTRUCTURES

1. The Licensee shall not erect camps or store material on the surface of frozen streams or lakes except what is for immediate use.  Camps shall be located such as to minimize impacts on surface drainage.

2. All activities shall be conducted in such a way as to minimize impacts on surface drainage and the Licensee shall immediately undertake any corrective measures in the event of any impacts on surface drainage. 

3. Winter lake and stream crossings, including ice bridges, shall be constructed entirely of water, ice or snow; stream crossings shall be removed or notched prior to spring break-up.

4. With respect to access road construction, pad construction or other earthworks, the deposition of debris or sediment into any water body is prohibited.  These materials shall be disposed of above the high water mark in such a fashion that they do not enter the water. 

PART G:
CONDITIONS APPLYING TO SPILL PREVENTION AND CONTINGENCY PLANNING 

1. The Licensee shall ensure that any chemicals, fuel or wastes associated with the project do not enter waters frequented by fish.  All sumps and fuel caches shall be located a minimum of thirty (30) metres from the normal high water mark and in such a manner that no fuel can enter any such water body. 

2. The Licensee shall revise the approved Contingency Plan titled, "Emergency Response Procedures for Spill Reporting" received April 16, 2002 annually to reflect changes in operation and/or technology.

3. If, during the duration of this permit, an unauthorized discharge of waste occurs, or if such a discharge is foreseeable, the Licensee shall:

i. Employ the Contingency Plan;

ii. Report any spill immediately to the 24-Hour Spill Line at (867) 920-8130; and to the DIAND Water Resources Inspector at (867) 975-4298; and 

iii. Submit to the DIAND Water Resources Inspector a detailed report on each occurrence no later than thirty (30) days after initially reporting the event.

PART H:
CONDITIONS APPLYING TO MODIFICATIONS 
1. The Licensee may, without written approval from the Board, carry out modification to the water supply and waste disposal facilities provided that such modifications are consistent with the terms of this Licence and the following requirements are met:

i. The Licensee has notified the Board in writing of such proposed modifications at least sixty (60) days prior to beginning the modifications;

ii. Such modifications do not place the Licensee in contravention of the Licence and/or Act;

iii. The Board has not, during the sixty (60) days following notification of the proposed modifications, informed the Licensee that review of the proposal will require more that sixty (60) days; and

iv. The Board has not rejected the proposed modification.

2. Modifications for which all of the conditions referred to in Part H, Item 1 have not been met may be carried out only with written approval from the Board.

3. The Licensee shall provide to the Board as-built plans and drawings of the modifications referred to in Part H, Item 1 within ninety (90) days of completion of the modifications.

PART I:
CONDITIONS APPLYING TO ABANDONMENT AND RESTORATION

1. The Licensee shall submit to the Board immediately for approval of this licence an Abandonment and Restoration Plan for the camp facility and sites affected by the project.

2. If the Plan referred to in Part I, Item 1 is not approved, the Licensee shall resubmit the plan at least within sixty (60) days following notification from the Board.

3. As necessary, the Plan referred to in Part I, Item 1 shall be updated annually to reflect changes in operation and/or technology and shall be submitted as required in accordance with Part B, Item 1.

4. Upon abandonment, the Licensee shall remove all scrap metal, discarded machinery and parts, barrels and kegs, buildings and building material.

5. The Licensee shall backfill and restore to the satisfaction of the Inspector all sumps back to the natural surrounding contours of the land prior to the expiry of this permit. 

6. The Licensee shall undertake progressive restoration for any components of the project which are no longer required for the Licensee’s operations.

7. All disturbed areas shall be stabilized and re-vegetated as required, upon completion of work and restored to a pre-disturbed state.

GENERAL CONDITIONS FOR THE ADMINISTRATION OF LICENCES

ISSUED BY THE NUNAVUT WATER BOARD (NWB)
The following conditions form an integral part of Licence No. NWB2WEL0204:
1.
At the time of issuance, a copy of the Licence is placed on the Water Register in the NWB Head Office in Gjoa Haven. Documents in the Register are available to the public.

2.
If the Licensee contemplates the renewal of Licence No. NWB2WEL0204 it is its    responsibility to apply to the NWB for its renewal. The past performance of the Licensee, new documentation and information, and issues raised during a public hearing, if the NWB is required to hold one, will be used to determine the terms and conditions of the Licence renewal.  Note that if the Licence expires before the NWB issues a new one, then water use and waste disposal must cease, or the Licensee will be in contravention of the Nunavut Land Claims Agreement.  The NWB recommends that an application for the renewal of Licence No. NWB2WEL0204 be filed at least three months before the Licence’s expiry date. 

3.
If Licence No. NWB2WEL0204 requires amendment, then a public hearing may be required. The Licensee should submit applications for amendment as soon as possible to give the NWB sufficient time to go through the amendment process. The process may vary depending on the scope of the amendment requested.

4.
Any communication with respect to this Licence shall be made in writing to the attention of:





Philippe di Pizzo 





Executive Director 





Nunavut Water Board 





P. O. Box 119 





Gjoa Haven, NU X0B 1J0





Telephone: 
(867) 360-6338





Fax: 

(867) 360-6369

               Inspector Contact:

Water Resources Officer

Nunavut District, Nunavut Region

P.O. Box 100

Iqaluit, NU X0A 0H0

Telephone:
(867) 975-4298

Fax: 

(867) 979-6445

5. The Licensee shall submit two paper copies and one electronic copy of all reports, studies, and plans to the Board. Reports or studies submitted to the Board by the Licensee shall include a detailed executive summary in Inuktitut.

2

