Technical Review 

NWB2WEL
                                                                                     June 14, 2002

Contact  Allan Huard, Sr. Project Geologist

Noranda Inc.

874 Tungsten St.

Thunder Bay, ON P7B 6J3

Phone: (807) 623-4339

Fax: (807) 623-0452

E-mail: huarda@normin.com 

Overview: Wellington Project- Arthur Fiord on Devon Island: Zinc exploration


       BAFFIN
· 10-25 person camp is located near Arthur Fiord on Devon Island since 1998

· Proposed approx. 5 (-16?) drill holes near Grinnel Peninsula 

· Plateau area as airstrip, prospecting, geol mapping, geophys surveying and diamond drilling. Helicopter support- no motorized vehicles will be used..

· Lands: Crown (#1999C0058, QIA lands (land use permit expired but no work will be done on those lands)

· Resolute bay- 190Km S, Grise Fiord is 300Km E.- met with both communities and have hired local residents. Not in conflict with traditional use areas such as Grove Lake. 

Licence Application:

· Mineral exploration and remote camp.

· June-August

· Quantity of water- 1350L/day-pond E side of Arthur Fiord.-75m from camp.

· 300-350 litres/day from pond adjacent to the camp; 

· 800-1000L/day drill use nearby stream or river

· Sewage: “Storborn” incineration toilets
· Solid Waste: incinerated on site, ashes stored in drums and shipped out to Resolute Bay

· Hazardous waste/ Waste Oil: appropriately stored and backhaul to Resolute Bay

· Greywater: sump – deep sand and gravel just East of camp- I m. freeboard.

· Drill Water: recirculated, filtered drill cuttings. Other cuttings, excess mud and cuttings deposited on land in sump.

· Schedule: June 2002 – August 2002

Supplemental Questionnaire:
· Duration of project: 2002 and then decreasing activity. May decommission.

· Max capacity ~ 10-30 pers. 

· Camp use:

· exploration activities

· Fuel: 
· Spill Plan submitted

· 3 Spill kits at camp, fuel transfer points, drill rig with extra oil wick and vermiculite-type granules.

· Fuel inventory- 150 drums + 6-8 drums at drill rig.

· 50*45 gal. Diesel- 7 tanks

· 100*45 gal Jet B- 225 sealed drum
·  1*45 Av. Gas drums of 205L- fuel (diesel, Jet B), drilling fuels, motor and hydraulic oils, antifreeze, 

· Need to have more details in spill plan

· Domestic Services:

· Water use: bottled water for drinking, UV purifier stored in 2*200gal tanks.

· Greywater: filtered by burlap that will be burnt in incinerator. Hand dug sump-1m*o.5m deep

· Drilling water: various lakes 

· Incineration modified 45 gal drum using rebar

· Empty barrels backhauled to Resolute Bay

· Drilling wastes will form a hard soil 5m2 and 20 cm thick.- ash;

· Calcium Chloride-1000*25kg bags, stord on wooden palettes and tarped-stored in depression.

· Motor oil, hydraulic oil and biodegradable drill additives are kept is plastic pails

NIRB Screening: No need to screen because project has not changed since it was last screened- April 2000.

NWB Distribution:
· Standard terms and conditions

· Comments from:

· DFO-Jordan de Groot- Area Habitat Biologist Tel: 979-8011 Fax: 979-8039

· Standard conditions

·  DIAND-Michael Roy

· No NWT Waters Licence needed

· Standard terms and conditions re: sumps and abandonment 

No additional comments received by NWB. 

PAGE  
1

