
NWB2WEL0203


[image: image1.png]00.2¢ Alcnat® bNLMY





P.O. Box 119

                                                              Gjoa Haven, NT  X0E 1J0

[image: image2.png]




Tel: (867) 360-6338
     Nunavut Water Board
Fax: (867) 360-6369
       NUNAVUT IMALIRIYIN KATIMAYINGI

June 14, 2002

Allan Huard, Senior Project Geologist

Noranda Inc

874 Tungsten Street

Thunder Bay, ON  P7B 6J3

Via email: huarda@normin.com   

RE: NWB2WEL0203- Spill Contingency Plan

Dear Mr. Huard:



The Nunavut Water Board has granted a conditional approval of the report entitled, “Emergency Response Procedures for Spill Reporting”, April 11, 2000 submitted April 16, 2002 by Noranda Inc. in compliance with Part G, Item 2 of their current water licence. Please resubmit a revised plan to the NWB prior to the commencement of activities under water licence #NWB2WEL0203, in which the following provisions are included:

· Include the DIAND Inspector in Iqaluit (867) 975-4298 as one of the people who should be notified. Please update the list of regional contacts list with the name, title and contact number of the responsible authorities in Nunavut.  

· Include a Spill Report Form, as a part of the Spill Plan and ensure staff are trained to handle spills and report them appropriately.

· Include system failure responses and preventative measures for domestic sewage, solid waste, fuel and chemicals. Make provisions for employee safety as a part of the initial action steps in the event of a spill. 

· Ensure that the amount of hazardous materials, their storage location and the location of spill kits are submitted.

· Include a list of items to be included in a spill kit, including absorbent mats and booms, 2 pairs of oil resistant gloves, splash protected goggles, a spark proof shovel, polyethylene disposable bags in each spill kit, etc. As per the recommendation of Michael Roy, DIAND Iqaluit, carbon dioxide or foam should be on hand to extinguish poly-drill chemicals since the MSDS sheets indicate that the material is flammable and a possible fire involving this material is not extinguished by water.

· Include a map of environmentally sensitive areas into which a spill might migrate and how these spills will be handled according to environmental sensitivity of the area.

· Include how hazardous waste will be removed from site and authorizations that are necessary for hazardous waste removal.

The NWB is pleased that Noranda Inc. has a mandate to maintain a “zero-impact” exploration program.

If you have any concerns or questions, please do not hesitate to contact me at 867-360-6338 or by fax 867-360-6369 or e-mail nunavutwaterboard@nt.sympatico.ca.

Original signed by


Alexandra Thomson

Technical Consultant

Distribution List

Roxanne Beavers, DIAND

 ASK SECOND "DISTRIBUTION LIST SECOND ENTRY ?:" Jordan Degroot, DFO

 REF SECOND  \* MERGEFORMAT Jordan Degroot, DFO
Philippe Lavallee, DIAND

 REF THIRD  \* MERGEFORMAT Philippe Lavallee, DIAND
Paul Partridge, DSD

Paula Pacholek, EC
2

