NWB4 COR   Final Technical Review 

Done by:  
Jim Wall


Date:  
10 March 2003

Licence:  
NWB4COR


	CONTACT INFORMATION
	Contact:
	Richard Connelly

	
	Position:
	Manager

	
	Company:
	Coral Harbour Development Corp.

	
	Address:
	Box 177

	
	Address:
	Coral Harbour, NU  X0C 0C0

	
	Tel:
	(867) 925-8118

	
	Fax:
	(867) 925-8052

	
	Email:
	rconnelly@nv.sympatico.ca

	Information Summary



	PROJECT SPECIFICS 
	YES
	NO
	COMMENT

	Is the application complete?

Form, questionnaire, maps
	   X
	
	

	Conform to LUP   
	   X
	
	NPC approved, wrt Keewatin LUP

	NIRB Screening
	   X
	
	

	Type of Project

Camp 

Geophysical Sampling

Drilling

Other:
	
	
	

	
	   X
	
	

	
	   X
	
	

	
	   X
	
	

	
	
	
	

	Location

Lat/Long  NTS Maps

IOL

Crown
	
	
	Region:
	Kivalliq

	
	   X
	
	64o23’ N; 83o30 W

NTS Map #: 

	
	
	
	

	
	
	
	

	Time Schedule

Multiple year project
	
	
	

	
	   X
	
	2003-2004

	Camp Size
	   X
	
	Proponent indicates a 40 person camp will be constructed


	Regulatory Timeline

	Application Received:
	19 November 2002
	

	Final Tech Review Completed:
	8 March 2003
	

	NPC Conformity Review Received:
	10 February 2003
	

	NIRB Screening Received:
	18 December 2002
	

	DIAND Screening Received:
	25 February 2003
	

	DFO Screening Received:
	24 February 2003
	

	Environ. Canada Screening Received:
	No comments received
	

	Licence Drafted:
	10 March 2003
	


Summary of Information received:

The application that was submitted on 29 October 2002 contained maps indicating the locations of the proposed temporary camp and the greywater disposal sump, as well as proposed water supply for the camp. However, this information is somewhat rudimentary, and while it provides certain topographic information helpful in assessing drainage patterns, information pertaining to specific drainage features or watercourses on the proposed site is somewhat lacking, due to the coarse scale of the map provided.  

Specific Comments:

Camp Operations:

Water supply for the caribou harvest camp will be located at an un-named water supply lake. Daily requirements, for both human consumption and camp and abattoir operations, have been quoted at approximately 2000 l per day.  It is assumed that this amount will be insignificant in terms of the total volume of the un-named water supply lake, which will be utilized for the camp water supply. 

Water Treatment

The Applicant indicated in their application that the water obtained from the un-named water supply lake will not be chlorinated, nor will the water source be monitored.  Therefore, concerns regarding the potability of the water supply exist. It is recommended that Coral Harbour Development Corp. put in place a water sampling program, to confirm that the water source quality meets the Canadian Drinking Water Quality Standards.  

· What current monitoring data is available to confirm that the water source meet the Canadian Drinking Water Quality Standards?
Water Use and Distribution

The Applicant states that water for camp operations will be removed from the un-named water supply lake using buckets, which will preclude the potential for the entrainment of fish.

Sewage Disposal

The Applicant indicates in their application that sewage will be managed using a honey bag system, with the bags returned to the hamlet of Coral harbour for disposal. Greywater from camp operations will be disposed of in a sump.  The Applicant indicated this sump will be located a minimum of 50 meters from watercourse.     

· What are the details of the greywater sump?  How will the sump be managed after closure of the camp?

· What is the state of the development of the Abandonment and Restoration Plan for the site?  What monitoring program will be carried out at the abandoned site?
Solid Waste Disposal

The Applicant has indicated that all waste will be backhauled to the Solid Waste Disposal Facility operated by the Hamlet of Coral Harbour. The single biggest waste disposal issue is the management of the anticipated 100,000 lbs of caribou waste (heads, hides, legs and internal organs).  The Hamlet of Coral harbour will require careful management of the caribou waste to reduce the potential for vector attraction.  As the disposal site is within the landfill, which is already contained and monitored, no additional impacts on water are anticipated.

Hazardous Waste Management 

The applicant has indicated that all hazardous waste will be backhauled, and disposed of off-site in an approved disposal facility. 

Spill Contingency Plan:

Relatively modest amounts of fuel (gasoline and heating oil) will be stored on the Caribou Harvest Camp site.  The application indicates that the total heating fuel storage on the site will be 20 barrels (205L) of P50 heating oil and 15 barrels (205L) of gasoline. The Applicant has not yet prepared, and submitted, a suitable comprehensive Spill Contingency Plan indicative of a state of readiness ensuring a prompt and effective response to possible spills or system failure events. This site-specific contingency plan will assist the Licensee in responding to emergencies such that the impacts to water in particular and the environment and public health in general are minimized.   

· Will need to provide an appropriate Spill Contingency Plan; and

· Will need to describe the contents of spill containment kits, additional resources, and indicate their locations

Inspection and Monitoring

The Applicant makes no specific mention of operational monitoring to take place on the site.

· What monitoring program is in place at present to examine the quality of the proposed water supply for the proposed camp? What results are available, and from what source?

Public Health

Only potential concern at this time wrt Public Health is the monitoring program on the water supply, as the Applicant indicates no monitoring program or water treatment will be carried out at the camp.

Reviewer Comments

NIRB:
Comments received on 17 December 2002.

Summary of Comments:  

Essentially, the standard NIRB response for a typical NWB2 was received. No comments which would have any impact above those which would normally be received for and application of this type were noted.  The only specific comment on the issue of waste disposal was that all caribou parts be backhauled to the landfill operated by the Hamlet of Coral Harbour

DIAND:  Comments received on 26 February 2003.

Summary of Comments:

· The Hamlet should develop and implement an Operations and Maintenance Plan which includes the separation of the Sewage and Solid Waste Management Facilities.  This will serve to minimize the impact of leachate from the Solid Waste Disposal Facility on the wetland used to treat sewage in Coral Harbour.

Environment Canada:  
Summary of Comments:

· Environment Canada offered no specific comments

DFO:  Comments received on 24 February 2003
Summary of Comments:

· All wastes, fuel caches, and sewage containments, as well as drilling activity and drill cutting disposal sumps, should be located 30 m from waterbodies;

· Water intakes should have a screen of sufficient size so as to prevent the entrainment of fish;

· Activities should be controlled to prevent the entry of petroleum products into water, through the use of drip pans, spill control matting; and

· Re-fueling activities should occur at least 30 m from waterbodies.

Any questions with respect to this review can be directed to Jim Wall, Technical Advisor NWB at 867-360-6338 or fax 360-6369 or email nwbtech@polarnet.ca 

Created on 3/10/2003 11:25 AM
\\Mother\users\CENTRAL\Licenses\NWB4-other\Cor-Dev Corp\Technical Review\030310NWB4CORFinalTechReview-ITAE.doc

- 6 -

