NWB4EKA0204


[image: image1.png]



P.O. Box 119


Gjoa Haven, NU  X0B 1J0
kNK5 wmoEp5 vtmpR

Tel: (867) 360-6338
Nunavut Water Board
Fax: (867) 360-6369
NUNAVUT IMALIRIYIN KATIMAYINGI

March 1, 2001
           



File No: NWB4EKA0204NWB2TAH0101

 SET filenumber \* MERGEFORMAT 

 ASK "enter NWB file number" \* MERGEFORMAT 
August 14, 2002

Attention: Mark Hakongak

Ekaluktuktiak Hunters and Trappers Organization

Box 78

Cambridge Bay, NU X0B 0C0

Fax 867-983-2427

ehtocb@polarnet.ca 

 ASK CITYPROVPOST "CITY, PROVINCE, POSTAL CODE ?:" \* MERGEFORMAT 
RE: NWB Licence No. NWB2MEL0103 NWB4EKA0204

Dear Mr. Hakongak:

Please find attached Licence No. NWB4EKA0204 issued to Ekaluktutiak Hunters and Trappers Organization by the Nunavut Water Board (Motion #: 2002-05 ASK MOTIONNUMBER "MOTION NUMBER: ###### ?" ) pursuant to its authority under Article 13 of the Agreement between the Inuit of the Nunavut Settlement Area and Her Majesty the Queen in Right of Canada.  The terms and conditions of the attached Licence related to water use and waste disposal are an integral part of this approval.

Please contact Public Health Inspector, Bob Phillips in Cambridge Bay (867-983-7345), prior to mobilization of the camp so that he may discuss the Camp Sanitation Regulations of the Public Health Act.  

Sincerely,

Philippe di Pizzo

Executive Director

Enclosure: 
Licence No. NWB4EKA0204

cc:
Paul Smith, DIAND Iqaluit, 
C. Brodykevich, DIAND Inspector


J. Kaniak, Kitikmeot Inuit Association

Gladys Joudrey, Nunavut Impact Review Board
Josee Gallipeau, Nunavut Wildlife Management Board

P. Pacholek, Environment Canada


P. Partridge, Department of Sustainable Development


J. DeGroot, Department of Fisheries and Oceans

APPROVAL FOR WATER USE AND WASTE DISPOSAL

Pursuant to Article 13 of the Agreement Between the Inuit of the Nunavut Settlement Area and Her Majesty the Queen in right of Canada, the Nunavut Water Board, hereinafter referred to as the Board, hereby grants to Ekaluktutiak Hunters and Trappers Organization authorization to use water and dispose of waste into water for the operation of a camp and abattoir, subject to the terms and conditions outlined herein and in the applicable land use permits. 

	APPLICATION NO:
	NWB4EKA0304

	LICENSEE:
	Attention: Mark Hakongak

Ekaluktuktiak Hunters and Trappers Organization

Box 78

Cambridge Bay, NU

X0B 0C0

p) 867-983- 2426

f) 867-983-2427

ehtocb@polarnet.ca 

	START DATE:
	March 1, 2001February 1, 2002

	EXPIRY DATE:
	February 28, 2003May 31, 2004

	PURPOSE:
	Water Use and Waste disposal associated with commercial harvest activities

	LOCATION:
	Mouth of the Surrey River, Kitikmeot Region, Nunavut

General Latitude: N6963°2601'57”; Longitude: E10692°4010'12” 

NTS Map: 77D; 1:250,000


This approval issued and recorded at Gjoa Haven includes and is subject to the annexed conditions.


Philippe di Pizzo








Executive Director

PART A:
SCOPE, DEFINITIONS & ENFORCEMENT

1.
Compliance with the terms and conditions of this approval does not absolve the Licensee from responsibility for compliance with all applicable legislation, guidelines, or directives.

2.
This approval is issued subject to the conditions contained herein with respect to the taking of water and the depositing of waste of any type in any waters or in any place under any conditions where such waste or any other waste that results from the deposits of such waste may enter any waters, and with respect to any other impacts of the Licensee’s activities on water quality, quantity or flow, including surface drainage.

3.
Definitions:

"Sump" 
means a man-made pit, trench hollow or cavity in the earth's surface used for the purpose of depositing waste material therein; and

"Combustible waste" means paper, non-treated wood products, kitchen food waste, and sewage waste. 

“Act” means the Nunavut Waters and Nunavut Surface Rights Tribunal Act.

“Bagged Toilet Waste Disposal Facilities”  comprises the area and associated structures designed to contain bagged toilet wastes (honeybags);

“Board” means the Nunavut Water Board established under the Nunavut Land Claims Agreement;

 “Greywater” means all liquid wastes from showers, baths, sinks, kitchens and domestic washing facilities, but does not include toilet wastes;

“Licensee” means the individual or organization to whom licence NWB4EKA0204 is issued or assigned;

“Sewage” means all toilet wastes and greywater;
“Toilet Wastes” means all human excreta and associated products, but does not include greywater;
“Waste” means waste as defined in Section 85 (1) of the Act;

4. The Licensee shall maintain a copy of this Licence at the sites of operation at all times.
5. Enforcement

 

i. Failure to comply with this Licence will be a violation of the Act, exposing the Licensee to the enforcement measures and the penalties provided for in the Act; 

ii. All inspection and enforcement services regarding this Licence will be provided by Inspectors appointed under the Act; and
iii. Inspectors appointed under the Act enjoy-with respect to this Licence, and for the purpose of enforcing this Licence, and with respect to the use of water and deposit or discharge of waste by the licensee-all powers, privileges and protections that are conferred upon them by the Act or by other applicable law.

PART B:
GENERAL CONDITIONS 
1. The Licensee shall file a report with the Board no later than March 31 of the year following the calendar year reported, which shall contain the following information:
i. A summary report of water use and waste disposal activities; 

ii. A list of unauthorized discharges and a summary of follow-up actions taken;

iii. Revision to the Contingency Plan;

iv. Progressive reclamation work undertaken;

v. Any other details on water use or waste disposal requested by the Board by November 1 of the year being reported.

2.  The NWB shall be notified of any changes in operating plans or conditions associated with this project at least thirty (30) days prior to any such change.  

PART C:
CONDITIONS FOR THE USE AND PROTECTION OF WATER
1.
The Licensee shall obtain water for domestic purposes from the Surrey River up to a maximum of 50 cubic metres per day. 

2. The Licensee shall equip all water intake hoses with a screen with an appropriate mesh size to ensure that there is no entrapment of fish.

3. The Licensee shall not remove any material from below the ordinary high water mark of any water body.

4. The Licensee shall not do anything that will cause erosion of the banks of any body of water on or adjacent to the land and shall provide necessary controls to prevent such erosion. 

5. Sediment and erosion control measures shall be implemented prior to and maintained during the operation to prevent entry of sediment into water. 

PART D:
CONDITIONS APPLYING TO WASTE DISPOSAL
Areas designated for waste disposal that may impair the quality, quantity, or flow of water shall not be located within thirty (30) metres of the ordinary high water mark of any body of water, unless otherwise authorized by the Board.

1. The Licensee shall not discharge sewage effluent. 

2. The Licensee shall discharge and contain all greywater in a sump located at least thirty (30) metres from the high water mark of any water body at a site where direct flow into a water body is not possible and no additional impacts are created.
4. The Licensee shall incinerate all combustible waste, and shall ensure that all hazardous wastes and non-combustible waste generated through the course of the operation are backhauled and disposed of in an approved waste disposal site. 

5. The Licensee shall not landfill any waste except for greywater.

6. The Licensee shall backhaul Bagged Toilet Wastes to an approved waste disposal site.

7. The Licensee shall not deposit animal wastes on ice or in water. 

PART E:
CONDITIONS FOR CAMPS AND ACCESS INFRASTRUCTURES

1. The Licensee shall not erect camps or store material on the surface of frozen streams or lakes except what is for immediate use.  Camps shall be located such as to minimize impacts on surface drainage.

2. All activities shall be conducted in such a way as to minimize impacts on surface drainage and the Licensee shall immediately undertake any corrective measures in the event of any impacts on surface drainage. 

3. Winter lake and stream crossings, including ice bridges, shall be constructed entirely of water, ice or snow; stream crossings shall be removed or notched prior to spring break-up.

4. With respect to access road and pad construction or other earthworks, the deposition of debris or sediment into any water body is prohibited.  These materials shall be disposed of above the high water mark in such a fashion that they do not enter the water.

PART F:
CONDITIONS APPLYING TO SPILL PREVENTION AND CONTINGENCY PLANNING 

1. The Licensee shall ensure that any chemicals, fuel or wastes associated with the project do not enter water.  All sumps and fuel caches shall be located a minimum of thirty (30) metres from the normal high water mark and in such a manner that no fuel can enter any such water body. 

2. The Licensee shall submit to the Board for approval prior to the commencement of operations, a Spill Contingency Plan. 

3.  If, during the duration of this Licence, an unauthorized discharge of waste occurs, or if such a discharge is foreseeable, the Licensee shall:

i. Employ the Contingency Plan;

ii. Report any spill immediately to the 24-Hour Spill Line at (867) 920-8130 and to the DIAND Water Resources Inspector at (867) 975-4298; and 

iii. Submit to the DIAND Water Resources Inspector a detailed report on each occurrence no later than thirty (30) days after initially reporting the event.

PART G:
CONDITIONS APPLYING TO ABANDONMENT AND RESTORATION

1. The Licensee shall submit to the Board for approval, within six (6) months of issuance of this Licence, an Abandonment and Restoration Plan.

2. If not approved by the Board, the plan referred to in Part F, Item 1 shall be revised and resubmitted within thirty (30) days of receiving notification of the Board's decision. 

3. The Licensee shall backfill and restore to the satisfaction of the Inspector all sumps back to the natural surrounding contours of the land prior to the expiry of this permit. 

4. The Licensee shall undertake progressive restoration for any components of the project, which are no longer required for the Licensee’s operations.

5. All disturbed areas shall be stabilized and re-vegetated as required, upon completion of work and restored to a pre-disturbed state.

GENERAL CONDITIONS FOR THE ADMINISTRATION OF LICENCES

ISSUED BY THE NUNAVUT WATER BOARD (NWB)
The following conditions form an integral part of Licence No. NWB4EKA0204:

1.
At the time of issuance, a copy of the Licence is placed on the Water Register in the NWB Head Office in Gjoa Haven. Documents in the Register are available to the public.

2.
If the Licensee contemplates the renewal of Licence No. NWB4EKA0204, it is its responsibility to apply to the NWB for its renewal. The past performance of the Licensee, new documentation and information, and issues raised during a public hearing, if the NWB is required to hold one, will be used to determine the terms and conditions of the Licence renewal.  Note that if the Licence expires before the NWB issues a new one, then water use and waste disposal must cease, or the Licensee will be in contravention of the Nunavut Land Claims Agreement.  The NWB recommends that an application for the renewal of Licence No. NWB4EKA0204 be filed at least three months before the Licence’s expiry date. 

3.
If Licence No. NWB4EKA0204 requires amendment, then a public hearing may be required. The Licensee should submit applications for amendment as soon as possible to give the NWB sufficient time to go through the amendment process. The process may vary depending on the scope of the amendment requested.

4.
Any communication with respect to this Licence shall be made in writing to the attention of:




Philippe di Pizzo 





Executive Director 





Nunavut Water Board 





P. O. Box 119 





Gjoa Haven, NU X0B 1J0





Telephone: 
(867) 360-6338





Fax: 

(867) 360-6369

               Inspector Contact:

Water Resources Officer

Nunavut District, Nunavut Region

P.O. Box 100

Iqaluit, NU X0A 0H0

Telephone:
(867) 975-4298

Fax: 

(867) 979-6445
5. The Licensee shall submit two copies of all reports, studies, and plans to the Board, unless electronic, in which case one copy is sufficient. Reports or studies submitted to the Board by the Licensee shall include a detailed executive summary in Inuktitut.

2

