COMMENT FORM FOR NIRB SCREENINGS

The Nunavut Impact Review Board has a mandate to protect the integrity of the ecosystem for the existing and future residents of Nunavut. In order to assess the environmental and socio-economic impacts of project proposals, NIRB would like to hear your concerns, comments and suggestions about the following project application:
Project Title: ___Hydro Testing Fuel Tanks-Kugluktuk_____

Proponent: _Gyr Construction Ltd.______________________

Location: _Kitikmeot Region ____, NIRB#: 00WN068/NWB4KUG00_______________

Comments Due By: _____February 7, 2000________________________

Indicate your concerns about the project proposal below:

( no concerns                                                              ( traditional uses of land 

( water quality                                                              ( Inuit harvesting activities 

( terrain                                                                         (community involvement and consultation 

( air quality                                                                   ( local development in the area

( wildlife and their habitat                                            ( tourism in the area 

( marine mammals and their habitat                           ( human health issues 

( birds and their habitat                                               ( Other:___(________________________________

( fish and their habitat                                                  _________________________________________

(heritage resources in area                                         _________________________________________

Please describe the concerns indicated above:

Please see attached.

Do you have any suggestions or recommendations for this application?

Clarity of process and standardization needs to be considered.  Who is ultimately responsible for this operation?   This is important especially in the case of any spill and subsequent actions. 

Water should be tested prior to release to the environment.  It is suggested that a Non-point source discharge for phenolic compounds maximum of 0.02 mg/L not be exceeded (Environmental Guideline for Industrial Wastes, Schedule II).

The current status of the used oil site should be evaluated prior to Gyr’s operation.

The Hamlet Lands officer, other hamlet personnel as requested and local DSD officers should observe this operation and associated activities.

Do you support the project proposal?  YES  (          NO (_ 

Any additional comments?

Name of person commenting: __Sustainable Development incorporates a team approach when commenting on NIRB screenings and Reviews.  No one person comments for the Department.

Position:_________________________Organisation:___Sustainable Development _
Signature:_____Chris Nichols __________________________ Date: January 5, 2000 

DEPARTMENT OF SUSTAINABLE DEVELOPMENT

RECOMMENDATIONS FOR LAND USE APPLICATION

00EN064
Environmental Protection

Spill Contingency Plan
Fuel will have to be transferred from tank to tank in order to test each tank.  However there is no outline of how this will be done and what spill prevention measures, including monitoring, will be in place.

The proponent is referred to DSD’s Spill Contingency Planning and Reporting Regulations and A Guide to the Spill Contingency Planning and Reporting Regulations.

Used Drums
It is noted that the sludge will be stored in 45 gallon drums and placed at the Hamlet’s  “used oil site”.  It should be noted that there is no current inventory of this site and simply adding another unpredicted volume to this is not acceptable to either the Hamlet or the DSD.

Used fuel and oil drums should be removed from the site, returned for deposit, or reused.

Contaminated Soils
Soil contaminated by fuel (e.g., soils under an old storage tank) should be treated on site or removed to an approved disposal site and replaced with new soil. The proponent is referred to DSD’s Environmental Guideline for Site Remediation.
Acts, Regulations and Environmental Guidelines

The Environmental Protection Service, Department of Sustainable Development derives its regulatory authority and operational mandate from the Government of Nunavut’s Environmental Protection Act (EPA). A number of  regulations and guidelines have been developed and adopted under the EPA; some, or all of which might prove to be of assistance to a proponent in planning their activities.  The guidelines are listed here for the information of the proponent and are available to the public at any DSD office in Nunavut or from  DSD’s Headquarters office located at:


Department of Sustainable Development


Environmental Protection Service


Government of Nunavut


Box 1340


Iqaluit, NU


X0A 0H0

(867) 979-5119

e-mail: reno@gov.nu.ca or ebaddaloo@gov.nu.ca

Acts and Regulations
PRIVATE 
Environmental Protection Acttc  \l 5 "Environmental Protection Act"
Environmental Protection Act: Simplified Summary

Environmental Rights Act 

PRIVATE 
Spill  Planning and Reporting Regulationstc  \l 5 "Spill ContingencyPlanning and Reporting Regulations"
PRIVATE 
A Guide to Spill Contingency Planning & Reportingtc  \l 5 "A Guide to Spill Contingency Planning & Reporting"
PRIVATE 
Asphalt Paving Industry Emission Regulationstc  \l 5 "Asphalt Paving Industry Emission Regulations"
PRIVATE 
Pesticide Acttc  \l 5 "Pesticide Act"
PRIVATE 
Pesticide Regulationstc  \l 5 "Pesticide Regulations"
Used Oil and Waste Fuel Management Regulations (undergoing completion; proposed for June 2000)

PRIVATE 
Environmental Guidelinestc  \l 5 "Environmental Guidelines"
PRIVATE 
Dust Suppressiontc  \l 5 "Dust Suppression"
PRIVATE 
General Management of Hazardous Wastetc  \l 5 "General Management of Hazardous Waste"
PRIVATE 
Industrial Projects on Commissioner’s Landstc  \l 5 "Industrial Projects on Commissioner’s Lands"
PRIVATE 


tc  \l 5 ""
PRIVATE 
Industrial Waste Dischargestc  \l 5 "Industrial Waste Discharges"
PRIVATE 
Ozone Depleting Substancestc  \l 5 "Ozone Depleting Substances"
PRIVATE 
Site Remediationtc  \l 5 "Site Remediation"
PRIVATE 
Sulphur Dioxide & Suspended Particulatestc  \l 5 "Sulphur Dioxide & Suspended Particulates"
PRIVATE 
Waste Antifreezetc  \l 5 "Waste Antifreeze"
PRIVATE 
Waste Asbestostc  \l 5 "Waste Asbestos"
PRIVATE 
Waste Batteriestc  \l 5 "Waste Batteries"
PRIVATE 
Waste Painttc  \l 5 "Waste Paint"
Waste Solvents

Community Involvement and consultation

Hamlet representatives, including the lands officer, are not aware of any contacts made with the community.  The Hamlet lands officer requests more details.  Few are attached in the application that was distributed.

Other

Please note:  the copied and faxed e-mail of the letter to Rita Becker was very difficult to read in the font size and type selected.  Maybe proponents could be made aware that there applications are faxed to many and to keep this in mind when preparing their documents.

In addition to the concerns listed above, before DSD can suggest support for this application it requires clarification of the following questions: 

Who is responsible for this operation?  The proponent is a sub-contractor doing work for a contractor (Universal Industries Corp.) who has been contracted by the Government of Nunavut. 

Gyr is assuming there will be enough water from the spring run-off to get the maximum tank volume of 3377 cubic metres.  Many wondered if this will be true? Is there an alternative water source to make up the difference if total volume not met? 

What is the status of the berm liner?  When was it last inspected?  How is it inspected routinely?

Where is the earthen dam that Gyr speaks of in which it will hold the water for 24 hours?  Is this the holding cell along side the tank farm noted in Gyr’s comments?  How will this cell be constructed?

Will the sludge be tested?  How much will be generated? Storage of the sludge with the rest of the waste oil is not acceptable.  They must properly dispose of it as outlined in Environmental Guidelines for Industrial Wastes.

It is noted that there will be a 24 hour holding time before releasing to the environment.  Will no water testing occur prior to this?  This is a very weather and condition dependent assurance that waste fuels will be brought to acceptable levels in this time frame.










