[image: image1.png]00.2¢ Alcnat® bNLMY




P.O. Box 119

                                                              Gjoa Haven, NU  X0B 1J0
[image: image2.png]




Tel: (867) 360-6338
  Nunavut Water Board
Fax: (867) 360-6369
   NUNAVUT IMALIRIYIN KATIMAYINGI










File No: NWB4QIK0001



June 15, 2001



Tia Nukiwuak

Qikiqtarjuaq Economic Development



Municipality of Qikiqtarjuaq



P.O. Box 88



Qikiqtarjuaq, NU X0A 0B0



Re: Part G, Item 1: Spill Contingency Plan
Dear Ms. Nukiwuak:


The Nunavut Water Board has approved (Motion #: 2001-16) the "Spill Response Plan, February 2001" prepared by EBA Engineering Consultants LTD for Qikiqtarjuaq Economic Development.  

Please note the following observations as part of this approval:

1. While the objective is to remove all effluent at the end of the pilot project, a contingency plan should be in place for their temporary storage on site as a precautionary measure;

2. MSDS sheet for H2SO4 was provided in French only and should be included in English as well; and 

3. All spills shall be reported to the Spill Hot Line, in accordance with the NWT Water Board Guidelines for Spill Contingency Planning; minimum reporting levels do not exist. 

Should you require clarification, do not hesitate to contact me.

Sincerely,

Original signed by:

Dionne Filiatrault, P. Eng.

Technical Advisor

c.c.
Distribution List


