[image: image1.png]00.2¢ Alcnat® bNLMY




P.O. Box 119

                                                       Gjoa Haven, NU  X0B 1J0
[image: image2.png]




Tel: (867) 360-6338
  Nunavut Water Board
Fax: (867) 360-6369
   NUNAVUT IMALIRIYIN KATIMAYINGI










File No: NWB4QIK0001



July 6, 2001







    



Tia Nukiwuak

Qikiqtarjuaq Economic Development



Municipality of Qikiqtarjuaq



P.O. Box 88



Qikiqtarjuaq, NU X0A 0B0



Re: Part E, Item 1 Waste Management Monitoring Protocols Plan


Dear Ms. Nukiwuak:


The Nunavut Water Board has approved (Motion #: 2001-24) the "Effluent Characterization Program sampling, Analysis and QA/QC Plan" prepared by EBA Engineering Consultants LTD for Qikiqtarjuaq Economic Development.  The Licensee consider the following when implementing the aforementioned plan: 

i. Effluent waste streams are to be separated by effluent type.  Should mixing accidentally occur the resulting composite effluent shall be classified as the more dangerous effluent;  

ii. Environment Canada suggests that the sampling frequency proposed will give a good indication of the longer-term effluent quality that can be expected, but expressed concern that for the first half of the operation only one set of sample results will be available to use in determining disposal options for the pilot wastes. At a minimum, data from the one sample should be correlated to reagent volumes so reasonable estimates of comparability can be made for the rest of the batches done in the first month; and 

iii. Additionally it is recommended that quality control samples be sent to the lab blind, rather than marked as duplicates or blanks. 

Please note as indicated by the Nunavut Water Baord in its Decision dated November 30, 2000, the "Licence does not authorize the disposal of waste to the municipal facilities. "
Based on the results of the pilot project the Licensee shall update the Board on the status of the project and indicate the final reclamation options chosen. 

Should you require clarification do not hesitate to contact me.

Sincerely,

Original signed by:

Dionne Filiatrault, P. Eng.

Technical Advisor

c.c.
Distribution List


