[image: image1.png]



P.O. Box 119


Gjoa Haven, NU  X0B 1J0
kNK5 wmoEp5 vtmpq

Tel: (867) 360-6338
Nunavut Water Board
Fax: (867) 360-6369
NUNAVUT IMALIRIYIN KATIMAYINGI

June 9, 2005

Colin O’Neil

President 

Baffin Building Systems

P.O. Box 1318

Iqaluit, NU

X0A 0H0

Email:  bbsgm@bellnet.ca 

Dear Mr. O’Neil:

I have had the opportunity to review your recent application for a water license for water use and waste deposition related to the operation of the Baffin Building Systems (BBS) asphalt plant located in the North 40 Site, City of Iqaluit, Nunavut. In the course of that review, it was noted that additional information would be required by the Board to complete an effective review of the proposed undertaking.   These information requirements are outlined below:

(1) 
The Applicant is requested to provide to the Nunavut Water Board (NWB) a Spill Contingency Plan prepared in accordance with the NWB’s “Guidelines for Contingency Planning” (1987);

(2)
The Applicant is requested to provide an Operations and Maintenance Plan to the Board, detailing how water will be utilized (including location of intake, pumping rates, and water storage (if applicable)), as well as the operation of any sedimentation management settling ponds which will be developed on the site;

(3)
The Applicant is requested to provide to the Board a Monitoring Plan, for both the use of water and deposition of waste associated with the proposed undertaking.   This Plan shall include locations of water sampling, the parameters which will be monitored (including the physical, chemical and biological monitoring analytical parameters), and the frequency of sampling events;

(4) The Applicant is requested to provide a topographical site survey and/or aerial photo, which clearly illustrates the location of the proposed undertaking in relation to on-site water bodies, watercourses, and other applicable on-site drainage features.  This survey should clearly indicate the locations of all depositions of waste, water intakes and all surface and sub-surface Monitoring Program sampling points.

Please provide the aforementioned information to the NWB at your earliest convenience.  If you have any questions, please do not hesitate to contact the Board at 867-360-6338.

Regards,

Original signed by:

Jim Wall, M.Sc., P.Ag.

Technical Advisor (Municipal)

Nunavut Water Board

Gjoa Haven, NU  X0B 1J0

JW/pb

