[image: image1.png]00.2¢ Alcnat® bNLMY




P.O. Box 119

                                                Gjoa Haven, NT  X0E 1J0
[image: image2.png]




Tel: (867) 360-6338
       Nunavut Water Board
Fax: (867) 360-6369
        NUNAVUT IMALIRIYIN KATIMAYINGI
January 8, 2001




NWB2CON9901

Dave Willis 

Land Administrator

Ashton Mining of Canada Inc.

Unit 123-930 West 1st St.

North Vancouver, BC  V7P 3N4

Fax:  604-987-7107

Re: 
Spill Contingency Plan - Part 5, Item 1

Dear Mr. Willis,

The Nunavut Water Board has reviewed the "Spill Contingency Plan for NWT and Nunavut, March 2000" prepared by Michele Gurney. The NWB hereby grants conditional approval of the plan provided the following recommended changes are made: 

1. Preventive Measures pg.1:  In accordance with Part 5, Item 3 of the license, all fuel caches should be a minimum of 30m from the normal high water mark.  Note there is no distinction between Inuit Owned or Crown Lands. 

2. Spill Response Kit pg. 2: It should be noted where MSDS sheets are located on site for quick reference if needed. If the materials used at the various camps is typical for most camps, the MSDS sheets should be included with the Spill Contingency Plan. 

3. Clean-Up pg.3:  Employee safety needs to be addressed.  The initial action should instruct the employee to first assess and if possible control any danger to human health.  Only then, if is safe to do so, should the employee try to stop or limit the extent of the spill.

4. Reporting pg.4:  In accordance with Part 5, Item 2 of the licence, all spills shall be reported to the Spill Line and to the DIAND Water Resources Inspector at (867) 979-4405.  Reference should be made to this and the new contact numbers Tel: 867-975-4298 or Fax: 867-979-6445 for the Inspector should be used.
5. Spill Contact Numbers pg.6: It may be useful to include fax numbers for the contacts (if available). Water Resources Inspector numbers should be included (see above). 
6. The plan while generic in nature should meet the needs for small exploration camps, site-specific drawing of the facilities and camps in question should be included. The drawings would aid in the identification of potential sources of spills and aid in predicting spill migration. 
7. It should be clearly stated that spill kits are required at camp location where fuel caches are greater than 4000L.  The plan should include the water licence requirement (Part 5, Item 4) that the Permittee shall have on site one extra fuel storage container equal to, or greater than the size of the largest fuel container.  
The revised plan should be submitted to the Board within sixty (60) days of receiving notification of the Board decision.  Should you require clarification or additional information please do not hesitate to contact me at the above or via email at dionne@polarnet.ca   

Sincerely,

Dionne Filiatrault, P. Eng.

Technical Advisor

ac. R. Beavers, DIAND (669-2716)

P. Smith, DIAND (975-4560)

