ENVIRONMENTAL PROTECTION BRANCH


5204-50th AVENUE, SUITE 301


YELLOWKNIFE, NT. X1A 1E2


(867) 669-4737 (Telephone)


(867) 873-8185 (Fax)








February 28th 2000


Rita Becker


Licencing Administrator


Nunavut Water Board


P.O. Box 119


Gjoa Haven, Nunavut XOE 1J0





Kiglikavik Lake Project, NWB2KIG00





I am responding to your letter, dated February 11th 2000, regarding a water licence for the Kiglikavik Lake Project, NWB2KIG00 owned by Ashton Mining Limited. NWB2KMEA9899.





I noted the applicant intends to:





Establish sumps and fuel caches at least 30 metres from watercourses.


Remove non-combustible garbage and debris from the site.


Remove waste oil from the site.


Remove empty fuel drums from the site.


Install splash pans around machinery and fuel transfer points.





These actions are fully supported.  Some additional suggestions to further support the applicant’s efforts to follow good environmental practice include:





Once removed from the site, the waste oil should be deposited in an approved depot.


For greater assurance, fuel drums should be located in a depression, either natural or constructed, to further ensure spills remain confined to a small area. 


An attempt should be made to design the sumps to some engineering standard so they enhance the degradation of organic material and dispersion of liquids.





Please call (669-4737) should you wish to discuss the comments.








	








	Carey Ogilvie


						Environmental Assessment Coordinator


						Northern Division


�PAGE  �1�














