## Slide 1: Environment and Climate Change Canada’s Presentation to the Nunavut Water Board Concerning TMAC Resources Inc. Hope Bay Phase 2 Project Type A Water Licence Amendment & Application Technical Review ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᑦ ᓯᓚᐅᑉᓗ ᐊᓯᔾᔨᖅᐸᓪᓕᐊᓂᐊᓄᑦ ᑲᓇᑕᒥ ᐅᓂᑉᑳᑦ ᓄᓇᕗᒻᒥ ᐃᒪᐃᑦ ᐊᑐᖅᑕᐅᔪᓐᓇᕐᓂᖏᓐᓄ ᑲᑎᒪᔨᓄᑦ ᐱᔾᔪᑎᖃᖅᑐᓂᒃ ᑎᒫᒃᑯᑦ TMAC Resources Inc-ᑯᑦ ᐅᔭᕋᖕᓂᐊᖅᑏᑦ ᑲᒻᐸᓂᖓᑕᓂᒃ, ᕼᐆᑉ Bᐄᒥ ᑕᓯᐅᔭᕐᔪᐊᕐᒥ ᑐᒡᓕᕆᔭᐅᓕᖅᑐᓂᒃ ᐱᓕᕆᐊᒃᓴᐃᐅᓂᖏᓐᓂ, ᓇᓗᓇᐃᒃᑯᑦᑎᖅᑕᐅᓯᒪᔪᓂᒃ A-ᒥᒃ ᐃᒪᕐᓂᒃ ᐊᑐᕈᓐᓇᐅᑎᖏᓐᓂᒃ ᐋᕿᒋᐊᕈᑎᖏᒃᓴᖏᓐᓂᒃ ᐊᒻᒪᓗ ᐆᒃᑐᕈᑎᖏᑦ ᐱᓕᕆᐊᖏᓐᓂᒃ ᕿᒥᕐᕈᐊᖅᑕᐅᖁᔨᓂᖅ
2AM-BOS---- & 2AM-DOH1323
Nunavut Water Board Technical Meeting
Cambridge Bay, NU - May 14-15, 2018
2AM-BOS ᐊᒻᒪᓗ 2AM-DOH1323
ᓄᓇᕗᒻᒥ ᐃᒪᐃᑦ ᐊᑐᖅᑕᐅᔪᓐᓇᕐᓂᖏᓐᓄᑦ ᑲᑎᒪᔨᑦ ᐱᓕᕆᐊᒃᓴᓂᒃ ᑲᑎᒪᔾᔪᑎᖃᕐᓂᖏᑦ
ᐃᖃᓗᒃᑑᑦᓯᐊᖅ, ᓄᓇᕗᑦ- ᒪᐃ 14-15, 2018
Gabriel Bernard-Lacaille
A/Senior Environmental Assessment Coordinator
Meagan Tobin Water Quality Project Officer
ᒌᐳᕆᐅᓪ ᐱᕐᓇᐅᑦ-ᓚᑲᐃᓪ ᐊᖓᔪᖄᕆᔭᐅᑲᐃᓇᖅᑐᖅ ᐊᕙᑎᓕᕆᓂᕐᒥᒃ ᖃᐅᔨᓴᕐᓂᕐᒧᑦ ᑐᑭᓕᐅᖅᑎᐅᓂᖅ
ᒦᒐᓐ ᑑᐱᓐ ᐃᒪᐃᑦ ᓴᓗᒪᓂᖏᓐᓄᑦ ᐱᓕᕆᐊᖑᔪᓂᒃ ᑲᒪᔨᐅᔪᖅ

## Slide 2: Overview ᑕᒪᕐᒥᒃ ᑕᑯᒋᐊᕐᓗᒋᑦ
ECCC Mandate
Relevant Acts and Legislation
ECCC Recommendations
ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᑦ ᑎᓕᔭᐅᓯᒪᓂᖏᑦ
ᐊᑐᖅᑕᐅᔭᕆᐊᓖᑦ ᒪᓕᒐᐃᓪᓗ
ᒪᓕᒐᖑᓯᒪᔪᓪᓗ
ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᑦ ᐊᑐᓕᖁᔭᖏᑦ

## Slide 3: ECCC Mandate ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᑦ ᑎᓕᔭᐅᓯᒪᓂᖏᑦ
Preserve and enhance the quality of the natural environment
Conserve Canada’s renewable resources
Conserve and protect Canada’s water resources
Forecast daily weather conditions and warnings
Enforce rules relating to boundary waters
Coordinate environmental policies and programs for the federal government
ᐸᐸᑕᐅᒋᐊᕐᓂᖏᑦ ᐱᐅᓯᒋᐊᖅᑕᐅᓂᖏᓪᓗ ᐊᕙᑎᑐᖃᐅᑉ ᐱᐅᓯᖏᑦ
ᓴᐳᓐᓂᐊᖅᑕᐅᓂᖏᑦ ᑲᓇᑕᐅᑉ ᐊᑐᖅᑕᐅᑲᓐᓂᕈᓐᓇᖅᑐᑦ ᓄᓇᒥᐅᑕᑐᖃᐃᑦ
ᓴᐳᓐᓂᐊᖅᑕᐅᓂᖏᑦ ᑲᓇᑕᐅᑉ ᐃᒪᖁᑎᖏᑦ
ᓇᓚᐅᑖᕈᑕᐅᕙᖕᓂᖏᑦ ᖃᐅᑕᒫᖅ ᓯᓚᐅᑉ ᖃᓄᐃᓂᖓ ᐅᔾᔨᖅᑐᖅᑕᐅᔭᕆᐊᖃᕐᓂᖏᓪᓗ
ᒪᓕᒐᐃᑦ ᒪᓕᒃᑕᐅᑎᑕᐅᓂᖏᑦ ᐱᔾᔪᑎᖃᖅᑐᑦ
ᑭᒡᓕᖃᕐᕕᐅᓂᖏᓐᓂ ᐃᒪᖁᑎᒋᔭᐅᔪᑦ
ᑐᑭᓕᐅᖅᑕᐅᓯᒪᓂᖏᑦ ᐊᕙᑎᓕᕆᓂᕐᒧᑦ ᐊᑐᐊᒐᐃᑦ ᐱᓕᕆᐊᖑᓂᖏᓪᓗ ᑲᓇᑕᐅᑉ ᑲᓇᑕᐅᑉ ᒐᕙᒪᒃᑯᖏᓐᓄᑦ

## Slide 4: Relevant Acts and Regulations ᐊᑐᖅᑕᐅᔭᕆᐊᖃᖅᑐᑦ ᒪᓕᒐᐃᑦ ᒪᓕᒐᓕᐊᖑᓯᒪᔪᓪᓗ
Department of the Environment Act
Canadian Environmental Protection Act
Fisheries Act – Pollution Prevention Provisions & Metal Mining Effluent Regulations
ᐱᑕᖃᕐᓂᖏᓐᓄᑦ ᕼᐊᕙᒡᕖᑦ ᒐᕙᒪᑦᑯᑦ ᐊᕙᑎᓕᕆᓂᕐᒧᑦ ᒪᓕᒐᓕᕆᔨᖏᑦ
ᑲᓇᑕᒥᐅᑕᓂ ᐊᕙᑎᒥᒃ ᓱᕋᖅᑎᕆᑦᑕᐃᓕᒪᔭᕆᐊᖃᕐᓂᕐᒧᑦ ᒪᓕᒐᐃᑦ
ᐃᖃᓗᓕᕆᓂᕐᒧᑦ ᒪᓕᒐᐃᑦ - ᓱᕈᕐᓇᖅᑐᖃᖅᑎᑦᑎᑕᐃᓕᒪᓂᕐᒧᑦ ᑎᑎᕋᖅᓯᒪᓂᖏᑦ ᐊᒻᒪᓗ ᓴᕕᒃᓴᔭᕐᓂᒃ ᐅᔭᕋᖕᓂᐊᖅᑐᓂᒃ ᐊᒃᑕᑯᓕᕆᓂᕐᒥᒃ
ᒪᓕᒐᓪᓗᑐᕆᔭᐅᓂᖏᑦ

## Slide 5
Environment and Climate Change Canada provides scientific expertise within our mandate to the Nunavut Water Board
  Freshwater Environment
  ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᑦ ᓯᓚᐅᑉᓗ ᐊᓯᔾᔨᖅᐸᓪᓕᐊᓂᖓᓄᑦ ᑲᓇᑕᒥ ᐱᕕᒃᓴᖃᖅᑎᑦᑎᔨᐅᕙᒃᑐᑦ ᖃᐅᔨᓴᖅᑎᓂᒃ ᖃᐅᔨᒪᔨᑕᖃᕐᓂᖅ ᑎᓕᔭᐅᓯᒪᓂᖏᓐᓂ ᓄᓇᕗᒻᒥ ᐃᒪᐃᑦ ᐊᑐᖅᑕᐅᔪᓐᓇᕐᓂᖏᓐᓄᑦ ᑲᑎᒪᔨᓄᑦ
  - ᐃᒪᕐᓂᒃ ᑕᕆᐅᖑᖏᑦᑐᓂᒃ ᐊᕙᑎᒥᐅᑕᓂᒃ
Environment and Climate Change Canada’s Participation ᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᑦ ᓯᓚᐅᑉᓗ ᐊᓯᔾᔨᖅᐸᓪᓕᐊᓂᖓᓄᑦ ᑲᓇᑕᒥ ᐃᓚᒋᔭᐅᔪᑦ

## Slide 6: Environment and Climate Change Canada’s Participation continued ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᑦ ᓯᓚᐅᑉᓗ ᐊᓯᔾᔨᖅᐸᓪᓕᐊᓂᐊᓄᑦ ᑲᓇᑕᒥ ᐃᓚᒋᔭᐅᔪᑦ - ᑲᔪᓯᔪᑦ
Environment and Climate Change Canada has participated in all phases of this review process thus far
This presentation summarizes Environment and Climate Change Canada’s recommendations
Environment and Climate Change Canada has reviewed the Proponent’s responses.
ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᑦ ᓯᓚᐅᑉᓗ ᐊᓯᔾᔨᖅᐸᓪᓕᐊᓂᖓᓄᑦ ᑲᓇᑕᒥ ᐃᓚᒋᔭᐅᖃᑦᑕᐃᓐᓇᖅᐳᑦ ᑕᒪᐃᓐᓂᒃ ᐱᕙᓪᓕᐊᑎᑕᐅᓂᖏᓐᓂᒃ ᑖᒃᑯᐊ ᕿᒥᕐᕈᐊᖅᑕᐅᓂᖏᓐᓂᒃ ᐅᓪᓗᒥᒧᑦ ᑎᑭᓪᓗᒍ
ᑖᒃᑯᐊ ᐅᓂᒃᑳᓕᐊᑦ ᓇᐃᓈᖅᑕᐅᓯᒪᕗᑦ ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯ ᓯᓚᐅᓪᓗ ᐊᓯᔾᔨᖅᐸᓪᓕᐊᓂᖓᓄᑦ ᑲᓇᑕᐅᑉ ᐊᑐᓕᖁᓯᒪᔭᖏᓐᓂᒃ
ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᑦ ᓯᓚᐅᑉᓗ ᐊᓯᔾᔨᖅᐸᓪᓕᐊᓂᐊᓄᑦ ᕿᒥᕐᕈᐊᖅᓯᒪᔪᑦ ᕼᐊᕙᒍᒪᔫᑉ ᑭᐅᔾᔪᑎᒃᓴᓕᐊᕆᓯᒪᔭᖏᓐᓂᒃ.

## Slide 7: ECCC#1 – Seepage Collection ECCC#1 – ᓯᐊᒻᒪᒃᑎᕆᔪᓐᓇᖅᑐᓂᒃ ᒪᖅᑭᓕᕈᓐᓇᖅᑐᓂᒃ ᑲᑎᖅᓱᐃᕙᖕᓂᖅ
ECCC Recommendation
  ECCC recommends that the Proponent develop a contingency plan to account for the potential impacts of climate change on structures like dry stack tailings post closure, and the increase to seepage that may occur should permafrost distribution change in the long-term.
  ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᑦ ᐊᑐᓕᖁᔭᖏᑦ
    ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᑦ ᐊᑐᓕᖁᔨᕗᑦ ᑖᑉᑯᐊ ᕼᐊᕙᒍᒪᔪᑦ ᓴᓇᔭᐅᖁᑉᓗᒋᑦ ᑐᐊᕕᕐᓇᖅᑐᓕᕆᓂᕐᒧᑦ ᐸᕐᓇᐅᑎᒃᓴᖏᓐᓂᒃ ᐅᓂᑉᑳᖅᑕᐅᓯᒪᓂᐊᕐᒪᑕ ᐊᒃᑐᖅᑕᐅᔪᓐᓇᕐᓂᖏᑦ ᖃᓄᑐᐃᓐᓇᖅ ᓯᓚᐅᑉ ᐊᓯᖑᖅᐸᓪᓕᐊᓂᖓᓄᑦ ᐱᔾᔪᑕᐅᔪᓄᑦ, ᓲᕐᓗ ᑕᒪᑦᑯᐊᑦ ᐸᓂᖅᑐᓂᒃ ᖁᓕᕇᓕᖅᑎᖅᑕᐅᓯᒪᓂᐊᖅᑐᑦ ᐊᒃᑕᑯᐃ ᐅᔭᕋᖕᓂᒃ ᐊᒨᖃᐃᕕᐅᕌᓂᒃᓯᒪᔪᓂᒃ, ᒪᑐᔭᐅᓯᒪᓕᖅᑎᓪᓗᒋᑦ ᐅᔭᕋᖕᓂᐊᕐᕕᖓᑦ ᐊᒻᒪᓗ ᓯᐊᒻᒪᒃᑎᕆᔪᓐᓇᖅᑐᓂᒃ ᑯᑐᒡᓗᑎᒃ ᒪᖅᑭᓕᕈᓐᓇᖅᑐᓂᒃ ᓄᓇᐅᑉ ᐃᓗᐊᒍᑦ ᖁᐊᖑᐃᓐᓇᕐᓂᖅ ᐊᓯᓐᖑᖅᐸᓪᓕᐊᓕᖅᐸᑦ ᐊᑯᓂᐅᓂᐊᖅᑐᒥ.

## Slide 8: ECCC#1 – Seepage Collection continued ECCC#1 – ᓯᐊᒻᒪᒃᑎᕆᔪᓐᓇᖅᑐᓂᒃ ᒪᖅᑭᓕᕈᓐᓇᖅᑐᓂᒃ ᑲᑎᖅᓱᐃᕙᖕᓂᖅ
Proponent’s Response
  The Tailings Management Area has been designed taking climate change into account.
  A thermal analysis to estimate active layer thickness and the water load and balance model concluded that a High Density Polyethylene liner would limit infiltration.
  Analysis confirms that long-term post-closure seepage is not a concern.
Follow-up ECCC Response
  ECCC is satisfied with the response and considers this technical comment resolved.
ᕼᐊᕙᒍᒪᔫᑉ ᑭᐅᔾᔪᑎᒃᓴᓕᐊᕆᓯᒪᔭᖏᑦ
  ᐅᔭᕋᖕᓂᐊᕐᕕᑦ ᐊᐅᓚᑦᑎᕕᐅᓂᖓᓐᓂᒃ ᓄᓇᖏᑦ ᓴᓇᔭᐅᓯᒪᕗᑦ ᐃᓱᒪᒋᔭᐅᑉᓗᑎᒃ ᓯᓚᐅᑉ ᐊᓯᖑᖅᐸᓪᓕᐊᔪᓐᓇᕐᓂᖓ,
  ᐆᓇᖅᓯᕙᓪᓕᐊᓂᖓᓄᑦ ᓯᓚᐅᑉ ᖃᐅᔨᓴᖅᑕᐅᔪᓂᒃ ᑐᑭᓯᔭᐅᔪᓐᓇᖅᑐᑦ ᓄᓇᐅᑉ ᐃᑉᔪᑎᒋᓂᖓ ᐃᒪᖃᕐᓂᖏᓪᓗ ᐱᑕᖃᕐᓂᖏᓐᓂ ᑕᒪᒃᑯᐊ ᐊᖏᔪᒥᒃ ᐃᓗᐹᕈᑦᑎᖅᑕᐅᓯᒪᓂᐊᖅᑐᑦ ᐊᒃᑐᖅᑕᐅᓗᐊᕇᒃᑯᑕᐅᔪᓂᒃ ᓄᓇᐅᑉ ᐃᓗᐊᓂ.
  ᖃᐅᔨᓴᖅᑕᐅᓯᒪᔪᓂᒃ ᑐᑭᓯᓇᖅᓯᓚᐅᖅᑐᖅ ᐊᑯᓂᐅᓂᐊᖅᑐᒥᒃ ᒪᑐᔭᐅᓯᒪᓕᕈᑎᒃᒃ ᐅᔭᕋᖕᓂᐊᕐᕕᒃ ᑭᖑᓂᐊᒍᑦ ᑯᑐᓕᕈᒫᕐᓂᖅ ᓯᐊᒻᒪᒃᑎᕆᓗᓂ ᐊᐅᖕᓂᕐᒧᑦ ᐃᓱᒪᓗᑕᐅᖏᑦᑐᖅ.
ᑐᑭᓯᓂᐊᖃᑦᑕᕐᓗᑎᒃ ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᑦ ᓴᓇᔭᐅᓯᒪᓂᖏᓐᓂᒃ ᐱᔾᔪᑎᖃᖅᑐᓂᒃ ᐅᖃᐅᓯᒃᓴᖃᕐᕕᒋᔭᖏᓐᓂ
  ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᓈᒻᒪᒃᓴᖅᑐᑦ ᑭᐅᔾᔪᑎᒃᓴᕆᔭᖏᓐᓂᒃ ᐃᓱᒪᒋᓪᓗᒋᓪᓗ ᑕᒪᒃᑯᐊ ᓴᓇᔭᐅᓯᒪᓂᖏᓐᓂᒃ ᐅᖃᐅᓯᐅᔪᑦ ᐋᕿᐅᒪᑦᑎᐊᓕᖅᑐᑦ.

## Slide 9: ECCC#2 – Seepage Surveys ECCC#2 – ᓯᐊᒻᒪᒃᑎᕈᓇᖅᑐᓂᒃ ᒪᖅᑭᓕᕈᓐᓇᖅᑐᓂᒃ ᖃᐅᔨᒋᐊᕈᑎᖃᖅᐸᖕᓂᖅ
ECCC Recommendation
  ECCC recommends that the Proponent develop a Seepage Survey plan (either as a separate document or as a section of the Water Management Plan) for all waste rock storage areas and tailings management areas. This should include, at a minimum, spring and fall surveys.
ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔭᖏᑦ
  ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔨᕗᖅ ᑖᑉᑯᐊ ᕼᐊᕙᒍᒪᔪᑦ ᓴᓇᔭᐅᖁᑉᓗᒋᑦ ᓯᐊᒻᒪᒃᑎᕆᔪᓐᓇᖅᑐᓂᒃ ᒪᖅᑭᓕᕈᓐᓇᖅᑐᓂᒃ ᖃᐅᔨᓴᕈᑎᒃᓴᖏᓐᓂᒃ ᐸᕐᓇᐅᑎᖃᕐᓗᑎᒃ (ᐃᖕᒥᒎᖓᔪᓐᓇᖅᑐᓂᒃ ᑎᑎᖃᖁᑎᒋᔭᐅᔪᓂᒃ ᐅᕝᕙᓗᓐᓃᑦ ᐃᓚᒋᐊᖅᑕᐅᓯᒪᓗᑎᒃ ᐃᒪᕐᓂᒃ ᐊᐅᓚᑦᑎᕙᖕᓂᕐᒧᑦ ᐸᕐᓇᐅᑎᓂᒃ) ᑕᒪᐃᓐᓂᒃ ᑕᐃᑉᑯᓂᖓ ᐅᔭᕋᖕᓂᒃ ᐊᒨᖃᐃᕕᐅᕌᓂᒃᓯᒪᔪᓂᒃ ᐱᔪᒪᔭᐅᓂᖏᓐᓂᒃ ᐊᒃᑕᑯᓕᖅᑐᓂᒃ ᐊᒻᒪᓗ ᐃᓕᖃᐃᕕᖏᓐᓂᒃ ᐊᒃᑕᑯᖑᖅᑐᓂᒃ ᐊᐅᓚᑦᑎᕕᐅᓂᐊᖅᑐᓂᒃ. ᑕᒪᒃᑯᐊᑕᐅᖅ ᐃᓚᖃᕆᐊᖃᕆᕗᑦ, ᒥᑭᓂᖅᐹᖑᓂᐊᖅᑐᒥᒃ ᐱᔭᒃᓴᕆᕙᖕᓂᐊᖅᑕᖏᓐᓂᒃ, ᐅᐱᖓᑕᒪᖅ ᐅᑭᐊᒃᓵᑕᒫᕐᓗ ᖃᐅᔨᒋᐊᖅᑕᐅᑦᑎᐊᖃᑕᕐᓂᖏᓐᓂᒃ.

## Slide 10
Proponent’s Response
  Freshet seepage monitoring is found in Annex V1-7, and is consistent with the waste rock seepage monitoring program.
  Contact Water Ponds will be monitored as part of the Surveillance Network Program and a seepage monitoring program in the late fall is not warranted.
  Boston Tailings Management Area will be visually inspected each day for seepage which could trigger maintainance or operational actions
ᕼᐊᕙᒍᒪᔫᑉ ᑭᐅᔾᔪᑎᒃᓴᓕᐊᕆᓯᒪᔭᖏᑦ
  ᐅᓕᑕᐅᔪᖃᖅᐸᑦ ᐃᒪᕐᒧᑦ ᑰᖅᑐᓂᒃ ᓯᐊᒻᒪᒃᑎᕆᔪᓐᓇᖅᑐᑦ ᓇᐅᑦᑎᖅᑐᖅᑕᐅᔭᕆᐊᖃᖅᐳᑦ, ᐅᖃᐅᓯᐅᓯᒪᖕᒪᑕ ᒪᓕᒐᐃᑦ ᐃᓚᒃᑲᓐᓂᖏᓐᓂᒃ V1-7-ᒦᑦᑐᓂᒃ, ᒪᓕᑦᑎᐊᖅᓱᑎᒡᓗ ᐅᔭᕋᖕᓂᒃ ᐊᒨᖃᐃᕕᐅᕌᓂᒃᓯᒪᔪᓂᒃ ᐊᒃᑕᑯᓂᒃ ᓯᐊᒻᒪᒃᑎᕐᕕᐅᔪᓐᓇᖅᑐᓂᒃ ᒪᖅᑭᓕᕈᓐᓇᖅᑐᓂᒡᓗᓐᓃᑦ ᖃᐅᔨᓴᖅᑕᐅᔭᕆᐊᖃᕐᒥᔪᓂᒃ.
  ᐊᐅᓚᑕᐅᕙᒃᑐᑦ ᑕᐃᒃᑯᐊ ᑕᓯᒃᓴᓕᐊᖑᓯᒪᔪᑦ ᓇᐅᑦᑎᖅᑐᖅᑕᐅᕙᖕᓂᐊᖅᑐᑦ ᐃᓚᒋᔭᐅᓂᕐᒧᑦ ᖃᐅᔨᓴᖅᑕᐅᖃᑦᑕᐃᓐᓇᕆᐊᖃᖅᑐᓄᑦ ᑕᐃᑯᓂᖓᓗ ᓯᐊᒻᒪᒃᑎᕈᓐᓇᖅᑐᓂᒃ ᒪᖅᕿᓕᕈᓐᓇᖅᑐᓂᒡᓗᓐᓃᑦ ᖃᐅᔨᓴᖅᑕᐅᖃᑕᕐᓂᖏᓐᓄᑦ ᐃᓚᒋᔭᐅᓗᑎᒃ, ᑕᐃᒃᑯᐊᓕ ᓯᐊᒻᒪᒃᑎᕈᓐᓇᖅᑐᓂᒃ ᖃᐅᔨᓴᕈᑎᒃᓴᐅᓂᕋᖅᑕᐅᔪᑦ ᐅᑭᐊᒃᓵᑐᖃᒃᑯᑦ ᐊᑐᕋᔭᖅᑐᑦ ᓈᒻᒪᒋᔭᐅᔾᔮᖏᒻᒪᑕ.
  ᑕᐅᕙᓂ ᓄᓇᒥ Bᐋᔅᑕᓐᒥ ᐅᔭᕋᐃᑦ ᐊᒃᑕᑯᐃᑦ ᐊᒨᖃᐃᕕᐅᕌᓂᒃᓯᒪᔪᑦ ᑕᑯᔭᖅᑐᖅᑕᐅᒻᒪᕆᒡᓗᑎᒃ ᖃᐅᔨᓴᖅᑕᐅᕙᖕᓂᐊᖅᑐᑦ ᒪᖅᑭᓕᖅᓯᒪᔪᖃᕐᒪᖓᑕᓗᓐᓃᑦ ᓯᐊᒻᒪᒃᑎᕆᓯᒪᓕᕐᒪᖓᑕᓘᓐᓃᑦ ᐱᔾᔪᑕᐅᓕᕈᓐᓇᖅᑐᓂᒃ ᐋᕿᐅᒪᑦᑎᐊᕆᐊᖃᖅᑐᓂᒃ ᐊᐅᓚᑕᐅᑦᑎᐊᕆᐊᖃᖅᑐᓂᒡᓗᓐᓃᑦ ᐱᓕᕆᐊᖃᕈᑕᐅᓕᕈᓐᓇᖅᑐᓂᒃ ᓴᕿᑎᑦᑎᓗᑎᒃ.
ECCC#2 – Seepage Surveys continued ECCC#2 – ᓯᐊᒻᒪᒃᑎᕈᓇᖅᑐᓂᒃ ᒪᖅᑭᓕᕈᓐᓇᖅᑐᓂᒃ ᖃᐅᔨᒋᐊᕈᑎᖃᖅᐸᖕᓂᖅ

## Slide 11: ECCC#2 – Seepage Surveys continued ECCC#2 – ᓯᐊᒻᒪᒃᑎᕈᓇᖅᑐᓂᒃ ᒪᖅᑭᓕᕈᓐᓇᖅᑐᓂᒃ ᖃᐅᔨᒋᐊᕈᑎᖃᖅᐸᖕᓂᖅ
Follow-up ECCC Technical Comments
  ECCC is satisfied with the response and considers this technical comment resolved
ᑐᑭᓯᓂᐊᖃᑦᑕᕐᓗᑎᒃ ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᑦ ᓴᓇᔭᐅᓯᒪᓂᖏᓐᓂᒃ ᐱᔾᔪᑎᖃᖅᑐᓂᒃ ᐅᖃᐅᓯᒃᓴᖃᕐᕕᒋᔭᖏᓐᓂ
  ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᓈᒻᒪᒃᓴᖅᑐᑦ ᑭᐅᔾᔪᑎᒃᓴᕆᔭᖏᓐᓂᒃ ᐃᓱᒪᒋᓪᓗᒋᓪᓗ ᑕᒪᒃᑯᐊ ᓴᓇᔭᐅᓯᒪᓂᖏᓐᓂᒃ ᐅᖃᐅᓯᐅᔪᑦ ᐋᕿᐅᒪᑦᑎᐊᓕᖅᑐᑦ.

## Slide 12: ECCC#3 – Wastewater Treatment Plant – Contingency and Required Upgrades ECCC#3 – ᐊᒃᑕᑯᐃᑦ ᐃᒪᕐᓗᑯᐃᑦ ᓴᓗᒻᒪᖅᓴᖅᑕᐅᕕᖕᓂ ᓴᓗᒻᒪᖅᑕᐅᕙᖕᓂᖏᑦ - ᓂᕆᐅᖕᓇᖏᑦᑐᑦ ᓴᕿᑦᑐᓐᓇᕐᓂᖏᓐᓄᑦ ᐊᒻᒪᓗ ᓄᑖᕈᕆᐊᖅᑕᐅᕋᑦᑕᕆᐊᖃᕐᓂᖏᑦ
ECCC Recommendations
ECCC recommends that the Proponent
  Describe upgrades and modifications that are proposed for the Doris Water Treatment Plant, such that it has the capacity to treat the increase in camp capacity by 120 people.
  Describe any additional contingency measures for the Doris Camp Water Treatment Plant that may be needed to account for the additional capacity.
  Describe the contingency measures for the Boston Camp Water Treatment Plant that will be available to mitigate adverse effects to the aquatic environment.
ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔭᖏᑦ
ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔨᕗᑦ ᕼᐊᕙᒍᒪᔪᓄᑦ
  ᐅᓂᒃᑳᕆᓗᓂᒋᑦ ᓄᑕᕈᕆᐊᖅᑕᐅᕙᓪᓕᐊᔪᒃᓴᐃᓪᓗ ᐋᕿᒋᐊᖅᑕᐅᔪᒃᓴᐃᓪᓗ ᑕᐃᑲᓂ ᐱᒋᐊᖅᑎᑕᐅᔪᒪᔪᑦ Dᐅᐊᕆᓯᑉ ᐅᔭᕋᖕᓂᐊᕐᕕᐅᑉ ᐃᒪᕐᒥᒃ ᓴᓗᒻᒪᖅᓴᐃᕕᒃᓴᖓᓂ ᑕᐃᒪᒃᐊᑐᖅᑕᐅᔪᓐᓇᕐᓂᐊᕐᒪᑕ ᓴᓗᒪᖅᓴᖅᑕᐅᓯᒪᓂᐊᕐᒪᑕ ᐃᒪᐃᑦ ᐊᒥᓲᓂᖅᓴᐅᓕᕈᒫᖅᑐᓄᑦ ᐃᓄᖕᓄᑦ 120-ᖏᓃᓐᓂᐊᖅᑐᑦ ᑕᖕᒫᕐᕕᖓᓂ.
  ᐅᓂᒃᑳᖅᑕᐅᑦᑎᐊᕐᓗᑎᒃ ᐊᓯᒃᑲᓐᓂᖏᑦ ᓂᕆᐅᖕᓇᖏᑐᓂᒃ ᓴᕿᑦᑎᕕᐅᒍᑎᒃ ᖃᓄᐃᓕᐅᕈᑎᒃᓴᖏᓐᓂᒃ Dᐅᐊᕆᓯᐅᑉ ᐅᔭᕋᖕᓂᐊᕐᕕᖓᓂ ᐃᒪᕐᒥᒃ ᓴᓗᒻᒪᖅᓴᐃᕕᖏᓐᓂᒃ, ᐱᑕᖃᕆᐊᖃᖅᑐᓂᒃ ᐊᖏᒡᓕᒋᐊᖅᑕᐅᓂᐊᖅᑐᓂᒃ ᐊᑐᖅᑕᐅᓂᖏᑦ ᐃᓄᒋᐊᕐᓂᖅᓴᐅᓂᐊᖅᑐᓄᑦ.
  ᐅᓂᒃᑳᖅᑕᐅᑦᑎᐊᕐᓗᑎᒃ ᓂᕆᐅᖕᓇᖏᑦᑐᓂᒃ ᑎᑭᑕᐅᒍᑎᒃ ᖃᓄᐃᓕᐅᕈᒃᓴᖏᑦ ᑕᐅᕙᓂ ᐅᔭᕋᖕᓂᐊᕐᕕᖕᒥ Bᐊᔅᑕᓐᒥ ᑕᖕᒫᕐᕕᖕᒥ ᐃᒪᕐᒥᒃ ᓴᓗᒻᒪᖅᓴᐃᕕᖕᒥᒃ ᐊᑐᐃᓐᓇᐅᔪᓐᓇᕋᑦᑕᕐᓂᐊᖅᑐᓂᒃ ᐊᒃᑐᖅᑕᐅᓗᐊᕇᒃᑯᑎᒃᓴᓂᒃ ᐱᐅᖏᑦᑐᓂᒃ ᐊᒃᑐᖅᑕᐅᑕᐃᓕᒪᔪᓐᓇᕐᓂᖏᓄᑦ ᐃᒪᕐᒥᐅᑕᐃᑦ ᐊᕙᑎᖏᓃᑦᑐᑦ.

## Slide 13
Proponent’s Response
  The sewage treatment plant is modular and additional modules will be added to treat the additional waste.
  The Proponent’s primary contingency for periods of prolonged downtime of the treatment plant is trucking and discharging the untreated water in the Doris TIA.
Follow-up ECCC Technical Comments
  ECCC is satisfied with the response and considers this technical comment resolved.
ᕼᐊᕙᒍᒪᔫᑉ ᑭᐅᔾᔪᑎᒃᓴᓕᐊᕆᓯᒪᔭᖏᑦ
  ᐃᑎᕈᕐᒥᒃ ᐃᒪᕐᓗᑯᕐᓂᒃ ᓴᓗᒻᒪᖅᓴᐃᕕᖓᑦ ᑕᐃᒃᑯᓂᖓ ᐃᓚᒌᒃᑐᒡᒍᑎᐅᔪᓂᒃ ᐊᓯᒃᑲᓐᓂᖏᓐᓂᒡᓗ ᐃᓚᒃᓴᓂᒃᑕᐅᕙᖕᓂᐊᖅᑐᓂᒃ ᓴᓗᒻᒪᖅᓴᐅᑎᒃᓴᓂᒃ ᐊᖏᒡᓕᒋᐊᖅᓯᒪᓂᐊᖅᑐᓂᒃ ᐃᑎᕈᕐᓂᒃ ᐃᒪᕐᓗᑯᓂᒃ ᐊᒃᑕᑯᓂᒃ.
  ᕼᐊᕙᒍᒪᔫᑉ ᓯᕗᓪᓕᕐᒥ ᓂᕆᐅᖕᓇᖏᑦᑐᓕᕆᔾᔪᑎᒃᓴᖏᑦ ᐊᑯᓂᐅᔪᒥᒃ ᐊᔪᓕᖅᓯᒪᔪᖃᖅᐸᑦ ᐃᒪᕐᓂᒃ ᓴᓗᒻᒪᖅᓴᐃᕕᖏᓂᒃ, ᐊᑐᕈᓐᓇᕆᐊᖃᖅᑐᑦ ᓄᓇᒃᑰᕈᑎᓂᒃ ᐊᒻᒪᓗ ᐊᒃᑕᖅᑕᐅᖃᑦᑕᕈᓐᓇᕐᓂᖏᓐᓂᒃ ᓴᓗᒻᒪᖅᓴᖅᑕᐅᓯᒪᖏᑐᑦ ᐃᒪᕐᓗᑯᐃᑦ ᐃᑎᕈᐃᑦ ᑕᐅᕙᓂ Dᐅᐊᕆᓯᐅᑉ ᐱᓕᕆᕕᖏᓐᓂ.
ᑐᑭᓯᓂᐊᖃᑦᑕᕐᓗᑎᒃ ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᑦ ᓴᓇᔭᐅᓯᒪᓂᖏᓐᓂᒃ ᐱᔾᔪᑎᖃᖅᑐᓂᒃ ᐅᖃᐅᓯᒃᓴᖃᕐᕕᒋᔭᖏᓐᓂ
  ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᓈᒻᒪᒃᓴᖅᑐᑦ ᑭᐅᔾᔪᑎᒃᓴᕆᔭᖏᓐᓂᒃ ᐃᓱᒪᒋᓪᓗᒋᓪᓗ ᑕᒪᒃᑯᐊ ᓴᓇᔭᐅᓯᒪᓂᖏᓐᓂᒃ ᐅᖃᐅᓯᐅᔪᑦ ᐋᕿᐅᒪᑦᑎᐊᓕᖅᑐᑦ.
ECCC#3 – Wastewater Treatment Plant – Contingency and Required Upgrades continued ECCC#3 – ᐊᒃᑕᑯᐃᑦ ᐃᒪᕐᓗᑯᐃᑦ ᓴᓗᒻᒪᖅᓴᖅᑕᐅᕕᖕᒥ ᓴᓗᒻᒪᖅᑕᐅᕙᖕᓂᖏᑦ - ᓂᕆᐅᖕᓇᖏᑦᑐᑦ ᓴᕿᑦᑐᓐᓇᕐᓂᖏᓐᓄᑦ ᐊᒻᒪᓗ ᓄᑖᕈᕆᐊᖅᑕᐅᕋᑦᑕᕆᐊᖃᕐᓂᖏᑦ - ᑲᔪᓯᔪᖅ

## Slide 14: ECCC#4 – Boston Contact Water Pond #2 & Surge Pond ECCC#4 – Bᐋᔅᑕᓐᒥ ᐱᓕᕆᕕᐅᕙᒃᑐᑦ ᐃᒪᖃᕐᕖᑦ ᑕᓯᓕᐊᕆᓯᒪᔭᖏᑦ #2 ᐊᒻᒪᓗ ᐸᓂᖅᓯᒪᔪᑦ ᐃᒪᐃᔭᖅᑕᐅᕙᒃᑐᑦ ᑕᓯᖃᕐᕕᐅᓲᑦ
ECCC Recommendations
ECCC recommends that the Proponent
  Provide additional clarification on the water management at Contact Water Pond 2. Specifically, whether the intent is to operate Contact Water Pond #2 and the Surge Pond as dry facilities.
  Clarify whether Contact Water Pond #2 has been designed to retain water for increased residence times and describe the potential for seepage through the berms.
ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᑦ ᐊᑐᓕᖁᔨᕗᑦ
ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔭᖏᑦ ᕼᐊᕙᒍᒪᔪᓄᑦ
  ᑐᑭᓯᓇᖅᓯᑎᑦᑎᒋᐊᒃᑲᓐᓂᕐᓗᑎᒃ ᐃᒪᐃᑦ ᐊᐅᓚᑕᐅᓂᕆᕙᖕᓂᐊᖅᑕᖏᓐᓂᒃ ᑕᐃᑲᓂ ᐱᓕᕆᐊᕆᕙᖕᓂᐊᖅᑕᖏᓐᓂ ᐸᓂᖅᓯᒪᔪᓂᒃ ᐃᒪᐃᔭᕐᕕᐅᕙᖕᓂᐊᒃᑐᓂᒃ ᑕᓯᒃᓴᓕᐊᕆᓯᒪᔭᖏᓐᓂᒃ ᑐᒡᓕᕆᔭᐅᔪᒥᒃ 2. ᐱᓗᐊᖅᑐᒥᒃ, ᐱᓂᐊᕐᓂᖃᕐᒪᖓᑕ ᐊᐅᓚᑦᑎᔪᒪᓂᖅ ᐱᓕᕆᐊᕆᕙᒃᑕᖏᓐᓂᒃ ᐸᓂᖅᑐᓂᒃ ᐃᒪᐃᔭᐃᕕᒃᓴᐅᓂᐊᖅᑐᓂᒃ ᑕᓯᕐᒥᒃ ᓈᓴᐅᑎᓕᖕᒥ #2-ᒥ ᐊᒻᒪᓗ ᐊᑐᖅᑕᐅᕙᖕᓂᐊᖅᑐᓂᒃ ᐸᓂᖅᑎᑕᐅᕙᖕᓂᐊᖅᑐᑎᑐᑦ ᐃᒪᐃᔭᐃᕝᕕᐅᕙᖕᓂᐊᖅᑐᓂᒃ.
  ᑐᑭᓯᓇᖅᓯᑎᑦᑎᒋᐊᒃᑲᓐᓂᕐᓗᑎᒃ ᑕᓯᕐᓂᒃ ᐃᒪᐃᔭᖅᑕᐅᕙᒃᑐᓂᒃ ᑐᒡᓕᕆᔭᐅᔪᒥᒃ #2-ᒥᒃ ᐃᒪᐃᔭᕐᕕᒃᓴᐅᔪᓂᒃ ᑕᓯᒃᓴᓕᐊᕆᓯᒪᔭᖏᓐᓂᒃ ᓴᓇᔭᐅᓯᒪᖕᒪᖓᑕ ᐃᒪᖃᕐᕕᐅᔪᓐᓇᕐᓂᖅ ᐊᒥᓱᕈᕆᐊᕈᑎᒃ ᐃᓄᐃᑦ ᑕᖕᒫᖅᕕᖏᓃᓐᓂᐊᖅᑐᑦ ᐊᒻᒪᓗ ᐅᖃᐅᓯᐅᓗᑎᒃ ᖃᓄᖅ ᓯᐊᒻᒪᒃᑎᕆᓕᕈᓐᓇᕐᓂᖏᓐᓂᒃ ᐃᒪᐃᔭᐅᕕᐅᕙᒡᓗᑎᒃ ᑕᐃᒃᑯᑎᒎᓇ ᐃᓗᑐᓂᕐᒦᓐᓂᐊᖅᑐᓂᒃ ᐊᖅᑯᑏᑦ ᓴᓂᕋᖓᒍᑦ ᐃᒪᐃᔭᕐᕕᐅᕙᒃᑐᑎᑐᑦ ᐅᕝᕙᓗᓐᓃᑦ ᖃᖃᔮᖑᓂᐅᔫᑉ ᐊᑕᓃᑉᐸᒃᑐᓂᒃ ᐃᒪᐃᔭᕐᕕᐅᕙᒃᑐᓂᒃ.

## Slide 15: ECCC#4 – Boston Contact Water Pond #2 & Surge Pond continued ECCC#4 – Bᐋᔅᑕᓐᒥ ᐱᓕᕆᕕᐅᕙᒃᑐᑦ ᐃᒪᖏᑦ #2 ᐊᒻᒪᓗ ᐸᓂᖅᓯᒪᔪᑦ ᐃᒪᐃᔭᖅᑕᐅᕙᒃᑐᑦ ᑕᓯᖃᕐᕕᐅᓲᑦ - ᑲᔪᓯᔪᖅ
Proponent’s Response
  The Proponent acknowledges that Contact Water Pond 1 will pump to the lined surge pond, not Contact Water Pond 2.
  The Proponent clarified its intent to operate all ponds as dry facilities.
  The surge pond may hold water longer than other ponds and the holding capacity is 2 days of average treatment plant flow.
ᕼᐊᕙᒍᒪᔫᑉ ᑭᐅᔾᔪᑎᒃᓴᓕᐊᕆᓯᒪᔭᖏᑦ
  ᕼᐊᕙᒍᒪᔪᑦ ᐃᓕᑕᖅᓯᓯᒪᕗᑦ ᐱᓕᕆᐊᖑᓂᖓ ᑕᓯᖅ 1 ᒥᓪᓗᐊᖅᕕᐅᕙᖕᓂᐊᖅᑐᖅ ᑕᐃᒃᑯᓄᖓ ᓴᓂᒧᐊᒃᑐᓂᒃ ᐸᓂᖅᑎᑕᐅᕙᒃᑐᒧᑦ ᐃᒪᐃᔭᕐᕕᖕᒧᑦ ᑕᓯᕐᒧᑦ, ᑯᕕᓯᕕᕙᒡᓗᑎᒃ ᐊᒻᒪᓗ ᑕᐃᑯᓐᖓᐅᖏᑦᑐᖅ ᐱᓕᕆᐊᖑᕙᒃᑐᒧᑦ ᐃᒪᕐᒧᑦ ᑕᓯᕐᒧᑦ ᑐᒡᓕᕆᔭᐅᔪᒧᑦ 2-ᒧᑦ.
  ᕼᐊᕙᒍᒪᔪᖅᑕᐅᖅ ᑐᑭᓯᑎᑦᑎᒋᐊᑦᑎᒃᑲᓂᓚᐅᖅᑐᖅ ᐊᐅᓚᑦᑎᓚᖓᓂᖅ ᑕᒪᐃᓐᓂᒃ ᑕᓯᕐᒥᒃ ᐸᓂᖅᓯᒪᔪᑎᑐᑦ ᐃᒪᐃᔭᖅᑕᐅᕙᒃᑐᓂᒃ ᑕᓯᖃᕐᕕᐅᑎᑕᐅᓂᐊᖅᑐᓂᑦ.
  ᑕᐃᒃᑯᐊ ᐃᒪᐃᔭᖅᑕᐅᕙᒃᑐᑦ ᑕᓯᒃᓴᐃᑦ ᐃᒪᖃᕐᕕᐅᔪᓐᓇᕐᓂᐊᖅᑐᑦ ᐊᑯᓂᐅᓂᖅᓴᐅᔪᓐᓇᖅᑐᒥᒃ ᐊᓯᖏᓐᓂᒃ ᑕᓯᕐᓂᒃ, ᐃᒪᖃᕈᓐᓇᖅᓱᑎᒡᓗ ᒪᕐᕈᖕᓂᒃ 2 ᐅᓪᓘᖕᓂᒃ ᑕᐃᒪᖓᑦ ᓴᓗᒻᒪᖅᓴᖅᕈᑎᓂᒃ ᐃᒪᕐᓗᑯᓂᒃ ᐃᒪᐃᔭᕐᕕᐅᓚᐅᕐᓗᑎᒃ ᑯᕕᑎᑕᐅᓯᒪᔪᓂᒃ.

## Slide 16
Proponent’s Response continued
  The surge pond is a fully lined facility and water containment is not dependent on the frozen foundation condition.
Follow-up ECCC Technical Comments
  ECCC is satisfied with the response and considers this technical comment resolved.
ᕼᐊᕙᒍᒪᔫᑉ ᑭᐅᔾᔪᑎᒃᓴᓕᐊᕆᓯᒪᔭᖏᑦ
  ᑕᓰᑦ ᐸᓂᖅᑎᑕᐅᕙᒃᑐᑦ ᐃᓗᐹᕈᑎᖅᑕᐅᓯᒪᑦᑎᐊᖅᑐᑦ ᐱᖁᑎᓂᒃ ᐊᒻᒪᓗ ᐃᒪᕐᒥᒃ ᑰᒡᕕᐅᔪᓐᓇᕐᓂᖏᑦ ᑐᖓᕕᖃᓐᖏᑦᑐᑦ ᖁᐊᖑᔪᓐᓇᕐᓂᖏᓐᓂᒃ ᓄᓇᐅᑉ ᐃᓗᐊᓂ ᖁᐊᖑᐃᓐᓇᕐᓂᖏᓐᓂᒃ.
ᑐᑭᓯᓂᐊᖃᑦᑕᕐᓗᑎᒃ ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᑦ ᓴᓇᔭᐅᓯᒪᓂᖏᓐᓂᒃ ᐱᔾᔪᑎᖃᖅᑐᓂᒃ ᐅᖃᐅᓯᒃᓴᖃᕐᕕᒋᔭᖏᓐᓂ
  ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᓈᒻᒪᒃᓴᖅᑐᑦ ᑭᐅᔾᔪᑎᒃᓴᕆᔭᖏᓐᓂᒃ ᐃᓱᒪᒋᓪᓗᒋᓪᓗ ᑕᒪᒃᑯᐊ ᓴᓇᔭᐅᓯᒪᓂᖏᓐᓂᒃ ᐅᖃᐅᓯᐅᔪᑦ ᐋᕿᐅᒪᑦᑎᐊᓕᖅᑐᑦ
ECCC#4 – Boston Contact Water Pond #2 & Surge Pond continued ECCC#4 – Bᐋᔅᑕᓐᒥ ᐱᓕᕆᕕᐅᕙᒃᑐᑦ ᐃᒪᖏᑦ #2 ᐊᒻᒪᓗ ᐸᓂᖅᓯᒪᔪᑦ ᐃᒪᐃᔭᖅᑕᐅᕙᒃᑐᑦ ᑕᓯᖃᕐᕕᐅᓲᑦ - ᑲᔪᓯᔪᖅ

## Slide 17: ECCC#5 – Water Management Ponds – Monitoring and Dewatering ECCC#5 – ᑕᓰᑦ ᐊᐅᓚᑕᐅᔪᑦ ᐃᒪᖃᕈᓐᓇᕐᓂᖏᑦ - ᖃᐅᔨᓴᖅᑕᐅᖏᓐᓇᕈᓐᓇᕐᓂᖏᑦ ᐃᒪᐃᔭᖅᑕᐅᕙᖕᓂᖏᓪᓗ
ECCC Recommendations
ECCC recommends that the Proponent
  Clarify dewatering procedures for Contact Water Pond #1, Madrid North Contact Water Pond and the Madrid South Primary and Secondary Contact Water Ponds. If dewatering to the tundra is proposed, a description of location, monitoring and erosion control measures should be included.
  Discuss proposed frequency of water quality monitoring at the Boston Tailings Management Area Contact Water Ponds.
ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔭᖏᑦ
ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔨᕗᑦ ᕼᐊᕙᒍᒪᔪᓄᑦ
  ᑐᑭᓯᓇᖅᑎᑦᑎᒋᐊᕐᓂᖅ ᐃᒪᐃᔭᐃᖃᑦᑕᕈᓯᕆᓂᐊᖅᑕᖏᓐᓂᒃ ᑕᓯᕐᒥᒃ #1-ᒥᒃ, Madrid North ᐅᐊᖕᓇᖓᓂ ᐱᓕᕆᕕᐅᕙᖕᓂᐊᖅᑐᓂ ᑕᓯᐊᕐᔪᖕᒥ. ᐃᒪᐃᔭᖅᑕᐅᔪᒪᓂᐊᕈᑎᒃ ᓄᓇᒥ, ᐅᓂᒃᑳᕆᐊᖃᖅᐳᑦ ᓇᓂ, ᖃᓄᕐᓗ ᖃᐅᔨᓴᖅᑕᐅᓂᐊᖅᑐᓂᒃ ᐊᒻᒪᓗ ᓄᓇᒥᒃ ᓱᕋᖅᑎᕆᕙᓪᓕᐊᓂᖏᓐᓂᒃ ᖃᓄᐃᓕᐅᕈᑎᒃᓴᖏᓐᓂᒃ ᐃᓚᖃᕐᒥᓗᑎᒃ.
  ᐅᖃᐅᓯᐅᓗᑎᒃ ᖃᓄᑎᒋ ᐃᒪᐃᑦ ᓴᓗᒪᓂᖏᑦ ᖃᐅᔨᓴᖅᑕᐅᕙᖕᓂᐊᕐᒪᖓᑕ ᑕᐅᕙᓂ Bᐋᔅᑕᓐᒥ ᐅᔭᕋᕕᖕᒥ ᐊᒃᑕᑯᓂᒃ ᐊᐅᓚᑦᑎᕕᒃᓴᖏᓐᓂᒃ ᐊᒃᑐᖅᑕᐅᓯᒪᓂᖏᓐᓂᒃ ᑕᓯᒃᓴᖏᑦ.

## Slide 18: ECCC#5 – Water Management Ponds – Monitoring and Dewatering continued ECCC#5 – ᑕᓰᑦ ᐊᐅᓚᑕᐅᔪᑦ ᐃᒪᖃᕈᓐᓇᕐᓂᖏᑦ - ᖃᐅᔨᓴᖅᑕᐅᖏᓐᓇᕐᓂᖏᓂᑦ ᐃᒪᐃᔭᖅᑕᐅᕙᖕᓂᖏᓪᓗ - ᑲᔪᓯᔪᖅ
ECCC Recommendations continued
ECCC recommends that the Proponent
  Discuss water quality monitoring downstream of the Non-Contact Water Pond, prior to discharge into Stickleback Lake.
  Discuss contingency options in the event that TSS in the Non-Contact Water Pond exceeds criteria and cannot be discharged via the overflow culvert.
ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔭᖏᑦ
ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔨᕗᑦ ᕼᐊᕙᒍᒪᔪᓄᑦ
  ᐅᖃᐅᓯᐅᓗᑎ ᐃᒪᐃᑦ ᓴᓗᒪᓂᖏᓐᓂᒃ ᖃᐅᔨᓴᕈᑎᒃᓴᐃᑦ ᑰᒡᕕᐅᕙᒃᑐᓂ ᐊᑐᖅᑕᐅᕙᓐᖏᓂᖏᓐᓂᒃ ᑕᓯᕐᓂᒃ, ᓯᕗᓂᐊᒍᑦ ᑯᕕᓯᑎᑦᑎᒋᐊᓚᐅᖏᓂᖏᓐᓂ ᑕᐅᕗᖓ ᐊᓯᐊᓄᑦ Stickleback-ᒧᑦ ᑕᓯᕐᒧᑦ.
  ᐅᖃᐅᓯᐅᓗᑎᒃ ᓂᕆᐅᓇᖏᑦᑐᓂᒃ ᐊᑐᓕᕈᑎᒃ ᖃᓄᐃᓕᐅᕈᑎᒃᓴᖃᕐᓂᖏᓐᓂᒃ ᖃᖓᑐᐃᓐᓇᖅ TSS-ᑯᑦ ᐊᑐᖅᑕᐅᖏᓂᖏᓐᓂᑦ ᑕᓰᑦ ᐅᖓᑕᐅᔾᔨᒍᑎᒃ ᒪᓕᒐᕐᓂᒃ ᐊᑐᕈᓐᓇᖅᑕᖏᓐᓂᒃ ᑯᕕᓯᔪᓐᓇᐃᓪᓕᒍᑎᒡᓗ ᑕᐃᑰᓇ ᑰᒡᕕᓕᐊᕆᓯᒪᔭᖏᓐᓂᒃ.

## Slide 19: ECCC#5 – Water Management Ponds – Monitoring and Dewatering continued ECCC#5 – ᑕᓰᑦ ᐊᐅᓚᑕᐅᔪᑦ ᐃᒪᖃᕈᓐᓇᕐᓂᖏᑦ - ᖃᐅᔨᓴᖅᑕᐅᖏᓐᓇᕐᓂᖏᓂᑦ ᐃᒪᐃᔭᖅᑕᐅᕙᖕᓂᖏᓪᓗ - ᑲᔪᓯᔪᖅ
Proponent’s Response
  If water meets the designed criteria for discharge, it may be discharged to the tundra at an approved location. Water samples will be collected twice annually or prior to discharge.
  Early signs of erosion at the discharge point will be monitored and mitigations measures will be implemented if necessary.
  A field Total Suspended Solids test will be conducted at the same time as the water quality sample is collected from the Non-Contact Water Pond.
  No additional contingencies considered for Total Suspended Solids.
Follow-up ECCC Technical Comments
  ECCC is satisfied with the response and considers this technical comment resolved
ᕼᐊᕙᒍᒪᔫᑉ ᑭᐅᔾᔪᑎᒃᓴᓕᐊᕆᓯᒪᔭᖏᑦ
  ᒪᓕᒐᖃᕐᓂᖏᓐᓂᒃ ᐃᒪᐃᑦ ᑯᕕᔭᐅᔭᕆᐊᖃᕈᑎᒃ, ᑯᕕᔭᐅᔪᓐᓇᖅᑐᑦ ᓄᓇᑐᐃᓐᓇᕐᒧᑦ ᐃᓂᖃᖅᑎᑕᐅᔪᓂᒃ ᐊᖏᕈᑕᐅᓯᒪᔪᓂ. ᐃᒪᐃᑦ ᐃᒥᖅᑕᕐᕕᐅᕙᖕᓂᐊᖅᑐᑦ ᒪᕐᕈᐃᖅᑕᖅᑕᐅᓗᑎᒃ ᐊᕐᕋᒍᑕᒫᖅ ᐊᒻᒪᓗ ᑯᕕᑎᑕᐅᒋᐊᓚᐅᖏᓐᓂᖏᓐᓂ ᓱᓕ.
  ᓄᓇᐃᑦ ᓱᕋᖅᑎᖅᐸᓪᓕᐊᓕᓵᕐᓂᖏᓐᓂ ᑯᕕᓯᕕᐅᕙᒃᑐᓂ ᖃᐅᔨᓴᖅᑕᐅᕙᖕᓂᐊᖅᑐᑦ ᖃᓄᖅᑑᕈᒃᓴᐃᓪᓗ ᐊᑐᖅᑎᑕᐅᕙᒡᓗᑎᒃ ᐱᔭᕆᐊᖃᕈᑎᒃ.
  ᓄᓇᒥ ᑕᒪᕐᒥᒃ ᓯᑎᔪᖃᕐᓂᖏᓐᓂᒃ ᖃᐅᔨᓴᕈᑏᑦ ᖃᐅᔨᓴᖅᑕᐅᕙᖕᓂᐊᖅᑐᑦ ᐊᑕᐅᑎᒃᑯᑦ ᐃᒪᐃᑦ ᓴᓗᒪᓂᖏᓐᓂᒃ ᖃᐅᔨᓴᕐᓂᖏᓐᓂᒃ ᐱᓕᕆᕕᐅᕙᖏᑐᓕ ᐃᖁᑎᖏᓂ ᑕᓯᕐᓂᒃ.
  ᐊᓯᑕᖃᒃᑲᓐᓂᖏᓚᑦ ᓂᕆᐅᓇᖏᑦᑐᓂᒃ ᐃᓱᒪᓕᐅᕈᑕᐅᓯᒪᔪᓂᒃ ᐱᖁᑎᖃᖅᑐᓂᒃ ᐃᒪᓕᕆᓂᖏᓐᓂᒃ.
ᑐᑭᓯᓂᐊᖃᑦᑕᕐᓗᑎᒃ ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᑦ ᓴᓇᔭᐅᓯᒪᓂᖏᓐᓂᒃ ᐅᖃᐅᓯᒃᓴᖃᕐᕕᒋᔭᖏᓐᓂ
  ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᓈᒻᒪᒃᓴᖅᑐᑦ ᑭᐅᔾᔪᑎᒃᓴᕆᔭᖏᓐᓂᒃ ᐃᓱᒪᒋᓪᓗᒋᓪᓗ ᑕᒪᒃᑯᐊ ᓴᓇᔭᐅᓯᒪᓂᖏᓐᓂᒃ ᐅᖃᐅᓯᐅᔪᑦ ᐋᕿᐅᒪᑦᑎᐊᓕᖅᑐᑦ

## Slide 20: ECCC#6 – Quarries with High Risk of Acid Rock Drainage (ARD) ECCC#6 – ᐅᔭᕋᐃᑐᕐᕖᑦ ᐅᓗᕆᐊᓇᖅᑐᓖᑦ ᐆᑕᐃᔪᓐᓇᖅᑐᓂᒃ ᐅᔭᕋᕕᓂᕐᓂᖓᖅᑐᓂᒃ ᓯᐊᒻᒪᒃᑎᕆᔪᓐᓇᖅᑐᓂᒃ
ECCC Recommendations
ECCC recommends that the Proponent
  Provide justification for the use of high Acid Rock Drainage (ARD) potential quarries for use as mine backfill
  Discuss mitigation measures to prevent Acid Rock Drainage from high Acid Rock Drainage potential rock stored in the waste rock piles and for the exposed quarry walls.
ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔭᖏᑦ
ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔨᕗᑦ ᕼᐊᕙᒍᒪᔪᓄᑦ
  ᐱᔾᔪᑎᒃᓴᖃᑦᑎᐊᕆᐊᖃᖅᑐᑦ ᐊᑐᖅᑕᐅᓂᖏᓐᓄᑦ ᐆᑕᐃᔪᓐᓇᖅᑐᓂᒃ ᐃᓚᔭᐅᓯᒪᓂᖏᓐᓂᒃ ᐅᔭᕋᖕᓂᒃ ᐊᒧᓯᔾᔪᑕᐅᕙᖕᓂᕐᒧᑦ ᐱᔪᒪᔭᐅᔪᓂᒃ ᐅᔭᕋᖕᓂᐊᕐᕕᖓᓂ ᐊᒃᑕᑯᓄᐊᖅᑎᖅᑕᐅᓯᒪᓂᖏᓐᓂ
  ᐅᖃᐅᓯᐅᓂᖏᑦ ᐊᒃᑐᖅᑕᐅᓗᐊᕇᒃᑯᑎᒃᓴᐃᑦ ᐆᑕᕐᓇᖅᑐᖃᕐᓂᖏᓐᓄᑦ ᐅᔭᕋᐃᑦ ᓯᐊᒻᒪᒃᑎᕈᓐᓇᖅᑐᓂᒃ ᐊᖏᔪᐊᓗᖕᒥᒃ ᐆᑕᕐᓈᖅᑐᖃᕐᓂᖏᓐᓄᑦ ᐅᔭᕋᐃᑦ ᒪᕿᔪᓐᓇᖅᑐᓂᒃ ᑯᕕᖅᑕᕈᓐᓇᖅᑐᓂᒃ ᓯᐊᒻᒪᒃᑎᕆᓗᑎᒃ ᑐᖁᖅᑕᐅᓯᒪᔪᓂᒃ ᐊᒃᑕᑯᓂᒃᖔᖅᑐᓂᒃ ᐊᒨᖃᐃᕕᐅᕌᓂᒃᓯᒪᔪᓂᒃ ᐅᔭᕋᖕᓂᒃ ᐊᒻᒪᓗ ᑕᐃᒃᑯᓄᖓᐅᔪᓐᓇᕐᓂᖏᓐᓂᒃ ᐅᔭᕋᐃᔭᐃᕐᕕᐅᓯᒪᔪᓂᒃ ᓄᓇᐅᑉ ᓴᓂᕋᖏᓐᓄᑦ.

## Slide 21: ECCC#6 – Quarries with High Risk of Acid Rock Drainage (ARD) continued ECCC#6 – ᐅᔭᕋᐃᑐᕐᕖᑦ ᐅᓗᕆᐊᓇᖅᑐᓖᑦ ᐆᑕᐃᔪᓐᓇᖅᑐᓂᒃ ᐅᔭᕋᕕᓂᕐᓂᖓᖅᑐᓂᒃ ᓯᐊᒻᒪᒃᑎᕆᔪᓐᓇᖅᑐᓂᒃ - ᑲᔪᓯᔪᖅ
Proponent’s Response
  The 3 quarries that are not suitable for construction will be used as mine backfill. All runoff from the contact pad will be managed as contact water.
  Drainage from the waste rock stockpiles is collected and monitored.
Follow-up ECCC Response
ᕼᐊᕙᒍᒪᔫᑉ ᑭᐅᔾᔪᑎᒃᓴᓕᐊᕆᓯᒪᔭᖏᑦ
  ᐱᖓᓱᓂᒃ 3 ᐅᔭᕋᐃᑐᕐᕖᑦ ᓈᒻᒪᖏᑦᑐᑦ ᓴᓇᕐᕈᑕᐅᔪᓐᓇᕐᓂᕐᒧᑦ ᐊᑐᖅᑕᐅᓂᐊᖅᑐᑦ ᐅᔭᕋᖕᓂᐊᕐᕕᖕᓄᑦ ᐊᒃᑕᑯᒋᔭᐅᓂᖅ. ᑕᒪᕐᒥᒃ ᑯᑐᓕᖅᑐᑦ ᑯᕕᔪᓪᓗᓐᓃᑦ ᑕᐃᒃᑯᓇᖓᑦ ᑐᖓᕕᐅᓂᖏᓐᓂᒃ ᐊᐅᓚᐅᕙᖕᓂᐊᖅᑐᑦ ᓲᕐᓗ ᐱᓕᕆᐊᖑᔪᑎᑐᑦ ᐃᒪᖁᑎᖃᕐᕕᐅᔪᑎᑐᑦ.
  ᐃᒪᐃᔭᖅᑕᐅᓂᖏᑦ ᐊᒃᑕᑯᐃᑦ ᐅᔭᕋᕕᓃᑦ ᐊᒨᖃᐃᕕᐅᕌᓂᒃᓯᔪᓃᒃᑐᑦ ᖁᓕᕇᓕᖅᑎᖅᑕᐅᓯᒪᔪᓂᒃ ᑲᑎᖅᓱᖅᑕᐅᓯᒪᕙᖕᓂᐊᖅᑐᑦ ᖃᐅᔨᓴᖅᑕᐅᕙᖕᓂᐊᕐᒪᑕ.
ᑐᑭᓯᓂᐊᕈᑕᐅᓂᐊᖅᑐᑦ ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᓐᓄᑦ ᑭᐅᔾᔪᑎᒃᓴᕆᔭᖏᑦ

## Slide 22: ECCC#7 – Aquatic Effects Monitoring Program ECCC#7 – ᐃᒪᐃᑦ ᐊᑐᖅᑕᐅᓯᒪᔪᓐᓇᕐᓂᖏᓐᓂᒃ ᖃᐅᔨᓴᕈᑏᑦ
ECCC Recommendations
  ECCC recommends that development of the Aquatics Effects Monitoring Program be actioned as soon as possible, to allow lead time for any 2018 field work that may be required.
Follow-up ECCC Response
ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔭᖏᑦ
  ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔨᕗᑦ ᓴᓇᓯᒪᔭᕆᐊᖃᕐᓂᖏᓐᓂᒃ ᐃᒪᐃᑦ ᐊᒃᑐᖅᑕᐅᔪᓐᓇᕐᓂᖏᓐᓂᒃ ᖃᐅᔨᓴᕈᑎᒃᓴᐃ ᐋᕿᐅᒪᔭᐅᓂᐊᖅᑐᑦ ᐱᓕᕆᐊᖑᒋᐊᑲᐅᑎᒋᓗᑎᒃ ᐊᔪᕐᓇᕈᓐᓃᑐᐊᖅᐸᑦ, ᐱᕕᒃᓴᖃᖅᐸᒌᖕᓂᐊᕐᒪᑕ ᖃᖓᑐᐃᓐᓇᖅ 2018-ᖑᓕᖅᐸᑦ ᓄᓇᒥ ᐱᓕᕆᐊᖑᔪᖃᕆᐊᖃᕐᓂᐊᑐᐊᖅᐸᑦ.
ᑐᑭᓯᓂᐊᕈᑕᐅᓂᐊᖅᑐᑦ ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᓐᓄᑦ ᑭᐅᔾᔪᑎᒃᓴᕆᔭᖏᑦ

## Slide 23: ECCC#8 – Post-Audit of Water Quality Modelling ECCC#8 – ᖑᓂᐊᒍᑦ ᖃᐅᔨᓴᖅᑕᐅᓚᐅᕐᓗᑎᒃ ᐃᒪᐃᑦ ᓴᓗᒪᓂᖏᑦ
ECCC Recommendations
  ECCC recommends that effluent and water quality audits be completed for Roberts Bay and Aimaokatalok Lake at specific time intervals relating to major milestones in the Madrid-Boston Project. ECCC recommends that modelling audits be completed at a minimum every 3-5 years.
ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔭᖏᑦ
  ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔨᕗᑦ ᑕᐃᑯᐊ ᐃᒪᕐᓗᑯᐃᓪᓗ ᐃᒪᐃᓪᓗ ᓴᓗᒪᓂᖏᓂᒃ ᖃᐅᔨᓴᖅᑕᐅᖃᑦᑕᖁᔨᓪᓗᑎᒃ ᑕᐅᕙᓂ Roberts Bay ᑲᖏᖅᓱᖓᓂ ᐊᒻᒪᓗ ᑕᐅᕙᓂ ᐊᐃᒪᐅᑲᑖᓘᑉ ᑕᓯᐊᓂ ᑕᐃᒪᖓᑦ ᖃᖓᖑᕐᓂᑕᒫᖅ ᐱᒻᒪᕆᐅᔪᓂᒃ ᐱᓕᕆᓯᒪᔭᕌᖓᒥᒃ ᑕᐅᕙᓂ ᐅᔭᕋᖕᓂᐊᕐᕕᖕᓂ Madrid-ᒥᓗ-Bᐋᔅᑕᓐᒥᓗ ᐱᓕᕆᕕᐅᓂᖏᓐᓂ. ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔨᕗᑦ ᖃᓄᐃᓕᖓᕙᖕᓂᐊᖅᑐᓂᒃ ᐋᕿᐅᒪᕙᒌᖁᓪᓗᓂᒋᑦ ᖃᐅᔨᓴᕈᑎᒃᓴᕆᕙᖕᓂᐊᖅᑕᖏᑦ ᑕᐃᒪᖓᑦ ᒥᑭᓂᖅᐹᕆᔭᐅᔪᒥᒃ ᐱᓕᕆᔭᐅᕙᒡᓗᑎᒃ ᐊᕐᕋᒍᑕᒫᓂᒃ ᐱᖓᓱᓂᒃ-ᑕᓪᓕᒪᓄᑦ 3-5-ᑕᒫᓂᒃ ᐊᕐᕋᒎᔪᒥᒃ.

## Slide 24: ECCC#8 – Post-Audit of Water Quality Modelling continued ECCC#8 – ᑭᖑᓂᐊᒍᑦ ᖃᐅᔨᓴᖅᑕᐅᓚᐅᕐᓗᑎᒃ ᐃᒪᐃᑦ ᓴᓗᒪᓂᖏᑦ
Proponent’s Response
  The Proponent maintains that updating of predictive models will be used as adaptive management and states that requirements of the update will be determined in the water licencing stage.
Follow-up ECCC Response
ᕼᐊᕙᒍᒪᔫᑉ ᑭᐅᔾᔪᑎᒃᓴᓕᐊᕆᓯᒪᔭᖏᑦ
  Hᐊᕙᒍᒪᔪᖅ ᐋᕿᐅᒪᑎᑦᑎᔭᕆᐊᖃᖅᐳᖅ ᓇᓚᐅᑦᑖᕈᑎᒃᓴᖏᓐᓂᒃ ᐊᑐᖅᐸᖕᓂᐊᖅᑕᖏᓐᓂᒃ, ᐋᕿᒋᐊᖅᑕᐅᖃᑦᑕᕈᓐᓇᖅᑐᓂᒃ ᐊᐅᓚᑦᑎᔪᓐᓇᕐᓂᐊᕐᒪᑕ, ᒪᓕᒐᖃᕐᓗᑎᒡᓗ ᓄᑖᕈᕆᐊᖅᑕᐅᔭᕆᐊᖃᕐᓂᖏᓐᓄᑦ ᑐᑭᓕᐅᕈᑎᒃᓴᕆᔭᖏᓐᓂ ᐃᒪᕐᒥᒃ ᐱᔪᓐᓇᐅᑎᒃᓴᖃᕆᐊᖃᕐᓂᖏᓐᓄᑦ ᐱᓕᕆᐊᖃᕈᑕᐅᕙᖕᓂᐊᖅᑐᓂᒃ.
ᑐᑭᓯᓂᐊᕈᑕᐅᓂᐊᖅᑐᑦ ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᓐᓄᑦ ᑭᐅᔾᔪᑎᒃᓴᕆᔭᖏᑦ

## Slide 25: ECCC#9 – Mitigation and Monitoring for in Water Works ECCC#9 – ᐊᒃᑐᖅᑕᐅᓗᐊᕇᒃᑯᑎᒃᓴᐃᑦ ᐊᒻᒪᓗ ᖃᐅᔨᓴᖅᑕᐅᖃᑦᑕᐃᓐᓇᕆᐊᓖᑦ ᐃᒪᐃᑦ ᐊᑐᖅᑕᐅᓂᖏᓐᓂᑦ ᐱᓕᕆᓂᖏᓐᓂ
ECCC Recommendations
ECCC recommends that the Proponent
  Develop a Sedimentation Management Plan which outlines details of mitigation measures for sediment and erosion control and in-water works, including development of a turbidity-Total Suspended Solids (TSS) relationship and action levels for monitoring of TSS during construction and in-lake activities.
  Identify mitigation measures for sediment and erosion control during construction of stream crossings.
Follow-up ECCC Response
ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔭᖏᑦ
ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔨᕗᑦ ᕼᐊᕙᒍᒪᔪᓄᑦ
  ᓴᕿᑎᑦᑎᓯᒪᓗᑎᒃ ᐃᒪᕐᒥᐅᑕᓂᒃ ᓯᐅᕋᕐᓂᒃ ᐅᔭᕋᓂᒃ ᐃᐱᕐᓂᒃ ᐊᐅᓚᑦᑎᓂᕐᒧᑦ ᐸᕐᓇᐅᑎᓂᒃ ᐅᓂᒃᑳᖅᓯᒪᑦᑎᐊᕐᓂᐊᖅᑐᓂᒃ ᐊᒃᑐᖅᑕᐅᓗᐊᕇᒃᑯᑎᒃᓴᕆᔭᖏᓐᓂᒃ ᓯᐅᕋᕐᒧᑦ ᐊᒻᒪᓗ ᓄᓇᐃᑦ ᓱᕋᖅᑎᖅᑕᐅᕙᓪᓕᐊᓂᖏᓐᓄᑦ ᐊᐅᓚᑦᑎᔾᔪᑎᒃᓴᖏᓐᓂᒃ ᐊᒻᒪᓗ ᐃᒪᕐᒦᑦᑐᓂᒃ ᐱᓕᕆᐊᖑᕙᒃᑐᓂᒃ, ᑕᐃᒃᑯᓂᖓ ᐃᓚᖃᕐᓗᑎᒃ ᐃᒪᐃᑦ ᐊᐅᓚᔪᓐᓇᕐᓂᖏᓐᓂᒃ-ᓴᕿᑉᐸᓪᓕᐊᔪᓐᓇᖅᑐᓂᒃ ᓯᑎᔪᓂᒃ ᓱᓇᑐᐃᓐᓇᕐᓂᒃ ᐊᐅᓚᑦᑎᔾᔪᑎᒃᓴᕆᓂᐊᖅᑕᖏᓐᓂᒃ ᐊᒻᒪᓗ ᓇᐅᑦᑎᖅᑐᕈᑎᒃᓴᖏᓐᓂᒃ ᓯᑎᔪᓂᒃ ᓴᕿᑦᑐᖃᖅᐸᓪᓕᐊᔪᓐᓇᕐᓂᖏᓐᓂᒃ ᐃᒪᕐᓂ ᓴᓇᔭᐅᔪᖃᖅᑎᓪᓗᒋᑦ ᐱᖁᑎᒃᓴᓂᒃ ᐊᒻᒪᓗ ᑕᓯᕐᒥᒃ ᐱᓕᕆᔪᖃᕐᓂᖓᓂᒃ.
  ᓇᓗᓇᐃᔭᖅᑕᐅᑦᑎᐊᕐᓗᑎᒃ ᐊᒃᑐᖅᓯᓗᐊᕇᒃᑯᑎᒃᓴᐃᑦ ᖃᓄᐃᓕᐅᕈᑎᒃᓴᐃᑦ ᓯᐅᕋᐅᓂᖏᓐᓂᒃ ᐊᒻᒪᓗ ᓄᓇᐅᑉ ᓱᕋᖅᑎᖅᐸᓪᓕᐊᔪᓐᓇᕐᓂᖏᓐᓂᒃ ᐊᐅᓚᑦᑎᔾᔪᑎᒃᓴᓂᒃ ᓴᓇᔭᐅᓂᖏᓐᓂ ᐱᖁᑎᒃᓴᓂᒃ ᐃᒪᕐᓄᑦ ᐃᑳᕐᕕᐅᕙᖕᓂᐊᖅᑐᓂᒃ.
ᑐᑭᓯᓂᐊᕈᑕᐅᓂᐊᖅᑐᑦ ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᓐᓄᑦ ᑭᐅᔾᔪᑎᒃᓴᕆᔭᖏᑦ

## Slide 26: ECCC#10 – Tailings Pipeline Catch Basins ECCC#10 – ᐅᔭᕋᖕᓂᐊᕐᕕᖕᓂ ᐊᒃᑕᑯᐃᑦ ᓱᓪᓗᓕᒃᑯᑦ ᐃᒪᐃᔭᐃᕖᑦ ᐱᖁᑏᑦ
ECCC Recommendations
ECCC recommends that the Proponent
  Clarify the circumstances that would require the use of the tailings catch basins
  Describe the process of cleaning out and disposing of tailings deposited in the catch basins
ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔭᖏᑦ
ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔨᕗᑦ ᕼᐊᕙᒍᒪᔪᓄᑦ
  ᑐᑭᓯᓇᖅᑎᑦᑎᒋᐊᕐᓗᑎᒃ ᖃᓄᐃᓕᖓᓂᖏᓐᓂᒃ ᐊᑐᕆᐊᖃᕋᔭᕐᓂᖏᓐᓂᒃ ᐊᒃᑕᑯᓂᒃ ᓱᓗᓕᒃᑯᑦ ᐃᒪᐃᔭᕐᕕᒃᓴᓂᒃ ᐃᓗᑐᔪᓂᒃ ᓄᓇᒥᒃ ᐱᖁᑎᓂᒃ ᐃᒪᕐᓗᑯᓂᒃ
  ᐅᓂᒃᑳᖅᑕᐅᑦᑎᐊᕐᓗᑎᒃ ᖃᓄᖅ ᐱᐅᓯᖃᓲᖑᓂᐊᕐᒪᖓᑕ ᓴᓗᒻᒪᖅᓴᐃᓂᖏᓐᓂ ᐊᒻᒪᓗ ᐊᒃᑐᖅᑕᐅᕙᖕᓂᖏᓐᓂᒃ ᐅᔭᕋᖕᓂᐊᖅᑕᐅᔪᓂᒃ ᐊᒃᑕᑯᐃᑦ ᐅᔭᕋᕕᓃᑦ ᐃᓕᐅᖃᖅᑕᐅᓯᒪᓂᖏᓐᓂᒃ ᐃᓗᑐᓂᕐᒥᒃ ᐃᒪᐃᔭᐃᕕᖕᓂ.

## Slide 27: ECCC#10 – Tailings Pipeline Catch Basins continued ECCC#10 – ᐅᔭᕋᖕᓂᐊᕐᕕᖕᓂ ᐊᒃᑕᑯᐃᑦ ᓱᓪᓗᓕᒃᑯᑦ ᐃᒪᐃᔭᐃᕖᑦ ᐱᖁᑏᑦ - ᑲᔪᓯᔪᖅ
Proponent’s Response
  Catch basins are required if the tailings pipeline requires repairs and needs to be drained
  The cleaning up process would be through re-slurrying the tailings and pumping into a truck and disposal in the Tailings Impoundment Area.
Follow-up ECCC Response
ᕼᐊᕙᒍᒪᔫᑉ ᑭᐅᔾᔪᑎᒃᓴᓕᐊᕆᓯᒪᔭᖏᑦ
  ᐃᒪᐃᔭᕐᕖᑦ ᐱᑕᖃᕆᐊᖃᖅᑐᑦ ᐊᒃᑕᑯᐃᑦ ᐅᔭᕋᖕᓂᐊᕐᕕᖕᓂᖓᖅᑐᓂᒃ ᓱᓪᓗᓕᖏᑦ ᓴᓇᔭᐅᑦᑎᐊᒃᑲᓐᓂᕆᐊᖃᕈᑎᒃ ᐊᒻᒪᓗ ᐃᒪᐃᔭᖅᑕᐅᔭᕆᐊᖃᓕᕈᑎᒃ.
  ᓴᓗᒻᒪᖅᓴᖅᑕᐅᕙᖕᓂᖏᓐᓄᑦ ᐱᐅᓯᕆᔭᐅᕙᖕᓂᐊᖅᑐᑦ ᐱᔾᔪᑎᖃᖅᑐᑦ ᐃᓚᔭᐅᓯᒪᕙᖕᓂᐊᖅᑐᓂᒃ ᐊᑯᑕᐅᓯᒪᔪᓐᓇᖅᑐᓂᒃ ᐃᔾᔪᖅᓂᖅᓴᐅᓕᕈᑕᐅᓂᐊᖅᑐᓂᒃ ᐊᒃᑕᑯᓄᑦ ᐱᑕᕈᑎᒃᓴᓂᒃ ᐃᒪᕐᓗᑯᓂᒃ ᒥᓪᓗᐊᖅᑕᐅᓗᑎᒃ ᑕᒪᒃᑯᐊ ᓄᓇᒃᑰᕈᑎᒧᑦ ᐊᒃᑕᖅᑕᐅᕙᒡᓗᑎᒡᓗ ᐅᔭᕋᖕᓂᒃ ᐊᒃᑕᑯᖃᕐᕕᖕᓄᑦ ᓄᓇᒥ.
ᑐᑭᓯᓂᐊᕈᑕᐅᓂᐊᖅᑐᑦ ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᓐᓄᑦ ᑭᐅᔾᔪᑎᒃᓴᕆᔭᖏᑦ

## Slide 28: ECCC#11 – Copper ECCC#11 – ᑲᓄᔭᖅ ᐅᓗᒃᓴᔭᖅ ᑳᐳ
ECCC Recommendations
ECCC recommends that the Proponent
  Quantify and discuss the drivers behind the differences between observed baseline and predicted baseline in Stickleback Lake and Windy Lake.
  Provide rationale and discussion on the certainty associated with the predicted base case copper concentrations.
  Provide rationale for the necessity of a SSWQO given the additional details provided in the first two points
ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔭᖏᑦ
ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔨᕗᑦ ᕼᐊᕙᒍᒪᔪᓄᑦ
  ᐱᑕᖃᕐᓂᖏᓐᓂᒃ ᐅᓂᒃᑳᕐᓗᑎᒃ ᐅᖃᐅᓯᐅᓗᑎᒡᓗ ᐱᔾᔪᑕᐅᕙᖕᓂᖏᑦ ᐊᔾᔨᖐᖏᓂᖏᓐᓄᑦ ᑕᑯᔭᐅᖃᑦᑕᖅᓯᒪᔪᑦ ᐱᐅᓯᑐᖃᖏᑦ ᐊᒃᑐᖅᑕᐅᓚᐅᖏᑎᓪᓗᒋᑦ ᓄᓇᖏᑦ ᓱᓕ ᐊᒻᒪᓗ ᓇᓚᐅᑦᑖᖅᑕᐅᓯᒪᓂᖏᑦ ᑕᐅᕙᓂᓕᖅᑎᓪᓗᒋᑦ ᖃᓄᐃᓕᖓᓂᐊᕐᓂᖏᑦ Stickleback-ᒥ ᑕᓯᖓᓂ ᐊᒻᒪᓗ Windy Lake-ᒥ ᑕᓯᕐᒥᒃ.
  ᖃᐃᑦᑎᓗᑎᒃ ᑐᑭᓕᐅᕈᑕᐅᓯᒪᓂᖏᓐᓂᒃ ᐅᖃᐅᓯᐅᓂᖏᓐᓂᒡᓗ ᓇᓗᓇᖏᑦᑎᐊᕈᑎᒃ ᐱᔾᔪᑕᐅᓂᖏᓐᓂᒃ ᓇᓚᐅᑦᑖᖅᑕᐅᓂᖏᓐᓄᑦ ᖃᓄᐃᓕᖓᔪᒫᕐᓂᖏᑦ ᐱᑕᖃᕐᓂᖏᑦ ᓄᓇᒥ ᑲᓄᔭᕐᒥᒃ/ᐅᓗᒃᓴᔭᕐᒥᒃ/ᑳᐳᒥᒃ.
  ᖃᐃᑦᑎᓗᑎᒃ ᑐᑭᓕᐅᕈᑕᐅᓯᒪᓂᖏᓐᓂᒃ ᐱᑕᖃᕆᐊᖃᕐᓂᖏᓐᓄᑦ ᑕᐃᒃᑯᐊ ᓇᐃᓇᖅᑕᐅᓯᒪᔪᓂᒃ ᑕᐃᔭᐅᔪᑦ ᓴᔅᑳᑦᓱᐋᓐᒥ ᐃᒪᐃᑦ ᖄᖓᒍᑦ ᓴᓗᒪᔭᕆᐊᖃᕐᓂᖏᓐᓄᑦ ᑐᕌᒐᕆᔭᐅᕙᒃᑐᑦ-SSWQO-ᖑᔪᑦ ᐃᓱᒪᒋᓪᓗᒋᑦ ᐊᓯᒃᑲᓐᓂᖏᓐᓂᒃ ᐅᓂᒃᑳᑦᑎᐊᒃᑲᓐᓂᕈᑏᑦ ᐅᖃᐅᓯᐅᓯᒪᔪᑦ ᓯᕗᓪᓕᐅᔫᖕᓂᒃ ᑐᑭᓯᑎᑦᑎᒋᐊᕈᑎᒃᓴᓂᒃ.

## Slide 29: ECCC#11 – Copper continued ECCC#11 – ᑲᓄᔭᖅ ᐅᓗᒃᓴᔭᖅ ᑳᐳ
Proponent’s Response
  Because of low observed copper concentrations in Wolverine and Stickleback Lake, the Proponent will not adopt a Site Specific Water Quality Objective for Copper and will instead monitor potential changes to Copper in the Aquatic Effects Monitoring Program.
Follow-up ECCC Response
  ECCC is satisfied with the response and considers this technical comment resolved
ᕼᐊᕙᒍᒪᔫᑉ ᑭᐅᔾᔪᑎᒃᓴᓕᐊᕆᓯᒪᔭᖏᑦ
  ᐱᔾᔪᑕᐅᓂᖏᓐᓄᑦ ᖃᐅᔨᔭᐅᓯᒪᓂᖏᑦ ᐱᑕᖃᑦᑎᐊᖏᑦᑐᒻᒪᕆᐅᓂᖏᑦ ᑲᓄᔭᖅᒥᒃ ᑕᐅᕙᓂ ᑕᓯᕐᒥ ᖃᓪᓗᓇᑎᑐᑦ ᑕᐃᔭᐅᔪᒥᒃ Wolverine-ᒥ (ᖃᕝᕕᖕᒥ) ᐊᒻᒪᓗ Stickleback ᑕᓯᖓᓂ, ᕼᐊᕙᒍᒪᔪᖅ ᐊᑐᓕᖅᑎᑦᑎᓂᐊᓐᖏᑦᑐᖅ ᑕᐃᒃᑯᓂᖓᓪᓗᑐᖅ ᐃᒪᐃᑦ ᓴᓗᒪᓂᖏᓐᓄᑦ ᑐᕌᒐᕆᔭᐅᔪᓂᒃ ᐱᔾᔪᑎᖃᖅᑐᓂᒃ ᑲᓄᔭᕐᒥᒃ ᐱᑕᖃᕐᓂᖏᓐᓂᒃ ᐃᒪᕐᒥᒃ ᐊᒃᑐᖅᑕᐅᑕᐃᓕᒪᔪᒪᓂ ᖃᐅᔨᓴᕈᑎᓂᒃ ᐱᓕᕆᐊᖑᓂᐊᖅᑐᓂᒃ.
ᑐᑭᓯᓂᐊᕈᑕᐅᓂᐊᖅᑐᑦ ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᓐᓄᑦ ᑭᐅᔾᔪᑎᒃᓴᕆᔭᖏᑦ
  ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᓈᒻᒪᒃᓴᖅᑐᑦ ᑭᐅᔾᔪᑎᒃᓴᕆᔭᖏᓐᓂᒃ ᐃᓱᒪᒋᓪᓗᒋᓪᓗ ᑕᒪᒃᑯᐊ ᓴᓇᔭᐅᓯᒪᓂᖏᓐᓂᒃ ᐅᖃᐅᓯᐅᔪᑦ ᐋᕿᐅᒪᑦᑎᐊᓕᖅᑐᑦ

## Slide 30: ECCC#12 – Arsenic ECCC#12 – ᐋᕐᓂᒃᒥᒃ ᑐᖁᓐᓇᖅᑐᑦ
ECCC Recommendations
ECCC recommends
  that the SSWQO of 0.028 mg/L be reconsidered as ECCC notes that it is higher than accepted values at comparable projects.
  that the Proponent adopt a reasonably achievable SSWQO compared to predicted concentrations given that the proposed SSWQO is over 2x higher than the maximum predicted arsenic concentration.
ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔭᖏᑦ
ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔨᕗᑦ
  ᑕᐃᒃᑯᐊ ᓴᔅᑳᑦᓱᐋᓐᒥ ᐃᒪᐃᑦ ᖄᖓᒍᑦ ᓴᓗᒪᔭᕆᐊᖃᕐᓂᖏᓐᓄᑦ ᑐᕌᒐᕆᔭᐅᕙᒃᑐᑦ-SSWQO-ᖑᔪᑦ ᐃᓚᒋᔭᐅᓂᖏᑦ ᐃᒪᓐᓇᑎᒋ 0.028 mg/ᖃᑦᑕᕐᒥᒃ ᐃᓱᒪᒃᓴᖅᓯᐅᕈᑕᐅᒃᑲᓐᓂᕆᐊᖃᖅᑐᑦ ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐅᔾᔨᕈᓱᒃᓯᒪᖕᒪᑕ ᖁᑦᑎᖕᓂᖅᓴᐅᓂᖏᓐᓂᒃ ᐊᖏᓂᖏᑦ ᐊᑐᒐᒃᓴᖃᕐᒪᑕ, ᐊᖏᕈᑕᐅᕋᑦᑕᖅᑐᓂᒃ ᐊᓯᖏᓐᓂᒃ ᐅᔭᕋᖕᓂᐊᕐᓂᕐᒥᒃ ᐱᓕᕆᕙᒃᑐᓂ.
  ᕼᐊᕙᒍᒪᔪᖅ ᐊᑐᓕᖅᑎᑦᑎᓯᒪᔪᖅ ᑐᑭᓕᐅᑦᑎᐊᑐᐃᓐᓇᕐᓗᓂ ᐱᓕᕆᐊᖑᖃᑦᑕᕈᓐᓇᖅᑐᓂᒃ SSWQO-ᖑᔪᓂᒃ ᓴᓂᐊᓂ ᑕᐃᒃᑯᓂᖓ ᓇᓚᐅᑕᖅᑕᐅᓯᒪᔪᓂᒃ ᐱᑕᖃᕈᓐᓇᕐᓂᖏᓐᓂᒃ, ᐃᓱᒪᒋᓗᒋᑦ ᐊᑐᖁᔭᐅᔪᑦ ᑕᐃᒃᑯᓇᓂ SSWQO-ᖏᓃᑦᑐᑦ ᐅᖓᑕᓃᒻᒪᑕ ᒪᕐᕈᐃᑕᖅᓯᒪᑎᒋᔪᒥᒃ 2x-ᒥ ᖁᑦᑎᖕᓂᖅᓴᐅᑎᒋᔪᒥᒃ ᑕᐃᒃᑯᓇᖓᑦ ᖁᑦᑎᖕᓂᖅᐹᖑᑎᑕᐅᕙᒃᑐᓂᒃ ᓇᓚᐅᑖᕈᑕᐅᕙᒃᑐᓂᒃ ᑐᖁᓐᓇᖅᑐᖃᕐᓂᖏᓐᓂᒃ ᖃᐅᔨᓴᔾᔪᑕᐅᔪᓐᓇᓲᖑᔪᓂᒃ ᐱᑕᖃᕐᓂᖏᓐᓂᒃ.

## Slide 31: ECCC#12 – Arsenic continued ECCC#12 – ᐋᕐᓂᒃᒥᒃ ᑐᖁᓐᓇᖅᑐᑦ
ECCC Recommendations continued
ECCC recommends
  that the Proponent discuss how closure objectives will be achieved given the exceedances that are predicted during the post-closure period as well as discuss potential mitigation measures that could reduce the arsenic concentrations prior to closure and during the post-closure phase.
ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔭᖏᑦ
ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔨᕗᑦ
  ᕼᐊᕙᒍᒪᔪᖅ ᐅᖃᐅᓯᖃᕐᓗᓂ ᖃᓄᖅ ᒪᑐᔭᐅᓯᒪᓕᕈᓂ ᐱᓕᕆᕕᖓᑦ ᑐᕌᒐᕆᔭᖏᑦ ᐱᔭᕇᖅᑕᐅᓯᒪᔪᓐᓇᕐᒪᖔᑕ ᐃᓱᒪᒋᓪᓗᒋᑦ ᐅᖓᑕᐅᔾᔨᔪᓐᓇᕐᓂᖏᑦ ᓇᓚᐅᑖᖅᓯᒪᔭᖏᓂᒃ ᒪᑐᔭᐅᓯᒪᓕᖅᐸᑦ ᐱᓕᕆᕕᖓᑦ ᐊᒻᒪᓗ ᐅᖃᐅᓯᐅᓗᑎᒃ ᐊᒃᑐᖅᑕᐅᓗᐊᕇᒃᑯᑎᒃᓴᐅᔪᓐᓇᖅᑐᑦ ᒥᑭᒡᓕᑎᕈᑕᐅᓂᐊᖅᑐᑦ ᑐᖁᓐᓇᖅᑐᖃᕐᓂᖏᓐᓂᒃ ᐋᔅᓂᒃᒥᒃ ᓄᓇᒥ ᓯᕗᓂᐊᒍᑦ ᒪᑐᔭᐅᓚᐅᖏᓂᖓᓂ ᐅᔭᕋᖕᓂᐊᕐᕕᖓᑦ ᐊᒻᒪᓗ ᒪᑐᔭᐅᓵᓕᓂᐊᓕᖅᑎᓪᓗᒍ ᐱᓕᕆᓂᖏᓐᓂ

## Slide 32: ECCC#12 – Arsenic continued ECCC#12 – ᐋᕐᓂᒃᒥᒃ ᑐᖁᓐᓇᖅᑐᑦ - ᑲᔪᓯᔪᖅ
Proponent’s Response
  The Proponent will not adopt a Site Specific Water Quality Objective for Arsenic and will instead monitor potential changes to Arsenic in the Aquatic Effects Monitoring Program.
  The Proponent anticipates that closure objectives can be met based on predictions and project-specific information will confirm if closures objectives can be met.
Follow-up ECCC Response
  ECCC is satisfied with the response and considers this technical comment resolved.
ᕼᐊᕙᒍᒪᔫᑉ ᑭᐅᔾᔪᑎᒃᓴᓕᐊᕆᓯᒪᔭᖏᑦ
  ᕼᐊᕙᒍᒪᔪᖅ ᐊᑐᓕᖅᑎᑦᑎᓂᐊᖏᓪᓚᖅ ᐃᒪᕐᓂ ᐱᔾᔪᑎᖃᓪᓗᑐᖅᑐᓂᒃ ᓱᑯᑎᖏᓐᓂᒃ ᐃᒪᐃᑦ ᓴᓗᒪᔭᕆᐊᖃᕐᓂᖏᓐᓄᑦ ᑐᕌᒐᕆᔭᐅᔪᓂᒃ ᑐᖁᓐᓇᖅᑐᖃᕈᓐᓇᕐᓂᖏᓐᓂᒃ ᐋᔅᓂᒃᒥᒃ ᐊᒻᒪᓗ ᐃᒪᓐᓇᐃᓕᐅᖔᕐᓂᐊᖅᓱᑎᒃ ᖃᐅᔨᓴᕐᓂᖅ ᐊᓯᔾᔨᖅᑎᔪᓐᓴᕐᓂᖏᓐᓂᒃ ᑐᖁᓐᓇᖅᑐᖃᕐᓂᖏᓐᓂᒃ ᑕᐃᑯᓇᓂ ᐃᒪᕐᓂᒃ ᐊᒃᑐᖅᑕᐅᓯᒪᔪᓐᓇᕐᓂᖏᓐᓂᒃ ᖃᐅᔨᓴᕈᑎᖏᒥᒍᑦ.
  ᕼᐊᕙᒍᒪᔪᖅ ᓂᕆᐅᒍᓐᓇᖅᑐᖅ ᒪᑐᔭᐅᕕᒃᓴᖏᓐᓄᑦ ᐱᓕᕆᕕᖓᑕ ᑐᕌᒐᕆᔭᖏᑦ ᐊᖑᒪᔭᐅᔪᓐᓇᕐᓂᐊᖅᑐᑦ ᑐᖓᕕᖃᕐᓗᑎᒃ ᓇᓚᐅᑖᖅᓯᒪᔭᖏᓐᓂᒃ ᐊᒻᒪᓗ ᐃᖕᒥᓄᑦ ᐱᓕᕆᕕᒃᓴᖏᓂᒃ ᖃᐅᔨᒪᔾᔪᑕᐅᓂᖏᑦ ᓇᓗᓇᐃᔭᐃᑦᑎᐊᕈᓐᓇᕐᓂᐊᖅᑐᑦ ᒪᑐᔭᐅᕕᒃᓴᖃᕐᓂᖏᓐᓄᑦ ᐱᓕᕆᕕᖕᒥᓂ ᑐᕌᒐᓕᐊᕆᓯᒪᔭᖏᑦ ᐱᔭᕇᖅᑕᐅᓯᒪᔪᓐᓇᕈᒫᕐᓂᖅ.
ᑐᑭᓯᓂᐊᕈᑕᐅᓂᐊᖅᑐᑦ ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᓐᓄᑦ ᑭᐅᔾᔪᑎᒃᓴᕆᔭᖏᑦ
  ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᓈᒻᒪᒃᓴᖅᑐᑦ ᑭᐅᔾᔪᑎᒃᓴᕆᔭᖏᓐᓂᒃ ᐃᓱᒪᒋᓪᓗᒋᓪᓗ ᑕᒪᒃᑯᐊ ᓴᓇᔭᐅᓯᒪᓂᖏᓐᓂᒃ ᐅᖃᐅᓯᐅᔪᑦ ᐋᕿᐅᒪᑦᑎᐊᓕᖅᑐᑦ

## Slide 33: ECCC#13 – Water Quality Predictions ECCC#13 – ᐃᒪᐃᑦ ᓴᓗᒪᓂᖏᓐᓂᒃ ᓇᓚᐅᑦᑖᕈᑏᑦ
ECCC Recommendations
ECCC recommends that the Proponent
  Explain the inconsistencies of the water quality model
  Identify options to refine and/or calibrate the model
Proponent’s Response
  The Proponent acknowledges the inconsistencies, but has provided updated information in an Appendix to address these.
Follow-up ECCC Response
ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔭᖏᑦ
ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔨᕗᑦ ᕼᐊᕙᒍᒪᔪᓄᑦ
  ᐅᓂᒃᑳᕐᓗᑎᒃ ᐊᔾᔨᒌᖏᓐᓂᖏᓐᓂᒃ ᓲᖅ ᐊᑐᒐᒃᓴᖃᕐᓂᕋᐃᖕᒪᖓᑕ ᖃᐅᔨᓴᕈᑎᓂᒃ ᐃᒪᐃᑦ ᓴᓗᒪᓂᖏᓐᓂᒃ
  ᐃᓕᑕᕆᔭᐅᓗᑎᒃ ᐊᑐᖅᑕᐅᖔᕈᓐᓇᕐᒥᔪᑦ ᐊᓯᖏᑦ ᐱᐅᓯᒋᐊᕈᑕᐅᓂᐊᖅᑐᑦ ᐊᒻᒪᓗ/ᐅᕝᕙᓗᓐᓃᑦ ᑐᑭᓯᓇᕈᑕᐅᑦᑎᐊᕐᓂᐊᖅᑐᑦ ᐊᑐᖅᐸᖕᓂᐊᖅᑕᖏᓐᓂᒃ
ᕼᐊᕙᒍᒪᔫᑉ ᑭᐅᔾᔪᑎᒃᓴᓕᐊᕆᓯᒪᔭᖏᑦ
  ᐱᓕᕆᔪᒪᔪᖅ ᐃᓕᑕᖅᓯᓯᒪᔪᖅ ᐊᔾᔨᒌᖏᑦᑐᖃᕐᓂᖏᓐᓂᒃ ᑕᒡᕘᓇ ᑭᓯᐊᓂ ᖃᐃᑦᑎᓯᒪᓕᖅᑐᑦ ᓄᑖᓂᒃ ᑐᑭᓯᐅᒪᔭᐅᔾᔪᑎᒃᓴᓂᒃ ᑎᑎᖃᓄ ᐃᓚᒃᑲᓐᓂᕆᔭᐅᓂᐊᓕᖅᑐᓂᒃ ᖃᓄᖅᑑᕈᑕᐅᓂᐊᖅᑐᓂᒃ ᑕᒪᒃᑯᐊ ᐊᔾᔨᒌᖏᓐᓂᖏᓐᓄᑦ.
ᑐᑭᓯᓂᐊᕈᑕᐅᓂᐊᖅᑐᑦ ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᓐᓄᑦ ᑭᐅᔾᔪᑎᒃᓴᕆᔭᖏᑦ

## Slide 34: ECCC#14 – Nitrite ECCC#14 – ᑕᕆᐅᖑᔭᐃᑦ ᐃᓚᒃᓴᔭᐃᑦ
ECCC Recommendations
  ECCC recommends that the Proponent review the input values used for nitrite and revise the Water and Load Balance model as appropriate.
ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔭᖏᑦ
  ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᐊᑐᓕᖁᔨᕗᑦ ᕼᐊᕙᒍᒪᔪᓄᑦ ᕿᒥᕐᕈᐊᖁᓪᓗᓂᒋᑦ ᐃᓚᔭᐅᕙᖕᓂᖏᓐᓂᒃ ᑕᕆᐅᖑᔭᐃᑦ ᐊᒻᒪᓗ ᐋᕿᒋᐊᖅᑕᐅᓗᑎᒃ ᐃᒪᐃᑦ ᐊᒻᒪᓗ ᐊᒥᐊᑯᐃᑦ ᐋᕿᐅᒪᔭᐅᕙᖕᓂᖏᑦ, ᓈᒻᒪᖕᓂᐊᖅᑐᓄᑦ ᐋᕿᐅᒪᔭᐅᓗᑎᒃ.

## Slide 35: ECCC#14 – Nitrite continued ECCC#14 – ᑕᕆᐅᖑᔭᐃᑦ ᐃᓚᒃᓴᔭᐃᑦ
Proponent’s Response
  The Proponent stated that the model incorporates conservatism and therefore utilizes the minimum process guarantee for nitrite, which means it likely overestimates the actual concentration of nitrite in the effluent.
  The Proponent does not believe it is necessary to use realistic lower nitrite source terms in the water and load balance model
Follow-up ECCC Response
ᕼᐊᕙᒍᒪᔫᑉ ᑭᐅᔾᔪᑎᒃᓴᓕᐊᕆᓯᒪᔭᖏᑦ
  ᐱᓕᕆᔪᒪᔪᖅᒻ ᐅᖃᖅᓯᒪᔪᖅ ᐊᑐᖅᑕᐅᕙᖕᓂᖏᑦ ᐋᕿᐅᒪᔭᐅᔪ ᐊᑐᓗᐊᖅᑕᐃᓕᒪᓪᓗᑎᒃ ᑕᐃᒪᐃᓂᖓᓄᓪᓗ ᐊᑐᖅᐸᒃᑐ ᒥᑭᓐᓂᖅᐹᖑᔪᓐᓇᖅᑎᑕᐅᔪᓂᒃ ᐊᑐᖅᑕᐅᔪᓐᓇᕐᓂᖏᓐᓂᒃ ᑕᕆᐅᖑᔭᐃ ᐃᓚᒃᓴᔭᐃᑦ, ᑕᒪᓐᓇᓗ ᑐᑭᖃᖅᓱᓂ ᐅᖓᑕᐅᔾᔨᓯᒪᓗᐊᕋᓱᒋᔭᐅᓂᖏᓐᓂᒃ ᐱᑕᖃᓪᓗᑐᕐᓂᖏᓐᓂᒃ ᑕᕆᐅᖑᔭᐃᑦ ᐃᓚᔭᐅᕙᒃᑐᑦ ᐃᒪᕐᓗᑯᓄᑦ ᐃᑎᕈᕐᓄᓪᓗ.
  ᐱᓕᕆᔪᒪᔪᖅ ᐅᒃᐱᕈᓱᖏᓚᖅ ᐊᑐᕆᐊᖃᕐᓂᖏᓐᓂᒃ ᐱᓪᓚᑖᖑᓂᖅᓴᐅᓇᔭᖅᑐᓂᒃ ᐊᑦᑎᒃᑑᑎᐅᓂᖅᓴᓂᒃ ᑕᕆᐅᖑᔭᕐᒥᒃ ᐃᓚᔭᐅᓯᒪᔪᓐᓇᖅᑐᓂᒃ ᐃᒪᕐᓄᑦ ᐊᒻᒪᓗ ᐊᑯᓯᒪᓪᓗᑎᒃ ᐋᕿᐅᒪᓗᑕᐅᔪᓐᓇᕐᓂᖏᓐᓂᒃ ᐊᑐᖅᐸᖕᓂᐊᖅᑕᖏᓂᒃ.
ᑐᑭᓯᓂᐊᕈᑕᐅᓂᐊᖅᑐᑦ ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᓐᓄᑦ ᑭᐅᔾᔪᑎᒃᓴᕆᔭᖏᑦ

## Slide 36: Thank you! ᖁᐊᓇᖅᑯᕼᐃ!
ECCC would like to say thank you for the opportunity to participate in this water licencing process
ᐊᕙᑎᓕᕆᔨᕐᔪᐊᒃᑯᑦ ᖁᔭᓕᔪᒪᔪᑦ ᐱᕕᒃᓴᖃᖅᑎᑕᐅᓂᕐᒥᓄᑦ ᐃᓚᐅᔪᓐᓇᕐᓂᖅ ᑖᒃᑯᓂᖓ ᐃᒪᕐᓂᒃ ᐱᔪᓐᓇᐅᑎᒃᓴᖅᑖᕋᓱᐊᖅᑐᓂᒃ ᐱᓇᓱᐊᕐᓂᖏᓐᓂ ᖃᐅᔨᓴᖅᑕᐅᓂᔪᓂᒃ.