## Draft Framework
The following table outlines Sabina's comments on potential water licence conditions to proceed with the activities and infrastructure associated with the Back River Project (Project), should the Nunavut Water Board (NWB or Board) exercise its jurisdiction and authority under the Nunavut Waters and Nunavut Surface Rights Tribunal Act (NWNSRTA or Act) to proceed and issue a licence. This framework incorporates conditions included in Type A Water Licences recently issued by the NWB and includes certain Back River specific conditions. This framework also incorporates the Type B Development Water Licence (2BC-BRP1819) where noted. This document (dated July 23, 2018) is intended to update and replace the previous version submitted to the Nunavut Water Board.
This table reflects information from the Application as well as the current public record (i.e., commitments from Information Requests and Technical Comment responses). Statements and conditions provided in this table are intended to support the NWB and staff in their development of a water licence for the Project.
Proposed Terms | Sabina Comments and Annotation
Water Licence Cover Sheet
Licensee: Sabina Gold & Silver Corp. Mailing Address: #1800 - 555 Burrard Street, Box 220, Vancouver, BC V7X 1M9 Water Management Area: Queen Maud Gulf Watershed - 30 Location: Goose Lake and Marine Laydown Area, Back River Project, Kitikmeot Region, Nunavut Quantity of Water not to Exceed: o XXX cubic meters annually as per Part E Expiry of Licence: 2032 | To be updated in revised Draft Framework taking into account final submissions
Part A: Scope, Definitions and Enforcement
1. Scope
a. This License authorizes the Licensee to use Waters and deposit of Waste in support of a Mining Undertaking classified as per Schedule 1 of the Regulations, at the Back River Project as outlined in the Type "A" Water Licence Application (the Application) submitted to the Nunavut Water Board (NWB) on October 5, 2017 and as reviewed throughout the regulatory process.
The Licensee may conduct, mining, milling and associated activities at the Back River Project (Project) in the Kitikmeot Region of Nunavut, located at the following general geographical coordinates: [refer to Sabina Comments and Annotation]
The activities and facilities included under the scope of this Licence for construction, operations, closure and reclamation of the Project, are as follows:
o Construction and Operation of mill for gold recovery; o Construction, Operation and maintenance of Plant Site and Fuel Storage Area Pad, Laydown Areas and fuel storage areas o Construction and Operation of Fuel Storage Facilities, fuel storage areas, dispensing storage facilities and associated secondary containment areas or berms for the bulk fuel storage facilities and day tanks; o Construction and Operation of a TSF, associated pipelines and pumping systems for water management; o Construction and Operation of all-weather airstrips (including extension); o Construct and Operation of ice airstrips o Construction and Operation of the MLA. o Construct all-weather service roads and water crossings o Realign Rascal Stream and/or install fish bearing culverts at airstrip extension
Access and Infrastructure o Construction and Operation of all-weather roads (i.e., service roads, haul roads); o Develop and operate Quarries; o Construction and maintenance of Project infrastructure; and o Construction and Operation of WIRs and Bathurst Inlet Port Road (BIPR) WIR connector. o Goose Exploration Camp to Umwelt Quarry/Plant Site/Airstrip Quarry o Goose Exploration Camp (or other ice road) to the Explosives Storage o Mobilize fuel, equipment, and supplies
Water Use and Management: o Construction, Operation and Maintenance of Water Supply Facilities for all purposes; o Construction, Operation and Maintenance of water management infrastructure, including; o Watercourse crossings including pipelines, channel, and bank alterations, culverts, spurs, and erosion control; o Flood control, diversions, alteration of flow, or storage by means of dykes or dams; o Runoff management from the Ore Stockpile, WRSAs, laydown areas, and other mine infrastructure; and o Water treatment facilities.
Waste Disposal and Management: o Construction, Operation and Maintenance of Waste Disposal Facilities o Construction, Operation and Maintenance of Landfarms for the deposition and treatment of hydrocarbon contaminated material; o Construction, Operation and Maintenance Landfills for deposition of solid waste; o Construction, Operation and Maintenance of Waste rock disposal areas; o Construction, Operation of Tailings Storage Facility and/or Facility(s); o Management of effluent discharges.
Material Management: o The transportation, use, management, disposal, and treatment of petroleum, oils, and lubricants; o Storage and management of hazardous materials; o Containment areas for temporary storage of hazardous/nonhazardous waste (waste transfer areas) and new product storage for drums and totes; o Waste sorting facilities and temporary storage facilities for hazardous wastes; and o Operation and handing of explosives storage and explosives manufacturing facilities.
Monitoring o Implementation of regular inspection and maintenance of all earthworks and water management and waste disposal infrastructure; and o Implementation of Environmental Management and Protection Plan.
Closure o Implementation of remediation and reclamation including progressive reclamation.
1 (b) This Licence is issued subject to conditions contained herein with respect to the use of Waters and the deposit of Waste of any type in any Waters or in any place under any conditions where such Waste or any other Waste that results from the deposits of such Waste may enter any Waters. Whenever new Regulations are made or existing Regulations are amended by the Governor in Council under the Act, or other statutes imposing more stringent conditions relating to the quantity, type or manner under which any such Waste may be so deposited, this Licence shall be deemed to be subject to such requirements. | NWB Standard Terms and Conditions
1(c) Compliance with the terms and conditions of this Licence does not absolve the Licensee from responsibility for compliance with all applicable legislation, guidelines and directives.
2. Definitions The Licensee shall refer to Schedule A for definitions of terms used in this Licence. | See "Schedule A" below for revisions
3. Enforcement
(a) Failure to comply with this Licence will be a violation of the Act, subjecting the Licensee to the enforcement measures and the penalties provided for in the Act. | NWB Standard Terms and Conditions
(b) All inspection and enforcement services regarding this Licence will be provided by Inspectors appointed under the Act. | NWB Standard Terms and Conditions
(c) For the purpose of enforcing this Licence and with respect to the use of Water and deposit of Waste by the Licensee, Inspectors appointed under the Act, hold all powers, privileges and protections that are conferred upon them by the Act or by other applicable laws. | NWB Standard Terms and Conditions
Part B: General Conditions
1. This licence incorporates the scope of the Existing Type “B” Water Licence No. 8BC-BRP1819 and where applicable Type B Water Licence No. 2BE-GOO1520 and No. 2BE-GEO1520 in accordance with Part A, Item 1(a). To the extent that any required reports, studies or plans having not yet been received, accepted or approved by the Board, the requirements associated with such documents are now brought forward under this Licence. | NWB Standard Terms and Conditions
2. The amount of Water use fees shall be determined and payment of those fees shall be made in accordance with section 12 of the Regulations. | NWB Standard Terms and Conditions
3. The Licensee shall file an Annual Report with the Board no later than March 31th in the year following the calendar year being reported. The Annual Report shall be developed in accordance with Schedule B. | NWB Standard Terms and Conditions
4. Any communication with respect to this Licence shall be made in writing to the attention of: Manager of Licensing, Nunavut Water Board P. O. Box 119 Gjoa Haven, NU X0B 1J0 Telephone: (867) 360-6338 Fax: (867) 360-6369 Email: licensing@nwb-oen.ca | NWB Standard Terms and Conditions
5. Any notice made to an Inspector shall be made in writing to the attention of: Water Resources Officer Nunavut District, Nunavut Region P.O. Box 100 Iqaluit, NU X0A 0H0 Telephone: (867) 975-4295 Fax: (867) 979-6445 | NWB Standard Terms and Conditions
6. The Licensee shall submit one (1) electronic copy of all reports, studies, and plans to the Board unless otherwise requested by the Board. Unless otherwise directed by the Board, reports or studies submitted to the Board by the Licensee shall include an executive summary in English, Inuinnaqtun, and Inuktitut. | NWB Standard Terms and Conditions
7. This Licence is assignable as provided in Section 44 of the Act. | NWB Standard Terms and Conditions
8. The Licensee shall ensure that any document(s) or correspondence submitted by the Licensee to the Board is received and acknowledged by the Manager of Licensing. | NWB Standard Terms and Conditions
9. The Licensee shall post signs in the appropriate areas to inform the public of the location of the Water Supply Facilities and the Waste Disposal Facilities. All signs must be in English, Inuinnaqtun and Inuktitut and shall be located and maintained to the satisfaction of an Inspector. | NWB Standard Terms and Conditions
10. The Licensee shall, for all Plans submitted under this Licence, include a proposed timetable for implementation. Plans submitted cannot be undertaken without subsequent written Board approval and direction, or as otherwise deemed approved in accordance with Part B, Section 12. The Board may alter or modify a Plan if necessary to achieve the legislative objectives and will notify the Licensee in writing of acceptance, rejection or alteration of the Plan. | NWB Standard Terms and Conditions
11. Unless otherwise directed by the Board in writing, if a Plan is not acceptable to the Board, the Licensee shall provide a revised version to the Board for review within thirty (30) days of notification by the Board. | NWB Standard Terms and Conditions
12. Except as otherwise reflected in this Licence, the Licensee shall, for all Plans submitted under this Licence, undertake Plans upon receipt of approval from the Board, or 60 days following Plan submission to the Board, whichever occurs first. Any changes to the plans deemed significant shall be considered as an amendment to the plan(s) or as a modification and must be submitted to the Board following the process and timelines described in this section. The Board has approved the following plans for implementation under the relevant section of this Licence.
a. Road Management Plan (October 2017) (SD-02) b. Borrow Pits and Quarry Management Plan (October 2017) (SD-03) c. Water Management Plan (October 2017) (SD-05) d. Ore Storage Management Plan (October 2017) (SD-07) e. Mine Waste Rock Management Plan (October 2017) (SD-08) f. Tailings Management Plan (October 2017) (SD-09) g. Landfill and Waste Management Plan (October 2017) (SD-10) h. Incineration Management Plan (October 2017) (SD-11) i. Landfarm Management Plan (October 2017) (SD-12) j. Hazardous Materials Management Plan (October 2017) (SD-13) k. Risk Management and Emergency Response Plan (October 2017) (SD-15) l. Fuel Management Plan (October 2017) (SD-16) m. Spill Contingency Plan (October 2017) (SD-17) n. Environmental Management and Protection Plan (October 2017) (SD-20) o. Aquatic Effects Management Plan (October 2017) (SD-21) p. Quality Assurance / Quality Control Plan (October 2017) (SD-24) q. Interim Closure and Reclamation Plan (including Interim Closure Cost Estimate) (October 2017) (SD-26) | Sabina requests that all of these plans be approved with the issuance of the Type A Water Licence.
13. The Licensee shall update and revise for submission to the Board for review and/or approval as required under the relevant section of this Licence, the following plans and documents. The updates are to take into account commitments made with respect to submissions received during the regulatory review of the Application. a. Water Management Plan (October 2017) (SD-05)
14. Every Plan to be carried out pursuant to the terms and conditions of this Licence shall become a part of this Licence, and any additional terms and conditions imposed upon approval of a Plan by the Board become part of this Licence. All terms and conditions of the Licence should be contemplated in the development of a Plan where appropriate. | NWB Standard Terms and Conditions
15. The Licensee shall review the Plans or Manuals referred to in this Licence as required by changes in operation and/or technology and modify the Plans or Manuals accordingly. Revisions to the Plans or Manuals are to be submitted in the form of an Addendum to be included with the Annual Report required by Part B, Item 2, complete with a revisions list detailing where significant content changes are made. | NWB Standard Terms and Conditions
16. The expiry or cancellation of this Licence does not relieve the Licensee from any obligation imposed by the Licence, or any other regulatory requirement. | NWB Standard Terms and Conditions
17. The Schedules attached to this Licence provide details regarding the requirements associated with specific items in the main body of the Licence and are included in the Schedule to provide greater clarity and as an aid to interpretation for the Licensee. If the Board subsequently determines that an item in any of the Schedules requires revision in order to better reflect the intent and objectives of the Licence, the Board may at its discretion, and upon consulting and providing written notice to the Licensee and interested parties, revise the Schedule accordingly. Unless the Board directs otherwise, such revision may not necessarily be considered as an “Amendment” to the Licence. | NWB Standard Terms and Conditions
18. Unless otherwise stated, references in the Licence to any specific legislation, policy, guideline or other regulatory requirement are deemed to refer to the regulatory requirement as may be amended or as may be expressly replaced by successor legislation, policy, guidelines or other regulatory requirements after the Licence is approved by the Minister. | NWB Standard Terms and Conditions
Part C: Conditions Applying to Security
1. The Licensee shall: a. within thirty (30) days following the approval of this Licence by the Minister: i. furnish and maintain security with the Minister in the amount of XXX million XXX thousand dollars ($XXX); and ii. file evidence, in writing, that is acceptable to the Board, and with notice to the Minister and the Kitikmeot Inuit Association, verifying that the Licensee has furnished and maintained reclamation security in an amount of no less than XXX million XXX hundred XXX thousand XXX hundred and XXX dollars ($XXX) with the Kitikmeot Inuit Association for the purposes of reclamation consistent with the purposes set out in s. 76(2)(b) of the Act and as applicable to reclamation of the Mining Undertaking described in the Licence. b. sixty days prior to Construction i. furnish and maintain security with the Minister in the amount of XXX million XXX thousand dollars ($XXX); and ii. file evidence, in writing, that is acceptable to the Board, and with notice to the Minister and the Kitikmeot Inuit Association, verifying that the Licensee has furnished and maintained reclamation security in an amount of no less than XXX million XXX hundred XXX thousand XXX hundred and XXX dollars ($XXX) with the Kitikmeot Inuit Association for the purposes of reclamation consistent with the purposes set out in s. 76(2)(b) of the Act and as applicable to reclamation of the Mining Undertaking described in the Licence. | The terms and conditions set out at this Part C generally mirror those found in 2AM-DOH1323. The parties have agreed that the split of the global security amount of $43,189,351 should be held between KIA and CIRNAC as follows: KIA 32% or peak global total of $13,820,592 CIRNA 68% or peak global total of $29,368,759 The Parties are continuing to discuss the specific milestones related to phased approach to security increases regarding increased activities on site. KIA and/or CIRNA shall receive staged security in Letters of Credit (LOC), or another appropriate and agreed upon mechanism, for major mine site components on a geographic basis (construction stages) in accordance with the planned construction schedule sixty (60) days prior to construction of each stage These construction stages will be defined and finalized in conjunction with KIA and CIRNA and proposed language will be presented to the Board at the public hearing. Therefore, Sabina anticipates that this section will be subject to revision to reflect the outcome of those further discussions.
2. The Licensee must ensure that the security furnished and maintained under Part C, Items 1(a) an (b), at peak construction, is no less than $43,189,351 and that the security is in the form, of the nature, subject to applicable terms and conditions, in accordance with the Regulations, or that is otherwise satisfactory to the Minister. | Per the above note at Part D, Section 1, this number is intended to reflect the agreed global security amount between KIA, CIRNAC and Sabina of $43,189,351 but it must be noted that this total amount would be posted per the milestones and schedule outlined at Part D, Section 1 (to be determined based on follow up discussions between the parties and further submissions to the Nunavut Water Board) .
3. If the Licensee fails to provide evidence of the security required under Part C, Item 1(b), or if, during the term of the Licence, the Licensee fails to maintain the security required under Part C, Item 1(b), the Licensee shall, within thirty (30) days of the Licensee’s failure, furnish and maintain such additional security with the Minister as is required to ensure that the total reclamation security held under Part C, Items 1(a) and (b) is no less than the amount prescribed under Part C, Item 2.
4. The Licensee is required to provide the Board and the Minister with at least sixty (60) days written notice prior to any material change affecting the reclamation security arrangements between the Licensee and the Kitikmeot Inuit Association, including, but not limited to changes to the form of security, quantum of security or terms associated with holding, accessing or releasing the security. Notwithstanding this requirement, should the Licensee or the Kitikmeot Inuit Association become aware of, or cause any change to, the amount or terms of security referred to in Part C, Item 1(b), the Licensee or the Kitikmeot Inuit Association will promptly notify the Board.
5. The Licensee shall submit to the Board for approval, one year after the commencement of Commercial Production, an updated Interim Closure and Reclamation Plan (including Interim Closure Cost Estimate) which reviews and updates sections addressing cover material for the Waste Rock Storage Areas and the Tailings Storage Facility.
6. The Licensee shall submit to the Board for approval at least twelve (12) months prior to Closure, an updated estimate of the total mine closure restoration liability using the current version of RECLAIM, its equivalent or other similar method approved by the Board in writing, in accordance with principles of the INAC “Mine Site Reclamation Policy for Nunavut” (2002). Upon the Project entering into or being maintained in Care and Maintenance, an updated estimate of total mine closure restoration liability shall be submitted, as above, within twelve (12) months of entering Care and Maintenance and every three (3) years thereafter.
7. The Licensee shall furnish and maintain such further or other amounts of security as may be required by the Board, based on the updated estimate of current mine reclamation liability under PART C, Item 5.
8. The Licensee, the Minister, or the Kitikmeot Inuit Association may apply to amend the amount of security required to be held under the Licence. Any submission requesting a review of the security provisions of the Licence shall include supporting evidence to justify the amendment and will be processed by the Board as an amendment to the terms and conditions of the Licence.
9. Upon the Board receiving a request under PART C, Item 7 to amend security, or upon receiving an updated reclamation cost estimate as required under PART C, Item 5, the Board, may on its own initiative, or upon application by the Licensee, the Minister and/or the Kitikmeot Inuit Association, conduct a periodic review of the outstanding reclamation liability associated with the Undertaking and may, as the Board considers appropriate, amend the amount of security required to be held under PART C, Items 1 and 2.
10. If the Board determines it to be necessary, or upon the request of Licensee, the Minister and/or the Kitikmeot Inuit Association, the Board may issue further directions under this Part with respect to the process for amending the amount of security to be furnished and maintained under the Licence.
11. The security referred to in PART C, Item 1 shall be maintained until such time as it is fully or in part refunded by the Minister pursuant to Section 76(5) of the Act. This clause shall survive the expiry of this Licence and remains in force until amended by the Board under this Part or until full and final reclamation has been completed to the satisfaction of the Minister.
Part D: Conditions Applying to Construction and Operations
1. The Licensee shall use fill material for construction from an approved source that shall be free of contaminants, unless otherwise approved by the Board.
2. The Licensee shall implement preventive and mitigation measures to prevent any chemicals, fuel or Wastes associated with the undertaking from entering any Water body. | NWB Standard Term and Condition
3. The Licensee shall locate equipment storage areas on gravel, sand or other durable land, a distance of at least thirty-one (31) metres above the ordinary High Water Mark of any Water body in order to minimize impacts on surface drainage and water quality unless otherwise approved by the Board with appropriate mitigation measures implemented by the Licensee.
4. The Licensee shall implement sediment and erosion control measures where necessary, during all phases of the Project to prevent entry of sediment into Water. | NWB Standard Term and Condition
5. The Licensee shall undertake appropriate corrective measures to mitigate impacts on surface drainage resulting from the Licensee’s operations. | NWB Standard Term and Condition
6. The Licensee shall limit any in-stream activity to the low Water period and this activity is prohibited during fish migration unless otherwise approved by the Board or Fisheries and Oceans Canada. | NWB Standard Term and Condition
7. The Licensee shall conduct construction monitoring during periods where construction activities are undertaken. | NWB Standard Term and Condition
8. The Licensee shall, during periods of Construction activities, submit an annual Construction Summary Report no later than March 31 in the year following the calendar year being reported. The report shall be developed in accordance with Schedule D, Item 1 and submitted with the Annual Report in accordance with Part B, Item 3. | Sabina recommends streamlining of the construction monitoring report to be included in the Annual report.
9. The Licensee shall identify and tag any potentially acid generating rock identified through the Borrow Pits and Quarry Management Plan for removal and disposal into the WRSAs, backfill in the undergrounds or Tailings Facility and/or Tailings Facilities or as otherwise approved by the Board.
10. The Licensee shall monitor the underground backfill and mine Waste placement underground during Operations to confirm that the proposed closure and reclamation targets of returning waste rock into the underground are achieved.
11. The Licensee shall construct and operate the Fuel Storage and Containment Facility(s) to meet, at a minimum, all applicable legislation and industry standards that include the following: a. Environmental Code of Practice for Aboveground Storage Tank Systems Containing Petroleum Products, 2003; CCME, PN 1326; and b. National Fire Code, 2010. | NWB Standard Term and Condition
12. The Licensee shall, for the purposes of bridge construction, ensure that all activities remain outside of the natural channel width by the placement of abutments, footings or armouring above the ordinary High Water Mark so that there is no restriction to the natural channel processes. | NWB Standard Term and Condition
13. The Licensee shall submit to the Board for approval, at least thirty (30) prior to Construction, final design and Construction drawings accompanied, with a detailed report, both stamped and signed by the appropriately qualified Engineer, where appropriate, for the following: a. Water Works, including: Water Intake and water control structures (dikes, berms, jetties, channels) and water crossings (culverts); b. Waste Disposal Facilities, including: Tailing Storage Facility, Water Treatment Plant, Sewage Treatment Plant, Discharge Diffuser(s), Waste Rock Storage Facilities, Ore Stockpiles, Landfarm, and Landfill, and c. Bulk Fuel Storage Facilities.
14. The Licensee shall conduct all activities, including the construction and maintenance of the all-weather roads, in such a way as to minimize impacts on surface drainage and shall immediately undertake any corrective measures in the event the Licensee’s activities cause significant pooling of Water or any impacts on surface drainage. | NWB Standard Term and Condition
15. With respect to access road, pad construction or other earthworks where direct or indirect flow into a Water body is possible, the deposition of debris or sediment into or onto any Water body is prohibited. These materials shall be disposed at a distance of at least thirty-one (31) metres from the ordinary High Water Mark in such a fashion that they do not enter the Water, unless otherwise approved by the Board with appropriate mitigation measures implemented by the Licensee. | NWB Standard Term and Condition
16. The Licensee shall monitor all activities for signs of erosion and shall implement and maintain sediment and erosion control measures prior to the undertaking to prevent entry of sediment into any Water body. | NWB Standard Term and Condition
17. The Licensee shall conduct visual inspections for all construction activity during spring freshet and during and after remarkable rainfall events with sampling of runoff/seepage where turbidity is evident. | NWB Standard Term and Condition
18 All surface runoff and/or discharge from drainage management systems, during the construction/operation of any facilities and infrastructure associated with this project, including laydown areas, where flow may directly or indirectly enter a Water body, shall not exceed the following Effluent quality limits: | NWB Standard Term and Condition
19. The Licensee shall operate the Sewage Treatment Plant in accordance with conditions provided in PART G, Item 3 with Effluent compliance at monitoring station BRP-17 during discharge to the tundra.
20. The Licensee shall implement quarry seepage and runoff management in accordance with the approved Water Management Plan. | This proposed wording reflects Sabina commitments made in response to WT-KIA-NWB-11.
21. The Licensee shall provide a summary and analysis in the Annual Report submitted in the year following data collection, that presents the data collected analysis from the Quarry Rock Seepage Monitoring and Management Program conducted under PART D, Item 20. | NWB Standard Term and Condition
22. The Licensee shall use fill material for construction only from approved sources that has been demonstrated by appropriate geochemical analyses to not produce Acid Rock Drainage and to be Non-Metal Leaching, and free of contaminants, unless otherwise approved by the Board.
23. The Licensee shall construct and maintain all containment and runoff control structures to prevent non-permitted releases of Wastes to the terrestrial environment or groundwater systems. | NWB Standard Term and Condition
24. The Licensee shall submit to the Board for review, with the Construction Summary Report referred to under PART D, Item 8, and following completion of each facility designed to contain, withhold, divert or retain Waters or Wastes, a Construction Summary Report prepared by a qualified Engineer(s) that shall include as-built drawings, documentation of field decisions that deviate from original plans and any data used to support these decisions. | NWB Standard Term and Condition
25. The Licensee shall, during the construction of all engineered structures designed to contain, withhold, divert or retain Waters or Wastes, provide the required supervision and field checks by an appropriately qualified and experienced Engineer in such a manner that the project specification can be enforced and, where required, the quality control measures can be followed. The Licensee shall maintain all construction records of all engineered structures, as above, to be made available at the request of the Board and/or an Inspector. | NWB Standard Term and Condition
26. The Licensee shall direct contact water at the Goose Property to the Pollution Control Ponds for collection and transfer to the Tailings Facility(s) and/or Tailings Storage Facility and/or Underground, unless otherwise approved by the Board.
27. The Licensee shall consider the principles of Adaptive Management in Construction and Operations. | NWB Standard Term and Condition
Part E: Conditions Applying to the Use of Water
1. The Licensee shall obtain fresh Water as follows or as otherwise approved by the Board: a. For domestic and industrial use, for the Goose Property for all phases of the project, from Goose Lake at Monitoring station BRP-24, Big Lake at Monitoring Station BRP-12; de-watering phase at Monitoring station BRP-XX and BRP-XX; b. For domestic and industrial use, for the Marine Laydown Area for all phases of the project from MLA Pond S1, Pond S2, Lake 3, and Lake 4 at Monitoring station BRP-XX, BRP-XX, BRP-XX, BRP-XX; c. For Winter Ice Road construction, maintenance, and operation the use of water from all source locations proximal to the road routing shall be undertaken in accordance with Part F, Item 3 (New); d. The use of Waters from Big Lake, for all purposes, shall not exceed a total of 77,068 cubic metres per year from the Licence approval date; e. The use of Waters from Goose Lake, for all purposes, shall not exceed a total of 474,825 cubic metres per year from the Licence approval date; f. The use of Waters from Llama Lake and Umwelt Lake, for de-watering purpose, shall not exceed a total of 1.4 million cubic metres per year from the Licence approval date; g. The use of Waters from MLA Pond S1, Pond S2, Lake 3, and Lake 4, for all purposes, shall not exceed a total of 108,405 cubic metres per year from the Licence approval date h. Additional Water for domestic and industrial use at the Marine Laydown Area may be sourced from the marine environment. | Sabina will confirm final water volumes in revised draft framework prior to final hearing.
2. The Licensee shall maximize to the greatest practical extent, the use of reclaim Water from the Tailings Storage Facility(s) for use in the mill.
3. The Licensee shall not use streams as a Water source unless authorized and approved by the Board | NWB Standard Term and Condition
4. The Licensee shall maintain the Water Intakes to the satisfaction of the Inspector.
5. The Licensee shall equip all Water intake hoses with a screen of an appropriate mesh size to ensure that fish are not entrained and shall withdraw Water at a rate such that fish do not become impinged on the screen. | NWB Standard Term and Condition
6. The Licensee shall not remove any material from below the ordinary High Water Mark of any Water body unless authorized by an Inspector or the Board. | NWB Standard Term and Condition
7. The Licensee shall provide the controls necessary to prevent erosion to the banks of any body of Water. Sediment and erosion control measures shall be implemented prior to and maintained during the operation to prevent entry of sediment into Water. | NWB Standard Term and Condition
Part F: Conditions Applying to Water Management
1. The Board has approved, the Water Management Plan dated October 2017. The Licensee shall submit to the Board for review within sixty (60) days of approval of this Licence, a revised Water Management Plan. The revised Plan shall include the following: a. updated Saline Water Management plan appendix; and b. further detail respecting potential management and treatment options related to water quality in the effluent discharged from flooded pits and the downstream receiving environment. | a. Reflects commitment No. 6 from the NWB PHC/TM Decision b. Reflects commitment No. 3 from the NWB PHC/TM Decision
2. The Licensee shall carry out regular inspections of all Water management structures during periods of flow and the records be kept for review upon request of an Inspector. More frequent inspections may be required at the request of an Inspector. This information may be included in the Annual report required by Part B, Item 3. | NWB Standard Term and Condition
3. (New) The Licensee shall submit to the Board sixty (60) days prior to annual Winter Ice Road construction an updated Technical Memorandum titled "Winter Ice Road Withdrawal Evaluation (February 2018) for approval of the Board. The memorandum will confirm bathymetry, depth, potential locations of possible water withdrawal, proposed volumes to be extracted and anticipated water level decreases. The memorandum may be submitted as an addendum appendix to the approved Water Management Plan. | The proposed wording reflects DFO TC 3.3 [In final draft, write out text]
4. (New) The Licensee shall submit to the Board sixty (60) days prior to initiation of dewatering a Dewatering Plan for review of the Board. The Plan may be submitted as an addendum appendix to the approved Water Management Plan. | The proposed wording reflects DFO TC 3.5 [In final draft, write out text]
5. (New) The Licensee shall submit to the Board for review with the Annual Report in accordance with Part B, Item 3, an updated Water and Load Balance Model as an appendix to the approved Water Management Plan. The updates are to take into account the following: a. updated 2017-2018 baseline data collection that takes into account seasonal variation; and b. updated hydrodynamic model | The proposed wording reflects Commitment No. 7 and 9 from the NWB PHC/TM Decision .
6. (New) The Water and Load Balance Model shall be reviewed periodically, to reflect key changes in operations and submit results for review with the Annual Report in accordance with Part B, Item 3 as appendix to the approved Water Management Plan.
Part G: Conditions Applying to Waste Disposal and Management
1. The Licensee shall provide at least three (3) days notice to the Inspector prior to any planned discharges from any Facilities. The notice shall include the estimated volume proposed for discharge and location.
2. The Licensee shall perform all land applied discharges in a manner that prevents erosion at the point of discharge and downstream. | NWB Standard Term and Condition.
4. The Licensee shall implement the approved Landfill and Waste Management Plan.
5. The Licensee shall not open burn plastics, wood treated with preservatives, electric wire, Styrofoam, asbestos or painted wood in order to prevent the deposition of Waste materials (e.g. products of incomplete combustion, leachate from contaminated ash residual, etc.) from impacting any surrounding Waters, unless otherwise approved by the Board. | NWB Standard Term and Condition
6. The Licensee shall implement the approved Incineration Management Plan.
7. The Licensee is authorized to dispose of and contain all non-hazardous solid Wastes at the Landfill(s), or as otherwise approved by the Board.
8. The Licensee shall implement the approved Hazardous Materials Management Plan.
9. The Licensee shall implement the approved Borrow Pits and Quarry Management Plan.
10. The Licensee shall backhaul and dispose of all hazardous Wastes, through the course of the operation at a licensed Waste disposal site in accordance with the Hazardous Waste Management Plan.
11. The Licensee shall maintain records of all Waste backhauled and records of confirmation of proper disposal of backhauled Waste. These records shall be made available to an Inspector upon request. | NWB Standard Term and Condition
12. The Licensee shall implement the approved Landfarm Management Plan.
13. The Licensee shall implement the approved Mine Waste Rock Management Plan and approved Ore Storage Management Plan.
14. The Licensee shall submit to the Board for approval in writing, at least sixty (60) days prior to planned implementation, any changes that are contemplated to the geochemical confirmatory sampling and testing program or the criteria for using non- mineralized Waste Rock for construction as outlined in the approved Plans, approved as per PART G, Item 13, including a description of and justification for the change.
15. The Licensee shall store all potentially acid generating rock temporarily at the underground laydown pads prior to ultimate disposal underground as mine backfill, or in the WRSAs or as otherwise approved by the Board.
16. All Waste Rock brought to the surface from underground shall be managed in accordance with the approved Plan(s) submitted under PART G, Item 13 as otherwise approved by the Board.
17. The Licensee shall operate and maintain all Waste management facilities to the satisfaction of the Inspector. | NWB Standard Term and Condition
18. All Water from the Pollution Control Ponds, and Sumps shall be directed to the Tailings Facility(s) or Tailings Storage Area, unless otherwise authorized by the Board.
19. The Licensee shall operate and maintain the Sumps associated with the site, in accordance with the following: a. Water discharged from the Landfill Sump at monitoring station BRP-09, and BRP-29 shall not exceed the following Effluent quality limits: [See Sabina Comments]
b. Water from the Landfill Sump that is acceptable for discharge under PART G, Item 23(a), may be discharged to the tundra or as designated by an Inspector; c. Water discharged from the Landfarm Sump at monitoring station BRP-44, and BRP-51 shall not exceed the following Effluent quality limits: [See Sabina Comments]
d. Water from the Landfarm Sump that is acceptable for discharge under PART G, Item 23(c) may be discharged to the tundra or as designated by an Inspector; e. Water discharged from the Bulk Fuel Storage Facility secondary containment Sumps at monitoring stations BRP-15, BRP-43, and BRP-49 shall not exceed the following Effluent quality limits: [See Sabina Comments] | Takes into account Development Licence Part D, Item 3
f. Water from the Fuel Storage and Containment Facility Sumps that is acceptable for discharge under PART G, Item 19 (e) may be discharged to the tundra or as designated by an Inspector; and g. Sump Water from the Landfill, Landfarm and Fuel Storage and Containment Facility that does not meet the criteria in PART G, Items 19 (a),(c) and (e) respectively shall be directed to Tailings Facility(s) and/or Tailings Storage Facility.
19. The Licensee shall implement the approved Tailings Management Plan
20. (NEW) The discharge of effluent from the TSF and/or Tailings Facility(s) at Umwelt or Goose Main during Operations is acceptable for discharge if Effluent criteria is met .
21. (NEW) The Licensee is authorized to operate a Desalination plant.
Part H: Conditions Applying to Modifications
1. The Licensee may, without written consent from the Board, carry out Modifications to the Water Supply Facilities and Waste Disposal Facilities provided that such Modifications are consistent with the terms of this Licence and the following requirements are met: a. The Licensee has notified the Board of such proposed Modifications at least sixty (60) days prior to beginning the Modifications; b. Such Modifications do not place the Licensee in contravention of the Licence or the Act; c. Such Modifications are consistent with the applicable terms and conditions of the NIRB Project Certificate; d. The Board has not, within sixty (60) days following notification of the proposed Modifications, informed the Licensee that review of the proposal will require more than sixty (60) days; and e. The Board has not rejected the proposed Modifications. | NWB Standard Term and Condition
2. Modifications for which any of the conditions referred to in Part G, Item 1 have not been met can be carried out only with approval from the Board. | NWB Standard Term and Condition
3. Applications for modifications shall contain: a. A description of the facilities and/or works to be constructed; b. The proposed location of the structure(s); c. Identification of any potential impacts to the receiving environment; d. A description of any monitoring required, including sampling locations, parameters measured, and frequencies of sampling; e. A proposed schedule for construction; f. Drawings of Engineered Structures stamped by a Professional Engineer, where applicable; and g. Proposed sediment and erosion control measures. | NWB Standard Term and Condition. Certain facilities would not make sense to have "stamped drawings"
4. The Licensee shall provide to the Board, within ninety (90) days of completion of the Modification, as-built plans and drawings of the Modifications referred to in this Part. These plans and drawings shall be stamped by an Engineer, where applicable. | NWB Standard Term and Condition
Part I: Conditions Applying to Contingency Planning
1. The Licensee shall implement the Emergency Response Program including: Risk Management and Emergency Response Plan; Fuel Management Plan; and Spill Contingency Plan, as approved by the Board. The Licensee shall comply with the Plan(s) and any changes deemed significant shall require the submission and subsequent approval of the Board.
2. The Licensee shall prevent any chemicals, petroleum products or unauthorized Wastes associated with the Project from entering Water. | NWB Standard Term and Condition
3. The Licensee shall provide secondary containment for fuel and chemical storage as required by applicable standards and acceptable industry practice. | NWB Standard Term and Condition
4. The Licensee shall perform regular inspections in accordance with the approved Environmental Management and Protection Plan and Fuel Management Plan, of petroleum products storage and containment facilities, fuel tanks and connectors, for leaks and settlement and shall keep a written log of inspections to be made available to an Inspector upon request. More frequent inspections may be requested by an Inspector. | NWB Standard Term and Condition
5. The Licensee shall, report any unauthorized deposits or foreseeable unauthorized deposits of waste and/or discharges of Effluent in accordance of the Regulations. | NWB Standard Term and Condition
6. If the Licensee provides notification of Care and Maintenance under Part L, Item 2, the Licensee shall submit to the Board an Addendum to the Emergency Response Plan and the Spill Contingency Plan, detailing the changes in operations, personnel, responsibilities, availability of equipment and access to the site for assistance. | NWB Standard Term and Condition
Part J: Conditions Applying to General and Aquatic Effects Monitoring
1. The Licensee shall install and maintain flow meters or other such devices, or implement suitable methods required for the measuring of Water use and Effluent discharge volumes, where such discharges are made to land or inland Waters, to be operated and maintained to the satisfaction of an Inspector. | NWB Standard Term and Condition
2. The Licensee shall undertake the Water Monitoring Program detailed in the tables of Schedule J or as may be directed by the Board after consulting with the Licensee and other interested parties. | NWB Standard Term and Condition
3. Water quality monitoring shall be carried out in accordance with the Quality Assurance/Quality Control Plan. | NWB Standard Term and Condition
4. The Licensee, in consultation with an Inspector, shall establish the locations and GPS coordinates for all monitoring stations referred to in Schedule J. | NWB Standard Term and Condition
5. The Licensee shall install and maintain, to the satisfaction of an Inspector, signs that identify monitoring stations. The signs shall be posted in English, Inuktitut, and Inuinnaqtun. | NWB Standard Term and Condition
6. Additional monitoring may be directed by the Board. | NWB Standard Term and Condition
7. All analyses shall be conducted as described in the most recent edition of “Standard Methods for the Examination of Water and Wastewater” or by other such methods approved by an Analyst. | NWB Standard Term and Condition
8. All compliance analyses shall be performed in an accredited laboratory.
9. The Licensee shall measure and record all flow and volume measurements on a monthly basis, during Operations and during any use of Waters (unless otherwise stated): a. The volume of freshwater obtained from Big Lake; b. The volume of freshwater obtained from Goose Lake; c. The volume of freshwater obtained from proximal lakes for Winter Ice Road; d. The volume of freshwater obtained from Ponds (S1 and S2) and Lakes (3 and 4) at the Marine Laydown Area; e. The volume of reclaim water obtained from Tailings Storage Facility and Tailings Facility(s) for process water at the process plant; f. Tonnes of Waste Rock stored in the Waste Rock Storage Area(s) and at other locations approved by the Board during Construction, Operations and Closure; g. The volume of sewage sludge removed from the Sewage Treatment Plant and the locations or method of sewage sludge disposal during Construction, Operation and Closure; h. Report the data in accordance to Schedule B.
10. The Licensee shall measure and record in tonnes including the location of disposal (temporary and permanent) for the following: a. The daily dry tonnes of tailings placed in the Tailings Storage Facility and Tailings Facility(s); and b. The monthly quantity of ore processed.
11. The Licensee shall undertake the Infill Geotechnical Characterization Program detailed in Schedule G or as may be directed by the Board after consulting with the Licensee and other interested parties | Reflects commitment made by Sabina in response to KIA-NWB-04
12. The Licensee shall undertake a geotechnical inspection annually between July and September, by a Geotechnical Engineer. The inspection shall be conducted in accordance with the Canadian Dam Safety Guidelines where applicable and take into account all major earthworks at the Goose Property, Marine Laydown Area and Winter Ice Road, where applicable, including: a. Tailings Storage Facility and associated Ponds and Dams/Dykes; b. Geotechnical instrumentation and associated monitoring data; c. A description of geophysical and permafrost conditions at the project site; d. Tailings Facility(s); e. Open Pit Walls; f. All weather access roads and culvert crossings; g. Landfill(s); h. Landfarm(s); i. Fuel Storage Facilities; j. Quarries and borrow pits; k. Pollution Control Ponds (event ponds); l. Sumps; m. Underground mine openings; n. Groundwater conditions underground; o. Geotechnical Instrumentation; p. Perimeter berms and collection Ponds; q. Steam Diversions; and r. Winter Ice Road routing.
13. The Licensee shall submit to the Board for review, within ninety (90) days of completion of the geotechnical inspection in accordance with Part J, Item 12, the Geotechnical Engineer’s inspection report. The report shall include a cover letter from the Licensee outlining an implementation plan addressing each of the Geotechnical Engineer’s recommendations.
14. The Licensee shall visually monitor and record observations in accordance with the approved Environmental Management and Protection Plan, to be made available to an Inspector upon request, during periods of discharge onto the tundra from: a. Landfill Sump(s); b. Landfarm Sump(s); c. Bulk Fuel Storage Facilities Sump(s); d. Sewage Treatment Plant Sump; and e. Any other treated effluent water discharge Sump(s).
15. The Licensee shall, within thirty (30) days following the month being reported, submit to the Board a monthly monitoring report in an electronic. The Report shall include the following: a. All data and information required by this Part and generated by the Monitoring Program in the Tables of Schedule J; b. An assessment of data to identify areas of non-compliance with regulated discharge parameters referred to in this Licence; and c. Reports should document conditions during spring freshet, major rain events, and periods of sustained precipitation should be monitored. Documented information can include flow measurements, photographs and notes.
Part K: Conditions Applying to General and Aquatic Effects Monitoring Plans
1. The Licensee shall annually review the approved QA/QC Plan and modify the Plan as necessary.
2. The Licensee shall submit to the Board for review sixty (60) days prior to triggering Aquatic Effects Monitoring requirements, an updated Aquatic Effects Management Plan. The updates are to take into account commitments made with respect to submissions received during the regulatory review of the Application.
Part L: Conditions Applying to Abandonment, Reclamation and Closure
1. The Licensee shall notify the Board in writing, at least sixty (60) days prior to any intent to achieve Recognized Closed Mine status. | NWB Standard Term and Condition
2. The Licensee shall notify the Board, a soon as practically possible, of any intent to enter into a Care and Maintenance Phase.
3. The Licensee shall, upon providing notice to the Board as per PART L, Item 2, review all operational plans and submit revised Plans to reflect the Care and Maintenance status, to the Board for approval in writing, within three (3) months of providing notice.
4. The Licensee shall provide to the Board in writing, at least thirty (30) days advanced notification of the initial start of Operations or change of Project Phase. Notification may be provided separately or in accordance with the monthly monitoring report as per PART J, Item 15.
5. The Licensee shall implement the approved Interim Closure and Reclamation Plan and the addendum submitted in June 2018.
6. The Licensee shall submit to the Board for approval at least twelve (12) months prior to the expected end of planned mining, a Final Closure and Reclamation Plan. The Final Closure and Reclamation Plan shall incorporate revisions, which reflect the pending closed status of the mine, and include: a. Soil Quality Remediation Objectives reflecting the applicable CCME Guidelines and the Government of Nunavut Environmental Guideline for Site Remediation; b. Environmental Site Assessment plans in accordance with the applicable Canadian Standards Association (CSA) criteria; and c. An evaluation of the human health and ecological risks associated with the Closure options proposed. | NWB Standard Term and Condition
7. The Licensee shall, should the Project remain, or be in Care and Maintenance, submit an updated estimate of total mine closure restoration liability, within twelve (12) months of entering Care and Maintenance and every three (3) years thereafter. | NWB Standard Term and Condition
8. The Licensee shall include, with the Plan submitted under PART L, Items 6, and 7, an updated estimate of the total mine closure restoration liability using the current version of RECLAIM, its equivalent or other similar method approved by the Board, in accordance with principles of the INAC “Mine Site Reclamation Policy for Nunavut” (2000). | NWB Standard Term and Condition
9. The Licensee shall, if not approved by the Board, revise the Plan(s) referred to in this Part and resubmit to the Board for approval within thirty (30) days of receiving notification of the Board’s decision. | NWB Standard Term and Condition
10. The Licensee shall submit to the Board for approval, at least twelve (12) months prior to the start of Closure works, engineering drawings and specifications of the Tailings Storage Facility final cover system design. | NWB Standard Term and Condition
11. The Licensee shall complete all reclamation work in accordance with the Plan(s) referred to in this Part, as and when approved by the Board. | NWB Standard Term and Condition
12. The Licensee shall carry out progressive reclamation of any components of the project no longer required for the Licensee’s operations. | NWB Standard Term and Condition
13. All roads and airstrips, if any, shall be re-graded to match natural contour to reduce erosion. | NWB Standard Term and Condition
14. The Licensee shall remove any culverts and restore the drainage to match the natural channel. Measures shall be implemented to minimize erosion and sedimentation. | NWB Standard Term and Condition
15. In order to promote growth of vegetation and the needed microclimate for seed deposition, all disturbed surfaces shall be prepared by ripping, grading, or scarifying the surface to conform to the natural topography. | NWB Standard Term and Condition
16. Areas that have been contaminated by hydrocarbons from normal fuel transfer procedures shall be reclaimed to meet objectives as outlined in the Government of Nunavut’s Environmental Guideline for Site Remediation, (2010 version or current version in place at the time of Reclamation). | NWB Standard Term and Condition
17. To the extent practical, the Licensee shall contour and stabilize all disturbed areas to a pre-disturbed state upon completion of work. | NWB Standard Term and Condition
SCHEDULE A: Definitions
o Abandonment o Act o Acid Rock Drainage (ARD) o Adaptive Management o Analyst o Annually o Care and Maintenance o Commercial Operation o Deposit o Discharge o Domestic Waste o Engineer o Engineering Geologist o Engineered Structure o Freeboard o Frozen Core o Geotechnical Engineer o Grab Sample o Greywater o Ground Ice o Ground Water | NWB Standard Definitions
o Inspector o Interim Closure and Reclamation Plan o Maximum Average Concentration o Metal Leaching o Mine Water o Monthly o Operator o Ore Stockpile o Progressive Reclamation o Quarterly o Sewage o Surface Drainage o Talik o Traditional Knowledge o Use o Waste o Waste Rock o Wastewater o Weekly | NWB Standard Definitions
o Acutely Lethal Effluent o Addendum o Amendment o Aquatic Effects Monitoring (AEMP) o Board o Canadian Council of Ministers of the Environment (CCME) o Chief Administrative Officer o Chief Executive Officer o Contact Water o Closure o Dam Safety Guidelines o Deleterious Substances o Domestic Waste o Effluent o Environmental Assessment o Final Discharge Point o Hazardous Waste o ICP Metal Scan | NWB Standard Definitions recently updated in 2AM-WTP1826
o Maximum Monthly Mean o Minister o Modification o Monitoring Program o Non Contact Water o Nunavut Agreement o Operational Phase o Quality Assurance/Quality Control (QA/QC) o Reclamation o Recognized Closed Mine o Regulations o Seepage o Water | NWB Standard Definitions recently updated in 2AM-WTP1826
To be revised to reflect Back River Project specific requirements: o Airstrip o Bulk Fuel Storage Facility(s) o Construction o Desalination Plant o Dissolved Metals o Fresh Water Intake o Goose Property o Goose Property o Goose Main Tailings Facility o Incinerator o Landfarm o Landfill o Licence o Licensee o Marine Laydown Area o Metal Mining Effluent Regulations o Nutrients o Open Pits o Project | Project specific requirement definitions will be compiled for the revised Draft Water Licence Framework for submission prior to the Final Public Hearing.
o Pollution Control Pond o Receiving Environment o Saline Water o Saline Water Pond o Sewage Treatment Plant o Tailings Storage Facility o TSF Containment Dam o TSF WRSA Pond o Total Metals o Underground Operations o Umwelt Tailings Facility o Waste Disposal Facilities o Waste Rock Storage Areas o Wastewater Treatment Plant o Water Management Ponds o Water Supply Facilities o Water Treatment Plant o Water Licence Application | Project specific requirement definitions will be compiled for the revised Draft Water Licence Framework for submission prior to the Final Public Hearing.
o Quarry or Quarries o Secondary Containment o Sump or Sumps o Winter Ice Road | To be taken from 2BC-BRP1819 To be taken from Development Licence
SCHEDULE B: General Conditions | Sabina notes NWB has recently streamlined "schedule" requirements under the WTP Licence as such Sabina as use the WTP licence foundation for recommended changes for the Draft Framework. To be taken where noted from 2AM-WTP1826:
The Annual Report referred to in Part B, Item 3, shall include:
CONSTRUCTION 1. For the dikes, dams and structures constructed to withhold water or waste: a. An overview of methods and frequency used to monitor deformations, Seepage and geothermal responses; b. A comparison of measured versus predicted performance; c. A discussion of any unanticipated observations including changes in risk and mitigation measures implemented to reduce risk; d. As-built drawings of all mitigation works undertaken; e. Any changes in the design and/or as-built condition and respective consequences of any changes to safety, water balance and water quality; f. Data collected from instrumentation used to monitor earthworks and an interpretation of that data; g. A summary of maintenance work undertaken as a result of settlement or deformation of dikes and dams; and h. The monthly and annual quantities of Seepage from dikes and dams in cubic metres. | NWB Standard Term and Condition
WATER 2. Monthly and annual volume of fresh Water obtained from all sources 3. Summary of Winter Ice Road and Dewatering plans implemented in accordance with Part F, Item XX and Item XX, respectively. 4. Summary update of the Water and Load Balance results, if any
WASTE 5. Geochemical monitoring results including: a. Operational acid/base accounting and paste pH test work used for Waste Rock designation (PAG and NPAG rock); b. As-built volumes of Waste Rock used in construction and sent to the Waste Rock Storage Areas with estimated balance of acid generation to acid neutralization capacity in a given sample as well as metal toxicity; c. All monitoring data with respect to geochemical analyses on site and related to roads, and quarries; d. Leaching observations and tests on pit slope and dike exposure; and e. Any geochemical outcomes or observations that could imply or lead to environmental impact. 6. Volumes of Waste Rock used in construction and placed in the Waste Rock Storage Areas. 7. Volumes of ore stockpiled stored at site. 8. Summary of quantities and analysis of Seepage and runoff monitoring from the Tailing Storage Facility, Waste Rock Storage Area(s), Landfill(s), and associated dikes/berms. 9. A summary report of all general waste disposal activities including monthly and annual quantities in cubic metres of waste generated and location of disposal.
SPILLS 10. A list and description of all unauthorized discharges including volumes, spill report line identification number and summaries of follow-up action taken. | NWB Standard Term and Condition:
MODIFICATIONS 11. A summary of Modifications and/or major maintenance work carried out on all Water and Waste-related structures and facilities. | NWB Standard Term and Condition:
MONITORING 12. The results and interpretation of the Monitoring Program in accordance with Part J and Schedule J. 13. The results of monitoring related to the Aquatic Effects Monitoring Program (AEMP) in accordance with Part K, Item 4.
CLOSURE 14. A summary of any progressive Closure and Reclamation work undertaken, including photographic records of site conditions before and after completion of operations, and an outline of any work anticipated for the next year, including any changes to implementation and scheduling. 15. A summary of on-going field trials to determine effective capping thickness for the Waste Rock Storage Areas for the purpose of long term environmental protection. 16. An updated estimate of the current restoration liability based on Project development monitoring, results of restoration/revegetation research and any changes or modifications to the Appurtenant Undertaking. | NWB Standard Term and Condition:
PLANS/REPORTS/STUDIES 17. A summary of any studies requested by the Board that relate to Water use, Waste disposal or Reclamation, and a brief description of any future studies planned. 18. Where applicable, revisions as Addenda, with an indication of where changes have been made, for Plans, Reports, and Manuals. 19. An executive summary in English, Inuktitut and of all plans, reports, or studies conducted under this Licence. | NWB Standard Term and Condition:
GENERAL 20. A summary of actions taken to address concerns or deficiencies listed in the inspection reports and/or compliance reports filed by an Inspector.
OTHER 21. A summary of public consultation and participation with local organizations and the residents of the nearby communities, including a schedule of upcoming community events and information sessions. 22. Any other details on Water use or Waste Disposal requested by the Board by November 1st of the year being reported.
SCHEDULE D: Conditions Applying to Construction
1. The Construction Monitoring Report referred to in Part D, Item 8 shall include: a. All final design and Construction drawings; b. A summary of Construction activities including photographic records before, during and after Construction; c. As built; d. Documentation and detailed explanation of field decisions reflecting any deviations from original Construction drawings and plans, and how such deviations may affect performance of engineered structures; e. Discussion of mitigation measures implemented during Construction and effectiveness of measures taken; f. Monitoring undertaken in compliance with Part D and/or Part J of the Licence; g. Blast vibration monitoring for quarrying activities carried out in close proximity to fish bearing waters; h. Monitoring for sediment release from Construction areas; and i. Monitoring and reporting on use of Water to manage dust emissions from crushing and Construction activity.
SCHEDULE G: Conditions Applying to Waste Management and Waste Management Plans
Assumed all plans approved by the NWB (section may be revised pending final submission from Parties)
SCHEDULE J: Conditions Applying to General and Aquatic Effects Monitoring | Sabina notes NWB has recently streamlined "schedule" requirements under the WTP Licence as such Sabina as use the WTP licence foundation for recommended changes for the Draft Framework. To be taken where noted from 2AM-WTP1826:
TABLES - Table 1 Monitoring Groups
Attach tables from Appendix B of Water Management Plan for Type A Water Licence;
Tables to be updated to reflect agreed upon commitments during the regulatory review process.
TABLES - Table 2 Monitoring Requirements
Attach tables from Appendix B of Water Management Plan for Type A Water Licence;
Tables for Type A Licence to be updated to include BRP-S-01 to TBD; and BRP - 49 (To be taken from Development Licence Part J, Item 3)