## Slide 1: Kitikmeot Inuit Association
KIA Final Submission on Back River Project Type A water License Application
Notes: Hello everyone, I am John Roesch, the Senior Hope Bay Project Officer for the Department of Lands and Environment for the Kitikmeot Inuit Association. I am responsible for project oversite for the KIA and provide input into the regulatory process on the Hope Bay Project to both the NWB and NIRB. I am currently covering the Back River Project as well in the review of Sabina’s Type A water license application. In performing this role, I make use of KIA’s consultants who are subject matter experts in the areas of hydrology, hydrogeology, fisheries, aquatic environment, and geotechnical engineering.

## Slide 2: Purpose of Presentation
Present a summary of KIA’s Final Submission on the Sabina Gold & Silver Corp’s Back River Project Type A Water license application to the NWB.
KIA had conducted a thorough review in the areas of hydrology, hydrogeology, fisheries, aquatic environments, water quality and monitoring.
32 Issues were resolved before and at May 2018 Technical Meeting.
Notes: The purpose of this presentation is to provide a brief summary of our final submission on the Back River Project Type A water license application. Our review covered hydrology, hydrogeology, fisheries, aquatic environments, water quality, and monitoring. KIA conducted the review in a collaborative manner with Sabina Gold & Silver out of which we brought forward 32 issues which were resolved prior and at the Technical Meeting in May 2018.

## Slide 3: Proposed Split of IOL and Crown Land & Water Security
KIA agrees with Sabina on total security of $43,189,351 for the Back River Project
KIA originally requested 30% of total security for IOL and 70% for Crown Land & Water.
KIA, CIRNA, and Sabina agreed to a security split of 32% IOL and 68% Crown Land & Water.
Sabina has proposed staged security to which KIA has provided a proposed staged split of security.
Notes: The KIA agrees with Sabina on a total security of $43.2 million for the Back River Project and a split of 32% and 68% split for IOL and Crown Land and Water reclamation security, respectively. Our review of reclamation security was conducted by our geotechnical engineering consultant.
The KIA is open to the receipt of staged security from Sabina subject to particular water license conditions. The KIA has provided both Sabina and CIRNA with a proposed staged split of security for the Back River Project. KIA has had discussions with Sabina and CIRNA on staged security.

## Slide 4: Proposed Staged Split of IOL and Crown Land & Water Security
Phase | KIA % of Sub-Total | KIA $ | CIRNA % of Sub-Total | CIRNA $ | Sub-Total | Sub-Total %
Initial Infrastructure | 53% | $2,662,600 | 47% | $2,400,005 | $5,062,605 | 11.72%
Umwelt OP | 47% | $3,529,839 | 53% | $3,969,014 | $7,498,853 | 17.36%
TSF | 15% | $2,589,585 | 85% | $14,223,495 | $16,813,080 | 38.93%
Llama OP | 51% | $3,235,585 | 49% | $3,060,990 | $6,296,575 | 14.58%
Llama UG | 17% | $93,197 | 83% | $456,227 | $549,425 | 1.27%
Umwelt UG | 17% | $354,370 | 83% | $1,786,555 | $2,140,925 | 4.96%
Goose Main OP | 23% | $520,213 | 77% | $1,696,673 | $2,216,886 | 5.13%
Goose Main UG | 18% | $161,736 | 82% | $720,096 | $881,832 | 2.04%
Echo OP & UG | 39% | $673,467 | 61% | $1,055,704 | $1,729,171 | 4.00%
Total | 32% | $13,820,592 | 68% | $29,368,759 | $43,189,352 | 100%
Notes: Given that Sabina’s mine site construction phases start on IOL in the first and second phases, which are Initial Infrastructure (year -3) and Umwelt OP (year -2), the KIA is exposed to considerable risk and liability immediately. For this reason, the KIA proposed receiving a higher level of security at the start of construction for major mine site components and infrastructure being built on IOL.
As construction phases progress, the KIA’s proportion of the allotted staged security is reduced. By the time of the Llama OP phase, KIA will have received 87% of our required security. By the time of the Goose Main OP phase, both KIA and CIRNA will have received 94% of their required reclamation security for the project.
The KIA believes that this proposed staged security is equitable in meeting both KIA’s and CIRNA’s security requirements given the relative risk exposure in each of the construction phases.

## Slide 5: Conditions for Stage Security at Back River
KIA is open to receiving staged security under particular water license conditions.
  KIA must receive security for construction phases 60 days prior to construction.
  Staged security is subject to NWB process.
  Sabina provides quarterly summary reports on construction progress.
  Reclamation costs be updated periodically and reviewed.
  Additional security provided within 60 days of review and determination by NWB.
Notes: As stated previously, the KIA is open to receiving security using the proposed staged split under particular water license conditions.
The KIA must receive security 60 days prior to construction for each phase of construction for a defined set of major mine site components and infrastructure on a geographic basis. The receipt of staged security is subject to the NWB process where Sabina is required to provide proof of security being issued.
The reclamation costs must be updated periodically and reviewed by KIA and CIRNA and provided to the NWB. If additional security is determined to be required by the NWB, Sabina must provide it within 60 days of the determination.
The KIA has discussed these conditions with both Sabina and CIRNA.

## Slide 6: Conclusion
KIA believes that with all technical issues being successfully resolved between KIA and Sabina Gold & Silver Corp. the issue of reclamation security can be fully resolved with all parties.
Thank You
Questions?
Notes: The KIA believes that with all technical issues being successfully resolved the final issue of staged security and particular water license conditions can be concluded with both Sabina and CIRNA through further cooperation.
Given this and the substantial benefits that will be obtained for Inuit from the Back River Project and its IIBA, we believe that the issuing of the Type A Water licence for Goose Lake is warranted and in the best interest of the Inuit people.
We thank you for listening and we are open to any questions.