Agnico Eagle Draft as of July 31, 2026

# NUNAVUT WATER BOARD

AMENDED WATER LICENCE NO: 2AM-DOH1335

TABLE OF CONTENTS

PART A:	SCOPE, DEFINITIONS AND ENFORCEMENT	2

- SCOPE	2

- DEFINITIONS	5

- ENFORCEMENT	5

PART B:	GENERAL CONDITIONS	6

PART C:	CONDITIONS APPLYING TO SECURITY	8

PART D:	CONDITIONS APPLYING TO CONSTRUCTION AND OPERATION	13

PART E:	CONDITIONS APPLYING TO WATER USE AND MANAGEMENT	15

PART F:	CONDITIONS APPLYING TO WASTE DEPOSIT AND MANAGEMENT	16

PART G:	CONDITIONS APPLYING TO MODIFICATIONS	21

PART H:	CONDITIONS APPLYING TO EMERGENCY RESPONSE AND CONTINGENCY PLANNING	22

PART I:	CONDITIONS APPLYING TO GENERAL AND AQUATIC EFFECTS MONITORING	23

PART J:	CONDITIONS APPLYING TO ABANDONMENT, RECLAMATION AND CLOSURE	26

SCHEDULES	29

Schedule A:	Scope, Definitions, and Enforcement	30

Schedule B:	General Conditions	41

Schedule D:	Conditions Applying to Construction	43

Schedule I:	Conditions Applying to General and Aquatic Effects Monitoring	45

| Amended Licence No. 2AM-DOH1335 (Amendment No. 5) Pursuant to the Nunavut Waters and Nunavut Surface Rights Tribunal Act and the Agreement Between the Inuit of the Nunavut Settlement Area and Her Majesty the Queen in Right of Canada, the Nunavut Water Board, hereinafter referred to as the Board, hereby grants to |  |
| --- | --- |
| AGNICO EAGLE MINES LIMITED |  |
| (Licensee) |  |
| 145 KING STREET EAST, SUITE 400 TORONTO ON, M5C 2Y7 |  |
| (Mailing Address) |  |
| hereinafter called the Licensee, the right to alter, divert or otherwise use water or deposit waste for a period subject to restrictions and conditions contained within this Licence: |  |
| Licence Number/Type: | 2AM-DOH1335 TYPE “A” |
| Water Management Area: | QUEEN MAUD GULF WATERSHED (30) |
| Location: | DORIS-MADRID PROJECT KITIKMEOT REGION, NUNAVUT |
| Purpose: | WATER USE AND DEPOSIT OF WASTE |
| Description: | MINING UNDERTAKING |
| Quantity of Water not to be Exceeded: | 2,916,855 CUBIC METRES ANNUALLY DURING OPERATIONS |
| Date Licence Issued: | AUGUST 16, 2013 (AMENDED NOVEMBER 4, 2016, DECEMBER 7, 2018, [TBD]) |
| Expiry of Licence: | MARCH 30, 2048 |

This Licence issued (Motion Number [TBD]) and recorded at Gjoa Haven, Nunavut includes and is subject to the annexed conditions.

| Lootie Toomasie Nunavut Water Board Chair | APPROVED BY: | Minister of Northern Affairs |
| --- | --- | --- |
|  | DATE LICENCE APPROVED: |  |

# PART A:	SCOPE, DEFINITIONS AND ENFORCEMENT

# SCOPE

  - This Amended Licence authorizes the Licensee to use Waters and deposit Wastes in support of a Mining Undertaking classified as per Schedule 1 of the Regulations, at the Doris-Madrid Project as outlined in the Type “A” Water Licence Applications (including applications for amendment) submitted to the Nunavut Water Board (NWB) by the Licensee, and as reviewed throughout the regulatory process.

The Licensee may conduct mining and associated activities at the Doris-Madrid Project, in the Kitikmeot Region of Nunavut at the following project extents:

| Project Extents | Latitude | Longitude |
| --- | --- | --- |
| Doris-Madrid Project Area | 67° 41’ 30” N | 106° 42’ 57” W |
|  | 68° 12' 59'' N | 106° 45' 18'' W |
|  | 68° 13' 12'' N | 106° 21' 36'' W |
|  | 67° 41' 43'' N | 106° 19' 46'' W |
| Doris Camp | 68° 03’ 23” N | 106° 36’ 06” W |
| Madrid South Camp | 68° 01’ 44” N | 106° 33’ 30” W |

and including, in general, as follows:

    - Withdrawal and use of Water for mining and associated activities and domestic purposes;

    - Quarrying of materials;

    - Processing of ore at Doris using a conventional gold-milling circuit;

    - Construction and Operation of site facilities at Roberts Bay, Doris, and Madrid areas, including industrial pad, maintenance facilities, laydown areas, access and site roads, Doris airstrip, helipads, Water crossings, and power plants;

    - Construction and Operation of All Weather Roads and associated infrastructure;

    - Construction and Operation of treatment plants;

    - Construction and Operation of fuel tanks, dispensing storage facilities, and associated secondary containment areas for the bulk storage of fuel;

    - Handling and storage of petroleum products and hazardous materials including explosives, cyanide, and other reagents;

    - Development of underground, including extraction of overburden, Waste Rock, and ore from underground, as well as surface crown pillar mining;

    - Extraction of portal development rock, waste rock and ore from underground via decline;

    - Construction and Operation of overburden stockpiles;

    - Construction and Operation of Ore Stockpile(s);

    - Construction and Operation of Waste Rock Storage Facilities (WRSF);

    - Construction and Operation of Landfill(s), Incinerator(s), Composter(s), and Landfarm(s);

    - Construction and Operation of Contact Water Ponds, retention dikes, retention berms, jetties, dams, pump systems, pipelines, waterlines, and channels;

    - Construction of dams, a spillway, and shoreline erosion control needed for the operation of the Tailings Impoundment Area (TIA);

    - Deposition of tailings (slurry and/or dry stack or other methods) into the Tailings Impoundment Area;

    - Discharge of mine Water to Roberts Bay, or to the Tailings Impoundment Area and Roberts Bay;

    - During post-closure, Effluent from the TIA will be discharged to inland fresh Water (Doris Creek).

    - Disposal of Waste Rock, as mine backfill;

    - Use of Waste Rock for Construction as approved by the Board in accordance with conditions of Part D;

    - Disposal of Waste Rock and overburden within Waste Rock Storage Facilities and other areas as approved by the Board;

    - Management and disposal of Waste associated with the Sewage Treatment Plant(s), Contact Water Pond(s), Landfill(s), Landfarm(s), Incinerator(s), and other Wastes;

    - The diversion of site runoff to Water management facilities, including the Tailing Impoundment Area;

    - Initial backhauling of detox tailings from Madrid and ore for processing from Boston Project site;

    - Construction and Operation of Wind Turbines;

    - Construction and Operation of Roberts Bay Cargo Dock;

    - Construction and operation of an ore concentrator at Madrid site;

    - Conveyance of ore from Madrid to the Doris site;

    - Construction and Operation of a tailings pipeline from Madrid site to the Tailings Impoundment Area;

    - Trucking of domestic waste to existing waste management facilities at the Doris site;

    - Progressive Reclamation and Closure of on-site facilities and infrastructure.

  - This Licence is issued subject to conditions contained herein with respect to the use of Waters and the deposit of Waste of any type in any Waters or in any place under any conditions where such Waste or any other Waste that results from the deposits of such Waste may enter any Waters. Whenever new Regulations are made or the existing Regulations are amended by the Governor in Council under the Act, or other statutes imposing more stringent conditions relating to the quantity, type or manner under which any such Waste may be so deposited, this Licence shall be deemed to be subject to such requirements.

  - Compliance with the terms and conditions of this Licence does not absolve the Licensee from responsibility for compliance with all applicable legislation, guidelines and directives.

# DEFINITIONS

  - The Licensee shall refer to Schedule A for definitions of terms used in this Licence.

# ENFORCEMENT

  - Failure to comply with this Licence may be a violation of the Act, subjecting the Licensee to the enforcement measures and the penalties provided for in the Act.

  - All inspection and enforcement services regarding this Licence will be provided by Inspectors appointed under the Act.

  - For the purpose of enforcing this Licence and with respect to the use of Waters and deposit of Waste by the Licensee, Inspectors appointed under the Act hold all powers, privileges and protections that are conferred upon them by the Act or by other applicable laws.

# PART B:	GENERAL CONDITIONS

- The amount of Water use fees shall be determined and payment of those fees shall be made in accordance with section 12 of the Regulations.

- The Licensee shall file an Annual Report with the Board no later than March 31 in the year following the calendar year being reported. The Annual Report shall be developed in accordance with Schedule B.

- The Licensee shall retain and have a copy of this Licence available at the site of operations at all times.

- Any communication with respect to this Licence shall be made in writing to the attention of:

Manager of Licensing, Nunavut Water Board

P. O. Box 119

Gjoa Haven, NU X0B 1J0 Telephone:	(867) 360-6338

Fax:	(867) 360-6369

Email:	licensing@nwb-oen.ca

- Any notice made to an Inspector shall be made in writing to the attention of:

Manager of Field Operations

Nunavut District, Nunavut Region

P.O. Box 100

Iqaluit, NU X0A 0H0 Telephone:	(867) 975-4295

Fax:	(867) 979-6445

- The Licensee shall submit one (1) electronic copy of all reports, studies, and plans to the Board unless otherwise requested by the Board. Unless otherwise directed by the Board, reports or studies submitted to the Board by the Licensee shall include an executive summary in English, Inuktitut, and French.

- This Licence is assignable as provided in Section 44 of the Act.

- The Licensee shall ensure that any document(s) or correspondence submitted by the Licensee to the Board is received and acknowledged by the Manager of Licensing or delegate.

- The Licensee shall notify the Board of any changes in Project phases and/or operating plans or conditions associated with this Project at least sixty (60) days prior to any such change.

- The Licensee shall post signs in the appropriate areas to inform the public of the location of the Water Supply Facilities and the Waste Disposal Facilities. All signs must be in English, Inuktitut and French and shall be located and maintained to the satisfaction of an Inspector.

- The Licensee shall, for all Plans submitted under this Licence, include a proposed timetable for implementation. Plans submitted cannot be undertaken without subsequent written Board approval and direction, subject to the following exception. Unless otherwise directed by the Board, Plans submitted may be undertaken without further Board approval and direction after a ninety (90) day period has elapsed following submission to the Board by the Proponent. The Board may alter or modify a Plan if necessary to achieve the legislative objectives and will notify the Licensee in writing of acceptance, rejection, or alteration of the Plan.

- Unless otherwise directed by the Board in writing, if a Plan is not found acceptable to the Board, the Licensee shall provide a revised version to the Board for review within thirty (30) days of notification by the Board.

- The Licensee shall, for all plans submitted under this Licence, implement the plan as approved by the Board in writing. Any changes to the plans deemed significant shall be reviewed by the Board to determine the process for the Board’s review and approval of the amendment to the plan(s). Reflecting the scale and scope of the proposed changes to an approved plan, the Board may process the changes as solely an amendment to the plan, as a Modification under Part G of the Licence, or as an Amendment to the Licence.

- The Board has approved the following plans for implementation under the relevant sections in the Licence:

  - Hope Bay Mine Emergency Response and Crisis Management Plan (January 2026)

  - Hope Bay Mine Spill Contingency Plan (January 2026)

  - Hope Bay Mine Domestic Wastewater Treatment Management Plan (January 2026)

  - Hope Bay Mine Groundwater Management Plan (January 2026)

  - Hope Bay Mine Doris-Madrid Water Management Plan (January 2026)

  - Hope Bay Mine, Operations, Maintenance, and Surveillance Manual: Doris Tailings Impoundment Area(January 2026)

  - Hope Bay Mine Waste Rock, Ore and Mine Backfill Management Plan (January 2026)

  - Tailings Deposition Plan

  - Hope Bay Mine Non-hazardous Waste Management Plan (January 2025)

  - Hope Bay Mine Hydrocarbon Contaminated Material Management Plan (November 2025)

  - Hope Bay Mine Hazardous Waste Management Plan (January 2026)

  - Hope Bay Mine Incinerator and Composter Waste Management Plan (January 2026)

  - Hope Bay Mine Quarry Management and Monitoring Plan (January 2026)

  - Hope Bay Mine Aquatic Effects Monitoring Plan (January 2026)

  - Hope Bay Mine Doris-Madrid Interim Closure and Reclamation Plan (January 2026)

  - Hope Bay Mine Explosives Management Plan (January 2026)

  - Hope Bay Mine Quality Assurance and Quality Control Plan (November 2025)

- Every Plan to be carried out pursuant to the terms and conditions of this Licence shall become a part of this Licence, and any additional terms and conditions imposed upon approval of a Plan by the Board become part of this Licence. All terms and conditions of the Licence should be contemplated in the development of a Plan where appropriate.

- The Licensee shall review the Plans and Manuals referred to in this Licence as required by changes in Operation and/or technology and modify the Plans or Manuals accordingly. Revisions to the Plans or Manuals are to be submitted in the form of an Addendum to be included with the Annual Report required by Part B, Item 2, complete with a revisions list detailing where significant content changes are made and should incorporate design changes and adaptive engineering required and implemented during construction and on the basis of actual site conditions and monitoring results over the life of the Hope Bay Mine.

- The expiry or cancellation of this Licence does not relieve the Licensee from any obligation imposed by the Licence, or any other regulatory requirement.

- The Schedules attached to this Licence provide details regarding the requirements associated with specific items in the main body of the Licence and are included in the Schedule to provide greater clarity and as an aid to interpretation for the Licensee. If the Board subsequently determines that an item in any of the Schedules requires revision in order to better reflect the intent and objectives of the Licence, the Board may at its discretion, and upon consulting and providing written notice to the Licensee and interested parties, revise the Schedule accordingly. Unless the Board directs otherwise, such revision may not necessarily be considered as an “Amendment” to the Licence.

- The Licensee is encouraged to adopt an Adaptive Management approach to the management of uncertainty regarding potential for effects associated with the Undertaking, including identifying mitigation, monitoring or management actions.

- Prior to the Licensee undertaking the Adaptive Management mitigation, monitoring, or management actions , the Licensee shall ensure that, reflecting the scale and scope of the actions proposed, all applicable regulatory requirements have been met, including, without limitation, applicable land use planning and impact assessment requirements under the Nunavut Agreement and the Nunavut Planning and Project Assessment Act, and completion of any Modification or Amendment processes required under the Act, the Regulations and/or this Licence.

- Unless otherwise stated, references in the Licence to any specific legislation, policy, guideline or other regulatory requirement are deemed to refer to the regulatory requirement as may be amended or as may be expressly replaced by successor legislation, policy, guidelines or other regulatory requirements after the Licence is approved by the Minister.

# PART C:	CONDITIONS APPLYING TO SECURITY

- The Licensee shall, within thirty (30) days following the approval of this Licence by the Minister, furnish and maintain security with the Minister and the Kitikmeot Inuit Association as described in this Part and Schedule C of this Licence. For future Tranches, the Licensee shall provide the Board with at least sixty (60) days notice prior to reaching the milestone(s) described in Schedule C of this Licence and shall furnish and maintain the specified additional security amounts set out in Schedule C with the Minister and the Kitikmeot Inuit Association at least sixty (60) days before proceeding with the activities, works and undertakings associated with the milestone(s). The total amount of security held by the Minister and the Kitikmeot Inuit Association and associated with the reclamation of all tranches of the Undertaking is set out in Schedule C (the Global Security Amount). The Global Security Amount may be adjusted from time to time based on the milestones set out in Schedule C of this Licence and reflecting any material changes to the Undertaking or the risk of environmental damage associated with the Undertaking that could result in a material change to the reclamation liability associated with the Undertaking described in Part C, Item 2.

- The security held under Part C, Item 1 shall be in the form, of the nature, and subject to such terms and conditions, as prescribed by the Act and Regulations.

- The Licensee shall, within ten (10) days after furnishing security with the Minister, under Part C, Item 1, provide evidence to the Nunavut Water Board and the Kitikmeot Inuit Association, that the security has been received by the Minister, indicating the amount, form, nature and conditions of the security.

- The Licensee shall, within ten (10) days after furnishing security with the Kitikmeot Inuit Association, under Part C, Item 1, provide written confirmation to the Nunavut Water Board and to the Minister, that the security has been received by the Kitikmeot Inuit Association, indicating the amount, form, nature and conditions of the security.

- If the Licensee fails to provide written confirmation required under Part C, Item 4, that the required security under Part C, Item 1, has been furnished to the Kitikmeot Inuit Association, the Licensee shall, within thirty (30) days of the failure, furnish such additional security to the Minister under the Licence as is required to replace the amount that should have been held by the Kitikmeot Inuit Association.

- The Licensee shall provide the Board with at least ninety (90) days written notice prior to any material changes to the Undertaking or the risk of environmental damage associated with the Undertaking that could result in a material change to the reclamation liability associated with the Undertaking (including, but not limited to, updates to the reclamation cost estimate arising from unexpected changes or modifications of the works and activities associated with the Undertaking).

- The Licensee shall submit, within the updated Interim Closure and Reclamation Plan as per Part J, Items 2 and 6, an updated reclamation cost estimate of the total mine closure restoration liability based on the requirements of the Act and Regulations.

- The Licensee shall submit, within the Final Closure and Reclamation Plan as per Part J, Items 3 and 6, an updated reclamation cost estimate of the total mine closure restoration liability, based on the requirements of the Act and Regulations.

- Upon the Board receiving notice under Part C, Item 4, or upon receiving an updated reclamation cost estimate as required under Part C, Items 7 and 8, the Board may, on its own initiative, or upon application by the Licensee, the Minister and/or the Kitikmeot Inuit Association, conduct a periodic review of the outstanding reclamation liability associated with the Undertaking and may, as the Board considers appropriate, amend the amount of security held under Part C, Item 1. Any submission requesting an amendment to the security provisions of the Licence shall include supporting evidence to justify the amendment.

- The Licensee, the Minister, or the Kitikmeot Inuit Association may apply to amend the amount of security required to be held under the Licence. Any submission requesting a review of the security provisions of the Licence shall include supporting evidence to justify the amendment.

- The security referred to in Part C, Item 1, shall be maintained until such time as the Minister is satisfied that the Licensee has complied with all provisions of the approved Final Reclamation and Closure Plan and as it is fully or in part refunded by the Minister pursuant to Section 76(5) of the Act. This clause shall survive the expiry of the Licence or renewals thereof and until full and final reclamation has been completed to the satisfaction of the Minister. For greater clarity, the Board will reduce security referred to in Part C, Item 1 upon completion of progressive reclamation activities, in amounts that reflect the proportionate reduction of reclamation liability under the Act and Regulations, and full completion of the approved Final Reclamation and Closure Plan shall not be required in order to return security amounts for progressive reclamation.

- .

# PART D:	CONDITIONS APPLYING TO CONSTRUCTION AND OPERATION

- The Licensee shall submit to the Board for review, at least sixty (60) days prior to Construction (unless otherwise approved by the Board), final design and for-Construction drawings accompanied with a detailed report, in accordance with and for the following items and including information stated within the Schedule D, Item 1.

  - Engineered Water works, i.e., Water Intake and causeway water control structures (dikes, berms, jetties, channels) and Water crossings (culverts, bridges);

  - Engineered Waste disposal facilities i.e., all Treatment Plants, Discharge Diffusers, Waste Rock Storage Facilities, overburden stockpiles, Tailings Impoundment Area, Landfill, Landfarm; and;

  - Bulk Fuel Storage and Containment Facilities

- The Licensee shall use Waste Rock and fill material for Construction only from approved sources that have been demonstrated, by appropriate geochemical analyses, to not produce Acid Rock Drainage, to be Non-Metal Leaching, and free of contaminants.

- The Licensee shall implement preventive and mitigation measures to prevent any chemicals, fuel or Wastes associated with the undertaking from entering any waterbody.

- The Licensee shall locate equipment storage areas on gravel, sand or other durable land, a distance of at least thirty one (31) metres above the ordinary High Water Mark of any Water body in order to minimize impacts on surface drainage and water quality.

- The Licensee shall conduct construction monitoring, including daily inspections, during periods where construction activities are undertaken.

- The Licensee shall implement sediment and erosion control measures prior to and during Construction, and Operations where necessary, to prevent entry of sediment into Water.

- The Licensee shall undertake appropriate corrective measures to mitigate impacts on surface drainage resulting from the Licensee’s operations.

- The Licensee shall conduct visual inspections for runoff/seepage, and conduct sampling where turbidity is observed, for all Construction activity during spring freshet and during and after remarkable rainfall events.

- All surface runoff during the Construction of any facilities, where flow may directly or indirectly enter a Waterbody, or discharge to tundra at Monitoring Program Stations ST-10 and MMS-9, shall be sampled Weekly and not exceed the following Effluent quality limits:

| Parameter | Maximum Average Concentration | Maximum Concentration of Any Grab Sample |
| --- | --- | --- |
| pH | Between 6.0 and 9.5 | Between 6.0 and 9.5 |
| Total Suspended Solids (TSS) | 50.0 mg/L | 100.0 mg/L |
| Oil and Grease | No Visible Sheen | No Visible Sheen |

- The Licensee shall, during the Construction of all engineered structures referred to in Part D, Item 1 provide the required supervision and field checks by an appropriately qualified Engineer in such a manner that the project specification can be enforced and, where required, the quality control measures can be followed. The Licensee shall maintain all Construction records of all engineered structures to be made available at the request of the Board and/or an Inspector.

- The Licensee shall submit to the Board for review, within ninety (90) days of completion of each facility referred to in Part D, Item 1, a Construction Summary Report prepared by a qualified Engineer that includes as-built plans and drawings, documentation of field decisions that deviate from original plans and any data used to support these decisions in accordance with Schedule D, Item 2.

- The Licensee shall minimize disturbance to terrain, permafrost and drainage during movement of contractor’s equipment and personnel around the site during construction activities.

- The Licensee shall not store material on the surface of frozen streams or lakes except what is for immediate use.

- The Licensee shall undertake appropriate corrective measures to mitigate impacts on surface drainage resulting from the Licensee’s operations.

- The Licensee shall limit any in-stream activity to low Water periods. In-stream activity is prohibited during fish migration unless otherwise approved by the Board or Fisheries and Oceans Canada.

- The Licensee shall, for the purposes of culvert and bridge construction, ensure that all activities remain outside of the natural channel width by the placement of abutments, footings or armouring above the ordinary High Water Mark so that there is no restriction to the natural channel processes.

- The Licensee shall conduct a Quarry Rock Seepage Monitoring and Management Program in accordance with the Quarry Management and Monitoring Plan, as approved by the Board, and submit the results to the Board with the Annual Report as per Schedule B.

- The Licensee shall direct all runoff and seepage from the Temporary Ore and Waste Rock Pads to the Contact Water Ponds for collection and transfer to the Tailings Impoundment Area, unless otherwise approved by the Board.

- The Licensee shall construct and operate the Bulk Fuel Storage and Containment Facility in accordance with all applicable legislation and industry standards, including:

  - Environmental Code of Practice for Aboveground and Underground Storage Tank Systems Containing Petroleum and Allied Petroleum Products, 2003 (Updated in 2013) or most recent;

  - Relevant standards of the Canadian Standards Association (CSA);; and

  - National Fire Code, 2015 or most recent.

- The Licensee shall consider the principles of adaptive management in construction and operations.

# PART E:	CONDITIONS APPLYING TO WATER USE AND MANAGEMENT

- The Licensee shall obtain fresh Water from Doris Lake, Windy Lake, and Patch Lake for domestic camp use, mining, milling, and associated industrial uses. Drill Water may also be obtained from locations proximal to the drilling targets. Water for winter ice road construction may be obtained from proximal sources.

The total volume of Water use from all sources and for all purposes shall not exceed two million nine hundred sixteen thousand eight hundred fifty-five (2,916,855) cubic metres per year.

- The Licensee shall implement the Plan entitled Doris-Madrid Water Management Plan as approved by the Board. The Plan shall be reviewed annually in order to capture any revisions or updates necessary to adapt to changing circumstances.

- The Licensee shall update the Water and Load Balance Model within two years after initial processing of Madrid Ore and two years before closure.

- The Licensee shall implement the Plan entitled Groundwater Management Plan as approved by the Board. The Plan shall be reviewed annually in order to capture any revisions or updates necessary to adapt to changing circumstances regarding groundwater inflows and discharge rates.

- The Licensee shall maximize to the greatest practical extent, the use of Reclaim Water from the Tailings Impoundment Area for use in the mill.

- The Licensee shall not use streams as a Water source unless authorized and approved by the Board in writing.

- The Licensee shall maintain the fresh Water Intake Facilities to the satisfaction of the Inspector.

- The Licensee shall equip all Water intake hoses with a screen of an appropriate mesh size to ensure that fish are not entrained and shall withdraw Water at a rate such that fish do not become impinged on the screen.

- The Licensee shall not remove any material from below the ordinary High Water Mark of any Water body unless authorized by an Inspector or the Board in writing.

- The Licensee shall provide the controls necessary to prevent erosion to the banks of any body of Water. Sediment and erosion control measures shall be implemented prior to and maintained during the operation to prevent entry of sediment into Water.

- The Licensee shall carry out regular inspections of all Water Management Facilities during periods of flow and the records be kept for review upon request of an Inspector. More frequent inspections may be required at the request of an Inspector.

- The Licensee shall implement measures to minimize the generation and deposition of dust and/or sediment into Water arising from road use.

# PART F:	CONDITIONS APPLYING TO WASTE DEPOSIT AND MANAGEMENT

- The Licensee shall implement the following waste management plans as approved by the Board: Domestic Wastewater Treatment Management Plan, Waste Rock, Ore and Mine Backfill Management Plan, Non-hazardous Waste Management Plan, Hydrocarbon Contaminated Material Management Plan, Hazardous Waste Management Plan, Incinerator and Composter Waste Management Plan, Quarry Management and Monitoring Plan, Explosives Management Plan, Tailings Deposition Plan, and Doris Tailings Impoundment Area - Operations, Maintenance, and Surveillance Manual.

- Unless otherwise approved by the Board, the Licensee shall provide at least ten (10) days’ notice to the Inspector prior to any planned discharges from any Waste Disposal Facilities. The notice shall include the estimated volume proposed for discharge and location. The Inspector and the Licensee may agree in writing to alternate notification requirements for ongoing, frequent, or regularly scheduled discharges.

- The Licensee shall perform all land applied discharges of a waste that may enter Water in a manner that prevents erosion at the point of discharge and downstream.

- The Licensee shall operate the Sewage Treatment Plant in accordance with the following:

  - Unless otherwise approved by the Board, all Sewage from the Doris and Madrid Properties shall be directed to and treated in a Sewage Treatment Plant;

  - Unless otherwise approved by the Board, all Effluent from the Sewage Treatment Plant may be discharged to the Doris Tailings Impoundment Area or to the tundra. The discharge of Doris Sewage Treatment Plant Effluent onto tundra at Monitoring Program Station ST-8 shall not exceed the following effluent quality limits:

| Parameter | Maximum Average Concentration (mg/L) | Maximum Concentration of Any Grab Sample (mg/L) |
| --- | --- | --- |
| pH | 6.0-9.5 | 6.0-9.5 |
| Total Suspended Solids (TSS) | 100 | 100 |
| Biological Oxygen Demand (BOD5) | 80 | 160 |
| Fecal Coliforms | 10,000 CFU/100 mL | 10,000 CFU/100 mL |
| Oil and Grease | 5, No Visible Sheen | 10, No Visible Sheen |

  - All Effluent discharged from the Sewage Treatment Plant onto tundra shall be discharged to a location approved by an Inspector;

  - Unless otherwise approved by the Board, the Licensee shall provide at least ten (10) days written notice to the Inspector prior to any planned discharge from the Sewage Treatment Plant to the tundra. The notice shall include the volume proposed for discharge and the discharge location.

- The Licensee shall dispose of all food Waste in an Incinerator or Composter designed for this purpose and meets the requirements of the Canada-Wide Standards for Dioxins and Furans and Canada- Wide Standards for Mercury emissions or other standards as they become available.

- The Licensee shall not open burn plastics, wood treated with preservatives, electric wire, Styrofoam, asbestos or painted wood to prevent the deposition of Waste materials (e.g., products of incomplete combustion, leachate from contaminated ash residual, etc.) from impacting any surrounding Waters, unless otherwise approved by the Board in writing.

- The Licensee is authorized to dispose of and contain all non-hazardous solid Wastes at the Landfill, or as otherwise approved by the Board in writing.

- The Licensee shall backhaul and dispose of all hazardous Wastes, and non-combustible Waste generated through the course of the operation at a licensed Waste disposal site in accordance with the Hazardous Waste Management Plan.

- The Licensee shall maintain records of all Waste backhauled and records of confirmation of proper disposal of backhauled Waste. These records shall be made available to an Inspector upon request.

- The Licensee shall submit to the Board for approval in writing, at least sixty (60) days prior to planned implementation, any changes that are contemplated to the geochemical confirmatory sampling and testing program or the criteria for using non-mineralized Waste Rock for Construction including a description of and justification for the change.

- The Licensee shall identify and tag any potentially acid generating rock identified through the Quarry Management and Monitoring Plan for removal to a Temporary Waste Rock Pad, for ultimate disposal underground, unless otherwise approved by the Board in writing.

- The Licensee shall submit to the Board as part of the Construction Summary Report referred to in PART D, Item 11, a Waste Rock and Quarry Monitoring Report that shall include the following:

  - A summary of the geochemical inspections;

  - Results of the seepage surveys;

  - Results of geochemical sampling and analysis; and

  - A summary of all mitigation activities undertaken as a result of monitoring.

- The Licensee shall manage all Waste Rock brought to the surface from underground in accordance with the Waste Rock, Ore and Mine Backfill Management Plan or as otherwise approved by the Board and shall be:

  - Stored on the Temporary Waste Rock Pad;

  - Stored at other locations as identified in the approved Waste Rock, Ore and Mine Backfill Management Plan, and

  - Managed as otherwise approved by the Board in writing.

- The Licensee shall operate and maintain all Waste Management Facilities to the satisfaction of the Inspector.

- All Water from the Contact Water Ponds and cyanide storage sumps shall be directed to the Tailings Impoundment Area, unless otherwise authorized by the Board in writing.

- The Licensee shall operate and maintain the Sumps associated with the site, in accordance with the following:

  - Discharge of Effluent onto tundra from the Contact Water Ponds or Landfill sumps at Monitoring Program Stations ST-2, ST-3 and MMS-1, MMS-2, and MMS-3 shall not exceed the following Effluent quality limits:

| Parameter | Maximum Authorized Monthly Mean Concentration (mg/L) | Maximum Authorized Concentration in a Grab Sample (mg/L) |
| --- | --- | --- |
| pH | 6.0-9.5 | 6.0-9.5 |
| Total Suspended Solids (TSS) | 50 | 100 |
| Oil and Grease | 5, no visible sheen | 10, no visible sheen |
| Total Arsenic | 0.5 | 1.0 |
| Total Nickel | 0.5 | 1.0 |

  - Effluent discharged onto tundra from the Landfarm Sump and Fuel Storage and Containment Facility Sumps at Monitoring Program Stations ST-4, ST-5, ST-6a, ST- 6b, MMS-5, MMS-8 shall not exceed the following Effluent quality limits:

| Parameter | Maximum Authorized Monthly Mean Concentration (mg/L) | Maximum Authorized Concentration in a Grab Sample (mg/L) |
| --- | --- | --- |
| pH | 6.0-9.5 | 6.0-9.5 |
| Total Suspended Solids (TSS) | 50 | 100 |
| Benzene | 0.37 | 0.37 |
| Toluene | 0.002 | 0.002 |
| Ethylbenzene | 0.09 | 0.09 |
| Oil and Grease | 5, No Visible Sheen | 10, No Visible Sheen |
| Total Lead | 0.2 | 0.4 |

  - Effluent from the Landfill, Landfarm and Fuel Storage and Containment Facility that does not meet the criteria in PART F, Items 16 (a) and (b) shall be directed to the Tailings Impoundment Area unless otherwise approved by the Board in writing.

- Unless otherwise approved by the Board in writing, the Licensee shall operate and maintain the Tailings Impoundment Area to engineering standards as described in the Operations, Maintenance, and Surveillance Manual: Doris Tailings Impoundment Area:

- Discharge from the Tailings Impoundment Area during post-closure, will be determined in advance of the final closure and reclamation plan .

- The Licensee shall demonstrate that Effluent discharged, from the TIA pumphouse and/or saline pumphouse is non-acutely toxic in accordance with PART I, Item 14.

- The Licensee shall prevent any chemicals, petroleum products, fuel or wastes associated with the Undertaking from entering any Water body.

- Unless otherwise approved by the Board, the Licensee shall, on a monthly basis during Operations and tailings deposition and at a minimum, annually during Construction or Care and Maintenance, input average monthly Water quality, hydrology and climate monitoring data into the water quality model and perform the following assessment:

  - Compare the predicted water quality in the Tailings Impoundment Area to the measured water quality. If the measured values exceed the predicted value by 20% or greater, then the cause(s) of the difference shall be evaluated and the water quality model shall be updated as appropriate;

  - Compare the predicted Water elevation in the Tailings Impoundment Area to the measured elevations. If the difference between predicted and measured elevations is greater than 0.5m the facility is within 1 m from the full-supply level, and the water quality predictions suggest discharge criteria may not be met, then the cause(s) of the differences shall be evaluated and the predictive model shall be updated as appropriate; and

  - Report the results in accordance with Schedule B Item 4.

# PART G:	CONDITIONS APPLYING TO MODIFICATIONS

- The Licensee may, without written consent from the Board, carry out Modifications provided that such Modifications are consistent with the terms of this Licence and the following requirements are met:

  - The Licensee has notified the Board in writing of such proposed Modifications at least sixty (60) days prior to beginning the Modifications;

  - Such Modifications do not place the Licensee in contravention of the Licence or the

Act;

  - The Board has not, within sixty (60) days following notification of the proposed Modifications, informed the Licensee that review of the proposal will require more than sixty (60) days; and

  - The Board has not rejected the proposed Modifications.

- Modifications for which any of the conditions referred to in Part G Item 1 have not been met, can be carried out only with approval from the Board in writing.

- Applications for modifications shall contain:

  - A description of the facilities and/or works to be constructed;

  - The proposed location of the structure(s);

  - Identification of any potential impacts to the Receiving Environment;

  - A description of any monitoring required, including sampling locations, parameters measured, and frequencies of sampling;

  - A proposed schedule for Construction;

  - Drawings of Engineered Structures stamped by an Engineer where applicable; and

  - Proposed sediment and erosion control measures.

- The Licensee shall, within ninety (90) days of completion of the Modification, provide to the Board as-built plans and drawings of the Modifications referred to in this Part. These plans and drawings shall be stamped by an Engineer.

# PART H:	CONDITIONS APPLYING TO EMERGENCY RESPONSE AND CONTINGENCY PLANNING

- The Licensee shall implement the following plans as approved by the Board: Emergency Responses and Crisis Management Plan, and Spill Contingency Plan. The Licensee shall comply with the Plan(s) and any changes deemed significant by the Board shall require the submission and subsequent approval of the Board in writing.

- All sumps and fuel caches shall be located at a distance of at least thirty-one (31) metres from the ordinary High Water Mark of any adjacent Water body and inspected on a regular basis.

- The Licensee shall prevent any chemicals, petroleum products or unauthorized Wastes associated with the Project from entering Water.

- The Licensee shall provide secondary containment for fuel and chemical storage as required by applicable standards and acceptable industry practice.

- The Licensee shall perform weekly inspections of Bulk Fuel Storage and Containment Facilities, for leaks and settlement and shall keep a written log of inspections to be made available to an Inspector upon request. More frequent inspections may be requested by an Inspector.

- The Licensee shall, within ninety (90) days of providing notification of the Project entering into Care and Maintenance under Part J, Item 4, submit to the Board for approval in writing, an addendum to the Emergency Response and Crisis Management Plan and Spill Contingency Plan, detailing the changes in operations, personnel, responsibilities, availability of equipment and access to the site for assistance.

- The Licensee shall keep a copy of the  Emergency Response and Crisis Management Plan and the Project Spill Contingency Plan at each site of operation.

- The Licensee shall conduct emergency maintenance and servicing on equipment, in designated areas, and shall implement measures to collect motor fluids and other Waste to prevent and contain spills.

- The Licensee shall, subject to Section 16 of the Regulations, report any significant unauthorized deposits or foreseeable unauthorized deposits of waste and/or discharges of Effluent, and:

  - Employ the Spill Contingency Plan;

  - Report the incident immediately via the NT-NU 24-Hour Spill Report Line (867) 920-8130 and to the Inspector; and

  - For each spill occurrence, submit a detailed report to the Inspector, no later than thirty (30) days after initially reporting the event, which includes the amount and type of spilled product, the GPS location of the spill, and the measures taken to contain and clean up the spill site.

For greater clarity, volumes above the amounts listed in the Nunavut Spill Reporting Regulation are considered “significant”.

- The Licensee shall, in addition to Part H, Item 9, regardless of the quantity of release of a harmful substance, report to the NT-NU 24-Hour Spill Report Line if the release is near or into a Water body.

# PART I:	CONDITIONS APPLYING TO GENERAL AND AQUATIC EFFECTS MONITORING

- The Licensee shall implement the Aquatic Effects Monitoring Plan (AEMP).

- The Licensee shall install and maintain flow meters or other such devices, or implement suitable methods required for the measuring of Water use and Effluent discharge volumes, to be operated and maintained to the satisfaction of an Inspector.

- The Licensee shall undertake the Monitoring Program provided in the Tables 1, 2, and 3 of Schedule I. The Licensee shall, in consultation with an Inspector, establish the locations and GPS coordinates for all Monitoring Program stations.

- The Licensee shall install and maintain signs that identify Monitoring Program stations. The signs shall be posted in English, Inuktitut and French.

- Unless otherwise approved by the Board, the Licensee shall measure and record the following on a Monthly basis in cubic metres or as otherwise stated:

  - The volume and use of fresh Water obtained from Doris Lake, Windy Lake, and Patch Lake;

  - The volume of Reclaim Water obtained from Tailings Impoundment Area for process water;

  - Tonnes of Waste Rock stored on the Temporary Waste Rock Pad and at other locations approved by the Board in writing, during Construction, Operations and Closure;

  - Tonnes of Waste Rock returned underground on a monthly basis during Construction, Operation and Closure; and

  - The volume of sewage sludge removed from the Wastewater Treatment Plant and the locations or method of sewage sludge disposal during Construction, Operation and Closure;

  - Report the data in accordance to Schedule B.

- Unless otherwise approved by the Board, the Licensee shall measure and record in tonnes (unless otherwise stated) including the location of disposal (temporary and permanent) for the following:

  - The daily dry tonnes of tailings placed in the Tailings Impoundment Area;

  - The daily dry tonnes of detoxified tailings placed underground; and

  - The monthly quantity of ore processed.

- The Licensee shall undertake the thermal monitoring of the Tailings Impoundment Area as detailed in Schedule I or as directed by the Board in writing.

- The Licensee shall continue to monitor thermistors located between the Tailings Impoundment Area and Doris Lake and between Doris Lake and the underground workings. The monitoring shall be consistent with the baseline thermal monitoring program and shall be included in Schedule I.

- The Licensee shall undertake an annual geotechnical inspection of all surface infrastructure and earthworks described in Part D Item 1, annually during snow-free conditions by an Engineer. The inspection shall be conducted in accordance with applicable best practices including the Canadian Dam Safety Guidelines for water and waste containment facilities.

- The Licensee shall submit to the Board, as part of the Annual Report required under Part B, Item 2, an Engineer’s Inspection Report. The Report shall include a cover letter from the Licensee outlining an implementation plan addressing each of the Engineer’s recommendations.

- Unless otherwise approved by the Board, the Licensee shall visually monitor and record volume levels, to be made available to an Inspector upon request, during periods of discharge onto the tundra from:

  - Landfill Sump (on a daily basis);

  - Landfarm Sump (on a daily basis);

  - Bulk Fuel Storage and Containment Facility Sumps (on a daily basis);

  - Sewage Treatment Plant (on a weekly basis);

  - Reagent and Cyanide Storage Facility Sumps (on a daily basis); and

  - Contact Water Ponds (every two weeks).

- The Licensee shall, within thirty (30) days following the month being reported, submit to the Board a monthly monitoring report in an electronic form. The Report shall include the following:

  - All data and information required by this Part and generated by the Monitoring Program in the Tables of Schedule I;

  - An assessment of data to identify areas of non-compliance with regulated discharge parameters referred to in Part F;

- Unless otherwise approved by the Board or an Inspector, the Licensee shall keep a digital photographic record of all the Project’s relevant watercourse crossings before, during, and after Construction has been completed.

- The Licensee shall conduct Acute Lethality Testing in accordance with and as required by the “Metal and Diamond Mining Effluent Regulations”.

- The Licensee shall annually review the approved Quality Assurance and Quality Control Plan and modify the Plan as necessary.

- All analyses shall be conducted as described in the most recent edition of “Standard Methods for the Examination of Water and Wastewater” or by other such methods approved by an Analyst.

- All compliance analyses shall be performed in an accredited laboratory according to ISO/IEC Standard 17025. The accreditation shall be current and in good standing.

- As noted in Part B, Item 18, changes to the Schedules, including Schedule I, which provides details of the Monitoring Program, may, at the Board’s discretion, be considered without requiring an Amendment to the Licence. Any request for changes to the Monitoring Program shall be submitted to the Board for approval and shall include the justification for the changes requested. .

- Additional monitoring may be imposed by the Board or by the Inspector.

# PART J:	CONDITIONS APPLYING TO RECLAMATION AND CLOSURE

- The Licensee shall implement the Doris-Madrid Interim Closure and Reclamation Plan, as approved by the Board.

- The Licensee shall submit to the Board for approval in writing, every five (5) years following approval of an Amended Licence, an updated Interim Closure and Reclamation Plan, including an updated reclamation cost estimate of the total mine closure restoration liability referred to in Schedule C.

- The Licensee shall submit to the Board for approval at least twelve (12) months prior to the expected end of planned mining, a Final Closure and Reclamation Plan. The Final Closure and Reclamation Plan shall incorporate revisions, which reflect the pending closed status of the mine, and include:

  - Soil Quality Remediation Objectives (SQRO) taking into consideration the applicable CCME Guidelines and the Government of Nunavut Environmental Guideline for Site Remediation;

  - Environmental Site Assessment plans in accordance with the applicable Canadian Standards Association (CSA) criteria; and

  - An evaluation of the human health and ecological risks associated with the Closure options proposed.

- The Licensee shall notify the Board in writing, at least sixty (60) days prior to, or as soon as practically possible, of the Licensee’s intention to enter into a Care and Maintenance.

- The Licensee shall provide the Board, within thirty (30) days of the Licensee providing notice of intent to enter into Care and Maintenance under Part J, Item 4, a Care and Maintenance Plan that details the Licensee’s plans for maintaining compliance with the Terms and Conditions of the Licence.

- The Licensee shall, should the Project remain, or be in Care and Maintenance, submit an updated estimate of total mine closure restoration liability, within twelve (12) months of entering Care and Maintenance and every three (3) years thereafter.

- The Licensee shall include, with the Plans submitted under PART J, Items 1, 2, 3 and 6 an updated estimate of the total mine closure restoration liability based on the requirements of the Act and Regulations..

- The Licensee shall review the Plans referred to in this Part as required by changes in operation and/or technology and modify the Plans accordingly. Revisions to the Plans should incorporate design changes and adaptive engineering required and implemented during Construction and reflect actual site conditions and monitoring results over the life of the Project.

- The Licensee shall, if not approved by the Board, revise the Plan(s) referred to in this Part and resubmit to the Board for approval within thirty (30) days of receiving notification of the Board’s decision.

- The Licensee shall complete all reclamation work in accordance with the Plan(s) referred to in this Part, as approved by the Board in writing.

- The Licensee shall implement Progressive Reclamation of any component of the Project no longer required by the Project and the Board shall reduce required security accordingly in accordance with Part C of this Licence.

- Unless otherwise approved by the Board, the Licensee shall remove any culverts and restore as practical the drainage to match the natural channel. Measures shall be implemented to minimize erosion and sedimentation.

- Unless otherwise approved by the Board, all roads and airstrip, shall be re-graded to match natural contours to reduce erosion.

- Unless otherwise approved by the Board, areas that have been contaminated by hydrocarbons from normal fuel transfer procedures shall be reclaimed to meet objectives as outlined in the Government of Nunavut’s Environmental Guideline for Site Remediation, (2010 version or current version in place at the time of Reclamation). Materials such as soil and rock that have been contaminated by hydrocarbons may be disposed of in the underground mine to remain frozen with permafrost. [The use of reclaimed soils for the purpose of back fill or general site grading may be carried out only upon approved by the Board in writing.]

- Unless otherwise approved by the Board, the Licensee shall implement Progressive Reclamation, including progressive covering of the tailings and re-vegetation, if practically possible. .

- Unless otherwise approved by the Board, to the extent practical, the Licensee shall contour and stabilize all disturbed areas to a pre- disturbed state upon completion of work.

- The Licensee shall consult traditional land users, land owners, and other stakeholders on the proposed post-closure land use criteria. Particularly, the proposal to leave certain facilities in place and confirm the soil quality remediation objectives.

- The Licensee shall notify the Board in writing, at least sixty (60) days prior to the Licensee intending to seek Recognized Closed Mine status for the Project under the Metal and Diamond Mining Effluent Regulations.

# SCHEDULES

Schedule A:	Scope, Definition, and Enforcement Schedule B:	General Conditions

Schedule C:	Schedule for Security

Schedule D:	Conditions Applying to Construction Schedule E:	No Schedule for Water Use and Management

Schedule F	No Schedule for Waste Disposal and Management Schedule G: No Schedule for Modifications

Schedule H: No Schedule for Emergency Response and Contingency Planning Schedule I: Conditions Applying to General and Aquatic Effects Monitoring Schedule J:  No Schedule for Abandonment, Reclamation and Closure

## Schedule A:	Scope, Definitions, and Enforcement

In this Licence: 2AM-DOH1335

“Abandonment” means the permanent dismantlement of a facility, so it is permanently incapable of its intended use. This includes the removal of associated equipment and structures;

“Act” means the Nunavut Waters and Nunavut Surface Rights Tribunal Act;

“Acid Rock Drainage (ARD)” means the production of acidic leachate, seepage or drainage from underground workings, open pits, ore piles, waste rock, construction rock that can lead to the release of metals to groundwater or surface water during the life of the Project and after Closure;

“Acutely Lethal” in respect of an effluent as defined in the Metal and Diamond Mining Effluent Regulations (SOR/2002-222, dated June 6, 2002, last amended June 2026, and as may be further amended from time to time).

“Adaptive Management” means a management plan that describes a way of managing risks associated with uncertainty and provides a flexible framework for mitigation, monitoring and management measures to be implemented and actions to be taken, when specified thresholds are exceeded. Measures may include special studies, operational changes, revised or new Water and Waste management systems, structures and/or facilities or implementing mitigation activities to prevent, stabilize or reverse a change in environmental conditions or otherwise protect the Receiving Environment;

“Addendum” means the supplemental text that is added to a full plan or report, usually included at the end of the document and is not intended to require a full resubmission of the revised report. It may also be considered as an appendix or supplement;

“All Weather Road(s) (AWR)” means roads that may be used during all seasonal conditions, including associated Water crossings between Roberts Bay and Doris; Doris and Madrid (i.e., Windy Road); Madrid and Patch 7; and Madrid and Boston;

“Amendment” means a change to any terms and conditions of this Licence approved by the NWB, requiring a change, addition, or deletion of specific terms and conditions of the Licence not considered as a Modification;

“Amended Licence “means Amended Licence 2AM-DOH1335;

“Analyst” means an Analyst designated by the Minister under section 85 (1) of the Act;

“Annually” means, in the context of monitoring frequency, one sampling event occurring every 365 days with a minimum of 200 days between sampling events;

“Application or Water Licence Application” means for the purposes of this Licence includes the totality of relevant documents filed by the Licensee on the NWB and NIRB Public Registries, in support of the Water Licence Application filed on December 20, 2017, January 30, 2026, and Supporting Documents, submitted to the Board throughout the regulatory process;

“Aquatic Effects Monitoring Plan (AEMP)” means a monitoring program designed to determine the short and long-term effects in the aquatic environment  resulting from the Project, to evaluate the accuracy of impact predictions, to assess the effectiveness of planned impact mitigation measures and to identify additional impact mitigation measures to avert or reduce environmental effects;

“Board” means the Nunavut Water Board established under Article 13 of the Nunavut Agreement and under section 14 of the Act;

“Bulk Fuel Storage and Containment Facility” means the facilities designed for the bulk storage of fuel as described in the Spill Contingency Plan;

“Canadian Council of the Minister of Environment (CCME)” means the organization of the Canadian Ministers of Environment that sets guidelines for environmental protection across Canada such as the Canadian Water Quality Guidelines for the Protection of Fresh Water Aquatic Life;

“Care and Maintenance” in respect of a mine, means the status of the facility when the Licensee ceases production or Commercial Operation temporarily for an undefined period of time;

“Closure” means when an Operator ceases Operations at a facility without the intent to resume mining activities in the future;

“Commercial Operation” in respect of a mine, means an average rate of production that is equal to or greater than 10% of the design-rated capacity of the mine over a period of ninety (90) consecutive days, as defined in the Metal and Diamond Mining Effluent Regulations (SOR/2002-222, as amended from time to time);

“Composter” means the composting facility designed with the capacity to service the Hope Bay site camp as described in the Incinerator and Composter Waste Management Plan;

“Construction” means any activities undertaken to construct or build any component of, or associated with, the development of the Project,;

“Construction Summary Report” means the report submitted to the Board ninety (90) days following to the completion of Construction, detailing the Construction activities completed, as outlined in Part D, Item 1;

“Contact Water” means surface water or runoff that is physically or chemically affected by the Project mine development areas and activities;

“Contact Water Ponds” means facilities designed to contain Contact Water as described in Doris-Madrid Water Management Plan;

“Dam Safety Guidelines” means the Canadian Dam Association (CDA) Dam Safety Guidelines (DSG), (published in 2007, revised in 2013 or subsequent approved editions);

“Deleterious Substances” means a substance as defined in section 34(1) of the Federal Fisheries Act;

“Deposit” means the placement of Waste Rock, tailings or other materials on land or in Water;

“Discharge” means the release of any Water or Waste to the Receiving Environment;

“Dissolved Metals” means the suite of metals referred to in Group 2 of Table 1 – Monitoring Groups located in Schedule I of this Licence. Dissolved metals shall be analyzed on a filtered sample;

“Domestic Waste” means all solid Waste generated form the accommodations, kitchen facilities and all other site facilities, excluding those industrial and hazardous wastes associated with the Project;

“Earthworks” means any earthworks related to the Project such as quarries, roads, pads and the airstrip.

“Effluent” means treated or untreated liquid waste material that is discharged into the environment from all site water management facilities;

“Effluent Water Treatment Plant” means the facilities designated for the treatment of Contact Water prior to discharge to the receiving environment as described in the Doris-Madrid Water Management Plan;

“Emulsion Plant” means a facility designed for manufacturing of emulsion-based explosives, as indicated in the Explosives Management Plan;

“Engineer” means a professional engineer registered to practice in Nunavut in accordance with the Consolidation of Engineers and Geoscientists Act S. Nu 2008, c.2 and the Engineering and Geoscience Professions Act S.N.W.T. 2006, c.16 Amended by S.N.W.T. 2009, c.12;

“Engineered Structure” means any facility, which was designed and approved by an Engineer;

“Environmental Assessment” means, in respect of the Project, all material filed with the Nunavut Impact Review Board (NIRB) on the NIRB’s Public Registry (established under the authority of Article 12 of the Nunavut Agreement) that is associated with the NIRB’s impact assessment (Review) of the Project and associated with the scope of the activities, works and Undertakings authorized in accordance with the terms and conditions of the Licence;

“Final Discharge Point” in respect of an effluent, means an identifiable discharge point of a mine, beyond which the operator of the mine no longer exercises control over the quality of the Effluent, as defined in the Metal and Diamond Mining Effluent Regulations (SOR/2002-222, as amended from time to time);

“Geotechnical Engineer” means an Engineer whose principal field of specialization is the engineering properties of earth materials in dealing with manmade structures and earthworks that will be built on a site. These can include shallow and deep foundations, retaining walls, dams, and embankments;

“Grab Sample” means an undiluted quantity of material collected at a particular time and place that may be representative of the total substance being sampled at the time and place it was collected;

“Greywater” means the component of Effluent produced from domestic use (i.e., washing, bathing, food preparation and laundering), but excluding Sewage;

“Groundwater” means Water that occupies pores and fractures in rock and soil below the ground surface in a liquid or frozen state;

“Hazardous Waste” means materials or contaminants which are categorized as dangerous goods under the Transportation of Dangerous Good Act 1992 (1992, c. 34, or a more recent version) and/or that is no longer used for their original purpose and are intended for recycling, treatment, disposal, or storage;

“High Water Mark” means the usual or average level to which a body of Water rises at its highest point and remains for a sufficient time so as to change the characteristics of the land (ref. Department of Fisheries and Oceans Canada, Operational Statement: Mineral Exploration Activities);

“ICP Metals Scan” means elements detected using Inductively Coupled Plasma (ICP) mass spectrometer. Metal parameters chosen to be included in an ICP Metals Scan under the Licence should be consistent with baseline data previously collected and include any metals of concern or interest;

“Incinerator” means the facility designed with the capacity to service the Hope Bay site camp as described in the Incinerator and Composter Waste Management Plan;

“Independent Review Board” means the panel of geotechnical specialists established by the Licensee to review the designs and performance of the dikes and dams;

“Inspector” means an Inspector designated by the Minister under section 85 (1) of the Act;

“Interim Closure and Reclamation Plan” means a plan addressing the Reclamation of mine components which will not be closed until the end of the mining operations, and operational detail for components which are to be progressively reclaimed throughout the mine life;

“Landfarm” means a lined, engineered area designed to contain and treat hydrocarbon impacted sediment and soil using bioremediation as described in the Hydrocarbon Contaminated Material Management Plan;

“Landfill” means a facility designed to permanently contain solid, non-combustible, non- hazardous Waste materials, as described in the Non-hazardous Waste Management Plan,;

“Laydown Area” means the areas designed for storage of equipment and materials at specified locations;

“Licence” means this Type “A” Water Licence 2AM-DOH1335, including any amendments, issued by the Nunavut Water Board in accordance with the Act, to the Licensee for the Doris-Madrid Project;

“Licensee” means the entity to whom the Licence is issued or to whom the Licence is subsequently assigned;

“Maximum Average Concentration” means the average concentration of any four consecutively collected samples taken from the identical sampling location and taken during any given timeframe;

“Metal Leaching” means the mobilization of metals into solution under neutral, acidic or alkaline conditions;

“Mine Water” means any Water, including Groundwater, that is pumped or flows out of any underground workings or open pit;

“Minister” means the Minister of Crown-Indigenous Relations and Northern Affairs Canada (CIRNAC, formerly Indigenous and Northern Affairs Canada) or after devolution, the equivalent Government of Nunavut Ministerial decision maker;

“Modification” means an alteration to a physical work that introduces a new structure or eliminates an existing structure and does not alter the purpose or function of the work;

“Monitoring Program” means the program to collect data on surface Water and Groundwater quality to assess impacts to the environment of an appurtenant Undertaking;

“Monthly” means, in the context of monitoring frequency, one sampling event occurring every thirty (30) days with a minimum of twenty one (21) days between sampling events;

“North Dam” means the infrastructure designed as a Water retaining structure as described in the Operations, Maintenance, and Surveillance Manual: Doris Tailings Impoundment Area ;

“Non-Contact Water” means runoff from areas that does not come into contact with developed areas;

“Nunavut Agreement” means the “Agreement Between the Inuit of the Nunavut Settlement Area and Her Majesty the Queen in Right of Canada,” including its preamble and schedules, and any amendments to that agreement made pursuant to it;

“Nutrients” means the suite of parameters referred to as N1 and N2 in Schedule I Table 1 of this Licence;

“Operation” or “Operations” means the entire set of activities (excluding Construction, Care and Maintenance, and decommissioning activities) associated with mining, processing, and recovery of gold at the Hope Bay Mine;

“Operator” means the person who operates, has control or custody of, or is in charge of a mine or recognized closed mine;

“Ore Stockpile” means the above-ground facility designated for the temporary storage of ore to be processed in the mill;

“Progressive Reclamation” means actions that can be taken during mining Operations before permanent Closure, to take advantage of cost and operating efficiencies by using the resources available from mine Operations to reduce the overall reclamation costs incurred. It enhances environmental protection and shortens the timeframe for achieving the reclamation objectives and goals and reduces the reclamation security required for the Project under Part C Item 1;

“Project” means the Doris-Madrid Project known previously as Doris North Project as outlined in the Final Environmental Impact Statement and supplemental information submitted by the Licensee to the Nunavut Impact Review Board (NIRB) as well as the Water Licence Application, and associated Amendments, Supporting Documents, and Technical Meeting Information Supplement documents submitted to the Nunavut Water Board throughout the regulatory processes.

“Quarry” or “Quarries” means the area of surface excavation for extracting rock material for use as construction materials in the development of infrastructure and facilities as described in the Quarry Management and Monitoring Plan;

“Quality Assurance / Quality Control (QA/QC)” Quality Assurance means the system of activities designed to better ensure that quality control is done effectively; Quality Control means the use of established procedures to achieve standards of measurement for the three principle components of quality: precision, accuracy and reliability;

“Quarterly” means, in the context of monitoring frequency, one sampling event occurring every three months with a minimum of ninety days between sampling events;

“Reagent and Cyanide Storage Facility” means the engineered storage and containment areas;

“Receiving Environment” means both the aquatic and terrestrial environments that receive any discharge resulting from the Project;

“Reclaim System” means the facility used to pump water from the Tailings Impoundment Area to the plant;

“Reclaim Water” means tailings supernatant that is pumped from Tailings Impoundment Area Reclaim pond to the processing plant to offset intake of fresh water from the environment for the same use as described in the Doris-Madrid Water Management Plan;

“Reclamation” The process of returning a disturbed site to its natural state or one for other productive uses that prevents or minimizes any adverse effects on the environment or threats to human health and safety as described in the Mine Site Reclamation Guidelines for the Northwest Territories (INAC, 2007);

“Recognized Closed Mine” means a recognized closed mine as described in the Metal and Diamond Mining Effluent Regulations, SOR/2002-222 (Last amended June 1, 2018);

“Regulations” means the Nunavut Waters Regulations, SOR/2013-69;

“Remediation” means the removal, reduction, or neutralization of substances, wastes or hazardous material from a site in order to prevent or minimize any adverse effects on the environment and public safety now or in the future;

“Roberts Bay” means any infrastructure associated with the Roberts Bay including jetties, Cargo Dock, fuel tank farm, access roads, and laydown areas.

“Roberts Bay Cargo Dock” means the marine cargo dock located in Roberts Bay, and associated infrastructure, as described in the December 2017 Application and Supporting Documents, submitted to the Board throughout the regulatory process;

“Roberts Bay Discharge System” “means the infrastructure constructed to discharge mine Water and TIA Effluent from the Marine Outfall Mixing Box to the Roberts Bay marine environment and consists mainly of an insulated pipeline as described in the Amendment Application;

“Seepage” means any Water that drains through or escapes from any structure designed to contain, withhold, divert or retain water or waste. Seepage also includes any flows that have emerged through open pits, runoff from Waste Rock storage facilities, ore stockpile areas, quarries, landfill or landfarm areas;

Sewage” means all toilet Wastes and Greywater;

“Sewage Treatment Plant (STP)” means the structure design for the treatment of Sewage as indicated in the Domestic Wastewater Treatment Management Plan;

“South Dam” means the infrastructure designed as a Water and solids retaining structure utilizing a frozen core foundation as described in the Operations, Maintenance, and Surveillance Manual: Doris Tailings Impoundment Area;

“Site Specific Water Quality Objectives” or “SSWQO” means a numerical concentration established as a target value, which has been established for specified Waters;

“Soil Quality Remediation Objectives” or “SQRO” means the numerical concentration established as target value for soil quality remediation for contaminated sites, as determined taking into consideration applicable  guidelines provided by the Canadian Council of Ministers of the Environment (CCME) Canada – Wide Standards for Petroleum Hydrocarbons (PHC) in Soil (January 2008, or am more recent amendment) and/or the Government of Nunavut Environmental Guideline for Contaminated Site Remediation (March 2009).

“Sump” means a structure or depression that collects, controls, and filters liquid Waste before it is released to the environment. This structure should be designed to prevent erosion while allowing percolation of liquid Waste;

“Surface Drainage” means all Contact Water resulting from the flow over, through, or out of an Operations area and is collected as described in the Doris-Madrid Water Management Plan

“Tailings Impoundment Area” means the engineered facility designated to receive tailings as described in the Waste Rock, Ore and Mine Backfill Management Plan and/or the Operations, Maintenance, and Surveillance Manual: Doris Tailings Impoundment Area;

“Talik” means a layer or body of unfrozen ground occurring in a permafrost area due to a local anomaly in thermal, hydrological, hydrogeological or hydrochemical conditions;

“Temporary Waste Rock Pad” means the engineered facility designed for the storage of Waste Rock and potentially acid generating rock;

“Temporary Ore Storage Pad” means the engineered facility designed to provide additional laydown and storage to support underground operations, as well as to serve as temporary ore storage;

“Traditional Knowledge” means the practical knowledge that has been gathered through the experience of living in close contact with nature and has been passed along or communicated orally, and handed down from generation to generation;

“Total Metals” means the suite of metals referred to in Group 2 of Table 1 – Monitoring Groups located in Schedule I of this Licence. Total metals shall be analyzed on an un-filtered sample;

“Undertaking or Undertakings” means an undertaking or undertakings in respect of which Water is to be used or Waste is to be deposited, as classified in Schedule 1 of the Regulations;

“Use” means Water use as defined in section 4 of the Act;

“Waste” means Waste as defined in section 4 of the Act;

“Waste Disposal Facilities” means all site infrastructure designed for the disposal of Waste including, on a temporary or permanent basis, including the Landfill, Incinerator, Composter, Landfarm, Sewage Treatment Plant, Tailings Impoundment Area, site Sumps, and Waste Rock Storage Facilities;

“Waste Rock” means all rock materials, except ore and tailings, that are or were produced as a result of mining operations and have no current economic value;

“Waste Rock Storage Facilities” or “WRSF” means the engineered structure or structures designed for the placement of Waste Rock, as described in the Waste Rock, Ore and Mine Backfill Management Plan;

“Wastewater” means the Water generated by site activities or originated on-site and that requires treatment or any other Water management activity;

“Water or Waters” means Water as defined in section 4 of the Act;

“Water and Load Balance Model” means the model prepared to predict water quality and quantity;.

“Water Management Facilities” means all site infrastructure designed to contain and divert Water on a temporary or permanent as described in the Doris-Madrid Water Management Plan;

“Water Intakes” means the infrastructure required for extraction (pump system) of Water including the causeways, as described in the Doris-Madrid Water Management Plan;

“Water Supply Facility” means the facilities designed for the supply of Water including the Freshwater Intakes, the Reclaim System, and associated infrastructure;

“Weekly” means, in the context of monitoring frequency, one sampling event occurring every 7 days with a minimum of 5 days between sampling events;

“West Dam” means the infrastructure designed as a Water and solids retaining structure as described in the Operations, Maintenance, and Surveillance Manual: Doris Tailings Impoundment Area;

“Wind Turbines” means any of the wind turbines and associated infrastructure located on the Hope Bay site.

## Schedule B:	General Conditions

The Annual Report referred to in Part B, Item 2 shall include the following:

- Summary of monitoring reporting performed in accordance with Part I, Item 6. The Summary shall include conversion of daily amounts to monthly and annual amounts.

- A Geochemical Monitoring and Waste Rock Storage Assessment that includes the following:

  - For the tailings solids:

    - All geochemical data appended;

    - All tonnage data appended and locations of disposal;

    - Discussion of geochemical data (static and kinetic, if applicable) with relevant figures and calculation of NNP and NPR; and

    - Geochemical interpretation of data.

  - For waste rock:

    - Tonnage of mineralized and un-mineralized Waste Rock placed on the Temporary Waste Rock Pad and in other locations as approved by the Board in writing; and

    - Tonnage of Waste rock placed underground.

      - Geochemical and inspection data . Note: Detox Tailings are characterized by TL-7 (dry detoxified tailings sent underground as backfill (solids)) and proposed TL-8 (filtrate from TL-7 (solution)).

- Include the report referenced in Part D, Item 18, that presents the data collected from the Quarry Rock Seepage Monitoring and Management Program. The report shall include a discussion of the interpretation of geochemical data and shall be presented to the Board for review.

- A summary of the results of the monthly TIA Water balance and Water quality model assessments referred to in Part E, Item 24 and any re-calibrations that have been carried out. The report shall include:

  - Relevant supporting data;

  - a comparison of measured Water balance and Water quality values to predicted values;

  - Monitoring and internal modelling results;

  - a discussion of any discrepancies in model inputs; and

  - Identification of any necessary adaptive management strategies.

- An update on the current capacity of the Tailings Impoundment Area;

- A record of measurements of the following:

  - The flows (m3/day) at monitoring station TL-2,

  - A record of measurements of Doris Lake Water Level

- Annual review of and submission of any revisions to the Management Plans or Emergency Response or Contingency Plan in the form of either addenda or revised Plan;

- A list and description of all reportable unauthorized discharges including volumes, spill report line identification number and summaries of follow-up action taken;

- The results of the Aquatic Effects Monitoring Program and in accordance with Part I, Item 3;

- A summary of any closure and reclamation work undertaken and an outline of any work anticipated for the next year, including any changes to implementation and scheduling

- Incineration stack testing results when stack testing is required;

- Annual Landfill management report;

- A summary of modifications and/or major maintenance work carried out on the Water Supply and the Waste Disposal Facilities, including all associated structures, and an outline of any work anticipated for the next year;

- A summary report describing public consultation and participation with local organizations and the residents of the nearby communities, including a schedule of upcoming community events/information sessions;

- GPS locations of monitoring stations as confirmed with the Inspector under Part I, Item 3;

- A summary of the data requested under Part I Item 5 and 6;

- A summary of actions taken to address concerns or deficiencies listed in the inspection reports and/or compliance reports filed by an Inspector; and

- Any other details on Water use or Waste Disposal requested by the Board by November 1st of the year being reported.

## Schedule C: Security Schedule Milestones

## Schedule D:	Conditions Applying to Construction

- The detailed report(s) referred to in PART D, Item 1 shall include:

  - Design rational, requirements, criteria, parameters, standards analysis, methods, assumptions and limitations;

  - Site specific data and analysis to support the design and management decisions;

  - Geochemical analysis of Waste Rock and fill, demonstrating the Acid Rock Drainage and Metal Leaching characteristics;

  - Construction methods and procedures outlining how infrastructure will be put in place, including quality assurance and quality control measures and equipment to be used;

  - Technical specifications for sedimentation, erosion control and bank stabilization measures, including proposed materials, location and extent, place methods and quantities required;

  - Timetable for submission, including date of Construction and proposed date of commissioning of infrastructure; and

  - Be signed and sealed by the appropriately qualified Engineer.

- The Construction Summary Report referred to in Part D Items 11 shall include:

  - All final design and construction drawings shall be stamped and signed by an Engineer when related to an Engineered Structure).

  - Site specific data and analysis, including Geochemical analysis of waste rocks and fills, demonstrating their Non Acid Rock Drainage and Non Metal Leaching characteristics, to support the design and management decisions;

  - A summary of Construction activities including photographic records before, during and after Construction;

  - As-built drawings:

  - Documentation of field decisions that deviate from original plans, and relevant data used to support these decisions;

  - Discussion of mitigation measures implemented during Construction and effectiveness of measures taken;

  - Monitoring undertaken in compliance with Part D and/or Part I of the Licence;

  - Blast vibration monitoring for activities carried out in close proximity to fish bearing waters;

  - Monitoring for sediment release from construction areas;

  - Monitoring and reporting on use of Water to manage dust emissions from crushing and Construction activity.

2. The Construction Summary Report referred to in Part D, Item 11, shall discuss the monitoring results, analysis and any mitigation measures employed as a result of the monitoring, for each of the items listed above.

## Schedule I:	Conditions Applying to General and Aquatic Effects Monitoring

TABLE 1 – MONITORING GROUP

| G | General | pH | pH units |
| --- | --- | --- | --- |
|  |  | TSS | mg/L |
| N1 | Nutrients, nitrogen group | Total Ammonia-N | mg-N/L |
|  |  | Nitrate-N |  |
|  |  | Nitrite-N |  |
| N2 | Nutrients, phosphorus | Orthophosphate-P | mg/L |
|  |  | Total Phosphate-P |  |
| MT | Total Metals (Unfiltered) | T-Aluminum | mg/L |
|  |  | T-Arsenic |  |
|  |  | T-Copper |  |
|  |  | T-Iron |  |
|  |  | T-Nickel |  |
|  |  | T-Lead |  |
|  |  | T-Zinc |  |
| MD | Dissolved Metals (Filtered) | D-Iron | mg/L |
|  |  | D-Copper |  |
|  |  | D-Arsenic |  |
|  |  | D-Zinc |  |
|  |  | D-Cadmium |  |
|  |  | D-Nickel |  |
| B | Biological | Biological Oxygen Demand | mg/L |
|  |  | Fecal Coliforms | CFU1/100 mL |
| HC | Hydrocarbons and lead | Total Oil and Grease | mg/L |
|  |  | T-Lead |  |
|  |  | Benzene |  |
|  |  | Toluene |  |
|  |  | Ethyl-Benzene |  |
| D | Discharge | Flow | m3/day |
|  |  | Volume | m3 |
|  |  | Duration | Day |

1 Colony Forming Units

TABLE 2 – MONITORING GROUP

| PARAMETER / STATION | STATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | TL-1 | TL-2 | TL-5 | TL-6 | TL-7 | TL-11 | TL-12 | ST-1 | ST-2 | ST-3 | ST-4 | ST-5 | ST-6a & b | ST-7 | ST-7a | ST-8 | ST-9 |  | ST-10 |  | ST-11 | ST-12 | ST-13 | ST-14 | ST-15 | MMS-11 | MMS-12 |
| pH | x | x | x |  |  | x | x | x | x | x | x | x | x | x |  | x | x |  |  |  | x |  | x | x | x | x | x |
| Electrical Conductivity |  |  |  |  |  | x | x |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TSS | x | x | x |  |  |  | x | x | x | x | x | x | x | x |  | x | x |  | x |  | x |  | x | x | x | x | x |
| TDS | x | x |  |  |  |  | x |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cl | x | x |  |  |  |  | x | x | x |  |  |  |  | x |  |  |  |  |  |  |  |  | x | x | x | x | x |
| Free CN | x | x | x |  |  | x |  |  |  | x |  |  |  | x | x |  |  |  |  |  | x |  |  |  |  |  |  |
| Total CN | x | x | x |  |  | x | x | x | x | x |  |  |  | x | x |  |  |  |  |  | x |  | x | x | x | x | x |
| WAD CN |  |  | x |  | x | x | x |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Total Ammonia-N | x | x | x |  |  | x | x | x | x | x | x |  |  | x | x |  |  |  |  |  | x |  | x | x | x | x | x |
| Nitrate-N | x | x | x |  |  | x | x | x | x |  |  |  |  | x | x |  |  |  |  |  |  |  | x | x | x | x | x |
| Nitrite-N | x | x | x |  |  | x | x | x | x |  |  |  |  | x | x |  |  |  |  |  |  |  | x | x | x | x | x |
| Sulphate |  |  | x |  |  | x | x | x | x | x |  |  |  |  |  |  |  |  |  |  |  |  | x | x | x | x | x |
| Orthophosphate-P | x | x |  |  |  |  |  |  |  |  |  |  |  | x | x |  |  |  |  |  |  |  |  |  |  |  |  |
| Total Phosphate-P | x | x |  |  |  |  |  |  |  |  |  |  |  | x | x |  |  |  |  |  |  |  |  |  |  |  |  |
| T-Al | x | x | x | x |  |  |  | x | x | x |  |  |  | x | x |  |  |  |  |  | x |  | x | x | x | x | x |
| T-Ag | x | x |  |  |  |  |  |  |  |  |  |  |  | x | x |  |  |  |  |  | x |  |  |  |  |  |  |
| T-As | x | x | x | x |  |  |  | x | x | x |  |  |  | x | x |  |  |  |  |  | x |  | x | x | x | x | x |
| T-Ca | x | x |  |  |  |  |  |  |  |  |  |  |  | x | x |  |  |  |  |  | x |  |  |  |  |  |  |
| T-Cd | x | x | x | x |  |  |  |  |  |  |  |  |  | x | x |  |  |  |  |  | x |  |  |  |  |  |  |
| T-Cr | x | x | x | x |  |  |  |  |  |  |  |  |  | x | x |  |  |  |  |  | x |  |  |  |  |  |  |
| T-Cu | x | x | x | x |  |  |  | x | x | x |  |  |  | x | x |  |  |  |  |  | x |  | x | x | x | x | x |
| T-Fe | x | x | x | x |  |  |  | x | x | x |  |  |  | x | x |  |  |  |  |  | x |  | x | x | x | x | x |
| T-Hg | x | x | x | x |  |  |  |  |  |  |  |  |  | x | x |  |  |  |  |  | x |  |  |  |  |  |  |
| T-K | x | x |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| T-Mo | x | x | x | x |  |  |  |  |  |  |  |  |  | x | x |  |  |  |  |  | x |  |  |  |  |  |  |
| T-Mg | x | x |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| T-Na | x | x |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| T-Ni | x | x | x | x |  |  |  | x | x | x |  |  |  | x | x |  |  |  |  |  | x |  | x | x | x | x | x |
| T-Pb | x | x | x | x |  |  |  | x | x | x | x | x | x | x | x |  |  |  |  |  | x |  | x | x | x | x | x |
| T-Se | x | x | x | x |  |  |  |  |  |  |  |  |  | x | x |  |  |  |  |  | x |  |  |  |  |  |  |
| T-Zn | x | x | x | x |  |  |  | x | x | x |  |  |  | x | x |  |  |  |  |  | x |  | x | x | x | x | x |
| T-Tl | x | x |  |  |  |  |  |  |  |  |  |  |  | x | x |  |  |  |  |  | x |  |  |  |  |  |  |
| T-Radium 226 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Dissolved Oxygen & Redox Potential | x |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Acute Lethality | x |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Flow |  | x |  |  |  |  | x |  |  | x | x | x | x | x | x | x | x |  |  |  | x |  |  |  |  |  |  |
| Volume |  | x |  |  |  |  | x |  |  | x | x | x | x | x | x | x | x |  |  |  | x |  |  |  |  |  |  |
| Water Level | x |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | x |  |  |  |  |  |
| Ice Thickness |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | x |  |  |  |  |  |
| Total Metals by ICP-MS* |  |  | x |  |  |  | x | x | x |  |  |  |  |  |  |  |  |  |  |  |  |  | x | x | x | x | x |
| Total Metals ICP-MS including Sulphur |  |  |  | x | x |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Trace Metals by ICP-MS |  |  |  |  |  | x |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Alkalinity |  |  |  |  |  | x | x | x | x |  |  |  |  |  |  |  |  |  |  |  |  |  | x | x | x | x | x |
| Acidity |  |  |  |  |  | x |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Dissolved Fe |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| D-Cu |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| D-As |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| D-Zn |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| D-Cd |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| D-Ni |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BOD5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | x | x | x |  |  |  |  |  |  |  |  |  |  |
| Fecal Coliforms | x |  |  |  |  |  |  |  |  |  |  |  |  |  | x | x | x |  |  |  |  |  |  |  |  |  |  |
| Cyanate |  |  | x |  | x |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Thiocyanate |  |  | x |  | x |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Moisture content |  |  |  |  | x |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Total Oil and Grease | x | x |  |  |  |  |  | x | x | x | x | x | x | x | x | x | x |  |  |  | x |  | x | x | x | x | x |
| Benzene | x |  |  |  |  |  |  |  |  |  | x | x | x |  |  |  |  |  |  |  | x |  |  |  |  |  |  |
| Toluene |  |  |  |  |  |  |  |  |  |  | x | x | x |  |  |  |  |  |  |  | x |  |  |  |  |  |  |
| Ethyl-Benzene | x |  |  |  |  |  |  |  |  |  | x | x | x |  |  |  |  |  |  |  | x |  |  |  |  |  |  |
| Tonnage |  |  |  | x | x |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Chemical Oxygen Demand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Total Inorganic Carbon |  |  |  | x | x |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Chlorophyll a |  |  |  |  |  |  |  |  |  |  |  |  |  | x |  |  |  |  |  |  |  |  |  |  |  |  |  |

* (definition: metals consistent with baseline data previously collected and any other metals of current interest)

TABLE 3 – MONITORING PROGRAM

| Station | Description | Phase | Monitoring Parameters | Frequency during Care and Maintenance | Frequency during Construction, Operations, Closure and Post-Closure |  |
| --- | --- | --- | --- | --- | --- | --- |
| Doris |  |  |  |  |  |  |
| TL-1 | TIA at the Reclaim Pipeline | Construction, Operation, , Closure, Post-Closure | G, N1, N2, MT and TDS, Cl, Free CN, Total CN, T-Ag, T-Ca, T-Cd, T-Cr,T-Hg, T-K, T-Mo, T-Mg, T-Na, T-Se, T-Tl, HC, Fecal coliforms | Inactive | Monthly during Operations, Closure and Post Closure. Annually during Care and Maintenance. |  |
|  |  |  | Dissolved Oxygen and Redox Potential, BOD |  | Annually |  |
|  |  |  | Acute Lethality |  | Annually during Post-Closure |  |
|  |  |  | D |  | Daily during periods of discharge |  |
| TL-2 | Doris Outflow Creek – upstream (at the flow monitoring station adjacent to the bridge) | Closure, Post-Closure | G, N1, N2, MT and TDS, Cl, Free CN, Total CN, T-Ag, T-Ca, T-Cd, T-Cr, T-Hg, T-K, T-Mo, T-Mg, T-Na, T-Se, T-Tl, Oil and Grease | Inactive | Inactive |  |
|  |  | Operation | D | Streamflow data collected as per AEMP | Streamflow data collected as per AEMP |  |
| TL-3 | Doris Outflow Creek (~80m downstream of the base of the waterfall) | Care and Maintenance, prior to any deposit of tailings to the TIA | G, N1, N2, MT and TDS, Cl, Free CN, Total CN, T-Ag, T-Ca, T-Cd, T-Cr, T-Hg, T-K, T-Mo, T-Mg, T-Na, T-Se, T-Tl, Total Oil and Grease | Inactive | Inactive |  |
|  |  |  | D |  |  |  |
| TL-4 | TIA Discharge End-of-Pipe | Care and Maintenance, prior to any deposit of tailings to the TIA | G, N1, N2, MT and TDS, Cl, Free CN, Total CN, T-Ag, T-Ca, T-Cd, T-Cr, T-Hg, T-K, T-Mo, T-Mg, T-Na, T-Se, T-Tl, T-Radium 226 | Inactive | Inactive |  |
|  |  |  | Acute Lethality |  |  |  |
|  |  |  | B |  |  |  |
|  |  |  | D |  |  |  |
| TL-5 | Effluent from Doris Process Plant (tailings slurry/ water) | Operations | G, N1, MT, and Free CN, Total CN, WAD CN, Sulphate, T- Cd, T-Cr, T-Hg, T-Mo, T- Se, and Total Metals by ICP-MS | Inactive | Monthly |  |
|  |  |  | Cyanate and Thiocyanate |  | Quarterly |  |
| TL-6 | Tailings Discharged into TIA (Solid Component) taken from a valve in the mill at the discharge end of the mill tailings pumps | Operations | Tonnage of dry tailings solids | Inactive | Monthly during periods of discharge |  |
|  |  |  | MT and T-Cd, T-Cr, T-Hg, T-Mo, T-Se, Total Inorganic Carbon and Total Metals by ICP-MS (must include Sulphur) |  | Sampled on a weekly basis with analyses carried out monthly on a composite sample of the TL-6 weekly samples |  |
| TL-7a | Detoxified tailings solids sent underground as backfill | Inactive | Dry tonnage of detoxified tailings sent underground; Moisture content of backfill trucked underground | Inactive | Inactive |  |
| TL-7b | Filtrate from TL-7a (Detoxified tailings sent underground as backfill) | Inactive | Cyanate and Thiocyanate WAD CN, Total Inorganic Carbon, Total Metals by ICP-MS (including Sulphur) | Inactive | Inactive |  |
| TL-8 | Reclaim water pumped from TIA to Mill Process water tank taken from a valve at the discharge end of the reclaim water pump | Operations | G, N1, N2, MT and Free CN, Total CN, T-Ag, T-Cd, T-Cr, T-Hg, T-Mo, T-Se, T-Tl | Inactive | Monthly during periods of intake |  |
|  |  |  | D |  | Daily during periods of pumping |  |
| TL-9 | Detox tailings reactor tank (650-TK-565) | Inactive |  | Inactive | Inactive |  |
| TL-10 | Water Column in deepest portion of Tail Lake and at a location away from the TIA Reclaim water floating pump house, sampled at surface, mid-depth and near bottom | Inactive |  | Inactive | Inactive |  |
| TL-11 | Seepage from Doris underground backfilled stopes | Operations | Visual inspection for seepage. If seepage present parameters to be monitored include N1 and pH, EC, Trace metals by ICP-MS, Alkalinity, Acidity, Sulphate, Total, Free and WAD CN |  | Survey Twice annually |
| TL-12 | Doris Mine Water Discharge Point | Operations during continuous pumping | Chloride, TDS and nitrate: |  | Weekly |
|  |  |  | Total Ammonia, Nitrate, Nitrite, pH, EC, Total Metals by ICPMS ,alkalinity, bromide, fluoride, sulphate, TSS, and Total and WAD Cyanide |  | Monthly |
|  |  |  | D |  | daily during periods of discharge |
| ST-1 | Doris Contact Water Pond 1A | Construction, Operation, Care and Maintenance, Closure | G, N1, MT and Total Sulphate, Total CN, Total Oil and Grease, Alkalinity, Chloride, and Total Metals by ICP-MS | Annually | Annually |
| ST-2 | Doris Contact Water Pond 1B | Construction, Operation, Care and Maintenance, Closure | G, N1, MT and Total Sulphate, Total CN, Total Oil and Grease, Alkalinity, Chloride, and Total Metals by ICP-MS | Annually | Annually |
| ST-3 | Discharge from Non-hazardous Landfill Contact Water control sump | Construction, Care and Maintenance, Operation, Closure | G, MT and Total Ammonia-N, Total Sulphate, Total and Free CN, Total Oil and Grease | Once before any discharge, daily when discharging onto the tundra | Annually. Once prior to every discharge onto the tundra |
|  |  |  | D | Daily during periods of discharge | Daily during periods of discharge |
| ST-4 | Discharge from Landfarm sump | Construction, Care and Maintenance, Operation, Closure | G, HC, total Ammonium, total Lead | Once before any discharge, daily when discharging onto the tundra | Annually. Once prior to every discharge onto the tundra. |
|  |  |  | D | Daily during periods of discharge | Daily during periods of discharge |
| ST-5 | Discharge from Doris Plant Site Fuel Storage and Containment Area Sump | Construction, Operation, Care and Maintenance, Closure | G, HC, Total Pb | Once before any discharge, daily when discharging onto the tundra | Annually. Once prior to every discharge onto the tundra |
|  |  |  | D | Daily during periods of discharge | Daily during periods of discharge |
| ST-6a and ST-6b | Discharge from the Roberts Bay Fuel Storage and Containment Area Sumps | Construction, Operation, Care and Maintenance, Closure | G, HC, Total Pb | Once before any discharge, daily when discharging onto the tundra | Annually. Once prior to every discharge onto the tundra |
|  |  |  | D | Daily during periods of discharge | Daily during periods of discharge |
| ST-7 | Fresh Water pumped from Doris Lake | Construction, Operation, Care and Maintenance, Closure | G, N1, N2, MT and Free CN, Total CN, T-Ag, T-Ca, T-Cd, T-Cr, T-Hg, T-Mo, T-Se, T-Tl, and Total Oil and Grease, Cl | Inactive | Monthly during periods pumping |
|  |  |  | D |  | Monthly during periods of pumping |
|  |  |  | Cl-a |  | Annually |
| ST-7a | Fresh Water pumped from the Windy Lake fresh Water intake | Construction, Operation, Care and Maintenance, Closure | G, N1, N2, MT, Cl and, T-Ag, T-Cd, T-Cr, T-Hg, T-Mo, T-Se, T-Tl, T-Ca, and Total Oil and Grease, Free CN, Total CN | Inactive | Monthly during periods of pumping |
|  |  |  | B |  |  |
|  |  |  | D |  |  |
| ST-8 | Discharge from Doris Sewage Treatment Plantbio-membrane | Construction, Operation, Care and Maintenance, Closure | G, B, and Total Oil and Grease | Inactive | Monthly when discharge to the Tundra, Annually when discharge to the TIA |
|  |  |  | Location of discharge |  | Monthly during periods of Discharge |
|  |  |  | D |  | Daily during periods of discharge |
| ST-9 | Runoff from Doris Sewage Treatment Plant discharge -downstream of Wastewater treatment plant discharge point and just prior to flow entering Glenn Lake | Construction, Operation, Care and Maintenance, Closure | G, B, and Total Oil and Grease | Monthly during open water season or as accessibility allows via helicopter | Monthly when ST-8 is discharged to the tundra, during open water season or as accessibility allows via helicopter |
| ST-10 | Doris Site Runoff from Sediment Controls | Construction, Operations, Closure | TSS or Turbidity (following development and approval of a site-specific TSS-Turbidity) | Inactive | Inactive |
| ST-11 | Reagent and Cyanide Doris Storage Facility Sumps. | Construction, Operation, Care and Maintenance, Closure | G, HC , MT, T-Ag, T-Ca, T-Cd, T-Cr, T-Hg, T-MoT-SeT-Tl, Total Ammonia, Total and Free Cyanide, and D | Inactive | Annually |
| ST-12 | Doris Lake | Operation, Closure | Water Level |  | Monthly |
|  |  |  | Ice Thickness |  | Annually in April |
| ST-13 | Doris Contact Water Pond 1C (Pad U) | Construction, Operation, Care and Maintenance, Closure | G, N1, MT and Total Sulphate, Total CN, Total Oil and Grease, Alkalinity, Chloride, and Total Metals by ICP-MS | Inactive | Annually |
|  |  |  | D | Inactive | Daily during periods of discharge |
| ST-14 | Saline Pond 1 (SP1) | Construction, Operation, Care and Maintenance, Closure | G, N1, MT and Total Sulphate, Total CN, Total Oil and Grease, Alkalinity, Chloride, and Total Metals by ICP-MS | Inactive | Annually |  |
|  |  |  | D |  | Daily during periods of discharge |  |
| ST-15 | Saline Pond 2 (SP2) | Construction, Operation, Care and Maintenance, Closure | G, N1, MT and Total Sulphate, Total CN, Total Oil and Grease, Alkalinity, Chloride, and Total Metals by ICP-MS | Inactive | Annually |  |
|  |  |  | D |  | Daily during periods of discharge |  |
| Monitoring Strip #1 | Shoreline (location provided in S4 DWG T-14 dated March 2007) | Inactive | Erosion via bathymetric survey of the underwater section of the monitoring strip down to the original Tailings Impoundment Area water level of 28.3 m | Inactive | Inactive |
| Monitoring Strip #2 | Shoreline (location provided in S4 DWG T-14 dated March 2007) | Inactive | Erosion via bathymetric survey of the underwater section of the monitoring strip down to the original Tailings Impoundment Area water level of 28.3 m | Inactive | Inactive |
| Monitoring Strip #3 | Shoreline | Inactive | Inactive | Inactive | Inactive |
| Monitoring Strip #4 | Shoreline | Inactive | Inactive | Inactive | Inactive |
| Monitoring Strip #5 | Shoreline (location provided in S4 DWG T-14 dated March 2007) | Inactive | Erosion via bathymetric survey of the underwater section of the monitoring strip down to the original Tailings Impoundment Area water level of 28.3 m | Inactive | Inactive |
| Monitoring Strip #6 | Shoreline (location provided in S4 DWG T-14 dated March 2007) | Inactive | Erosion via bathymetric survey of the underwater section of the monitoring strip down to the original Tailings Impoundment Area water level of 28.3 m | Inactive | Inactive |
| Madrid |  |  |  |  |  |
| MMS-1 | Madrid Sump 1 | construction, operations, care and maintenance | G, N1, MT and Total Sulphate, Total CN, Total Oil and Grease, Alkalinity, Chloride, and Total Metals by ICP- MS | Not Applicable | Sampled twice annually, Weekly water levels |
| MMS-2 | Madrid Contact Water Pond 5 | construction, operations, care and maintenance, closure | G, N1, MT and Total Sulphate, Total CN, Total Oil and Grease, Alkalinity, Chloride, and Total Metals by ICP- MS | Not Applicable | Sampled twice annually, Weekly water levels |
| MMS-3 | Madrid Contact Water Pond 6 | construction, operations, care and maintenance, closure | G, N1, MT and Total Sulphate, Total CN, Total Oil and Grease, Alkalinity, Chloride, and Total Metals by ICP- MS | Not Applicable | Sampled twice annually, Weekly water levels |
| MMS-4a | Fresh Water Intake at Windy Lake North | construction, operations, care and maintenance, closure | G, N1, N2, MT and Free CN, Total CN, T-Ag, T-Ca, T-Cd, T-Cr, T-Hg, T-Mo, T-Se, T-Tl, and Total Oil and Grease, Cl, D | Not Applicable | Sampled monthly during active pumping periods |
| MMS-4b | Fresh Water Intake at Windy Lake South (Windy Camp) | construction, operations, care and maintenance, closure | G, N1, N2, MT and Free CN, Total CN, T-Ag, T-Ca, T-Cd, T-Cr, T-Hg, T-Mo, T-Se, T-Tl, and Total Oil and Grease, Cl, D | Not Applicable | Sampled monthly during active pumping periods |
| MMS-5 | Discharge from Patch 7 Fuel Storage facility | construction, operations, care and maintenance, closure | G, HC, total Pb | Not Applicable | Annually. Once prior to every discharge onto the tundra |
| MMS-6 | Brine Mixing Facility | Operations during continuous pumping | G, N1, Chloride, Fluoride, Bromide, Sulphate, TDS, EC, Total Metals ICPMS, alkalinity, and Total and WAD Cyanide | Not Applicable | Sampled monthly during active pumping periods |
| MMS-7 | Effluent from Madrid North Concentrator to TIA | Inactive | G, N1, MT, and Free CN, Total CN, WAD CN, Sulphate, T-Cd, T-Cr, T- Hg, T-Mo, T-Se, and Total Metals by ICP-MS | Not Applicable | Inactive |
| MMS-8 | Discharge from Madrid North Fuel Storage facility | construction, operations, care and maintenance, closure | G, HC, total Pb | Not Applicable | Annually. Once prior to every discharge onto the tundra |
| MMS-9 | Site runoff from sediment controls during construction | construction | TSS or Turbidity | Not Applicable | Sampled daily during periods of discharge |
| MMS-10 | Mine Water Discharge Point | Operations during continuous pumping | Chloride, TDS and nitrate: | Inactive | Weekly |
|  |  |  | Total Ammonia, Nitrate, Nitrite, pH, EC, Total Metals ICPMS alkalinity, Fluoride, Bromide, sulphate, TSS, and Total and WAD Cyanide |  | Monthly |
|  |  |  | D |  | daily during periods of discharge |
| MMS-11 | Quarry D Contact Water Pond 3 (CWP3) | Construction, Operation, Care and Maintenance, Closure | G, N1, MT and Total Sulphate, Total CN, Total Oil and Grease, Alkalinity, Chloride, and Total Metals by ICP-MS | Annually | Annually |  |
|  |  |  | D | Daily during periods of discharge | Daily during periods of discharge |  |
| MMS-12 | Patch 7 Contact Water Pond (CWP4) | Construction, Operation, Care and Maintenance, Closure | G, N1, MT and Total Sulphate, Total CN, Total Oil and Grease, Alkalinity, Chloride, and Total Metals by ICP-MS | Annually | Annually |  |
|  |  |  | D | Daily during periods of discharge | Daily during periods of discharge |  |
| Monitoring Legend: Green - Regulated; Blue - General Aquatic; Orange – Verification |  |  |  |  |  |  |
| Regulated Monitoring occurs at Monitoring Program Stations in licences or regulations. It includes discharge limits that must be achieved to maintain compliance with water licence or regulation (i.e., Metal and Diamond Mining Effluent Regulations). Enforcement action may be taken if discharge limits are exceeded. |  |  |  |  |  |  |
| General Aquatic Monitoring is subject to compliance assessment to confirm sampling is carried out using established protocols, including quality assurance/quality control provisions, and addresses identified issues. General monitoring is subject to change as directed by an Inspector, or by the Licensee, subject to approval by the NWB. |  |  |  |  |  |  |
| Verification Monitoring Program to be carried out for operational and management purposes by Licensee. Monitoring parameters may vary between locations. Monitoring parameters and locations are internal for Licensee. |  |  |  |  |  |  |

Table 3 THERMAL MONITORING

| Station | Location | Location Reference | Phase | Frequency Prior to Operations; During Care and Maintenance | Frequency during Operations |
| --- | --- | --- | --- | --- | --- |
| T-1 | Bridge Abutment | SD4 - DWG S-12 | Operation | D | A |
| T-2 | Bridge Abutment | SD4 - DWG S-12 | Operation | D | A |
| DOR-3 | Contact Water Pond | PCP-1 | Operation | D | A |
| DOR-6 | Road | Doris-Windy All Weather | Operation | D | A |
| DOR-7 | Road | Doris-Windy All Weather | Operation | D | A |
| DOR-8 | Road | Doris-Windy All Weather | Operation | D | A |
| DOR-9 | Road | Doris-Windy All Weather | Operation | D | A |
| DOR-10 | Road | Doris-Windy All Weather | Operation | D | A |
|  | North Dam | SD4 - DWG T-09 | Operation, Closure | C | C |
|  | South Dam | SD4 - DWG T-10 | Operation, Closure | C | C |

A - Monthly, increasing if warming trend is observed

B – Monthly

C - Monthly readings taken manually; data loggers installed to collect continuous data at key locations. Frequency maintained until dam reaches pseudo steady state conditions. The frequency may then be reduced but will have to coincide with the peaks of the annual climatic cycles

D – Annually at the end of summer when the active layer should be at maximum thickness.

AWM – Monthly during periods of active water management (Prior to Operations and during Care and Maintenance)

IA – Inactive