## SNP Stations
Station | Description | Status
ST-1 | Doris Sedimentation Pond, collected directly from pond or from spigot on discharge pump during active pumping to TIA | Seasonally active
ST-2 | Doris Contact Water Pond, collected from collection sump in the pond | Seasonally active
ST-3 | Discharge from Non-Hazardous Landfill Contact Water control sump | Inactive; facility not constructed
ST-4 | Discharge from Landfarm Sump | Seasonally active
ST-5 | Discharge from Doris Plant Site Fuel Storage and Containment Area sump | Seasonally active
ST-6A | Discharge from Roberts Bay Single 5ML Fuel Storage and Containment Area sump | Seasonally active
ST-6B | Discharge from Roberts Bay Fuel Storage and Containment Area sump | Seasonally active
ST-7 | Doris Lake freshwater collected from spigot on intake pipeline inside pumphouse | Active
ST-7A | Windy Lake freshwater collected from spigot on intake pipeline inside pumphouse (south end of Windy Lake); same location as MMS-4B | Active
ST-8 | Discharge from Doris Sewage Treatment Plant collected from valve on final discharge storage tank located inside treatment plant | Active
ST-9 | Runoff from Doris Sewage Treatment Plant collected downstream of treatment plant discharge pipeline prior to flow entering Glenn Lake | Seasonally active
ST-10 | Doris Site runoff from sediment controls | Seasonally active
ST-11 | Doris Reagent and Cyanide Storage Facility sumps | Seasonally active
ST-12 | Doris Lake water level measured continuously with hydrometric station, ice thickness measured annually in April | Active
ST-13 | Doris Contact Water Pond Pad U, collected from collection sump in pond | Inactive; facility not constructed
TL-1 | TIA reclaim water collected from Reclaim Pipeline inside pumphouse | Active
TL-2 | Doris Creek Outflow upstream at flow monitoring station adjacent to bridge at Doris Creek | Active (flow measurements)
TL-3 | Doris Creek Outflow collected at location approximately 80m downstream of the base of the waterfall | Inactive
TL-4 | TIA discharge end-of-pipe | Inactive
TL-5 | Effluent from Doris Process Plant (tailings slurry/water) discharged to TIA collected from tailings discharge line inside the Process Plant | Active
TL-6 | Tailings discharged into TIA (solid component) taken from a valve in the Process Plant at the discharge end of the mill tailings pumps | Active
TL-7A | Detoxified tailings solids sent underground as backfill collected from Detox filter press inside the Process Plant | Active
TL-7B | Filtrate from TL-7A (Detoxified tailings sent underground as backfill) collected from Detox filter tank inside the Process Plant | Active
TL-8 | Reclaim water pumped from TIA to Mill Process water tank | Inactive
TL-9 | Detox tailings reactor tank, continuous automated monitoring | Active
TL-10 | Water column in deepest portion of Tail Lake sampled at surface, mid-depth and near bottom | Inactive
TL-11 | Seepage from Doris underground backfilled stopes collected from base of backfilled stopes | Active
TL-12A | Doris Mine water discharge point | Active
MMS-1 | Madrid North Contact Water Pond | Seasonally active
MMS-2 | Madrid South Primary Contact Water Pond | Inactive; facility not constructed
MMS-3 | Madrid South Secondary Contact Water Pond | Inactive; facility not constructed
MMS-4A | Windy Lake freshwater intake (north end of Windy Lake) | Inactive; facility not constructed
MMS-4B | Windy Lake freshwater collected from spigot on intake pipeline inside pumphouse (south end of Windy Lake); same location as ST-7A | Active
MMS-5 | Discharge from Madrid South Fuel Storage Facility | Inactive; facility not constructed
MMS-6 | Brine Mixing Facility | Active
MMS-7 | Effluent from Madrid North Connector to TIA | Inactive; facility not constructed
MMS-8 | Discharge from Madrid North Fuel Storage Facility | Inactive; facility not constructed
MMS-9 | Site runoff from sediment controls during construction | Seasonally active
MMS-10 | Madrid Mine Water Discharge Point | Inactive; facility not constructed

## SNP - ST1
Sample ID
ALS ID
Date Sampled
Parameter | Units
pH | pH
Total Suspended Solids | mg/L
Chloride (Cl) | mg/L
Cyanide, Total | mg/L
Ammonia, Total (as N) | mg/L
Nitrate (as N) | mg/L
Nitrite (as N) | mg/L
Sulfate (SO4) | mg/L
Aluminum (Al)-Total | mg/L
Antimony (Sb)-Total | mg/L
Arsenic (As)-Total | mg/L
Barium (Ba)-Total | mg/L
Beryllium (Be)-Total | mg/L
Boron (B)-Total | mg/L
Cadmium (Cd)-Total | mg/L
Calcium (Ca)-Total | mg/L
Chromium (Cr)-Total | mg/L
Cobalt (Co)-Total | mg/L
Copper (Cu)-Total | mg/L
Iron (Fe)-Total | mg/L
Lead (Pb)-Total | mg/L
Lithium (Li)-Total | mg/L
Magnesium (Mg)-Total | mg/L
Manganese (Mn)-Total | mg/L
Mercury (Hg)-Total | mg/L
Molybdenum (Mo)-Total | mg/L
Nickel (Ni)-Total | mg/L
Potassium (K)-Total | mg/L
Selenium (Se)-Total | mg/L
Silver (Ag)-Total | mg/L
Sodium (Na)-Total | mg/L
Thallium (Tl)-Total | mg/L
Tin (Sn)-Total | mg/L
Titanium (Ti)-Total | mg/L
Uranium (U)-Total | mg/L
Vanadium (V)-Total | mg/L
Zinc (Zn)-Total | mg/L
Alkalinity, Total (as CaCO3) | mg/L
Oil and Grease | mg/L
Oil And Grease (Visible Sheen)

## SNP - ST2
Sample ID
ALS ID
Date Sampled
Parameter | Units
pH | pH
Total Suspended Solids | mg/L
Chloride (Cl) | mg/L
Cyanide, Total | mg/L
Ammonia, Total (as N) | mg/L
Nitrate (as N) | mg/L
Nitrite (as N) | mg/L
Sulfate (SO4) | mg/L
Aluminum (Al)-Total | mg/L
Antimony (Sb)-Total | mg/L
Arsenic (As)-Total | mg/L
Barium (Ba)-Total | mg/L
Beryllium (Be)-Total | mg/L
Boron (B)-Total | mg/L
Cadmium (Cd)-Total | mg/L
Calcium (Ca)-Total | mg/L
Chromium (Cr)-Total | mg/L
Cobalt (Co)-Total | mg/L
Copper (Cu)-Total | mg/L
Iron (Fe)-Total | mg/L
Lead (Pb)-Total | mg/L
Lithium (Li)-Total | mg/L
Magnesium (Mg)-Total | mg/L
Manganese (Mn)-Total | mg/L
Mercury (Hg)-Total | mg/L
Molybdenum (Mo)-Total | mg/L
Nickel (Ni)-Total | mg/L
Potassium (K)-Total | mg/L
Selenium (Se)-Total | mg/L
Silver (Ag)-Total | mg/L
Sodium (Na)-Total | mg/L
Thallium (Tl)-Total | mg/L
Tin (Sn)-Total | mg/L
Titanium (Ti)-Total | mg/L
Uranium (U)-Total | mg/L
Vanadium (V)-Total | mg/L
Zinc (Zn)-Total | mg/L
Alkalinity, Total (as CaCO3) | mg/L
Oil and Grease | mg/L
Oil And Grease (Visible Sheen)
Note: Effluent quality limits listed under Part F Item 18(a) are not applicable as water accumulating in this facility is transferred to the Tailings Impoundment Area.

## SNP - ST4
Sample ID |  | Part F Item 18(b)
ALS ID |  | Maximum Authorized Monthly Mean Concentration (mg/L) | Maximum Authorized Concentration in a Grab Sample (mg/L)
Date Sampled
Parameter | Units
pH | pH | 6.0-9.5 | 6.0-9.5
Total Suspended Solids | mg/L | 50 | 100
Benzene | mg/L | 0.37 | 0.37
Toluene | mg/L | 0.002 | 0.002
Ethylbenzene | mg/L | 0.09 | 0.09
Oil and Grease | mg/L | 5 | 10
Oil And Grease (Visible Sheen) |  | No Visible | No Visible
Lead (Pb)-Total | mg/L | 0.2 | 0.4
Ammonia, Total (as N) | mg/L
Bold indicates exceedance of Part F Item 18 (b) Maximum Concentration
^ Indicates duplicate sample.

## SNP - ST5
Sample ID |  | Part F Item 18 (b)
ALS ID |  | Maximum Authorized Monthly Mean Concentration (mg/L) | Maximum Authorized Concentration in a Grab Sample (mg/L)
Date Sampled
Parameter | Units
pH | pH | 6.0-9.5 | 6.0-9.5
Total Suspended Solids | mg/L | 50 | 100
Benzene | mg/L | 0.37 | 0.37
Toluene | mg/L | 0.002 | 0.002
Ethylbenzene | mg/L | 0.09 | 0.09
Oil and Grease | mg/L | 5 | 10
Oil And Grease (Visible Sheen) |  | No Visible Sheen | No Visible Sheen
Lead (Pb)-Total | mg/L | 0.2 | 0.4
Bold indicates exceedance of Part F Item 18 (b) Maximum Concentration
^ Indicates duplicate sample.

## SNP - ST6A
Sample ID |  | Part F Item 18 (b)
ALS ID |  | Maximum Authorized Monthly Mean Concentration (mg/L) | Maximum Authorized Concentration in a Grab Sample (mg/L)
Date Sampled
Parameter | Units
pH | pH | 6.0-9.5 | 6.0-9.5
Total Suspended Solids | mg/L | 50 | 100
Benzene | mg/L | 0.37 | 0.37
Toluene | mg/L | 0.002 | 0.002
Ethylbenzene | mg/L | 0.09 | 0.09
Oil and Grease | mg/L | 5 | 10
Oil And Grease (Visible Sheen) |  | No Visible Sheen | No Visible Sheen
Lead (Pb)-Total | mg/L | 0.2 | 0.4
Bold indicates exceedance of Part F Item 18 (b) Maximum Concentration
^ Indicates duplicate sample.

## SNP - ST6B
Sample ID |  | Part F Item 18 (b)
ALS ID |  | Maximum Authorized Monthly Mean Concentration (mg/L) | Maximum Authorized Concentration in a Grab Sample (mg/L)
Date Sampled
Parameter | Units
pH | pH | 6.0-9.5 | 6.0-9.5
Total Suspended Solids | mg/L | 50 | 100
Benzene | mg/L | 0.37 | 0.37
Toluene | mg/L | 0.002 | 0.002
Ethylbenzene | mg/L | 0.09 | 0.09
Oil and Grease | mg/L | 5 | 10
Oil And Grease (Visible Sheen) |  | No Visible Sheen | No Visible Sheen
Lead (Pb)-Total | mg/L | 0.2 | 0.4
Bold indicates exceedance of Part F Item 18 (b) Maximum Concentration
^ Indicates duplicate sample.

## SNP - ST7
Sample ID |  | ST7 | ST7^ | ST7 | ST7 | ST7
ALS ID |  | L2403845-1 | L2403845-2 | L2413118-1 | L2423312-1 | L2437418-1
Date Sampled |  | 2020-01-08 10:15 | 2020-01-08 10:15 | 2020-02-03 17:30 | 2020-03-02 10:25 | 2020-04-14 10:05
Parameter | Units | Water | Water | Water | Water | Water
pH | pH | 7.41 | 7.42 | 7.38 | 7.47 | 7.38
Total Suspended Solids | mg/L | <3.0 | <3.0 | <3.0 | <3.0 | <3.0
Chloride (Cl) | mg/L | 55.5 | 55.6 | 58.3 |  | 59.3
Cyanide, Free | mg/L | <0.0050 | <0.0050 | <0.0050 | <0.0050 | <0.0050
Cyanide, Total | mg/L | <0.0050 | <0.0050 | <0.0050 | <0.0050 | <0.0050
Ammonia, Total (as N) | mg/L | 0.03 | 0.0324 | 0.0368 | 0.0275 | 0.0075
Nitrate (as N) | mg/L | <0.0050 | <0.0050 | <0.0050 | 0.0131 | 0.0705
Nitrite (as N) | mg/L | <0.0010 | <0.0010 | <0.0010 | <0.0010 | <0.0010
Orthophosphate-Dissolved (as P) | mg/L | <0.0010 | <0.0010 | <0.0010 | <0.0010 | <0.0010
Phosphorus (P)-Total | mg/L | 0.0205 | 0.0173 | 0.0198 | 0.0205 | 0.0137
Aluminum (Al)-Total | mg/L | 0.0217 | 0.0215 | 0.021 | 0.0173 | 0.0104
Arsenic (As)-Total | mg/L | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050
Cadmium (Cd)-Total | mg/L | <0.0000050 | 2.34e-05 | 1.9e-05 | 9.2e-06 | <0.0000050
Calcium (Ca)-Total | mg/L | 8.03 | 8.15 | 8.59 | 8.61 | 8.52
Chromium (Cr)-Total | mg/L | <0.0010 | <0.0010 | <0.0010 | <0.0010 | <0.0010
Copper (Cu)-Total | mg/L | 0.0019 | 0.0026 | 0.0021 | 0.0018 | 0.0019
Iron (Fe)-Total | mg/L | 0.124 | 0.12 | 0.161 | 0.128 | 1.23
Lead (Pb)-Total | mg/L | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050
Mercury (Hg)-Total | mg/L | 1.55e-05 | <0.0000050 | <0.0000050 | 8.2e-06 | <0.0000050
Molybdenum (Mo)-Total | mg/L | <0.0010 | <0.0010 | <0.0010 | <0.0010 | <0.0010
Nickel (Ni)-Total | mg/L | <0.0010 | <0.0010 | <0.0010 | <0.0010 | <0.0010
Selenium (Se)-Total | mg/L | 5.2e-05 | 6.3e-05 | 6.2e-05 | <0.000050 | <0.000050
Silver (Ag)-Total | mg/L | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020
Thallium (Tl)-Total | mg/L | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010
Zinc (Zn)-Total | mg/L | <0.0050 | 0.0057 | <0.0050 | <0.0050 | <0.0050
Oil and Grease | mg/L | <5.0 | <5.0 | <5.0 | <5.0 | <5.0
Oil And Grease (Visible Sheen) |  | NO | NO | NO | NO | NO
Chlorophyll-a | ug
^ Indicates duplicate sample.

## SNP - ST7A & MMS4B
Sample ID |  | ST-7A/MMS-4B | ST-7A/MMS-4B | ST-7A/MMS-4B^ | ST-7A/MMS-4B | ST-7A/MMS-4B
ALS ID |  | L2402894-1 | L2413153-1 | L2413153-3 | L2426271-1 | L2437409-1
Date Sampled |  | 2020-01-06 17:05 | 2020-02-03 16:30 | 2020-02-03 16:30 | 2020-03-09 17:00 | 2020-04-14 16:30
Parameter | Units | Water | Water | Water | Water | Water
pH | pH | 7.87 | 7.8 | 7.76 | 7.88 | 8.05
Total Suspended Solids | mg/L | <3.0 | <3.0 | <3.0 | <3.0 | <3.0
Chloride (Cl) | mg/L | 110 | 114 | 114 | 117 | 116
Cyanide, Free | mg/L | <0.0050 | <0.0050 | <0.0050 | <0.0050 | <0.0050
Cyanide, Total | mg/L | <0.0050 | <0.0050 | <0.0050 | <0.0050 | <0.0050
Ammonia, Total (as N) | mg/L | 0.0106 | 0.0106 | 0.0103 | 0.0072 | 0.0273
Nitrate (as N) | mg/L | <0.0050 | <0.0050 | <0.0050 | <0.0050 | <0.0050
Nitrite (as N) | mg/L | <0.0010 | <0.0010 | <0.0010 | <0.0010 | <0.0010
Orthophosphate-Dissolved (as P) | mg/L | <0.0010 | <0.0010 | <0.0010 | <0.0010 | <0.0010
Phosphorus (P)-Total | mg/L | 0.005 | 0.0038 | 0.0033 | 0.0037 | 0.0033
Aluminum (Al)-Total | mg/L | 0.0072 | 0.0084 | 0.0068 | 0.0063 | 0.0052
Arsenic (As)-Total | mg/L | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050
Cadmium (Cd)-Total | mg/L | <0.0000050 | 7.5e-06 | <0.0000050 | <0.0000050 | 8e-06
Calcium (Ca)-Total | mg/L | 15.3 | 15.4 | 15.9 | 15.3 | 15.4
Chromium (Cr)-Total | mg/L | <0.0010 | <0.0010 | <0.0010 | <0.0010 | <0.0010
Copper (Cu)-Total | mg/L | 0.0015 | 0.0027 | 0.0017 | 0.0012 | 0.0021
Iron (Fe)-Total | mg/L | <0.030 | <0.030 | <0.030 | <0.030 | <0.030
Lead (Pb)-Total | mg/L | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050
Mercury (Hg)-Total | mg/L | 2.49e-05 | 8.8e-06 | 8.2e-06 | <0.0000050 | <0.0000050
Molybdenum (Mo)-Total | mg/L | <0.0010 | <0.0010 | <0.0010 | <0.0010 | <0.0010
Nickel (Ni)-Total | mg/L | <0.0010 | <0.0010 | <0.0010 | <0.0010 | <0.0010
Selenium (Se)-Total | mg/L | <0.000050 | <0.000050 | <0.000050 | 5.3e-05 | <0.000050
Silver (Ag)-Total | mg/L | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020
Thallium (Tl)-Total | mg/L | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010
Zinc (Zn)-Total | mg/L | 0.0062 | 0.0064 | <0.0050 | <0.0050 | <0.0050
Biochemical Oxygen Demand (BOD5) | mg/L | 3 | 2 | 2 | <2.0 | 2
Fecal Coliforms | MPN/100mL | <1 | <1 | <1 | <1 | <1
Oil and Grease | mg/L | <5.0 | <5.0 | <5.0 | <5.0 | <5.0
Oil And Grease (Visible Sheen) |  | NO | NO | NO | NO | NO
^ Indicates duplicate sample.

## SNP - ST8
Sample ID |  | ST8 | ST8 | ST8 | ST8 | Part F Item 5(b)
ALS ID |  | L2405187-1 | L2415844-1 | L2426269-1 | L2437404-1 | Maximum Average Concentration (mg/L) | Maximum Concentration of Any Grab Sample (mg/L)
Date Sampled |  | 2020-01-14 06:15 | 2020-02-11 07:00 | 2020-03-10 07:00 | 2020-04-15 06:30
Parameter | Units | Water | Water | Water | Water
pH | pH | 7.22 | 7.59 | 7.35 | 7.49 | 6.0-9.5 | 6.0-9.5
Total Suspended Solids | mg/L | <3.0 | <3.0 | <3.0 | <3.0 | 100 | 100
Biochemical Oxygen Demand (BOD5) | mg/L | 4 | 4 | 3 | 2 | 80 | 160
Fecal Coliforms | MPN/100mL | <1 | <1 | <1 | <1 | 10000 | 10000
Oil and Grease | mg/L | <5.0 | <5.0 | <5.0 | <5.0 | 5 | 10
Oil And Grease (Visible Sheen) |  | NO | NO | NO | NO | No Visible Sheen | No Visible Sheen
Bold indicates exceedance of Part F Item 5(b) Maximum Concentration
^ Indicates duplicate sample.

## SNP - ST9
Sample ID
ALS ID
Date Sampled
Parameter | Units
pH | pH
Total Suspended Solids | mg/L
Biochemical Oxygen Demand (BOD5) | mg/L
Fecal Coliforms | MPN/100mL
Oil and Grease | mg/L
Oil And Grease (Visible Sheen)
^ Indicates duplicate sample.

## SNP - ST10
Sample ID |  | Part D Item 9
ALS ID |  | Maximum Average Concentration (mg/L) | Maximum Concentration of Any Grab Sample (mg/L)
Date Sampled
Parameter | Units
pH | pH Units | 6.0-9.5 | 6.0-9.5
Total Suspended Solids | mg/L | 50 | 100
Oil and Grease | mg/L
Oil And Grease (Visible Sheen) |  | No Visible Sheen | No Visible Sheen
Bold indicates exceedance of Part D Item 9 Maximum Concentration

## SNP - ST11
Sample ID
ALS ID
Date Sampled
Parameter | Units
pH | pH
Total Suspended Solids | mg/L
Cyanide, Free | mg/L
Cyanide, Total | mg/L
Ammonia, Total (as N) | mg/L
Aluminum (Al)-Total | mg/L
Arsenic (As)-Total | mg/L
Cadmium (Cd)-Total | mg/L
Calcium (Ca)-Total | mg/L
Chromium (Cr)-Total | mg/L
Copper (Cu)-Total | mg/L
Iron (Fe)-Total | mg/L
Lead (Pb)-Total | mg/L
Mercury (Hg)-Total | mg/L
Molybdenum (Mo)-Total | mg/L
Nickel (Ni)-Total | mg/L
Selenium (Se)-Total | mg/L
Silver (Ag)-Total | mg/L
Thallium (Tl)-Total | mg/L
Zinc (Zn)-Total | mg/L
Oil and Grease | mg/L
Oil And Grease (Visible Sheen)
Benzene | mg/L
Toluene | mg/L
Ethylbenzene | mg/L
^ Indicates duplicate sample.

## SNP - TL1
Sample ID |  | TL1 | TL1 | TL1 | TL1
ALS ID |  | L2402830-1 | L2413197-1 | L2423271-1 | L2435046-1
Date Sampled |  | 2020-01-06 17:50 | 2020-02-03 18:00 | 2020-03-02 15:20 | 2020-04-06 12:40
Parameter | Units | Water | Water | Water | Water
pH | pH | 8.12 | 7.56 | 7.83 | 8.13
Total Suspended Solids | mg/L | 7 | 6.5 | 7.4 | 5.8
Total Dissolved Solids | mg/L | 4990 | 5570 | 5490 | 5730
Chloride (Cl) | mg/L | 2250 | 2470 | 2590 | 2490
Cyanide, Free | mg/L | <0.0050 | <0.0050 | <0.0050 | <0.0050
Cyanide, Total | mg/L | 0.444 | 0.202 | 0.179 | 0.159
Ammonia, Total (as N) | mg/L | 10.5 | 9.02 | 9.52 | 9.04
Nitrate (as N) | mg/L | 6.35 | 4.96 | 4.73 | 4.63
Nitrite (as N) | mg/L | 0.34 | 0.293 | 0.204 | 0.236
Orthophosphate-Dissolved (as P) | mg/L | 0.001 | <0.0010 | <0.0010 | <0.0010
Phosphorus (P)-Total | mg/L | 0.0693 | <0.30 | 0.0406 | <0.30
Aluminum (Al)-Total | mg/L | 0.119 | 0.102 | 0.121 | 0.075
Arsenic (As)-Total | mg/L | 0.00174 | 0.00131 | 0.00174 | 0.00133
Cadmium (Cd)-Total | mg/L | <0.000025 | 2.7e-05 | 3.7e-05 | <0.000025
Calcium (Ca)-Total | mg/L | 195 | 242 | 216 | 229
Chromium (Cr)-Total | mg/L | <0.0010 | <0.0010 | 0.0013 | <0.0010
Copper (Cu)-Total | mg/L | 0.0624 | 0.0637 | 0.0689 | 0.0569
Iron (Fe)-Total | mg/L | 0.602 | 0.789 | 1.52 | 1.18
Lead (Pb)-Total | mg/L | <0.00050 | <0.00050 | <0.00050 | <0.00050
Magnesium (Mg)-Total | mg/L | 145 | 155 | 150 | 148
Mercury (Hg)-Total | mg/L | 1.9e-05 | 1.12e-05 | 6.5e-06 | <0.0000050
Molybdenum (Mo)-Total | mg/L | 0.0155 | 0.0102 | 0.0092 | 0.01
Nickel (Ni)-Total | mg/L | 0.0137 | 0.0099 | 0.0102 | 0.0098
Potassium (K)-Total | mg/L | 58.7 | 54.6 | 50.3 | 53.1
Selenium (Se)-Total | mg/L | 0.00047 | 0.00036 | 0.00054 | 0.0004
Silver (Ag)-Total | mg/L | <0.000050 | <0.000050 | <0.000050 | <0.000050
Sodium (Na)-Total | mg/L | 1460 | 1480 | 1410 | 1390
Thallium (Tl)-Total | mg/L | <0.000050 | <0.000050 | <0.000050 | <0.000050
Zinc (Zn)-Total | mg/L | <0.015 | <0.015 | <0.015 | <0.015
Fecal Coliforms | MPN/100mL | <1 | <1 | <1 | <1
Oil and Grease | mg/L | <5.0 | <5.0 | <5.0 | <5.0
Oil And Grease (Visible Sheen) |  | NO | NO | NO | NO
Benzene | mg/L | <0.00050 | 0.00072 | <0.00050 | <0.00050
Toluene | mg/L | <0.00045 | 0.00128 | <0.00045 | <0.00045
Ethylbenzene | mg/L | <0.00050 | 0.00087 | <0.00050 | <0.00050
Dissolved Oxygen | mg/L
Redox Potential | mV
Biochemical Oxygen Demand (BOD5) | mg/L

## SNP - TL5
Sample ID |  | TL5 | TL5 | TL5 | TL5
ALS ID |  | L2402982-1 | L2413105-1 | L2425667-1 | L2435040-1
Date Sampled |  | 2020-01-05 16:45 | 2020-02-02 17:05 | 2020-03-04 16:15 | 2020-04-06 09:50
Parameter | Units | Water | Water | Water | Water
pH | pH Units | 8.23 | 8.18 | 8.16 | 8.19
Total Suspended Solids | mg/L | 104 | 15.5 | 39 | 34.6
Cyanide, Free | mg/L | 0.139 | 0.122 | 0.178 | 0.043
Cyanide, Total | mg/L | 5.52 | 2.79 | 3.08 | 2.8
Cyanide, WAD | mg/L | 0.162 | 0.159 | 0.429 | 0.152
Ammonia, Total (as N) | mg/L | 47.2 | 39.8 | 30.4 | 37
Nitrate (as N) | mg/L | 24.4 | 22.5 | 13.8 | 21.3
Nitrite (as N) | mg/L | 1.25 | 1.18 | 0.79 | 1.14
Sulfate (SO4) | mg/L | 2290 | 1850 | 1360 | 1750
Aluminum (Al)-Total | mg/L | 0.329 | 0.283 | 0.239 | 0.428
Antimony (Sb)-Total | mg/L | 0.003 | 0.0034 | 0.0048 | 0.0047
Arsenic (As)-Total | mg/L | 0.0131 | 0.008 | 0.0262 | 0.0377
Barium (Ba)-Total | mg/L | 0.0368 | 0.0441 | 0.0493 | 0.0471
Beryllium (Be)-Total | mg/L | <0.0010 | <0.0010 | <0.0010 | <0.0010
Bismuth (Bi)-Total | mg/L | <0.00050 | <0.00050 | <0.00050 | <0.00050
Boron (B)-Total | mg/L | 0.96 | 1.04 | 1.09 | 0.95
Cadmium (Cd)-Total | mg/L | <0.000080 | <0.000050 | <0.000060 | <0.000050
Calcium (Ca)-Total | mg/L | 176 | 203 | 245 | 147
Cesium (Cs)-Total | mg/L | <0.00010 | 0.00018 | 0.00034 | 0.00019
Chromium (Cr)-Total | mg/L | 0.0026 | 0.001 | 0.0018 | 0.0031
Cobalt (Co)-Total | mg/L | 0.0129 | 0.0088 | 0.0173 | 0.0151
Copper (Cu)-Total | mg/L | 0.334 | 0.135 | 0.365 | 0.221
Iron (Fe)-Total | mg/L | 6.06 | 2.96 | 3.65 | 4
Lead (Pb)-Total | mg/L | 0.00079 | 0.00074 | 0.00058 | 0.00108
Lithium (Li)-Total | mg/L | 0.045 | 0.049 | 0.054 | 0.061
Magnesium (Mg)-Total | mg/L | 150 | 151 | 241 | 153
Manganese (Mn)-Total | mg/L | 0.237 | 0.228 | 0.237 | 0.172
Mercury (Hg)-Total | mg/L | <0.000025 | <0.000025 | 6.3e-06 | <0.0000050
Molybdenum (Mo)-Total | mg/L | 0.105 | 0.063 | 0.0468 | 0.0541
Nickel (Ni)-Total | mg/L | 0.0163 | 0.0111 | 0.172 | 0.101
Phosphorus (P)-Total | mg/L | <0.50 | <0.50 | <0.50 | <0.50
Potassium (K)-Total | mg/L | 115 | 115 | 131 | 120
Rubidium (Rb)-Total | mg/L | 0.0201 | 0.0383 | 0.048 | 0.0289
Selenium (Se)-Total | mg/L | 0.00151 | 0.00194 | 0.00218 | 0.00206
Silicon (Si)-Total | mg/L | 2.2 | 1.9 | 1.5 | 2.2
Silver (Ag)-Total | mg/L | 0.00056 | 0.00027 | 0.00029 | 0.00106
Sodium (Na)-Total | mg/L | 2470 | 2420 | 2450 | 2130
Strontium (Sr)-Total | mg/L | 1.56 | 1.91 | 2.6 | 1.73
Tellurium (Te)-Total | mg/L | <0.0020 | <0.0020 | <0.0020 | <0.0020
Thallium (Tl)-Total | mg/L | <0.00010 | <0.00010 | <0.00010 | <0.00010
Thorium (Th)-Total | mg/L | <0.0010 | <0.0010 | <0.0010 | <0.0010
Tin (Sn)-Total | mg/L | <0.0010 | <0.0010 | <0.0010 | <0.0010
Titanium (Ti)-Total | mg/L | 0.004 | <0.0030 | <0.0030 | 0.0138
Tungsten (W)-Total | mg/L | 0.0037 | 0.0033 | 0.0065 | 0.0044
Uranium (U)-Total | mg/L | 0.00017 | 0.00033 | 0.00067 | 0.00078
Vanadium (V)-Total | mg/L | <0.0050 | <0.0050 | <0.0050 | <0.0050
Zinc (Zn)-Total | mg/L | <0.030 | <0.030 | <0.030 | <0.030
Zirconium (Zr)-Total | mg/L | <0.0020 | <0.0020 | <0.0020 | <0.0020
Cyanate | mg/L | 88.2 | 76.2 | 64.5 | 79.2
Thiocyanate | mg/L | 20.3 | 21.4 | 12.9 | 14.9
^ Indicates duplicate sample.

## SNP - TL6
Sample ID |  | TL6 | TL6 | TL6 | TL6
Lab Work Order ID |  | C002161 | XJ1119 | XN5637 | C025600
Date Sampled |  | 2020-01-05 | 2020-02-02 | 2020-03-04 | 2020-04-05
Parameter | Units | Solids | Solids | Solids | Solids
Aluminum (Al) | % | 0.89 | 0.79 | 0.8 | 1
Antimony (Sb) | mg/kg | <0.1 | <0.1 | <0.1 | 0.2
Arsenic (As) | mg/kg | 52.4 | 17.1 | 30.4 | 109
Barium (Ba) | mg/kg | 10 | 8 | 11 | 9
Bismuth (Bi) | mg/kg | 0.2 | 0.1 | <0.1 | <0.1
Boron (B) | mg/kg | <20 | 38 | <20 | <20
Cadmium (Cd) | mg/kg | 0.1 | <0.1 | <0.1 | <0.1
Calcium (Ca) | % | 4.05 | 4.87 | 4.87 | 3.97
Chromium (Cr) | mg/kg | 64 | 68 | 56 | 97
Cobalt (Co) | mg/kg | 18 | 15 | 12.6 | 17.4
Copper (Cu) | mg/kg | 128 | 81.6 | 45.5 | 43.6
Iron (Fe) | % | 4.84 | 5.21 | 5 | 4.46
Lead (Pb) | mg/kg | 4.9 | 4.6 | 2.6 | 2.6
Magnesium (Mg) | % | 1.8 | 1.57 | 1.76 | 2.31
Manganese (Mn) | mg/kg | 1170 | 1330 | 1280 | 1100
Mercury (Hg) | mg/kg | <0.01 | <0.01 | <0.01 | <0.01
Molybdenum (Mo) | mg/kg | 0.8 | 0.6 | 0.4 | 0.5
Nickel (Ni) | mg/kg | 46.5 | 26.9 | 39 | 93.5
Phosphorus (P) | mg/kg | 0.037 | 0.042 | 0.046 | 0.038
Potassium (K) | % | 0.06 | 0.06 | 0.06 | 0.05
Selenium (Se) | mg/kg | <0.5 | <0.5 | <0.5 | <0.5
Silver (Ag) | mg/kg | 0.6 | 0.3 | 0.2 | 0.2
Sodium (Na) | % | 0.128 | 0.131 | 0.129 | 0.109
Strontium (Sr) | mg/kg | 34 | 28 | 35 | 54
Tellurium (Te) | mg/kg | 0.2 | <0.2 | <0.2 | <0.2
Thallium (Tl) | mg/kg | <0.1 | <0.1 | 0.2 | <0.1
Thorium (Th) | mg/kg | 0.2 | 0.2 | 0.5 | 0.2
Titanium (Ti) | % | 0.017 | 0.007 | 0.011 | 0.024
Tungsten (W) | mg/kg | 1.3 | 0.8 | 1 | 0.8
Uranium (U) | mg/kg | <0.1 | <0.1 | <0.1 | <0.1
Vanadium (V) | mg/kg | 31 | 23 | 27 | 34
Zinc (Zn) | mg/kg | 70 | 54 | 46 | 37
CaCO3 Equiv. (Kg CaCO3/T) | kg/T | 174.3 | 226.6 | 211.8 | 209.3
CO2 | wt% | 7.67 | 9.97 | 9.32 | 9.21
Sulphur (S) | % | 0.62 | 0.3 | 0.17 | 0.24
^ Indicates duplicate sample.

## SNP - TL7A
Sample ID |  | TL7A | TL7A | TL7A | TL7A
Lab Work Order ID |  | C002167 | XJ1126 | XN5658 | C025605
Date Sampled |  | 2020-01-05 | 2020-02-02 | 2020-03-01 | 2020-04-05
Parameter | Units | Solids | Solids | Solids | Solids
Aluminum (Al) | % | 0.75 | 0.51 | 0.54 | 0.59
Antimony (Sb) | mg/kg | 0.7 | 0.6 | 1.4 | 2.2
Arsenic (As) | mg/kg | 421 | 671 | 1310 | 1440
Barium (Ba) | mg/kg | 10 | 6 | 8 | 7
Bismuth (Bi) | mg/kg | 3.9 | 4.4 | 2.4 | 3.8
Boron (B) | mg/kg | <20 | <20 | <20 | <20
Cadmium (Cd) | mg/kg | 2.1 | 2.1 | 0.9 | 1.4
Calcium (Ca) | % | 3.49 | 2.42 | 3.4 | 2.82
Chromium (Cr) | mg/kg | 306 | 254 | 193 | 266
Cobalt (Co) | mg/kg | 169 | 263 | 259 | 234
Copper (Cu) | mg/kg | 2720 | 3850 | 2460 | 2250
Iron (Fe) | % | 16.1 | 22.2 | 20.7 | 18.7
Lead (Pb) | mg/kg | 86.3 | 125 | 61.9 | 204
Magnesium (Mg) | % | 1.28 | 0.97 | 1.4 | 1.48
Manganese (Mn) | mg/kg | 1080 | 812 | 963 | 805
Mercury (Hg) | mg/kg | 0.05 | 0.05 | 0.03 | 0.05
Molybdenum (Mo) | mg/kg | 3 | 3.2 | 2.7 | 2.7
Nickel (Ni) | mg/kg | 117 | 197 | 469 | 566
Phosphorus (P) | % | 0.034 | 0.025 | 0.033 | 0.024
Potassium (K) | % | 0.06 | 0.04 | 0.05 | 0.04
Selenium (Se) | mg/kg | 9.8 | 14.7 | 12.9 | 11.3
Silver (Ag) | mg/kg | 15.8 | 16.9 | 11.3 | 12.5
Sodium (Na) | % | 0.306 | 0.226 | 0.178 | 0.183
Strontium (Sr) | mg/kg | 27 | 22 | 47 | 48
Tellurium (Te) | mg/kg | 4.1 | 4.4 | 3.7 | 3.3
Thallium (Tl) | mg/kg | 0.1 | 0.1 | 0.1 | 0.1
Thorium (Th) | mg/kg | 0.1 | 0.1 | 0.7 | 0.1
Titanium (Ti) | % | 0.008 | 0.006 | 0.003 | 0.01
Tungsten (W) | mg/kg | 3.9 | 4.7 | 2.6 | 2
Uranium (U) | mg/kg | <0.1 | <0.1 | <0.1 | <0.1
Vanadium (V) | mg/kg | 24 | 17 | 22 | 21
Zinc (Zn) | mg/kg | 622 | 659 | 265 | 506
Moisture | % | 22 | 21 | 18 | 21
CaCO3 Equiv. (Kg CaCO3/T) | kg/T | 149.1 | 130.7 | 182.3 | 165.7
CO2 | wt% | 6.56 | 5.75 | 8.02 | 7.29
Sulphur (S) | wt% | 14.5 | 25.33 | 20.05 | 20
^ Indicates duplicate sample.

## SNP - TL7B
Sample ID |  | TL-7B | TL-7B | TL-7B | TL-7B^ | TL-7B
Lab Work Order ID |  | L2402981-1 | L2413143-1 | L2423399-1 | L2423399-2 | L2435057-1
Date Sampled |  | 2020-01-05 16:55 | 2020-02-02 16:50 | 2020-03-02 08:20 | 2020-03-02 08:20 | 2020-04-05 09:15
Parameter | Units | Water | Water | Water | Water | Water
Cyanate | mg/L | 732 | 517 | 378 | 401 | 704
Thiocyanate | mg/L | 220 | 199 | 142 | 101 | 281
Cyanide, WAD | mg/L | 0.212 | 0.178 | 0.077 | 0.082 | 0.267
Aluminum (Al)-Total | mg/L | 0.33 | 0.81 | <0.15 | <0.15 | 0.39
Antimony (Sb)-Total | mg/L | 0.0342 | 0.026 | 0.0347 | 0.035 | 0.0459
Arsenic (As)-Total | mg/L | 0.0585 | 0.0527 | 0.199 | 0.192 | 0.258
Barium (Ba)-Total | mg/L | 0.067 | 0.0492 | 0.0895 | 0.0871 | 0.0662
Beryllium (Be)-Total | mg/L | <0.0050 | <0.0050 | <0.0050 | <0.0050 | <0.0050
Boron (B)-Total | mg/L | 1.37 | 1.27 | 0.87 | 0.86 | 1.36
Cadmium (Cd)-Total | mg/L | <0.00025 | <0.00025 | <0.00025 | <0.00025 | <0.00025
Calcium (Ca)-Total | mg/L | 44.6 | 51.7 | 84.7 | 85.1 | 68.6
Chromium (Cr)-Total | mg/L | 0.0139 | 0.0119 | 0.0096 | 0.0077 | 0.0114
Cobalt (Co)-Total | mg/L | 0.0253 | 0.0239 | 0.0335 | 0.0318 | 0.0711
Copper (Cu)-Total | mg/L | 11.6 | 11.9 | 5.79 | 5.75 | 2.87
Iron (Fe)-Total | mg/L | 2.3 | 4.19 | 1.37 | 0.63 | 2.4
Lead (Pb)-Total | mg/L | 0.0027 | 0.0049 | <0.0025 | <0.0025 | 0.0127
Lithium (Li)-Total | mg/L | 0.069 | 0.079 | <0.050 | <0.050 | <0.050
Magnesium (Mg)-Total | mg/L | 48.3 | 78.4 | 89.6 | 90.9 | 74.3
Manganese (Mn)-Total | mg/L | 0.245 | 0.261 | 0.218 | 0.225 | 0.199
Molybdenum (Mo)-Total | mg/L | 0.14 | 0.102 | 0.0498 | 0.051 | 0.0762
Nickel (Ni)-Total | mg/L | <0.025 | <0.025 | 0.058 | 0.055 | 0.028
Potassium (K)-Total | mg/L | 81.8 | 77.4 | 71 | 72.4 | 70.2
Selenium (Se)-Total | mg/L | 0.0186 | 0.0123 | 0.0114 | 0.0101 | 0.0104
Silver (Ag)-Total | mg/L | 0.00553 | 0.00411 | 0.00145 | 0.00151 | 0.00406
Sodium (Na)-Total | mg/L | 9560 | 10100 | 7960 | 7990 | 7430
Sulfur (S) - Total | mg/L | 5720 | 5950 | 4490 | 4580 | 4110
Thallium (Tl)-Total | mg/L | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050
Tin (Sn)-Total | mg/L | <0.0050 | <0.0050 | <0.0050 | <0.0050 | <0.0050
Titanium (Ti)-Total | mg/L | <0.015 | <0.015 | <0.015 | <0.015 | <0.015
Uranium (U)-Total | mg/L | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050
Vanadium (V)-Total | mg/L | <0.025 | <0.025 | <0.025 | <0.025 | <0.025
Zinc (Zn)-Total | mg/L | <0.15 | <0.15 | <0.15 | <0.15 | <0.15
^ Indicates duplicate sample.

## SNP - TL11
Sample ID
ALS ID
Date Sampled
Parameter | Units
pH | pH
Conductivity | µS/cm
Cyanide, Free | mg/L
Cyanide, Total | mg/L
Cyanide, WAD | mg/L
Ammonia, Total (as N) | mg/L
Nitrate (as N) | mg/L
Nitrite (as N) | mg/L
Sulfate (SO4) | mg/L
Aluminum (Al)-Dissolved | mg/L
Antimony (Sb)-Dissolved | mg/L
Arsenic (As)-Dissolved | mg/L
Barium (Ba)-Dissolved | mg/L
Beryllium (Be)-Dissolved | mg/L
Bismuth (Bi)-Dissolved | mg/L
Boron (B)-Dissolved | mg/L
Cadmium (Cd)-Dissolved | mg/L
Calcium (Ca)-Dissolved | mg/L
Chromium (Cr)-Dissolved | mg/L
Cobalt (Co)-Dissolved | mg/L
Copper (Cu)-Dissolved | mg/L
Iron (Fe)-Dissolved | mg/L
Lead (Pb)-Dissolved | mg/L
Lithium (Li)-Dissolved | mg/L
Magnesium (Mg)-Dissolved | mg/L
Manganese (Mn)-Dissolved | mg/L
Mercury (Hg)-Dissolved | mg/L
Molybdenum (Mo)-Dissolved | mg/L
Nickel (Ni)-Dissolved | mg/L
Phosphorus (P)-Dissolved | mg/L
Potassium (K)-Dissolved | mg/L
Selenium (Se)-Dissolved | mg/L
Silicon (Si)-Dissolved | mg/L
Silver (Ag)-Dissolved | mg/L
Sodium (Na)-Dissolved | mg/L
Strontium (Sr) - Dissolved | mg/L
Sulphur (S)-Dissolved | mg/L
Thallium (Tl)-Dissolved | mg/L
Tin (Sn)-Dissolved | mg/L
Titanium (Ti)-Dissolved | mg/L
Uranium (U)-Dissolved | mg/L
Vanadium (V)-Dissolved | mg/L
Zinc (Zn)-Dissolved | mg/L
Zirconium (Zr)-Dissolved | mg/L
Alkalinity, Total (as CaCO3) | mg/L
Acidity as CaCO3 | mg/L
^ Indicates duplicate sample.

## SNP - TL12A
Sample ID |  | TL-12A | TL12 | TL-12A | TL12 | TL-12A | TL-12A | TL-12A | TL-12A | TL-12A | TL-12A | TL-12A | TL-12A | TL-12A^ | TL-12A | TL-12A | TL-12A | TL-12A
ALS ID |  | L2402984-1 | L2405209-1 | L2407843-1 | L2411632-1 | L2413161-1 | L2416914-1 | L2417809-1 | L2423323-1 | L2426413-1 | L2428744-1 | L2431086-1 | L2432843-1 | L2432843-2 | L2435033-1 | L2437424-1 | L2439895-1 | L2441157-1
Date Sampled |  | 2020-01-06 16:00 | 2020-01-13 12:30 | 2020-01-20 17:55 | 2020-01-28 16:00 | 2020-02-03 15:30 | 2020-02-10 11:50 | 2020-02-17 13:15 | 2020-03-02 13:00 | 2020-03-09 13:20 | 2020-03-16 13:15 | 2020-03-23 14:15 | 2020-03-30 13:10 | 2020-03-30 13:10 | 2020-04-06 11:00 | 2020-04-14 11:15 | 2020-04-21 14:20 | 2020-04-27 11:25
Parameter | Units | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water
pH | pH | 7.87 | 7.8 | 7.92 | 7.88 | 7.88 | 8.01 | 7.91 | 7.96 | 7.94 | 7.85 | 7.91 | 7.79 | 7.83 | 7.92 | 7.98 | 8.05 | 8
Conductivity | µS/cm | 27700 |  |  |  | 21600 |  |  | 24300 | 25300 | 25200
Total Suspended Solids | mg/L | 284 | 289 | 282 | 4230 | 768 | 270 | 382 | 658 | 266 | 390 | 221 | 139 | 135 | 132 | 197 | 128 | 102
Total Dissolved Solids | mg/L | 18500 | 19600 | 17700 | 14400 | 14000 | 19000 | 19400 | 16100 | 16400 | 17400 | 20800 | 16700 | 17200 | 16000 | 15400 | 17600 | 19200
Chloride (Cl) | mg/L | 9800 | 9310 | 9480 | 7290 | 7840 | 9430 | 9390 | 8540 | 8790 | 9240 | 9070 | 9060 | 8970 | 9700 | 9470 | 9380 | 8830
Bromide (Br) | mg/L | 36.9 |  |  |  | 28 |  |  | 30.2 | 31.4 | 32.5
Fluoride (F) | mg/L | <2.0 |  |  |  | <2.0 |  |  | <2.0 | <2.0 | <2.0
Cyanide, Total | mg/L | 0.0474 | 0.0423 | 0.0899 |  | 0.311 | 0.0546 | 0.17 | 0.536 | 0.106 | 0.136 | 0.0168 | 0.0522 | 0.0357 | 0.0825 | 0.0143 | 0.0518 | 0.0222
Cyanide, WAD | mg/L | 0.0063 |  |  |  | <0.010 |  |  | <0.0050 | <0.0050 | <0.0050
Ammonia, Total (as N) | mg/L | 12.8 | 8.27 | 10.8 | 23.1 | 13.9 | 6.9 | 8.08 | 7.56 | 6.39 | 6.36 | 6.04 | 7.55 | 7.17 | 5.77 | 6.2 | 5.56 | 4.28
Nitrate (as N) | mg/L | 12.8 | 7.25 | 10.3 | 26.1 | 15.5 | 5.58 | 7.95 | 7.28 | 6 | 6.19 | 3.85 | 5.53 | 5.42 | 4.81 | 5.77 | 4.98 | 3.16
Nitrite (as N) | mg/L | 1.12 |  |  |  | 0.96 |  |  | 0.84 | 0.54 | 0.75 |  |  |  | 0.27
Sulfate (SO4) | mg/L | 1010 |  |  |  | 812 |  |  | 877 | 887 | 952
Aluminum (Al)-Total | mg/L | 8.92 | 8.96 | 9.32 | 50.8 | 7.93 | 6.48 | 1.26 | 13.2 | 10.9 | 9.63 | 5.18 | 2.71 | 2.74 | 5.46 | 3.38 | 2.85 | 3.07
Antimony (Sb)-Total | mg/L | <0.0020 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | <0.00020 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | 0.00076 | <0.0020 | <0.0020
Arsenic (As)-Total | mg/L | 0.0103 | 0.0133 | 0.0116 | 0.138 | 0.0342 | 0.0084 | 0.00162 | 0.0695 | 0.0217 | 0.0254 | 0.0093 | 0.0149 | 0.0161 | 0.0176 | 0.00763 | 0.0138 | 0.0115
Barium (Ba)-Total | mg/L | 0.0582 | 0.0534 | 0.057 | 0.0818 | 0.0584 | 0.0437 | 0.00548 | 0.0501 | 0.0525 | 0.048 | 0.047 | 0.049 | 0.047 | 0.05 | 0.047 | 0.042 | 0.04
Beryllium (Be)-Total | mg/L | <0.0020 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | <0.00020 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | <0.00050 | <0.0020 | <0.0020
Bismuth (Bi)-Total | mg/L | <0.0010 | <0.0010 | <0.0010 | 0.0013 | <0.0010 | <0.0010 | <0.00010 | <0.0010 | <0.0010 | <0.0010
Boron (B)-Total | mg/L | 2.81 | 2.75 | 2.76 | 2.37 | 2.33 | 2.59 | 0.254 | 2.47 | 2.43 | 2.65 | 2.32 | 2.74 | 2.91 | 2.37 | 2.36 | 2.57 | 2.33
Cadmium (Cd)-Total | mg/L | 0.00017 | 0.00012 | 0.00011 | 0.00086 | 0.0002 | <0.00010 | 1.4e-05 | 0.00025 | 0.00012 | 0.00015 | 0.00014 | <0.00010 | <0.00010 | 0.0001 | 9.9e-05 | 0.00016 | <0.00010
Calcium (Ca)-Total | mg/L | 740 | 683 | 687 | 634 | 604 | 644 | 65.2 | 569 | 578 | 700 | 698 | 731 | 720 | 643 | 600 | 673 | 615
Cesium (Cs)-Total | mg/L | 0.00058 | 0.00068 | 0.00051 | 0.00114 | 0.00026 | 0.00063 | 3.6e-05 | 0.00053 | 0.00088 | 0.00054
Chromium (Cr)-Total | mg/L | 0.0101 | 0.0096 | 0.0107 | 0.07 | 0.0169 | 0.0151 | 0.00162 | 0.0324 | 0.0145 | 0.0163 | 0.0073 | 0.0051 | 0.0055 | 0.0075 | 0.0047 | 0.0063 | 0.0059
Cobalt (Co)-Total | mg/L | 0.0136 | 0.0129 | 0.0137 | 0.0986 | 0.0233 | 0.0112 | 0.002 | 0.0353 | 0.0174 | 0.0191 | 0.0091 | 0.0108 | 0.0109 | 0.0114 | 0.0115 | 0.0141 | 0.0088
Copper (Cu)-Total | mg/L | 0.133 | 0.118 | 0.16 | 0.973 | 0.432 | 0.122 | 0.0353 | 0.83 | 0.163 | 0.194 | 0.079 | 0.131 | 0.13 | 0.119 | 0.0553 | 0.096 | 0.118
Iron (Fe)-Total | mg/L | 28 | 26.6 | 27.3 | 253 | 45.8 | 20.1 | 4.29 | 60.3 | 37.3 | 34.4 | 19.4 | 11.3 | 11.4 | 14.8 | 14.4 | 10.9 | 8.59
Lead (Pb)-Total | mg/L | 0.0054 | 0.0049 | 0.005 | 0.0492 | 0.0137 | 0.0035 | 0.00077 | 0.0132 | 0.008 | 0.0056 | 0.0031 | 0.002 | 0.002 | 0.0042 | 0.00345 | 0.0031 | 0.0025
Lithium (Li)-Total | mg/L | 0.111 | 0.104 | 0.107 | 0.124 | 0.092 | 0.103 | 0.0096 | 0.091 | 0.094 | 0.098 | 0.105 | 0.111 | 0.115 | 0.095 | 0.096 | 0.092 | 0.089
Magnesium (Mg)-Total | mg/L | 678 | 635 | 613 | 512 | 505 | 580 | 58.1 | 522 | 562 | 553 | 624 | 595 | 595 | 572 | 591 | 538 | 529
Manganese (Mn)-Total | mg/L | 1.61 | 1.63 | 1.56 | 6.04 | 1.77 | 1.49 | 0.189 | 1.93 | 1.58 | 1.61 | 1.6 | 1.35 | 1.39 | 1.44 | 1.48 | 1.43 | 1.32
Mercury (Hg)-Total | mg/L | <0.000025 |  | <0.000025 | <0.000050 | 2.67e-05 | <0.0000050 | <0.000025 | 1.14e-05 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050
Molybdenum (Mo)-Total | mg/L | 0.0068 | 0.0063 | 0.0062 | 0.0094 | 0.0074 | 0.0059 | 0.00062 | 0.006 | 0.0058 | 0.0073 | 0.0057 | 0.0058 | 0.0061 | 0.0067 | 0.0053 | 0.0057 | 0.0058
Nickel (Ni)-Total | mg/L | 0.02 | 0.018 | 0.019 | 0.095 | 0.03 | 0.021 | 0.0021 | 0.041 | 0.021 | 0.029 | 0.011 | 0.02 | 0.021 | 0.02 | 0.0188 | 0.028 | 0.018
Phosphorus (P)-Total | mg/L | <1.0 | <1.0 | <1.0 | 3.7 | <1.0 | <1.0 | <0.10 | <1.0 | <1.0 | <1.0 |  |  |  | 0.136
Potassium (K)-Total | mg/L | 152 | 163 | 150 | 127 | 138 | 144 | 14.8 | 131 | 139 | 140 | 150 | 150 | 152 | 143 | 142 | 146 | 142
Rubidium (Rb)-Total | mg/L | 0.0796 | 0.0784 | 0.0745 | 0.066 | 0.0509 | 0.0679 | 0.00628 | 0.0584 | 0.0721 | 0.0656
Selenium (Se)-Total | mg/L | <0.0010 | <0.0010 | <0.0010 | 0.0029 | <0.0010 | <0.0010 | <0.0010 | 0.0012 | <0.0010 | <0.0010 | <0.0010 | <0.0010 | <0.0010 | <0.0010 | 0.00033 | <0.0010 | <0.0010
Silicon (Si)-Total | mg/L | 15 | 14 | 15 | 57.9 | 13.1 | 11.5 | 1.99 | 19.4 | 18.3 | 15.7
Silver (Ag)-Total | mg/L | 0.00044 | 0.00077 | 0.00053 | 0.00366 | 0.00194 | 0.0005 | 0.000104 | 0.00225 | 0.00059 | 0.00056 | 0.00047 | 0.00045 | 0.00045 | 0.00044 | 0.000297 | 0.00036 | 0.00035
Sodium (Na)-Total | mg/L | 5250 | 5080 | 5170 | 3870 | 4270 | 4730 | 468 | 4170 | 4410 | 4580 | 5020 | 4990 | 4950 | 4640 | 4860 | 5110 | 4510
Strontium (Sr)-Total | mg/L | 9.35 | 8.93 | 8.04 | 6.57 | 7.74 | 8.29 | 0.826 | 7.19 | 7.03 | 8.39
Tellurium (Te)-Total | mg/L | <0.0040 | <0.0040 | <0.0040 | <0.0040 | <0.0040 | <0.0040 | <0.00040 | <0.0040 | <0.0040 | <0.0040
Thallium (Tl)-Total | mg/L | <0.00020 | <0.00020 | <0.00020 | <0.00020 | <0.00020 | <0.00020 | <0.000020 | <0.00020 | <0.00020 | <0.00020 | <0.00020 | <0.00020 | <0.00020 | <0.00020 | <0.000050 | <0.00020 | <0.00020
Thorium (Th)-Total | mg/L | <0.0020 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | <0.00020 | <0.0020 | <0.0020 | <0.0020
Tin (Sn)-Total | mg/L | <0.0020 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | <0.00020 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | <0.00050 | <0.0020 | <0.0020
Titanium (Ti)-Total | mg/L | 0.145 | 0.207 | 0.175 | 0.737 | 0.099 | 0.0863 | 0.0212 | 0.218 | 0.195 | 0.227 | 0.092 | 0.042 | 0.039 | 0.188 | 0.052 | 0.057 | 0.069
Tungsten (W)-Total | mg/L | 0.0043 | 0.0045 | 0.0035 | 0.0082 | 0.0038 | 0.0046 | 0.00032 | 0.0029 | 0.0043 | 0.0082
Uranium (U)-Total | mg/L | 0.00038 | 0.00037 | 0.00039 | 0.00061 | 0.00046 | 0.00035 | 4.9e-05 | 0.00037 | 0.00044 | 0.00035 | 0.00027 | 0.00029 | 0.00031 | 0.00033 | 0.00034 | 0.0004 | 0.0004
Vanadium (V)-Total | mg/L | 0.033 | 0.029 | 0.034 | 0.179 | 0.027 | 0.02 | 0.0047 | 0.048 | 0.037 | 0.038 | 0.02 | 0.01 | 0.01 | 0.023 | 0.0119 | 0.012 | 0.011
Zinc (Zn)-Total | mg/L | 0.185 | 0.148 | 0.258 | 0.629 | 0.216 | 0.232 | 0.0252 | 0.343 | 0.269 | 0.171 | 0.25 | 0.17 | 0.17 | 0.127 | 0.105 | 0.108 | 0.145
Zirconium (Zr)-Total | mg/L | <0.0040 | <0.0040 | <0.0040 | 0.0058 | <0.0040 | <0.0040 | <0.0040 | <0.0040 | <0.0040 | <0.0040
Alkalinity, Total (as CaCO3) | mg/L | 195 |  |  |  | 231 |  |  | 203 | 202 | 202
^ Indicates duplicate sample.

## SNP - MMS1
Part F Item 18 (a)
ALS ID |  | Maximum Monthly Mean Concentration (mg/L) | Maximum Concentration of Any Grab Sample (mg/L)
Date Sampled
Parameter | Units
pH | pH Units | 6.0-9.5 | 6.0-9.5
Total Suspended Solids | mg/L | 50 | 100
Chloride (Cl) | mg/L
Cyanide, Total | mg/L
Ammonia, Total (as N) | mg/L
Nitrate (as N) | mg/L
Nitrite (as N) | mg/L
Sulfate (SO4) | mg/L
Aluminum (Al)-Total | mg/L
Antimony (Sb)-Total | mg/L
Arsenic (As)-Total | mg/L | 0.5 | 1
Barium (Ba)-Total | mg/L
Beryllium (Be)-Total | mg/L
Boron (B)-Total | mg/L
Cadmium (Cd)-Total | mg/L
Calcium (Ca)-Total | mg/L
Chromium (Cr)-Total | mg/L
Cobalt (Co)-Total | mg/L
Copper (Cu)-Total | mg/L
Iron (Fe)-Total | mg/L
Lead (Pb)-Total | mg/L
Lithium (Li)-Total | mg/L
Magnesium (Mg)-Total | mg/L
Manganese (Mn)-Total | mg/L
Mercury (Hg)-Total | mg/L
Molybdenum (Mo)-Total | mg/L
Nickel (Ni)-Total | mg/L | 0.5 | 1
Potassium (K)-Total | mg/L
Selenium (Se)-Total | mg/L
Silver (Ag)-Total | mg/L
Sodium (Na)-Total | mg/L
Thallium (Tl)-Total | mg/L
Tin (Sn)-Total | mg/L
Titanium (Ti)-Total | mg/L
Uranium (U)-Total | mg/L
Vanadium (V)-Total | mg/L
Zinc (Zn)-Total | mg/L
Alkalinity, Total (as CaCO3) | mg/L
Oil and Grease | mg/L | 5 | 10
Oil And Grease (Visible Sheen) |  | No Vible Sheen | No Vible Sheen
Bold indicates exceedance of Part F Item 18(a) Maximum Concentration

## SNP - MMS6
MMS-6
ALS ID |  | L2426290-1
Date Sampled |  | 2020-03-08 11:30
Parameter | Units | Water
pH | pH Units | 9.51
Conductivity | µS/cm | 139000
Alkalinity, Total (as CaCO3) | mg/L | 316
Total Suspended Solids | mg/L | 449
Total Dissolved Solids | mg/L | 116000
Chloride (Cl) | mg/L | 77400
Fluoride (F) | mg/L | <2.0
Bromide (Br) | mg/L | 71.1
Cyanide, Total | mg/L | <0.0050
Cyanide, WAD | mg/L | <0.0050
Ammonia, Total (as N) | mg/L | 2.71
Nitrate (as N) | mg/L | 0.59
Nitrite (as N) | mg/L | <0.10
Sulfate (SO4) | mg/L | 36
Aluminum (Al)-Total | mg/L | <0.30
Antimony (Sb)-Total | mg/L | <0.010
Arsenic (As)-Total | mg/L | <0.010
Barium (Ba)-Total | mg/L | 2.5
Beryllium (Be)-Total | mg/L | <0.010
Boron (B)-Total | mg/L | 7.3
Cadmium (Cd)-Total | mg/L | 0.00201
Calcium (Ca)-Total | mg/L | 38500
Chromium (Cr)-Total | mg/L | 0.016
Cobalt (Co)-Total | mg/L | <0.010
Copper (Cu)-Total | mg/L | 0.055
Iron (Fe)-Total | mg/L | 32.5
Lead (Pb)-Total | mg/L | 0.033
Lithium (Li)-Total | mg/L | 5.38
Magnesium (Mg)-Total | mg/L | 152
Manganese (Mn)-Total | mg/L | 0.533
Mercury (Hg)-Total | mg/L | <0.0000050
Molybdenum (Mo)-Total | mg/L | 0.0323
Nickel (Ni)-Total | mg/L | <0.050
Potassium (K)-Total | mg/L | 657
Selenium (Se)-Total | mg/L | 0.0086
Silver (Ag)-Total | mg/L | <0.0010
Sodium (Na)-Total | mg/L | 765
Thallium (Tl)-Total | mg/L | 0.0091
Tin (Sn)-Total | mg/L | 0.027
Titanium (Ti)-Total | mg/L | <0.030
Uranium (U)-Total | mg/L | 0.003
Vanadium (V)-Total | mg/L | <0.050
Zinc (Zn)-Total | mg/L | <0.30

## SNP - MMS9
Sample ID |  | Part D Item 9
ALS ID |  | Maximum Average Concentration (mg/L) | Maximum Concentration of Any Grab Sample (mg/L)
Date Sampled
Parameter | Units
pH | pH | 6.0-9.5 | 6.0-9.5
Total Suspended Solids | mg/L | 50 | 100
Oil and Grease | mg/L
Oil And Grease (Visible Sheen) |  | No Visible Sheen | No Visible Sheen
Bold indicates exceedance of Part D Item 9 Maximum Concentration