## Table A1
Table A1: Effluent Quality Results from Tailings Containment Area (TCA) at stations LUP-10 and LUP-10a.
Parameter | Unit | Water License Effluent Discharge Criteria |  | Sampling Sites | [19 empty] | Sampling Sites | [20 empty] | Sampling Sites
|  |  |  | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10 | LUP-10A (102) | LUP-10A (LUP-102)
|  | Maximum Average Concentration | Maximum Concentration of any Grab Sample | 2021-07-22 20:30 | 2021-07-23 16:15 | 2021-07-24 10:30 | 2021-07-25 10:30 | 2021-07-26 10:30 | 2021-07-27 10:30 | 2021-07-28 09:30 | 2021-07-29 09:30 | 2021-07-30 09:30 | 2021-07-31 14:45 | 2021-08-01 08:50 | 2021-08-02 16:00 | 2021-08-03 11:00 | 2021-08-04 09:00 | 2021-08-05 09:30 | 2021-08-06 09:30 | 2021-08-07 09:30 | 2021-08-08 09:30 | 2021-08-09 16:30 | 2021-08-10 13:15 | 2021-08-11 09:00 | 2021-08-12 09:30 | 2021-08-13 08:30 | 2021-08-14 08:30 | 2021-08-15 08:30 | 2021-08-16 08:00 | 2021-08-17 07:30 | 2021-08-17 08:00 | 2021-08-18 08:00 | 2021-08-19 08:00 | 2021-08-20 08:00 | 2021-08-21 07:00 | 2021-08-22 07:00 | 2021-08-23 07:00 | 2021-08-24 07:00 | 2021-08-25 07:00 | 2021-08-26 09:30 | 2021-08-27 09:00 | 2021-08-28 09:00 | 2021-08-29 09:00 | 2021-08-30 09:30 | 2021-08-31 09:00 | 2021-09-01 09:00 | 2021-09-02 09:00 | 2021-09-03 09:00 | 2021-09-04 09:00 | 2021-09-05 09:00 | 2021-09-06 08:30 | 2021-09-07 09:00 | 2021-09-08 10:00 | 2021-09-09 09:00 | 2021-09-01 09:30 | 2021-07-14
Field Measured
pH | - | 6.5 - 9.0 | 6.5 - 9.0 | 7.3 | 7.2 | 7.3 | 7.3 | 7.2 | 7.2 | 7.4 | 7.5 | 7.5 | 7.4 | 7.3 | 7.5 | 7.6 | 7.6 | 7.7 | 7.1 | 7 | 7.3 | 7.3 | 7 | 7.4 | 7.4 | 7.1 | - | 7.2 | - | - | 7.3 | 7.7 | 7.4 | 6.6 | 6.3(C) | 6.3(C) | 7.4 | 7.2 | 6.4(C) | 6.8 | 6.8 | 7.2 | 6.7 | 6.9 | 6.9 | 7 | 6.9 | 7.1 | 7.6 | 7.5 | 7.4 | 7.5 | 7.5 | 7.4 | 7.1 | 7.7
Specific conductivity | µS/cm | - | - | 351.6 | 338.7 | 321.8 | 320.9 | 320.3 | 312.11 | 465 | 314.2 | 317.1 | 324.3 | 325.3 | 339 | 328.5 | 318.4 | 313.8 | 313.8 | 311.9 | 304 | 305.2 | 304.8 | 301.7 | 303.2 | 306.6 | - | 305.2 | - | - | 310.7 | 140.3 | 306.4 | 292.1 | 296.5 | 315.2 | 300.4 | 302.8 | 305 | 282.9 | 311.2 | 316 | 316.7 | 316.1 | 312.6 | 314.6 | 310.2 | 309.8 | 304.7 | 309.4 | 311.8 | 304.3 | 300.7 | 287.3 | 314.9 | 319.3
Temperature | °C | - | - | 16.4 | 14.8 | 12.5 | 12.4 | 12.3 | 11.4 | 11.5 | 11.8 | 12.2 | 13.2 | 13.4 | 15 | 13.8 | 12.5 | 11.8 | 11.8 | 11.5 | 10.5 | 10.6 | 10.4 | 10 | 10.1 | 10.5 | - | 10.4 | - | - | 11.1 | 11.4 | 10.8 | 9 | 9.4 | 11.4 | 10.1 | 10.2 | 10.4 | 11.2 | 11 | 11.5 | 11.7 | 11.5 | 11 | 11.3 | 10.7 | 10.6 | 10.4 | 10.6 | 10.9 | 10.5 | 9.4 | 7.9 | 11.3 | 13.2
Dissolved oxygen | mg/L | - | 6.5 | - | - | - | - | - | - | - | 10 | 10 | 10.1 | 10 | 9.8 | 9.7 | 9.8 | 9.9 | 9.9 | 9.9 | 10.1 | 10.3 | 10.3 | 10.3 | 10.4 | 10.4 | - | 10.2 | - | - | 10.3 | 10.4 | 10.1 | 10.9 | 10.6 | 10.2 | 10.6 | 10.5 | 10.4 | 10.2 | 10.1 | 10.1 | 10 | 10 | 10.1 | 10 | 10.2 | 10.2 | 10.1 | 10.6 | 10.5 | 10.6 | 11 | 11.5 | 10.2 | -
Conventional Parameters
pH | - | 6.5 - 9.0 | 6.5 - 9.0 | 7.4 | 7.4 | 7.4 | 7.5 | 7.4 | 7.4 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.4 | 7.5 | 7.5 | 7.4 | 7.4 | 7.5 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | - | 7.4 | 7.4 | 7.1 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.1 | 7.1 | 7.3 | 7.4
Specific conductivity | µS/cm | - | - | 419 | 420 | 423 | 425 | 427 | 422 | 427 | 422 | 421 | 420 | 421 | 426 | 420 | 421 | 422 | 417 | 414 | 414 | 421 | 416 | 418 | 418 | 446 | 446 | 448 | 448 | - | 425 | 425 | 254 | 396 | 420 | 421 | 417 | 421 | 420 | 424 | 420 | 420 | 426 | 425 | 425 | 427 | 428 | 429 | 425 | 430 | 427 | 426 | 428 | 425 | 431 | 410
Hardness, as CaCO3 | mg/L | - | - | 115 | 114 | 114 | 118 | 118 | 118 | 114 | 111 | 108 | 109 | 108 | 115 | 111 | 113 | 110 | 112 | 110 | 112 | 114 | 110 | 111 | 114 | 114 | 110 | 113 | 115 | - | 111 | 111 | 93.8 | 114 | 118 | 118 | 119 | 115 | 118 | 116 | 113 | 116 | 116 | 116 | 113 | 118 | 117 | 118 | 114 | 113 | 117 | 116 | 116 | 119 | 117 | 114
Total alkalinity, as CaCO3 | mg/L | - | - | 16.6 | 17.1 | 16.9 | 16 | 16 | 15.8 | 17 | 16.8 | 16.7 | 16 | 16.2 | 15.3 | 16.6 | 16.3 | 15.8 | 15.7 | 15.7 | 15.8 | 15.4 | 15.1 | 14.9 | 14.1 | 14.8 | 14.7 | 14.7 | 14.6 | - | 15.2 | 14.1 | 8 | 12.7 | 13.4 | 12.9 | 12.9 | 13.1 | 11.9 | 12.3 | 12.4 | 12.2 | 12.4 | 12.1 | 12.1 | 12 | 12.3 | 12.3 | 12.3 | 12.1 | 12.2 | 11.1 | 10.4 | 9.6 | 11.7 | 15
Total suspended solids | mg/L | 15 | 30 | 1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 1.3 | 1.4 | -1 | -1 | -1 | -1 | -1 | 1.2 | 1.2 | -1 | -1 | 1.2 | -1 | 1.8 | -1 | 1.4 | -1 | -1 | - | -1 | -1 | 5.1 | 1.8 | -1 | 3.1 | -1 | 1.7 | -1 | 2.3 | -1 | 1 | 1 | 1.8 | -1 | 1 | -1 | 1.3 | -1 | -1 | 1.5 | 1.5 | -1 | -1 | 1.4 | -1
Major Ions
Bromide | mg/L | - | - | 0.222 | 0.223 | 0.224 | 0.219 | 0.216 | 0.208 | 0.218 | 0.204 | 0.208 | 0.207 | 0.205 | 0.207 | 0.198 | 0.199 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.214 | - | - | - | 0.204 | - | - | 0.218 | - | - | - | - | - | - | 0.211 | 0.187 | 0.182 | 0.182 | 0.184 | 0.187 | 0.184 | 0.205 | 0.193 | - | 0.216
Calcium | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Chloride | mg/L | - | - | 17 | 17.1 | 17.2 | 17.3 | 17.2 | 17.2 | 17.2 | 16.6 | 16.6 | 16.4 | 16.4 | 16.9 | 16.2 | 16.2 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 15.9 | - | - | - | 15.8 | - | - | 16.2 | - | - | - | - | - | - | 16 | 15.7 | 15.7 | 15.7 | 15.7 | 15.8 | 15.6 | 15.8 | 15.5 | - | 17.1
Cyanide | mg/L | 0.8 | 1.6 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | - | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005
Fluoride | mg/L | - | - | 0.084 | 0.089 | 0.089 | 0.095 | 0.097 | 0.097 | 0.098 | 0.095 | 0.095 | 0.097 | 0.095 | 0.101 | 0.098 | 0.098 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.1 | - | - | - | 0.099 | - | - | 0.107 | - | - | - | - | - | - | 0.106 | 0.104 | 0.105 | 0.105 | 0.104 | 0.105 | 0.105 | 0.107 | 0.112 | - | 0.081
Magnesium | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Potassium | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Sodium | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Sulphate | mg/L | - | - | 148 | 149 | 150 | 152 | 153 | 152 | 153 | 149 | 149 | 149 | 149 | 154 | 149 | 149 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 154 | - | - | - | 154 | - | - | 160 | - | - | - | - | - | - | 161 | 157 | 157 | 158 | 158 | 158 | 159 | 161 | 159 | - | 146
Nutrients
Nitrate | mg-N/L | - | - | 0.472 | 0.476 | 0.475 | 0.474 | 0.47 | 0.468 | 0.465 | 0.461 | 0.459 | 0.45 | 0.447 | 0.45 | 0.438 | 0.438 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.41 | - | - | - | 0.409 | - | - | 0.416 | - | - | - | - | - | - | 0.418 | 0.411 | 0.412 | 0.415 | 0.414 | 0.418 | 0.412 | 0.415 | 0.411 | - | 0.486
Nitrite | mg-N/L | - | - | 0.0031 | 0.003 | 0.003 | 0.0023 | 0.0025 | 0.0025 | 0.0024 | 0.0029 | 0.0028 | 0.0029 | 0.003 | 0.0032 | 0.0028 | 0.0025 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.0021 | - | - | - | 0.0026 | - | - | 0.0024 | - | - | - | - | - | - | 0.0024 | 0.0024 | 0.0025 | 0.0022 | 0.0019 | 0.0021 | 0.0019 | 0.0022 | 0.0017 | - | 0.0029
Total ammonia | mg-N/L | - | - | 0.0589 | - | - | - | - | - | 0.0814 | - | - | - | - | 0.0965 | - | - | - | - | - | - | 0.118 | - | - | - | - | - | - | - | - | - | 0.125 | - | - | - | 0.13 | - | - | - | - | - | - | 0.14 | - | - | 0.15 | - | - | - | - | 0.141 | - | 0.177 | - | 0.153 | 0.062
Total phosphorus | mg-P/L | - | - | -0.05 | -0.05 | -0.05 | -0.05 | -0.05 | -0.05 | -0.002 | -0.05 | -0.05 | -0.05 | -0.05 | -0.05 | -0.05 | -0.05 | -0.05 | -0.05 | -0.05 | -0.05 | -0.002 | -0.05 | -0.05 | -0.05 | -0.05 | -0.05 | -0.05 | -0.05 | - | -0.05 | -0.05 | -0.05 | -0.05 | -0.05 | 0.0033 | -0.05 | -0.05 | -0.05 | -0.05 | -0.05 | -0.05 | -0.05 | -0.05 | -0.05 | -0.002 | -0.05 | -0.05 | -0.05 | -0.05 | 0.0053 | -0.05 | -0.05 | -0.05 | -0.05 | -0.05
Dissolved phosphorus | mg-P/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Orthophosphate | mg-P/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -0.001 | - | - | - | - | - | - | - | - | - | - | - | - | - | -0.001 | - | - | -0.001 | - | - | - | -0.001 | - | - | - | - | - | - | - | -0.001 | - | - | - | - | -
Nitrogen, kjeldahl | mg-N/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.19 | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.281 | - | - | - | - | - | - | 0.236 | - | - | - | - | - | - | - | 0.297 | - | - | - | - | -
Total Metals
Aluminum | mg/L | - | - | 0.0644 | 0.0675 | 0.0662 | 0.0706 | 0.0742 | 0.0772 | 0.0791 | 0.0792 | 0.0822 | 0.0951 | 0.09 | 0.0921 | 0.0921 | 0.0885 | 0.0875 | 0.0846 | 0.0826 | 0.0813 | 0.0881 | 0.0852 | 0.081 | 0.0925 | 0.0885 | 0.094 | 0.0876 | 0.0981 | - | 0.11 | 0.11 | 0.17 | 0.11 | 0.094 | 0.087 | 0.12 | 0.11 | 0.11 | 0.13 | 0.0947 | 0.092 | 0.0887 | 0.1 | 0.0839 | 0.0805 | 0.0868 | 0.0829 | 0.0848 | 0.0817 | 0.0884 | 0.0964 | 0.1 | 0.11 | 0.0828 | 0.0499
Antimony | mg/L | - | - | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | - | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001
Arsenic | mg/L | 0.5 | 1 | 0.014 | 0.015 | 0.015 | 0.014 | 0.014 | 0.014 | 0.013 | 0.013 | 0.013 | 0.012 | 0.012 | 0.013 | 0.014 | 0.013 | 0.014 | 0.014 | 0.015 | 0.014 | 0.016 | 0.018 | 0.016 | 0.018 | 0.017 | 0.017 | 0.016 | 0.017 | - | 0.018 | 0.015 | 0.021 | 0.018 | 0.016 | 0.0093 | 0.016 | 0.016 | 0.014 | 0.022 | 0.014 | 0.015 | 0.015 | 0.019 | 0.014 | 0.014 | 0.015 | 0.013 | 0.013 | 0.014 | 0.015 | 0.013 | 0.014 | 0.016 | 0.014 | 0.012
Barium | mg/L | - | - | 0.0118 | 0.0116 | 0.0117 | 0.0111 | 0.011 | 0.0113 | 0.0108 | 0.0109 | 0.0102 | 0.0106 | 0.0108 | 0.0116 | 0.0112 | 0.0112 | 0.0116 | 0.0116 | 0.0116 | 0.0117 | 0.0116 | 0.0119 | 0.0118 | 0.0118 | 0.0116 | 0.0117 | 0.0115 | 0.0125 | - | 0.0116 | 0.012 | 0.00991 | 0.0118 | 0.012 | 0.0132 | 0.0132 | 0.0121 | 0.0124 | 0.0126 | 0.0119 | 0.0126 | 0.0124 | 0.0125 | 0.0122 | 0.0123 | 0.0118 | 0.0117 | 0.0119 | 0.012 | 0.0119 | 0.0118 | 0.012 | 0.0123 | 0.0124 | 0.0108
Beryllium | mg/L | - | - | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | - | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001
Bismuth | mg/L | - | - | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | - | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05
Boron | mg/L | - | - | 0.033 | 0.034 | 0.034 | 0.037 | 0.037 | 0.037 | 0.036 | 0.036 | 0.035 | 0.034 | 0.034 | 0.037 | 0.034 | 0.035 | 0.034 | 0.033 | 0.033 | 0.033 | 0.034 | 0.033 | 0.032 | 0.037 | 0.036 | 0.036 | 0.036 | 0.037 | - | 0.037 | 0.035 | 0.028 | 0.035 | 0.035 | 0.036 | 0.035 | 0.035 | 0.035 | 0.034 | 0.033 | 0.033 | 0.034 | 0.034 | 0.034 | 0.034 | 0.034 | 0.034 | 0.034 | 0.033 | 0.035 | 0.033 | 0.035 | 0.034 | 0.034 | 0.036
Cadmium | mg/L | - | - | 8.29e-05 | 7.5e-05 | 7.22e-05 | 7.71e-05 | 7.03e-05 | 7.31e-05 | 7.51e-05 | 7.28e-05 | 6.19e-05 | 7.28e-05 | 7.53e-05 | 8.04e-05 | 7.92e-05 | 7.13e-05 | 7.12e-05 | 6.92e-05 | 6.69e-05 | 6.86e-05 | 7.06e-05 | 6.64e-05 | 6.98e-05 | 6.88e-05 | 6.37e-05 | 7.51e-05 | 6.55e-05 | 7.08e-05 | - | 7.09e-05 | 7.3e-05 | 6.09e-05 | 7.54e-05 | 7.78e-05 | 8.1e-05 | 6.98e-05 | 7.54e-05 | 7.62e-05 | 7.9e-05 | 6.95e-05 | 8.08e-05 | 7.7e-05 | 7.82e-05 | 8.59e-05 | 7.83e-05 | 7.84e-05 | 8.46e-05 | 7.1e-05 | 7.36e-05 | 8.03e-05 | 8.42e-05 | 8.77e-05 | 8.44e-05 | 8.06e-05 | 8.89e-05
Calcium | mg/L | - | - | 34.4 | 34.2 | 34.4 | 35.4 | 35.6 | 35.4 | 34.4 | 33.2 | 32.2 | 32.5 | 32.1 | 34.6 | 32.6 | 33.3 | 32.6 | 33.5 | 32.8 | 33.3 | 34.3 | 32.7 | 33 | 34.2 | 33.9 | 32.6 | 33.2 | 33.6 | - | 32.8 | 32.6 | 28.3 | 34.2 | 35.7 | 35.2 | 35.5 | 34.4 | 35.3 | 34.9 | 33.2 | 34.6 | 35.2 | 34.9 | 33.9 | 35.9 | 35.5 | 35.7 | 34 | 33.8 | 35.4 | 35 | 35 | 35.4 | 35.4 | 34.5
Cesium | mg/L | - | - | 3.6e-05 | 3.8e-05 | 3.3e-05 | 3.7e-05 | 3.8e-05 | 4e-05 | 4e-05 | 3.9e-05 | 3.8e-05 | 3.7e-05 | 3.8e-05 | 4.3e-05 | 4.2e-05 | 3.9e-05 | 4.4e-05 | 4.3e-05 | 4.7e-05 | 4.6e-05 | 4.5e-05 | 4.8e-05 | 4.3e-05 | 4.8e-05 | 4.8e-05 | 5e-05 | 4.8e-05 | 4.7e-05 | - | 4.6e-05 | 4.8e-05 | 7.2e-05 | 4.4e-05 | 4.3e-05 | 6e-05 | 5.8e-05 | 5.4e-05 | 5.7e-05 | 5.3e-05 | 4.6e-05 | 4.6e-05 | 4.3e-05 | 5.4e-05 | 4.8e-05 | 4.7e-05 | 5.2e-05 | 4.8e-05 | 5.1e-05 | 5.3e-05 | 5e-05 | 5.2e-05 | 5.1e-05 | 4.3e-05 | 4.9e-05 | 3.1e-05
Chromium | mg/L | - | - | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | 0.00053 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | - | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005
Cobalt | mg/L | - | - | 0.0228 | 0.0223 | 0.0222 | 0.0228 | 0.0225 | 0.0226 | 0.0223 | 0.0213 | 0.0211 | 0.0217 | 0.0219 | 0.0226 | 0.0223 | 0.0221 | 0.0225 | 0.0226 | 0.0226 | 0.0224 | 0.0219 | 0.0219 | 0.0218 | 0.0218 | 0.0221 | 0.022 | 0.0218 | 0.0229 | - | 0.0217 | 0.0225 | 0.0174 | 0.0212 | 0.0211 | 0.0215 | 0.0217 | 0.0217 | 0.0226 | 0.0232 | 0.0232 | 0.0225 | 0.0224 | 0.0229 | 0.0224 | 0.022 | 0.0218 | 0.0215 | 0.0216 | 0.021 | 0.021 | 0.0216 | 0.0214 | 0.0215 | 0.0224 | 0.0238
Copper | mg/L | 0.15 | 0.3 | 0.00208 | 0.00222 | 0.00213 | 0.00235 | 0.00222 | 0.00222 | 0.00226 | 0.00232 | 0.00241 | 0.0029 | 0.0029 | 0.003 | 0.0031 | 0.0029 | 0.0029 | 0.0029 | 0.0029 | 0.0029 | 0.0029 | 0.003 | 0.0028 | 0.0038 | 0.0031 | 0.0032 | 0.0032 | 0.0034 | - | 0.0037 | 0.0039 | 0.0038 | 0.0037 | 0.0036 | 0.00239 | 0.0038 | 0.0038 | 0.0042 | 0.005 | 0.0041 | 0.004 | 0.0038 | 0.0043 | 0.004 | 0.0039 | 0.0038 | 0.0036 | 0.0036 | 0.0036 | 0.0038 | 0.0043 | 0.0046 | 0.0051 | 0.004 | 0.0023
Iron | mg/L | - | - | 0.18 | 0.192 | 0.178 | 0.166 | 0.179 | 0.171 | 0.168 | 0.174 | 0.168 | 0.187 | 0.176 | 0.18 | 0.202 | 0.184 | 0.201 | 0.203 | 0.221 | 0.208 | 0.226 | 0.253 | 0.222 | 0.258 | 0.234 | 0.254 | 0.238 | 0.254 | - | 0.276 | 0.26 | 0.42 | 0.289 | 0.258 | 0.169 | 0.294 | 0.278 | 0.266 | 0.41 | 0.25 | 0.252 | 0.252 | 0.32 | 0.25 | 0.24 | 0.26 | 0.238 | 0.24 | 0.252 | 0.26 | 0.253 | 0.264 | 0.33 | 0.243 | 0.186
Lead | mg/L | 0.1 | 0.2 | 0.000189 | 0.000215 | 0.000199 | 0.000193 | 0.000193 | 0.000195 | 0.000188 | 0.000218 | 0.000207 | 0.000242 | 0.000235 | 0.000235 | 0.000247 | 0.000221 | 0.000223 | 0.000228 | 0.000239 | 0.000236 | 0.000288 | 0.000324 | 0.000301 | 0.000376 | 0.000323 | 0.00035 | 0.00031 | 0.00033 | - | 0.000379 | 0.000383 | 0.000481 | 0.000389 | 0.000356 | 0.000721 | 0.00107 | 0.000503 | 0.00042 | 0.000507 | 0.000354 | 0.000349 | 0.000337 | 0.000415 | 0.000346 | 0.000327 | 0.000351 | 0.000331 | 0.00032 | 0.00035 | 0.000346 | 0.000422 | 0.000421 | 0.000425 | 0.000334 | 0.000213
Lithium | mg/L | - | - | 0.0183 | 0.0185 | 0.0182 | 0.0191 | 0.0201 | 0.0199 | 0.0194 | 0.0206 | 0.0203 | 0.0205 | 0.0202 | 0.0216 | 0.0207 | 0.0214 | 0.0202 | 0.02 | 0.0199 | 0.0198 | 0.021 | 0.0203 | 0.02 | 0.0205 | 0.0208 | 0.0207 | 0.0205 | 0.0211 | - | 0.021 | 0.021 | 0.0172 | 0.0211 | 0.0212 | 0.0215 | 0.0214 | 0.0214 | 0.0222 | 0.0235 | 0.0242 | 0.0233 | 0.023 | 0.0243 | 0.0232 | 0.025 | 0.0227 | 0.0222 | 0.0219 | 0.0218 | 0.023 | 0.0222 | 0.0229 | 0.0236 | 0.0241 | 0.0182
Magnesium | mg/L | - | - | 7.17 | 6.9 | 6.96 | 7.21 | 7.18 | 7.16 | 6.82 | 6.8 | 6.81 | 6.85 | 6.84 | 7.06 | 7.2 | 7.28 | 7.07 | 6.86 | 6.84 | 7.02 | 6.98 | 6.93 | 7.05 | 7.04 | 7.2 | 7.02 | 7.25 | 7.52 | - | 7.04 | 7.2 | 5.62 | 7.03 | 7.03 | 7.22 | 7.3 | 7.11 | 7.19 | 7.1 | 7.39 | 7.07 | 6.82 | 7.15 | 6.88 | 6.9 | 6.99 | 7.11 | 7.14 | 6.95 | 6.96 | 6.96 | 6.96 | 7.36 | 7.02 | 6.86
Manganese | mg/L | - | - | 0.621 | 0.61 | 0.608 | 0.679 | 0.649 | 0.639 | 0.646 | 0.59 | 0.585 | 0.583 | 0.585 | 0.607 | 0.599 | 0.594 | 0.579 | 0.583 | 0.588 | 0.58 | 0.586 | 0.577 | 0.574 | 0.581 | 0.596 | 0.6 | 0.589 | 0.61 | - | 0.587 | 0.601 | 0.436 | 0.546 | 0.538 | 0.558 | 0.553 | 0.548 | 0.553 | 0.561 | 0.559 | 0.543 | 0.536 | 0.55 | 0.539 | 0.531 | 0.514 | 0.507 | 0.51 | 0.496 | 0.498 | 0.496 | 0.495 | 0.528 | 0.545 | 0.63
Mercury | mg/L | - | - | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | - | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06
Molybdenum | mg/L | - | - | 0.000361 | 0.000374 | 0.000365 | 0.00041 | 0.000412 | 0.00039 | 0.000383 | 0.000393 | 0.000348 | 0.000369 | 0.000358 | 0.000387 | 0.000363 | 0.000394 | 0.000395 | 0.000352 | 0.000368 | 0.00039 | 0.000418 | 0.000412 | 0.00039 | 0.000437 | 0.000415 | 0.000434 | 0.000435 | 0.00041 | - | 0.000431 | 0.000436 | 0.000337 | 0.000444 | 0.000404 | 0.00044 | 0.00044 | 0.000407 | 0.000389 | 0.000416 | 0.000419 | 0.000415 | 0.000397 | 0.000438 | 0.000412 | 0.000387 | 0.000404 | 0.0004 | 0.000403 | 0.000401 | 0.000408 | 0.000391 | 0.000424 | 0.000381 | 0.00042 | 0.000271
Nickel | mg/L | 0.2 | 0.4 | 0.0462 | 0.0451 | 0.0445 | 0.0474 | 0.0464 | 0.047 | 0.0462 | 0.0443 | 0.0438 | 0.0455 | 0.0464 | 0.0477 | 0.0464 | 0.0469 | 0.0472 | 0.0472 | 0.047 | 0.0471 | 0.046 | 0.0462 | 0.0457 | 0.0471 | 0.0481 | 0.0478 | 0.048 | 0.0501 | - | 0.0478 | 0.0502 | 0.0387 | 0.0475 | 0.047 | 0.0489 | 0.0498 | 0.0492 | 0.0516 | 0.0529 | 0.0536 | 0.0522 | 0.0519 | 0.0531 | 0.0532 | 0.0522 | 0.0525 | 0.0525 | 0.0526 | 0.0522 | 0.0523 | 0.0543 | 0.0546 | 0.0563 | 0.0539 | 0.0487
Potassium | mg/L | - | - | 3.24 | 3.2 | 3.21 | 3.36 | 3.26 | 3.28 | 3.21 | 3 | 3.01 | 3.03 | 3.03 | 3.19 | 3.12 | 3.15 | 3.13 | 3.07 | 3.08 | 3.09 | 3.06 | 3.08 | 3.08 | 3.19 | 3.26 | 3.24 | 3.23 | 3.42 | - | 3.24 | 3.26 | 2.47 | 3.13 | 3.15 | 3.23 | 3.21 | 3.17 | 3.22 | 3.18 | 3.22 | 3.19 | 3.14 | 3.18 | 3.13 | 3.19 | 3.14 | 3.18 | 3.21 | 3.1 | 3.14 | 3.13 | 3.15 | 3.34 | 3.3 | 2.96
Rubidium | mg/L | - | - | 0.00167 | 0.00164 | 0.00173 | 0.0018 | 0.00182 | 0.00176 | 0.00174 | 0.00169 | 0.00161 | 0.00166 | 0.00174 | 0.00177 | 0.00183 | 0.00189 | 0.0019 | 0.00177 | 0.00181 | 0.00184 | 0.00182 | 0.00188 | 0.0019 | 0.00194 | 0.00194 | 0.00198 | 0.00194 | 0.00211 | - | 0.00199 | 0.00198 | 0.00158 | 0.00191 | 0.00188 | 0.00201 | 0.00192 | 0.00202 | 0.00196 | 0.00194 | 0.00208 | 0.00207 | 0.00197 | 0.00198 | 0.00187 | 0.00226 | 0.00206 | 0.00203 | 0.0021 | 0.00208 | 0.00202 | 0.00214 | 0.00211 | 0.00208 | 0.00211 | 0.00157
Selenium | mg/L | - | - | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | 0.000113 | 7e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | 5.3e-05 | -5e-05 | -5e-05 | -5e-05 | 5.3e-05 | -5e-05 | 6.3e-05 | 6.3e-05 | -5e-05 | 6.3e-05 | 6.2e-05 | 6.8e-05 | 5.6e-05 | 5.8e-05 | - | -5e-05 | 6.2e-05 | -5e-05 | 6.5e-05 | -5e-05 | 6.4e-05 | -5e-05 | 5.2e-05 | 5.2e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | 5.2e-05 | -5e-05 | 7.6e-05 | -5e-05 | 7.5e-05 | 6.6e-05 | -5e-05 | 6.1e-05 | -5e-05 | 5.8e-05
Silicon | mg/L | - | - | 1.73 | 1.64 | 1.69 | 1.81 | 1.82 | 1.81 | 1.81 | 1.83 | 1.78 | 1.8 | 1.82 | 1.92 | 1.83 | 1.91 | 1.89 | 1.88 | 1.82 | 1.83 | 1.9 | 1.84 | 1.85 | 1.82 | 1.88 | 1.87 | 1.89 | 1.9 | - | 1.86 | 1.91 | 1.59 | 1.93 | 1.92 | 1.94 | 1.87 | 1.91 | 1.99 | 2.1 | 2.09 | 1.97 | 2 | 1.98 | 2.02 | 1.89 | 2.03 | 1.98 | 2 | 1.97 | 1.95 | 2.1 | 2.22 | 2.13 | 1.96 | 1.76
Silver | mg/L | - | - | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | - | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05
Sodium | mg/L | - | - | 31.9 | 32.2 | 32 | 34.6 | 33.8 | 33.8 | 33 | 31.2 | 30.8 | 31 | 31.3 | 32.2 | 32.1 | 32.4 | 31.7 | 31 | 30.8 | 31.5 | 30.9 | 31.2 | 31.1 | 30.8 | 31.6 | 31.4 | 31.6 | 32.7 | - | 31 | 31 | 23.5 | 30.2 | 30.9 | 30.7 | 30.9 | 30 | 30.4 | 30.8 | 31.8 | 30.5 | 30.5 | 30.6 | 29.9 | 31 | 31.8 | 31.8 | 32 | 30.6 | 30.9 | 30.6 | 30.8 | 31 | 31.2 | 29.6
Strontium | mg/L | - | - | 0.173 | 0.172 | 0.174 | 0.184 | 0.186 | 0.18 | 0.178 | 0.165 | 0.162 | 0.162 | 0.163 | 0.175 | 0.165 | 0.17 | 0.172 | 0.172 | 0.173 | 0.176 | 0.177 | 0.173 | 0.168 | 0.175 | 0.18 | 0.181 | 0.179 | 0.18 | - | 0.178 | 0.182 | 0.143 | 0.178 | 0.179 | 0.184 | 0.178 | 0.181 | 0.185 | 0.193 | 0.197 | 0.199 | 0.197 | 0.204 | 0.204 | 0.204 | 0.185 | 0.2 | 0.193 | 0.194 | 0.19 | 0.19 | 0.2 | 0.182 | 0.203 | 0.167
Sulphur | mg/L | - | - | 53.4 | 52.6 | 53.7 | 55 | 54.4 | 54.7 | 51.6 | 52.3 | 51.7 | 51.3 | 51.4 | 53.2 | 51.7 | 52 | 51.2 | 49.7 | 49 | 49.8 | 50.4 | 49.9 | 49.8 | 55 | 56.2 | 53.8 | 55.3 | 56.6 | - | 55.8 | 54.8 | 41.5 | 52.5 | 52.6 | 53.2 | 52.7 | 53 | 53.5 | 53.5 | 51.9 | 53.4 | 52.7 | 50.9 | 52.8 | 52.5 | 54.8 | 54 | 54.5 | 54.7 | 53.2 | 55.6 | 54.7 | 54.5 | 52.5 | 50.8
Tellurium | mg/L | - | - | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | - | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002
Thallium | mg/L | - | - | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | - | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05
Thorium | mg/L | - | - | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | - | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001
Tin | mg/L | - | - | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | - | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001
Titanium | mg/L | - | - | 0.00031 | 0.00047 | 0.00044 | 0.00031 | -0.0006 | -0.0003 | -0.0003 | 0.00044 | 0.00044 | 0.00033 | -0.0003 | 0.00032 | 0.00037 | -0.0003 | -0.0003 | -0.0003 | 0.00035 | -0.0003 | 0.00031 | 0.00039 | -0.0003 | 0.00044 | 0.00036 | -0.0003 | -0.0003 | -0.0003 | - | 0.00036 | -0.0003 | 0.00345 | 0.00074 | -0.0003 | 0.00211 | 0.0015 | 0.00089 | -0.0006 | 0.001 | -0.0003 | -0.0003 | -0.0003 | -0.0006 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003
Tungsten | mg/L | - | - | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | - | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001
Uranium | mg/L | - | - | 4.1e-05 | 4.4e-05 | 4.1e-05 | 4.2e-05 | 5e-05 | 4.8e-05 | 5e-05 | 5.2e-05 | 5.7e-05 | 5.9e-05 | 6.4e-05 | 6.2e-05 | 6.4e-05 | 6.7e-05 | 6.4e-05 | 6.4e-05 | 6.9e-05 | 6.3e-05 | 6.4e-05 | 5.8e-05 | 5.9e-05 | 6.8e-05 | 6.3e-05 | 6.8e-05 | 5.8e-05 | 6.7e-05 | - | 6.4e-05 | 6.9e-05 | 7.5e-05 | 6.1e-05 | 6.2e-05 | 4.9e-05 | 6.4e-05 | 6.5e-05 | 6.1e-05 | 6.9e-05 | 5.3e-05 | 5e-05 | 5.4e-05 | 5.7e-05 | 5.2e-05 | 4.8e-05 | 5.3e-05 | 5.4e-05 | 5.2e-05 | 5.4e-05 | 5.1e-05 | 5.6e-05 | 6.4e-05 | 5.8e-05 | 4.6e-05 | 3.1e-05
Vanadium | mg/L | - | - | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | - | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005
Zinc | mg/L | 0.4 | 0.8 | 0.1 | 0.097 | 0.094 | 0.1 | 0.098 | 0.098 | 0.093 | 0.093 | 0.091 | 0.096 | 0.098 | 0.099 | 0.095 | 0.096 | 0.094 | 0.094 | 0.092 | 0.093 | 0.092 | 0.088 | 0.088 | 0.09 | 0.091 | 0.093 | 0.091 | 0.097 | - | 0.095 | 0.1 | 0.08 | 0.095 | 0.095 | 0.094 | 0.1 | 0.1 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.12 | 0.12 | 0.13 | 0.11 | 0.13
Zirconium | mg/L | - | - | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | - | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002
Radionuclides
Radium-226 | Bq/l | - | - | -0.0075 | - | - | - | - | - | 0.01 | - | - | - | - | -0.007 | - | - | - | - | - | - | 0.012 | - | - | - | - | - | - | - | - | - | 0.0069 | - | - | - | -0.0064 | - | - | - | - | - | - | -0.0068 | - | - | 0.0094 | - | - | - | - | 0.0072 | - | 0.009 | - | -0.0075 | -
Bolded concentrations are higher than water quality guidelines.
Water quality data and guidelines shown in this table were rounded to reflect laboratory or field instrument precision after comparisons to guidelines. Therefore, values slightly above guidelines may be displayed as being equal to the guidelines and identified as exceedances. Concentrations equal to the guideline values were not identified as exceedances.
- = no guideline or no data.

## Table A2
Table A2: Effluent Quality Results from Sewage Lake at station LUP-14
Parameter | Unit | Water License Sewage Lake Effluent Criteria | Sampling Sites
|  |  | LUP-14 PRE-DECANT | LUP-14 | LUP-14 | LUP-14
|  |  | 2021-06-25 08:00 | 2021-07-28 | 2021-08-18 | 2021-09-08 10:45
Field Measured
pH | - | 6.5 - 9.0 | 6.5 | 7.6 | - | 7.6
Specific conductivity | µS/cm | - | 182.9 | 150.8 | - | 138.2
Temperature | °C | - | 1.8 | 12.3 | - | 7
Dissolved oxygen | mg/L | - | - | 10.1 | - | 12.3
Conventional Parameters
pH | - | 6.5 - 9.0 | 6.8 | 7.2 | 7.2 | 7.1
Specific conductivity | µS/cm | - | 180 | 200 | 187 | 208
Hardness, as CaCO3 | mg/L | - | 59.9 | 67.5 | 62.5 | 66
Total alkalinity, as CaCO3 | mg/L | - | 8.1 | 9.7 | 11.7 | 10.3
Total suspended solids | mg/L | 35 | 1.8 | -1 | -1 | -1
Major Ions
Bromide | mg/L | - | 0.0688 | 0.0779 | 0.077 | 0.0919
Calcium | mg/L | - | - | - | - | -
Chloride | mg/L | - | 8.44 | 10.5 | 9.39 | 11.3
Cyanide | mg/L | - | - | - | - | -
Fluoride | mg/L | - | 0.051 | 0.069 | 0.068 | 0.07
Magnesium | mg/L | - | - | - | - | -
Potassium | mg/L | - | - | - | - | -
Sodium | mg/L | - | - | - | - | -
Sulphate | mg/L | - | 57.4 | 63.1 | 54.3 | 64.9
Nutrients
Nitrate | mg-N/L | - | 0.0194 | -0.003 | -0.003 | -0.003
Nitrite | mg-N/L | - | -0.001 | -0.001 | -0.001 | -0.001
Total ammonia | mg-N/L | - | -0.005 | -0.005 | -0.005 | 0.0057
Total phosphorus | mg-P/L | - | 0.012 | 0.0112 | 0.0174 | 0.0151
Dissolved phosphorus | mg-P/L | - | - | - | - | -
Orthophosphate | mg-P/L | - | -0.001 | 0.001 | 0.001 | -0.001
Nitrogen, kjeldahl | mg-N/L | - | 0.231 | 0.273 | 0.297 | 0.267
Total Metals
Aluminum | mg/L | - | 0.0501 | 0.0119 | 0.03 | 0.041
Antimony | mg/L | - | 0.00014 | 0.00011 | 0.00011 | 0.0001
Arsenic | mg/L | 0.05 | 0.0053 | 0.0044 | 0.0053 | 0.0055
Barium | mg/L | - | 0.00997 | 0.0107 | 0.00962 | 0.00998
Beryllium | mg/L | - | -0.0001 | -0.0001 | -0.0001 | -0.0001
Bismuth | mg/L | - | -5e-05 | -5e-05 | -5e-05 | -5e-05
Boron | mg/L | - | 0.037 | 0.038 | 0.032 | 0.038
Cadmium | mg/L | - | 1.82e-05 | -5e-06 | -5e-06 | -5e-06
Calcium | mg/L | - | 17.6 | 20 | 18.1 | 18.8
Cesium | mg/L | - | 6.4e-05 | 9.4e-05 | 8.9e-05 | 0.000107
Chromium | mg/L | - | -0.0005 | -0.0005 | -0.0005 | -0.0005
Cobalt | mg/L | - | 0.00167 | 0.00026 | 0.00028 | 0.00032
Copper | mg/L | 0.2 | 0.00114 | 0.00095 | 0.00124 | 0.00108
Iron | mg/L | - | 0.231 | 0.111 | 0.132 | 0.177
Lead | mg/L | 0.05 | 0.000108 | -5e-05 | -5e-05 | -5e-05
Lithium | mg/L | - | 0.0093 | 0.011 | 0.0102 | 0.0108
Magnesium | mg/L | - | 3.88 | 4.27 | 4.2 | 4.63
Manganese | mg/L | - | 0.0963 | 0.00915 | 0.0113 | 0.00979
Mercury | mg/L | - | -5e-06 | -5e-06 | -5e-06 | -5e-06
Molybdenum | mg/L | - | 0.000134 | 0.000121 | 0.000148 | 0.000162
Nickel | mg/L | 0.3 | 0.00815 | 0.00407 | 0.00459 | 0.00433
Potassium | mg/L | - | 2.1 | 2.29 | 2.13 | 2.34
Rubidium | mg/L | - | 0.00396 | 0.0047 | 0.00454 | 0.00467
Selenium | mg/L | - | 5.4e-05 | 6.4e-05 | -5e-05 | -5e-05
Silicon | mg/L | - | 0.45 | 0.12 | 0.11 | 0.16
Silver | mg/L | - | -1e-05 | -1e-05 | -1e-05 | -1e-05
Sodium | mg/L | - | 6.32 | 7.33 | 6.58 | 7.61
Strontium | mg/L | - | 0.11 | 0.129 | 0.111 | 0.124
Sulphur | mg/L | - | 20.6 | 21.2 | 20.3 | 22.7
Tellurium | mg/L | - | -0.0002 | -0.0002 | -0.0002 | -0.0002
Thallium | mg/L | - | -1e-05 | -1e-05 | -1e-05 | -1e-05
Thorium | mg/L | - | -0.0001 | -0.0001 | -0.0001 | -0.0001
Tin | mg/L | - | -0.0001 | -0.0001 | -0.0001 | -0.0001
Titanium | mg/L | - | 0.00107 | -0.0003 | -0.0003 | 0.00068
Tungsten | mg/L | - | -0.0001 | -0.0001 | -0.0001 | -0.0001
Uranium | mg/L | - | 3.1e-05 | 1.3e-05 | 1.5e-05 | 1.6e-05
Vanadium | mg/L | - | -0.0005 | -0.0005 | -0.0005 | -0.0005
Zinc | mg/L | 0.5 | 0.0146 | 0.0036 | -0.003 | -0.003
Zirconium | mg/L | - | -0.0002 | -0.0002 | -0.0002 | -0.0002
Ungrouped Analytes
Biochemical oxygen demand | mg/L | 30 | -2 | -2 | 4 | -2
Fecal coliform | CFU/100mL | 1000 | -1 | -1 | -1 | -1
Bolded concentrations are higher than water quality guidelines.
Water quality data and guidelines shown in this table were rounded to reflect laboratory or field instrument precision after comparisons to guidelines. Therefore, values slightly above guidelines may be displayed as being equal to the guidelines and identified as exceedances. Concentrations equal to the guideline values were not identified as exceedances.
- = no guideline or no data.

## Table A3
Table A3: Water Quality Results from Receiving Waterbody at stations LUP-20, LUP-21, LUP-22, LUP-24 and LUP-25
Parameter | Unit | CWQG (CCME, 1999) Guidelines |  | Sampling Sites | [22 empty] | Sampling Sites
|  |  |  | LUP-20 | LUP-20 | LUP-20 | LUP-20 | LUP-20 | LUP-20 | LUP-21 | LUP-21 | LUP-21 | LUP-21 | LUP-21 | LUP-21 | DUPLICATE - 22 | LUP-22 | LUP-22 | LUP-22 | LUP-22 | LUP-22 | LUP-22 | LUP-22 | LUP-22 | LUP-22 | LUP-22 | LUP-24 | LUP-24 | LUP-24 | LUP-24 | LUP-24 | LUP-24 | LUP-24 | LUP-24 | LUP-24 | LUP-24 | LUP-25 | LUP-25 | LUP-25 | LUP-25 | LUP-25 | LUP-25 | LUP-25 | LUP-25 | LUP-25 | LUP-25
|  | Acute | Chronic | 2021-07-22 12:40 | 2021-07-27 14:30 | 2021-08-02 14:20 | 2021-08-09 14:00 | 2021-08-29 17:50 | 2021-09-06 17:25 | 2021-07-22 11:45 | 2021-07-27 15:15 | 2021-08-02 13:45 | 2021-08-09 12:35 | 2021-08-29 18:15 | 2021-09-06 17:40 | 2021-08-02 12:45 | 2021-07-22 13:20 | 2021-07-27 16:20 | 2021-08-02 12:30 | 2021-08-09 11:23 | 2021-08-17 10:15 | 2021-08-22 09:30 | 2021-08-29 16:20 | 2021-09-06 16:00 | 2021-09-13 17:30 | 2021-09-20 11:45 | 2021-07-22 14:05 | 2021-07-27 15:15 | 2021-08-02 11:00 | 2021-08-09 10:52 | 2021-08-17 09:20 | 2021-08-22 09:15 | 2021-08-29 15:50 | 2021-09-06 15:40 | 2021-09-13 17:05 | 2021-09-20 12:15 | 2021-07-22 14:50 | 2021-07-27 18:00 | 2021-08-02 10:30 | 2021-08-09 10:25 | 2021-08-17 09:00 | 2021-08-22 09:00 | 2021-08-29 15:25 | 2021-09-06 15:20 | 2021-09-13 16:50 | 2021-09-20 12:45
Field Measured
pH | - | - | 6.5 - 9.0 | 5.9(C) | 6.7 | 7.2 | 7.2 | 6.8 | 6.8 | 6.2(C) | 6.1(C) | 7.6 | 7.4 | 6.2(C) | 6.5 | - | 6.3(C) | 6.3(C) | 7.4 | 11(C) | 7.2 | 6.2(C) | 6.7 | 6.7 | 7.2 | 6.8 | 6.4(C) | 6.2(C) | 7.4 | 7 | 7.3 | 5.9(C) | 6.6 | 6.5 | 7 | 6.6 | 6.5 | 6.3(C) | 7.6 | 6.9 | 7.5 | 5.9(C) | 6.4(C) | 5.8(C) | 6.4(C) | 7
Specific conductivity | µS/cm | - | - | 11.2 | 274.4 | 332.7 | 280 | 309.9 | 289 | 12.2 | 9.6 | 11.3 | 8.9 | 10.7 | 10.5 | - | 12.5 | 14.9 | 80.7 | 120.6 | 105.3 | 126.1 | 108.6 | 117.5 | 121.4 | 78.2 | 12.1 | 14.9 | 15.1 | 83.2 | 110.8 | 87.1 | 63.3 | 46.7 | 92.4 | 67.3 | 10.1 | 10.6 | 10.4 | 10.7 | 12 | 15.1 | 12.5 | 11 | 14.4 | 12.4
Temperature | °C | - | - | 16 | 10.3 | 17.6 | 9.7 | 14.5 | 11.8 | 16.9 | 10.6 | 18.3 | 9.2 | 14.1 | 11.6 | - | 17.2 | 11.8 | 16.6 | 8.9 | 8.2 | 9.6 | 13 | 11.1 | 6.1 | 3.6 | 15.7 | 11.3 | 9.5 | 9.2 | 8.7 | 9.9 | 10 | 9.1 | 6.4 | 4.2 | 6.6 | 8.4 | 8.8 | 7.1 | 11.2 | 7.6 | 7.8 | 8 | 7.4 | 6.2
Dissolved oxygen | mg/L | - | 6.5 | - | - | 9.1 | 10.9 | 10.2 | 10.3 | - | - | 9.2 | 11.1 | 10.1 | 10.2 | - | - | - | 9.6 | 7.1 | 11.8 | 11 | 10.1 | 10.4 | 14.1 | 12.4 | - | - | 11.7 | 10.7 | 10.8 | 11 | 11 | 11 | 14.9 | 12.1 | - | - | 11.8 | 11.5 | 11.4 | 11.4 | 11.4 | 11.3 | 13.5 | 11.4
Conventional Parameters
pH | - | - | 6.5 - 9.0 | 6.5 | 7.1 | 7.2 | 7.3 | 7.2 | 7.1 | 6.7 | 6.5 | 6.6 | 6.6 | 6.6 | 6.7 | 6.9 | 6.6 | 6.6 | 6.8 | 7 | 7 | 7 | 7 | 6.9 | 6.9 | 6.8 | 6.7 | 6.6 | 6.7 | 6.8 | 6.9 | 6.9 | 6.8 | 6.8 | 6.8 | 6.9 | 6.6 | 6.7 | 6.6 | 6.6 | 6.7 | 6.6 | 6.8 | 6.6 | 6.6 | 6.6
Specific conductivity | µS/cm | - | - | 12.6 | 384 | 387 | 394 | 388 | 390 | 13.4 | 13.7 | 14 | 13.3 | 12.6 | 13.5 | 134 | 13.9 | 20 | 96.5 | 176 | 197 | 178 | 141 | 160 | 173 | 126 | 14 | 20.9 | 68.2 | 119 | 114 | 140 | 84.2 | 69.7 | 74.2 | 112 | 14.2 | 15.4 | 16.2 | 17 | 23.9 | 23.4 | 18.5 | 26.1 | 18.6 | 18
Hardness, as CaCO3 | mg/L | - | - | 4.7 | 102 | 104 | 103 | 106 | 101 | 5.01 | 4.44 | 4.53 | 4.35 | 4.28 | 4.74 | 34 | 5.27 | 6.46 | 25.2 | 45.3 | 51.6 | 46.6 | 35.5 | 40.4 | 46 | 34 | 5.09 | 6.53 | 19 | 31.3 | 30.6 | 36.8 | 20.8 | 17 | 20.1 | 30.5 | 5.01 | 4.98 | 5.27 | 5.29 | 6.89 | 20.5 | 5.56 | 7.46 | 5.98 | 5.85
Total alkalinity, as CaCO3 | mg/L | - | - | 5 | 6.9 | 9.3 | 10.3 | 9.8 | 9 | 3.8 | 2.6 | 2.5 | 2.8 | 3.5 | 3.7 | 4.2 | 4.2 | 3.1 | 3.7 | 5.4 | 6.4 | 6.3 | 5.8 | 6 | 5.7 | 6 | 3.7 | 2.6 | 3.5 | 4.3 | 4.5 | 5.3 | 4.6 | 5.1 | 4 | 6.2 | 3.7 | 2.7 | 2.8 | 2.6 | 3.3 | 2.9 | 3.4 | 3.4 | 3.1 | 3.5
Total suspended solids | mg/L | - | - | -1 | -1 | -1 | -1 | -1 | 1.4 | 1 | -1 | -1 | -1 | 1.1 | 1.2 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 1.5 | 2.5 | -1 | -1 | 1 | -1 | -1 | 1 | -1 | -1 | -1 | 1.1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1
Major Ions
Bromide | mg/L | - | - | -0.005 | 0.197 | 0.192 | - | - | 0.188 | -0.005 | -0.005 | -0.005 | - | -0.005 | -0.005 | 0.0619 | -0.005 | -0.005 | 0.0434 | - | 0.088 | 0.0725 | - | 0.064 | 0.0713 | 0.0562 | -0.005 | -0.005 | 0.0256 | - | 0.0474 | 0.0566 | 0.0306 | 0.0221 | 0.028 | 0.0409 | -0.005 | 0.0062 | -0.005 | - | 0.006 | -0.005 | - | 0.0082 | -0.005 | -0.005
Calcium | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Chloride | mg/L | 640 | 120 | 0.18 | 16 | 15.7 | - | - | 14.4 | 0.2 | 0.18 | 0.19 | - | 0.22 | 0.2 | 4.95 | 0.26 | 0.38 | 3.42 | - | 6.99 | 6.3 | - | 5.45 | 5.94 | 4.34 | 0.23 | 0.42 | 2.32 | - | 3.88 | 4.91 | 2.81 | 2.28 | 2.44 | 3.84 | 0.34 | 0.43 | 0.4 | - | 0.62 | 0.62 | - | 0.73 | 0.51 | 0.52
Cyanide | mg/L | - | 0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005
Fluoride | mg/L | - | 0.12 | 0.019 | 0.082 | 0.093 | - | - | 0.09 | 0.018 | 0.019 | 0.019 | - | 0.019 | 0.019 | 0.041 | 0.02 | 0.022 | 0.035 | - | 0.047 | 0.045 | - | 0.042 | 0.05 | 0.041 | 0.018 | 0.022 | 0.026 | - | 0.032 | 0.038 | 0.028 | 0.03 | 0.029 | 0.037 | 0.018 | 0.022 | 0.024 | - | 0.018 | 0.019 | - | 0.019 | 0.02 | 0.019
Magnesium | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Potassium | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Sodium | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Sulphate | mg/L | - | - | 2.02 | 142 | 143 | - | - | 143 | 2.45 | 2.16 | 2.33 | - | 2.32 | 2.48 | 45.7 | 2.49 | 4.14 | 31.7 | - | 67 | 60.4 | - | 54.3 | 59.7 | 44.2 | 2.47 | 4.49 | 21.5 | - | 36.6 | 46.9 | 27.1 | 21.6 | 23.8 | 38.5 | 2.82 | 2.79 | 3.03 | - | 5.5 | 5.38 | - | 6.62 | 4.29 | 4.29
Nutrients
Nitrate | mg-N/L | 124 | 2.93 | 0.0199 | 0.278 | 0.272 | - | - | 0.33 | 0.0054 | 0.0093 | 0.0042 | - | 0.0109 | 0.0103 | 0.0606 | -0.003 | -0.003 | 0.0299 | - | 0.116 | 0.0682 | - | 0.0664 | 0.073 | 0.0395 | -0.003 | -0.003 | 0.0145 | - | 0.03 | 0.0374 | 0.0179 | 0.0154 | 0.0182 | 0.0207 | 0.0115 | 0.0456 | 0.011 | - | 0.0133 | 0.016 | - | 0.0164 | 0.0138 | 0.0164
Nitrite | mg-N/L | - | 0.06 | -0.001 | 0.0011 | 0.0018 | - | - | 0.0014 | -0.001 | -0.001 | -0.001 | - | -0.001 | -0.001 | -0.001 | -0.001 | -0.001 | -0.001 | - | -0.001 | -0.001 | - | -0.001 | -0.001 | -0.001 | -0.001 | -0.001 | -0.001 | - | -0.001 | -0.001 | -0.001 | -0.001 | -0.001 | -0.001 | -0.001 | -0.001 | -0.001 | - | -0.001 | -0.001 | - | -0.001 | -0.001 | -0.001
Total ammonia | mg-N/L | - | 0.017 - 156(a) | 0.0086 | 0.0058 | -0.005 | 0.011 | 0.0084 | 0.0183 | 0.0064 | 0.0064 | 0.0054 | -0.005 | 0.0114 | 0.0075 | 0.0056 | 0.0125 | 0.0084 | 0.0069 | -0.005 | 0.0075 | 0.0095 | 0.0059 | 0.0085 | 0.0055 | 0.0063 | 0.0176 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | 0.005 | 0.0082 | -0.005 | 0.006 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | 0.0152 | -0.005 | -0.005 | -0.005
Total phosphorus | mg-P/L | - | - | -0.05 | -0.05 | -0.05 | -0.002 | -0.05 | 0.0024 | -0.05 | -0.05 | -0.05 | 0.0047 | 0.0048 | 0.0056 | -0.05 | -0.05 | -0.05 | -0.05 | 0.0026 | 0.0023 | 0.0034 | -0.05 | 0.0048 | 0.0054 | -0.05 | -0.05 | -0.05 | -0.05 | 0.0027 | 0.0036 | 0.0038 | 0.0032 | 0.0036 | 0.0041 | -0.05 | -0.05 | -0.05 | -0.05 | 0.0024 | -0.002 | 0.002 | -0.05 | 0.0028 | 0.0032 | -0.05
Dissolved phosphorus | mg-P/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Orthophosphate | mg-P/L | - | - | - | - | - | -0.001 | - | -0.001 | - | - | - | -0.001 | -0.001 | -0.001 | - | - | - | - | -0.001 | 0.0012 | -0.001 | - | -0.001 | 0.0016 | - | - | - | - | -0.001 | 0.0013 | -0.001 | -0.001 | -0.001 | 0.0012 | - | - | - | - | -0.001 | 0.0016 | -0.001 | - | -0.001 | -0.001 | -
Nitrogen, kjeldahl | mg-N/L | - | - | - | - | - | 0.133 | - | -0.2 | - | - | - | 0.181 | 0.2 | 0.248 | - | - | - | - | 0.148 | 0.159 | 0.169 | - | -0.2 | 0.176 | - | - | - | - | 0.164 | 0.166 | 0.153 | -0.2 | 0.163 | 0.149 | - | - | - | - | 0.123 | 0.139 | 0.111 | - | 0.117 | 0.135 | -
Total Metals
Aluminum | mg/L | - | 0.0050 - 0.10(b, c) | 0.038(C) | 0.0149 | 0.0172 | 0.0136 | 0.0141 | 0.0154 | 0.021(C) | 0.016(C) | 0.018 | 0.0159 | 0.011(C) | 0.0138 | 0.0164 | 0.025(C) | 0.034(C) | 0.016 | 0.0141 | 0.0154 | 0.016(C) | 0.0123 | 0.0124 | 0.0109 | 0.013 | 0.032(C) | 0.021(C) | 0.0159 | 0.0154 | 0.0132 | 0.015(C) | 0.0142 | 0.0116 | 0.0101 | 0.0127 | 0.0185 | 0.020(C) | 0.0168 | 0.0158 | 0.0123 | 0.022(C) | 0.016(C) | 0.011(C) | 0.011(C) | 0.0118
Antimony | mg/L | - | - | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001
Arsenic | mg/L | - | 0.005 | 0.00128 | 0.0025 | 0.00318 | 0.00289 | 0.00273 | 0.00291 | 0.00047 | 0.0003 | 0.00038 | 0.00031 | 0.00034 | 0.00038 | 0.00102 | 0.00062 | 0.00077 | 0.00085 | 0.00114 | 0.00152 | 0.00122 | 0.00101 | 0.001 | 0.00104 | 0.00078 | 0.00059 | 0.00064 | 0.00077 | 0.00088 | 0.00082 | 0.00092 | 0.00066 | 0.00045 | 0.00054 | 0.00074 | 0.00032 | 0.00035 | 0.00033 | 0.0003 | 0.00031 | 0.0004 | 0.00049 | 0.00031 | 0.00032 | 0.00034
Barium | mg/L | - | - | 0.00397 | 0.00956 | 0.00848 | 0.0068 | 0.00896 | 0.00825 | 0.00221 | 0.00185 | 0.00178 | 0.00162 | 0.00192 | 0.00185 | 0.00431 | 0.00213 | 0.00223 | 0.00394 | 0.005 | 0.00477 | 0.00495 | 0.00437 | 0.00464 | 0.00497 | 0.00428 | 0.00227 | 0.00222 | 0.00372 | 0.00476 | 0.00391 | 0.00458 | 0.00386 | 0.003 | 0.00338 | 0.00421 | 0.00258 | 0.00245 | 0.0025 | 0.00238 | 0.0025 | 0.00309 | 0.00262 | 0.00247 | 0.0024 | 0.00255
Beryllium | mg/L | - | - | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001
Bismuth | mg/L | - | - | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05
Boron | mg/L | 29 | 1.5 | -0.01 | 0.031 | 0.033 | 0.03 | 0.031 | 0.029 | -0.01 | -0.01 | -0.01 | -0.01 | -0.01 | -0.01 | -0.01 | -0.01 | -0.01 | -0.01 | 0.013 | 0.015 | 0.013 | 0.01 | 0.011 | 0.012 | -0.01 | -0.01 | -0.01 | -0.01 | -0.01 | -0.01 | 0.01 | -0.01 | -0.01 | -0.01 | -0.01 | -0.01 | -0.01 | -0.01 | -0.01 | -0.01 | -0.01 | -0.01 | -0.01 | -0.01 | -0.01
Cadmium | mg/L | 0.00011 - 0.0022(d) | 0.000040 - 0.00017(d) | 5.5e-06 | 2.08e-05 | 1.78e-05 | 1.62e-05 | 1.48e-05 | 2.31e-05 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | 7.5e-06 | -5e-06 | -5e-06 | 7.6e-06 | 7.6e-06 | 5.8e-06 | -5e-06 | 1.06e-05 | 6.7e-06 | 6.4e-06 | 7e-06 | -5e-06 | -5e-06 | 1.37e-05 | 8.6e-06 | -5e-06 | -5e-06 | 1.33e-05 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | 6.2e-06 | -5e-06 | -5e-06 | -5e-06 | 8e-06 | -5e-06 | -5e-06 | -5e-06
Calcium | mg/L | - | - | 0.891 | 30.1 | 30.4 | 30.4 | 32 | 30 | 1.04 | 0.93 | 0.935 | 0.854 | 0.89 | 0.986 | 9.76 | 1.11 | 1.42 | 7.04 | 13.2 | 15 | 13.7 | 10.4 | 11.6 | 13 | 9.54 | 1.06 | 1.47 | 5.07 | 8.89 | 8.64 | 10.7 | 5.88 | 4.68 | 5.55 | 8.57 | 1.06 | 1.06 | 1.11 | 1.12 | 1.6 | 6.97 | 1.29 | 1.85 | 1.33 | 1.28
Cesium | mg/L | - | - | 2.3e-05 | 7.9e-05 | 8.3e-05 | 5.5e-05 | 6.4e-05 | 6.8e-05 | 1.5e-05 | 1.2e-05 | 1.4e-05 | 1e-05 | 1.3e-05 | 1.6e-05 | 3.3e-05 | 1.3e-05 | 1.8e-05 | 2.9e-05 | 3.4e-05 | 3.8e-05 | 3.5e-05 | 2.8e-05 | 3.5e-05 | 3e-05 | 2.4e-05 | 1.6e-05 | 1.5e-05 | 2.2e-05 | 2.9e-05 | 2.5e-05 | 2.6e-05 | 1.8e-05 | 1.7e-05 | 1.6e-05 | 2.1e-05 | 1.1e-05 | 1.2e-05 | 1.1e-05 | -1e-05 | 1e-05 | 1.1e-05 | 1.2e-05 | 1.1e-05 | -1e-05 | -1e-05
Chromium | mg/L | - | 0.001 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | 0.00054 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005
Cobalt | mg/L | - | - | 0.00018 | 0.00124 | 0.001 | 0.00098 | 0.00074 | 0.00092 | 0.00013 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | 0.00026 | 0.00012 | 0.00017 | 0.00021 | 0.00021 | 0.00033 | 0.00018 | 0.00015 | 0.00016 | 0.00014 | 0.00011 | 0.00013 | 0.00015 | 0.00018 | 0.00014 | 0.00012 | 0.00014 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001
Copper | mg/L | - | 0.0020 - 0.0025(d) | 0.00094 | 0.00166 | 0.00169 | 0.00116 | 0.00145 | 0.00158 | 0.00089 | 0.00081 | 0.00083 | 0.00074 | 0.00081 | 0.0008 | 0.00123 | 0.00099 | 0.00148 | 0.00103 | 0.00091 | 0.0011 | 0.00088 | 0.0011 | 0.00095 | 0.00097 | 0.00094 | 0.00099 | 0.00101 | 0.00145 | 0.00104 | 0.00096 | 0.00077 | 0.00117 | 0.00091 | 0.00072 | 0.00094 | 0.00067 | 0.00084 | 0.00099 | 0.00076 | 0.00071 | 0.00066 | 0.00133 | 0.00063 | 0.00073 | 0.00113
Iron | mg/L | - | 0.3 | 0.098 | 0.104 | 0.135 | 0.097 | 0.11 | 0.128 | 0.073 | 0.062 | 0.065 | 0.056 | 0.054 | 0.068 | 0.08 | 0.094 | 0.13 | 0.077 | 0.078 | 0.069 | 0.068 | 0.062 | 0.068 | 0.066 | 0.068 | 0.106 | 0.096 | 0.069 | 0.079 | 0.054 | 0.048 | 0.033 | 0.025 | 0.029 | 0.052 | 0.024 | 0.035 | 0.016 | 0.014 | 0.012 | 0.019 | 0.016 | 0.01 | -0.01 | 0.01
Lead | mg/L | - | 0.0010 - 0.0034(d) | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | 6.4e-05 | -5e-05 | 6.4e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | 5.3e-05 | -5e-05 | -5e-05 | -5e-05 | 5.4e-05 | -5e-05 | 5.5e-05 | -5e-05 | -5e-05 | -5e-05 | 0.000101 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | 0.000137 | -5e-05 | -5e-05 | -5e-05
Lithium | mg/L | - | - | 0.0014 | 0.0159 | 0.0178 | 0.018 | 0.0202 | 0.0183 | 0.001 | -0.001 | -0.001 | -0.001 | -0.001 | 0.0011 | 0.0057 | 0.001 | 0.0012 | 0.0042 | 0.0078 | 0.009 | 0.0079 | 0.0064 | 0.0072 | 0.008 | 0.0058 | 0.001 | 0.0013 | 0.0032 | 0.0053 | 0.0053 | 0.0062 | 0.0038 | 0.0031 | 0.0035 | 0.0052 | 0.001 | 0.001 | 0.001 | 0.001 | 0.0013 | 0.0013 | 0.0012 | 0.0016 | 0.0012 | 0.0011
Magnesium | mg/L | - | - | 0.601 | 6.57 | 6.74 | 6.59 | 6.34 | 6.37 | 0.586 | 0.515 | 0.534 | 0.539 | 0.5 | 0.552 | 2.33 | 0.606 | 0.708 | 1.84 | 3 | 3.44 | 3.02 | 2.32 | 2.78 | 3.28 | 2.46 | 0.594 | 0.694 | 1.54 | 2.21 | 2.2 | 2.45 | 1.49 | 1.3 | 1.51 | 2.21 | 0.574 | 0.568 | 0.607 | 0.606 | 0.703 | 0.762 | 0.568 | 0.689 | 0.647 | 0.645
Manganese | mg/L | - | - | 0.00602 | 0.0328 | 0.0327 | 0.0408 | 0.0339 | 0.0408 | 0.00466 | 0.00286 | 0.0033 | 0.00214 | 0.0027 | 0.0031 | 0.00921 | 0.00451 | 0.00604 | 0.00784 | 0.00834 | 0.0132 | 0.00702 | 0.00539 | 0.00675 | 0.00578 | 0.00368 | 0.00504 | 0.00651 | 0.00714 | 0.00796 | 0.0066 | 0.00743 | 0.00417 | 0.00376 | 0.0035 | 0.00359 | 0.00402 | 0.00374 | 0.00367 | 0.00296 | 0.0028 | 0.00375 | 0.00245 | 0.0023 | 0.00222 | 0.0022
Mercury | mg/L | - | 2.6e-05 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06
Molybdenum | mg/L | - | 0.073 | -5e-05 | 0.00018 | 0.000254 | 0.000242 | 0.000201 | 0.000171 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | 7.6e-05 | -5e-05 | -5e-05 | 5e-05 | 8.2e-05 | 0.000116 | 8.8e-05 | 7.5e-05 | 7.2e-05 | 6.4e-05 | 5.2e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | 6.1e-05 | 7.1e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05
Nickel | mg/L | - | 0.025 - 0.100(d) | 0.00123 | 0.0161 | 0.0135 | 0.0148 | 0.0171 | 0.0182 | 0.00104 | 0.00071 | 0.00078 | 0.00065 | 0.00069 | 0.00072 | 0.00388 | 0.00144 | 0.00236 | 0.00306 | 0.00458 | 0.00566 | 0.00433 | 0.00373 | 0.00446 | 0.00459 | 0.00347 | 0.00125 | 0.00155 | 0.00295 | 0.00329 | 0.00308 | 0.00333 | 0.00245 | 0.00176 | 0.00201 | 0.00274 | 0.00113 | 0.00124 | 0.00151 | 0.00115 | 0.00119 | 0.00125 | 0.00146 | 0.0012 | 0.00104 | 0.00103
Potassium | mg/L | - | - | 0.303 | 2.88 | 2.94 | 2.8 | 2.97 | 2.84 | 0.361 | 0.354 | 0.358 | 0.338 | 0.34 | 0.374 | 1.08 | 0.369 | 0.43 | 0.87 | 1.32 | 1.57 | 1.42 | 1.14 | 1.31 | 1.45 | 1.23 | 0.379 | 0.419 | 0.739 | 0.999 | 1.05 | 1.16 | 0.809 | 0.725 | 0.778 | 1.11 | 0.418 | 0.44 | 0.451 | 0.446 | 0.461 | 0.454 | 0.424 | 0.46 | 0.441 | 0.47
Rubidium | mg/L | - | - | 0.00106 | 0.00288 | 0.00244 | 0.00201 | 0.00219 | 0.00231 | 0.00116 | 0.00104 | 0.00107 | 0.00116 | 0.00106 | 0.00117 | 0.00154 | 0.00117 | 0.00133 | 0.00146 | 0.00161 | 0.00171 | 0.00163 | 0.0016 | 0.00176 | 0.00178 | 0.00161 | 0.00109 | 0.00119 | 0.00154 | 0.00158 | 0.0016 | 0.00162 | 0.00139 | 0.00137 | 0.00135 | 0.0016 | 0.00118 | 0.00128 | 0.00122 | 0.00114 | 0.00119 | 0.00117 | 0.00114 | 0.00102 | 0.0011 | 0.00118
Selenium | mg/L | - | 0.001 | -5e-05 | 6.3e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | 5.1e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05
Silicon | mg/L | - | - | 0.31 | 1.35 | 1.3 | 1.34 | 0.91 | 1.04 | 0.1 | 0.11 | 0.11 | -0.1 | -0.1 | -0.1 | 0.41 | 0.1 | 0.12 | 0.29 | 0.48 | 0.53 | 0.37 | 0.24 | 0.29 | 0.29 | 0.22 | 0.11 | 0.12 | 0.24 | 0.31 | 0.3 | 0.3 | 0.19 | 0.13 | 0.14 | 0.2 | 0.14 | 0.14 | 0.16 | 0.12 | 0.13 | 0.13 | 0.12 | 0.11 | 0.11 | 0.11
Silver | mg/L | - | 0.00025 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05
Sodium | mg/L | - | - | 0.514 | 30.8 | 29.9 | 29.3 | 28.8 | 28.8 | 0.543 | 0.505 | 0.507 | 0.524 | 0.499 | 0.548 | 9.26 | 0.556 | 0.947 | 6.49 | 12.1 | 13.9 | 12.5 | 9.52 | 11.1 | 12.1 | 8.91 | 0.568 | 0.963 | 4.78 | 8.19 | 8.18 | 9.64 | 5.42 | 4.41 | 4.84 | 7.99 | 0.598 | 0.63 | 0.645 | 0.714 | 1.17 | 1.25 | 0.838 | 1.35 | 0.919 | 0.93
Strontium | mg/L | - | - | 0.00618 | 0.148 | 0.154 | 0.154 | 0.176 | 0.162 | 0.00579 | 0.00518 | 0.0052 | 0.00502 | 0.00564 | 0.00623 | 0.0479 | 0.00613 | 0.00771 | 0.0349 | 0.0653 | 0.0761 | 0.0692 | 0.059 | 0.0619 | 0.0664 | 0.0498 | 0.00597 | 0.00798 | 0.0262 | 0.0453 | 0.0456 | 0.0533 | 0.0341 | 0.0256 | 0.0284 | 0.0432 | 0.00597 | 0.00597 | 0.0063 | 0.00644 | 0.00888 | 0.0119 | 0.00789 | 0.0105 | 0.00713 | 0.00748
Sulphur | mg/L | - | - | 0.61 | 48.9 | 51 | 48.4 | 47.3 | 47.1 | 0.78 | 0.72 | 0.95 | 0.79 | 0.61 | 0.91 | 14.9 | 0.78 | 1.23 | 10.4 | 19.4 | 25 | 20.4 | 15.2 | 17.7 | 19.8 | 15.2 | 0.77 | 1.53 | 7.54 | 12.9 | 14.7 | 15.9 | 9.15 | 6.95 | 7.37 | 13.8 | 0.82 | 0.78 | 1.2 | 1.15 | 1.92 | 1.84 | 1.49 | 2.15 | 1.31 | 1.19
Tellurium | mg/L | - | - | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002
Thallium | mg/L | - | 0.0008 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05
Thorium | mg/L | - | - | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001
Tin | mg/L | - | - | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001
Titanium | mg/L | - | - | 0.00036 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | 0.00095 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | 0.00063 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0003 | -0.0006 | -0.0003 | -0.0003 | -0.0003
Tungsten | mg/L | - | - | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001
Uranium | mg/L | 0.033 | 0.015 | 0.000156 | 1e-05 | -1e-05 | -1e-05 | -1e-05 | 1.1e-05 | 2.8e-05 | 2.5e-05 | 2.4e-05 | 2.4e-05 | 1.8e-05 | 2.1e-05 | 2e-05 | 3.3e-05 | 3.5e-05 | 2.3e-05 | 1.8e-05 | 1.8e-05 | 1.7e-05 | 1.6e-05 | 1.8e-05 | 1.7e-05 | 1.7e-05 | 3.1e-05 | 3.1e-05 | 2.6e-05 | 1.9e-05 | 1.9e-05 | 2e-05 | 2e-05 | 2.1e-05 | 2.3e-05 | 2e-05 | 3.5e-05 | 3.9e-05 | 3.6e-05 | 3.2e-05 | 2.8e-05 | 2.8e-05 | 2.5e-05 | 2.5e-05 | 2.4e-05 | 2.3e-05
Vanadium | mg/L | - | - | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005
Zinc | mg/L | 0.011 - 0.062(e) | 0.0026 - 0.021(f) | -0.003 | 0.026(C) | 0.018(C) | 0.021(C) | 0.0196 | 0.027(C) | -0.003 | -0.003 | <0.003(DL>C) | -0.003 | 0.0037 | -0.003 | 0.0066(C) | -0.003 | -0.003 | 0.0058(C) | 0.0073(C) | 0.0077(C) | 0.0059 | 0.0072 | 0.0059 | 0.0063 | 0.0046 | -0.003 | -0.003 | 0.012(C) | 0.0067(C) | 0.0044(C) | 0.0037 | 0.0082(C) | -0.003 | 0.0034 | 0.0043 | -0.003 | 0.0031 | 0.0058(C) | 0.0036 | <0.003(DL>C) | -0.003 | 0.0057 | -0.003 | -0.003 | -0.003
Zirconium | mg/L | - | - | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | 0.00024 | -0.0002 | -0.0002 | -0.0002 | -0.0002
Radionuclides
Radium-226 | Bq/l | - | - | -0.0048 | -0.0041 | -0.0098 | -0.0073 | -0.0062 | 0.0055 | -0.0056 | - | -0.0045 | -0.0052 | -0.01 | -0.0059 | -0.0077 | -0.008 | -0.0059 | -0.0084 | -0.0056 | -0.0068 | -0.0068 | -0.0063 | -0.005 | - | -0.007 | -0.0048 | -0.0035 | -0.0075 | -0.0062 | -0.0069 | -0.0044 | -0.0078 | -0.0044 | - | -0.0036 | -0.0079 | -0.0063 | -0.0095 | -0.0077 | 0.0072 | -0.0075 | -0.0049 | -0.0052 | - | -0.0061
(a) = the ammonia guideline is pH and temperature dependent. The guideline that results in the minimum ammonia guideline (1.70806237092818E-2.00 mg-N/L) is based on the combination of field pH (10.8) and water temperature (8.9°C). Guidelines calculated with temperature and pH values falling outside the defined range (i.e., pH 6.0 to 10.0 and temperature 0°C to 30°C) should be used with caution, as the WQG does not necessarily accurately reflect toxic effects at the low and high pH and temperature extremes. The guideline is calculated based on the individual field pH and temperature measurements for each sample.
(b) = guideline is pH dependent. The guideline range shown is based on the pH range observed in the dataset (5.8 to 10.8). The guideline is calculated based on the individual pH for each sample.
(c) = guideline is pH dependent: 0.005 mg/L at pH < 6.5 and 0.1 mg/L at pH ≥ 6.5.
(d) = guideline is hardness dependent. The guideline range shown is based on the hardness range observed in the dataset (4 to 106 mg/L). The guideline is calculated based on the individual hardness value for each sample.
(e) = guideline is for dissolved zinc, but comparison to total zinc is appropriate when no dissolved zinc concentrations are available. The acute dissolved zinc guideline is hardness and DOC dependent. The guideline that results in the minimum acute zinc guideline (11.3 µg/L) is based on the combination of Hardness (4.7 mg/L) and DOC (0.3 mg/L). Guidelines calculated with Hardness and DOC values falling outside the defined range (i.e., Hardness 13.8 to 250.5 mg/L and DOC 0.3 to 17.3 mg/L) should be used with caution, as the WQG does not necessarily accurately reflect toxic effects at the low and high hardness and DOC extremes. The guideline is calculated based on the individual hardness and DOC measurements for each sample.
(f) = guideline is for dissolved zinc, but comparison to total zinc is appropriate when no dissolved zinc concentrations are available. The chronic dissolved zinc guideline is pH, hardness and DOC dependent. The guideline that results in the minimum chronic zinc guideline (2.6 µg/L) is based on the combination of field pH (7.6), Hardness (4.5 mg/L) and DOC (0.3 mg/L). Guidelines calculated with pH, Hardness and DOC values falling outside the defined range (i.e., pH 6.5 to 8.13, Hardness 23.4 to 399 mg/L and DOC 0.3 to 22.9 mg/L) should be used with caution, as the WQG does not necessarily accurately reflect toxic effects at the low and high pH, hardness and DOC extremes. The guideline is calculated based on the individual pH, hardness and DOC measurements for each sample.
(C) = concentration is higher than the chronic aquatic life CCME guideline or outside the recommended pH, DO or total alkalinity range.
(DL>C) = analytical detection limit is higher than the chronic aquatic life CCME guideline.
Bolded concentrations are higher than water quality guidelines.
Water quality data and guidelines shown in this table were rounded to reflect laboratory or field instrument precision after comparisons to guidelines. Therefore, values slightly above guidelines may be displayed as being equal to the guidelines and identified as exceedances. Concentrations equal to the guideline values were not identified as exceedances.
CQWG = Canadian Water Quality Guidelines; CCME = Canadian Council - = no guideline or no data.

## Table A4
Table A4: Water Quality Results from Boot Lake, East Lake and Lower Sewage Lake.
Parameter | Unit | CWQG (CCME, 1999) Guidelines |  | Sampling Sites
|  |  |  | LUP-BL-01 | LUP-BL-01 | LUP-EL-01 | LUP-EL-01 | LUP-LSL-01 | LUP-LSL-01
|  | Acute | Chronic | 2021-06-25 09:20 | 2021-08-30 14:20 | 2021-06-25 07:30 | 2021-08-30 13:40 | 2021-06-18 10:00 | 2021-08-30 15:00
Field Measured
pH | - | - | 6.5 - 9.0 | 4.5(C) | 6.4(C) | 6.1(C) | 4.8(C) | 7 | 6.5
Specific conductivity | µS/cm | - | - | 40.8 | 22.1 | 21.4 | 49.6 | 193 | 141.5
Temperature | °C | - | - | 4.9 | 12.2 | 5.9 | 9.6 | 7 | 12.8
Dissolved oxygen | mg/L | - | 6.5 | - | 10.3 | - | 6.6 | - | 11.2
Conventional Parameters
pH | - | - | 6.5 - 9.0 | 6.0(C) | 6.8 | 5.5(C) | 5.9(C) | 6.7 | 7.3
Specific conductivity | µS/cm | - | - | 21.5 | 28.6 | 37.7 | 69.8 | 165 | 183
Hardness, as CaCO3 | mg/L | - | - | 6.76 | 9.16 | 11.8 | 22.8 | 55.6 | 60.7
Total alkalinity, as CaCO3 | mg/L | - | - | 2.1 | 3.9 | -1 | 1.7 | 6.8 | 10.7
Total suspended solids | mg/L | - | - | 1.3 | 1.4 | 2.1 | 2.1 | 2.5 | -1
Major Ions
Bromide | mg/L | - | - | -0.005 | - | -0.005 | - | 0.0575 | -
Calcium | mg/L | - | - | - | - | - | - | - | -
Chloride | mg/L | 640 | 120 | 0.29 | - | 0.85 | - | 6.91 | -
Cyanide | mg/L | - | 0.005 | - | - | - | - | - | -
Fluoride | mg/L | - | 0.12 | 0.021 | - | 0.038 | - | 0.05 | -
Magnesium | mg/L | - | - | - | - | - | - | - | -
Potassium | mg/L | - | - | - | - | - | - | - | -
Sodium | mg/L | - | - | - | - | - | - | - | -
Sulphate | mg/L | - | - | 5.64 | - | 11.9 | - | 53 | -
Nutrients
Nitrate | mg-N/L | 124 | 2.93 | 0.0104 | - | 0.0065 | - | 0.008 | -
Nitrite | mg-N/L | - | 0.06 | -0.001 | - | -0.001 | - | -0.001 | -
Total phosphorus | mg-P/L | - | - | -0.05 | -0.05 | -0.05 | -0.05 | -0.05 | -0.05
Dissolved phosphorus | mg-P/L | - | - | - | - | - | - | - | -
Orthophosphate | mg-P/L | - | - | - | - | - | - | - | -
Nitrogen, kjeldahl | mg-N/L | - | - | - | - | - | - | - | -
Total Metals
Aluminum | mg/L | - | 0.0050 - 0.10(a, b) | 0.057(C) | 0.028(C) | 0.19(C) | 0.17(C) | 0.14(C) | 0.0266
Antimony | mg/L | - | - | -0.0001 | -0.0001 | -0.0001 | -0.0001 | 0.00014 | 0.00011
Arsenic | mg/L | - | 0.005 | 0.00078 | 0.001 | 0.00172 | 0.00163 | 0.0080(C) | 0.0053(C)
Barium | mg/L | - | - | 0.00348 | 0.00314 | 0.00835 | 0.0119 | 0.0123 | 0.00844
Beryllium | mg/L | - | - | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001
Bismuth | mg/L | - | - | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05
Boron | mg/L | 29 | 1.5 | -0.01 | -0.01 | -0.01 | -0.01 | 0.037 | 0.031
Cadmium | mg/L | 0.00014 - 0.0013(c) | 0.000040 - 0.00010(c) | 8.9e-06 | -5e-06 | 3.54e-05 | 4.28e-05 | 4.29e-05 | -5e-06
Calcium | mg/L | - | - | 1.26 | 1.64 | 2.24 | 4.14 | 17.1 | 17.9
Cesium | mg/L | - | - | 1.6e-05 | 2.1e-05 | 3.5e-05 | 4.8e-05 | 8.5e-05 | 8.8e-05
Chromium | mg/L | - | 0.001 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005
Cobalt | mg/L | - | - | 0.00081 | 0.00027 | 0.00928 | 0.00633 | 0.005 | 0.00027
Copper | mg/L | - | 0.0020(c) | 0.00144 | 0.00163 | 0.0046(C) | 0.0063(C) | 0.0026(C) | 0.00107
Iron | mg/L | - | 0.3 | 0.088 | 0.115 | 0.209 | 0.34(C) | 0.43(C) | 0.117
Lead | mg/L | - | 0.0010 - 0.0017(c) | -5e-05 | -5e-05 | 9.4e-05 | -5e-05 | 0.000198 | -5e-05
Lithium | mg/L | - | - | 0.0017 | 0.0027 | 0.0026 | 0.0048 | 0.0087 | 0.0103
Magnesium | mg/L | - | - | 0.877 | 1.23 | 1.51 | 3.03 | 3.13 | 3.88
Manganese | mg/L | - | - | 0.0075 | 0.00407 | 0.0976 | 0.0584 | 0.151 | 0.0177
Mercury | mg/L | - | 2.6e-05 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06 | -5e-06
Molybdenum | mg/L | - | 0.073 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | 0.000145 | 0.000179
Nickel | mg/L | - | 0.025 - 0.065(c) | 0.00411 | 0.00364 | 0.0163 | 0.031(C) | 0.0122 | 0.00375
Potassium | mg/L | - | - | 0.506 | 0.527 | 0.646 | 0.659 | 2.02 | 2.1
Rubidium | mg/L | - | - | 0.00134 | 0.0017 | 0.00179 | 0.00223 | 0.00379 | 0.00476
Selenium | mg/L | - | 0.001 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05 | -5e-05
Silicon | mg/L | - | - | 0.48 | 0.13 | 1.03 | 0.58 | 0.58 | -0.1
Silver | mg/L | - | 0.00025 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05
Sodium | mg/L | - | - | 0.731 | 1.09 | 1.19 | 2.12 | 5.12 | 7.14
Strontium | mg/L | - | - | 0.00742 | 0.0103 | 0.0129 | 0.0251 | 0.099 | 0.12
Sulphur | mg/L | - | - | 1.91 | 2.24 | 4.27 | 7.78 | 17.6 | 18.6
Tellurium | mg/L | - | - | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002 | -0.0002
Thallium | mg/L | - | 0.0008 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05
Thorium | mg/L | - | - | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001
Tin | mg/L | - | - | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001
Titanium | mg/L | - | - | -0.0009 | -0.0003 | 0.00215 | 0.00141 | 0.00359 | -0.0003
Tungsten | mg/L | - | - | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | -0.0001
Uranium | mg/L | 0.033 | 0.015 | 3.7e-05 | 2.4e-05 | 4.4e-05 | 4.4e-05 | 0.000113 | 1.5e-05
Vanadium | mg/L | - | - | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005 | -0.0005
Zinc | mg/L | 0.011 - 0.039(d) | 0.0063 - 0.015(e) | -0.003 | -0.003 | 0.0096(C) | 0.013(C) | 0.030(C) | -0.003
Zirconium | mg/L | - | - | -0.0002 | -0.0002 | -0.0002 | 0.00026 | -0.0002 | -0.0002
(a) = guideline is pH dependent. The guideline range shown is based on the pH range observed in the dataset (4.5 to 7.0). The guideline is calculated based on the individual pH for each sample.
(b) = guideline is pH dependent: 0.005 mg/L at pH < 6.5 and 0.1 mg/L at pH ≥ 6.5.
(c) = guideline is hardness dependent. The guideline range shown is based on the hardness range observed in the dataset (7 to 61 mg/L). The guideline is calculated based on the individual hardness value for each sample.
(d) = guideline is for dissolved zinc, but comparison to total zinc is appropriate when no dissolved zinc concentrations are available. The acute dissolved zinc guideline is hardness and DOC dependent. The guideline that results in the minimum acute zinc guideline (11.3 µg/L) is based on the combination of Hardness (6.8 mg/L) and DOC (0.3 mg/L). Guidelines calculated with Hardness and DOC values falling outside the defined range (i.e., Hardness 13.8 to 250.5 mg/L and DOC 0.3 to 17.3 mg/L) should be used with caution, as the WQG does not necessarily accurately reflect toxic effects at the low and high hardness and DOC extremes. The guideline is calculated based on the individual hardness and DOC measurements for each sample.
(e) = guideline is for dissolved zinc, but comparison to total zinc is appropriate when no dissolved zinc concentrations are available. The chronic dissolved zinc guideline is pH, hardness and DOC dependent. The guideline that results in the minimum chronic zinc guideline (6.3 µg/L) is based on the combination of field pH (4.5), Hardness (6.8 mg/L) and DOC (0.3 mg/L). Guidelines calculated with pH, Hardness and DOC values falling outside the defined range (i.e., pH 6.5 to 8.13, Hardness 23.4 to 399 mg/L and DOC 0.3 to 22.9 mg/L) should be used with caution, as the WQG does not necessarily accurately reflect toxic effects at the low and high pH, hardness and DOC extremes. The guideline is calculated based on the individual pH, hardness and DOC measurements for each sample.
(C) = concentration is higher than the chronic aquatic life CCME guideline or outside the recommended pH, DO or total alkalinity range.
Bolded concentrations are higher than water quality guidelines.
Water quality data and guidelines shown in this table were rounded to reflect laboratory or field instrument precision after comparisons to guidelines. Therefore, values slightly above guidelines may be displayed as being equal to the guidelines and identified as exceedances. Concentrations equal to the guideline values were not identified as exceedances.
CQWG = Canadian Water Quality Guidelines; CCME = Canadian Council - = no guideline or no data.