## Slide 1: Environment Canada’s Presentation to the Nunavut Water Board Technical Meeting Regarding Agnico-Eagle’s Meadowbank Gold Project Type A Water Licence Renewal
Baker Lake, Nunavut
Anne Wilson, Environment Canada
January 14, 2015

## Slide 2: Outline
EC’s Review of the Meadowbank Water Licence Renewal
EC’s Recommendations
  Outstanding Issues
  Resolved Issues

## Slide 3: Summary of Review
EC submitted comments on the draft renewal water licence wording, and on various management plans:
  Groundwater Monitoring
  Quality Assurance/Quality Control
  Water Quality and Flow Monitoring Plan
  Water Management Report and Plan
  Ammonia Management Plan
  ARD/ML Testing and Sampling Plan
  Tailings Storage Facility Operations & Maintenance
  Sewage Treatment Plant O&M

## Slide 4: Summary of Review
Two main concerns:
  ongoing monitoring and modeling of water quality inputs to the pit lakes
  Major ions in effluent.
AEM’s response had seven areas where the technical comments were noted as not agreed to.

## Slide 5: Regulation of Major Ions
EC suggests further discussion on the addition of TDS, nitrate, and sulphate discharge criteria.
AEM believes the strategy for monitoring TDS, nitrate and sulphate is adequate.
EC notes that salinity is not an issue at Vault, which does not have a connection to the deep groundwater which is high in TDS. High nitrate and sulphate are unlikely to be of concern.
Saline water at the main mine site will be contained in the mined-out pits; no discharge is planned.
HOWEVER… there is a lot of saline water on site, and if there is further discharge, for any reason, it should be regulated.
(For discussion)

## Slide 6: Addition of Phosphorus to Group 1
Add phosphorus and orthophosphate (to track discharge loadings) to Draft Water Licence Schedule 1, Table 1, Group 1. This would apply to all site (internal) monitoring stations.
AEM request that EC justify request with supporting information showing issues of concern justifying parameters (phosphorus and orthophosphate) requested.
EC acknowledges that levels in effluent discharges are low and continuing end of pipe monitoring of phosphorus is appropriate.
(Resolved)

## Slide 7: Weak-Acid Dissociable Cyanide
EC recommended adding WAD-Cyanide to Draft Water Licence Schedule 1, Table 1, Group 2
AEM’s position is that: “the recommended addition of CN WAD is not necessary. AEM request that EC justify request with supporting information showing issues of concern justifying parameter requested.”
EC notes that WAD-CN is a subset of the total cyanide that includes free cyanide plus the forms of CN that are more readily released from complexes, and more toxic.
BC has aquatic guidelines for WAD-CN, and it is regulated separately from total CN in the Yukon Territory
(For discussion)
Notes: WAD-CN includes free CN.
Free Cyanide (CNF)
Only hydrogen cyanide and the cyanide ion in solution can be classed as "free" cyanide. The proportions of HCN and CN- in solution are according to their equilibrium equation; this is influenced by the solution pH. Methods used to detect free cyanide should not alter the stability of weaker cyanide complexes, as they may otherwise be included in the free cyanide result. Methods used to detect free cyanide should be clear of interferences due to the presence of high concentrations of more stable cyanide complexes or other cyanide forms. If not, the interference must be quantified and allowed for in the result.
Weak Acid Dissociable Cyanide (CNWAD)
Unlike the definition of "free cyanide" which identifies the specific cyanide species being measured, WAD cyanide refers to those cyanide species measured by specific analytical techniques. WAD cyanide includes those cyanide species liberated at moderate pH of 4.5 such as HCN(aq) and CN-, the majority of Cu, Cd, Ni, Zn, Ag complexes and others with similar low dissociation constants.
Methods used to measure WAD should be free from interferences due to the presence of high concentrations of more stable cyanide complexes or other cyanide forms. If not, the interference must be quantified and allowed for in the result.
Total Cyanide (CNT)
This measurement of cyanide includes all free cyanide, all dissociable cyanide complexes and all strong metal cyanide including ferro-cyanide Fe(CN)6-4, ferri-cyanide Fe(CN)6-3, and portions of hexacyano cobaltate Co(CN)6-3 and those of gold and platinum. Only the related or derived compounds cyanate (CNO-) and thiocyanate (SCN-) are excluded from the definition of total cyanide.
Methods used to determine total cyanide must be shown to be capable of quantitatively determining all stable complexes of cyanide, including the cobalt cyanide complex. If methods determine other analytes as well (e.g. include SCN-), those analytes need to be determined separately and allowed for in the total result.
WAD-CN regulated separately in the Yukon (total – 0.5 WAD 0.2mg/L)
BC: 5 ug/L 30 days, 10 ug/L max

## Slide 8: Quality Control/Quality Assurance
EC raised several questions on the protocols used for laboratory samples, and with respect to conformance with the AANDC 1996 QA/QC guidelines.
AEM will review lab practices and may be suggesting the 1996 guidelines be revisited.
EC acknowledges that accredited labs are used, and anticipates that questions can be addressed.
(Will be resolved)

## Slide 9: Ammonia Management Plan
EC requested tracking of ammonia loadings be included in the plan as a tool to inform management of loss rates and for source management.
AEM directed EC to numbers available in the Water Management Report and Plan (March 2014) that indicated ammonia concentrations were being used as model inputs.
(For discussion)
Notes: Modeling indicates may need to treat for ammonia
How is the performance of the ammonia management plan measured?
Revised predictions are 3 orders of magnitude higher than originally modeled. Can that gap be closed with tightening up source control?
Are the SNC recommendations on page 29 being implemented?

## Slide 10: Ammonia Best Practices
EC recommends the Ammonia Management Plan is updated to include a discussion on the use of secondary containment to minimize the loss of ammonia during use, storage, transport, and handling of explosives for this project.
AEM believes the actions currently taken to control and minimize the loss of ammonia during use, storage and transport is adequate.
(For discussion)
Notes: Does this get picked up by the spill reporting?

## Slide 11: Waste Rock Testing
EC asked that AEM explain why composite samples were used for the kinetic tests when they had previously indicated that composite samples would not be used because that would confuse the data.
AEM clarified that composite samples are not used for operational segregation of PAG or NPAG but for verification purpose only.
(Resolved)

## Slide 12: Resolved Issues
Water quality monitoring and modeling will be done that will make sure the pit lakes have appropriate water quality at final closure.
Treatment options will be considered.
Licence wording and minor changes to management plans have been accepted by AEM.
Clarification on testing of waste rock has addressed EC’s question on use of composite samples.

## Slide 13: Resolved Issues
EC agrees with the proposed changes to criteria for lead, and has suggested other changes for parameters to be updated in the licence
AEM needs to ensure complete encapsulation of waste rock that could be acid-generating
EC has suggested minor revisions to operational plans

## Slide 14: Conclusion
AEM has worked proactively to address concerns and issues, and EC appreciates the discussions.
Outstanding concerns can be discussed, and should be addressed in the licence renewal process.
  Questions?