## Slide 1: Meliadine Gold Project Water Licence Amendment Application
Community Presentation
Technical Review of Application For Amendment To Type A Water Licence 2AM-MEL1631
Rankin Inlet, Nunavut.
January 19, 2021
ᑕᓯᕐᔪᐊᕐᒥᑦ ᒎᓗ ᐱᓕᕆᐊᕐᒥᑦ ᐃᒪᕐᒧᑦ ᓚᐃᓴᓐᓯᒥᒃ ᐋᖅᑭᒋᐊᖅᓯᓂᕐᒧᑦ ᑐᒃᓯᕋᐅᑎ
ᓄᓇᓕᖕᒧᑦ ᑐᓴᖅᑎᑦᑎᓃᑦ
ᕿᒥᕐᕈᔭᐅᓂᖓ ᑐᒃᓯᕋᐅᑕᐅᔪᖅ ᐋᖅᑭᒋᐊᖅᓯᓂᕐᒧᑦ Type A ᐃᒪᕐᒧᑦ ᓚᐃᓴᓐᓯ 2AM-MEL1631
ᑲᖏᖅᖠᓂᖅ, ᓄᓇᕗᑦ.
ᑕᖀᓇᕐᔪᐊᖅ 19, 2021

## Slide 2: ᑭᕙᓪᓕᕐᒥ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᐱᓕᕆᐊᒃᓴᖓ KIA’s Role
KIA represents Inuit and administers certain provisions of the Nunavut Agreement in the Kivalliq Region.
KIA’s mission is to represent Inuit in a fair and democratic manner in the development, protection, administration and advancement of their rights and benefits; and to promote economic, social, political and cultural well-being.
The aim of Inuit Owned Land management is to administer those Lands to promote self-reliance and the cultural and social well-being of Inuit now and in the future.
Inuit Owned Lands must be managed in such a way as to sustain and enhance the value of the lands.
ᑭᕙᓪᓕᖅ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᑭᒡᒐᖅᑐᐃᔪᑦ ᐃᓄᖕᓂᑦ ᐊᒻᒪᓗ ᐊᐅᓚᖃᑦᑕᖅᖢᒋᑦ ᐃᓚᖏᑦ ᒪᓕᒐᐅᔪᑦ ᓄᓇᕗᒻᒧᑦ ᐊᖏᖃᑎᒌᒍᑎᒥᑦ ᑭᕙᓪᓕᕐᒥᑦ.
ᑭᕙᓪᓕᖅ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᐱᔭᒃᓴᐅᑎᒋᔭᖓᑦ ᑭᒡᒐᖅᑐᕐᓗᒋᑦ ᐃᓄᐃᑦ ᐊᔾᔨᒌᒃᑎᑦᑎᓂᒃᑯᑦ ᐱᕙᓪᓕᐊᓂᖃᖅᑎᓪᓗᒋᑦ, ᒥᐊᓂᖅᓯᓂᕐᒧᑦ, ᐱᓕᕆᐊᕆᓗᒋᑦ ᐊᒻᒪᓗ ᓯᕗᒻᒧᒃᑎᒋᐊᕐᓗᒋᑦ ᐱᔪᖕᓇᐅᑎᖏᑦ ᐊᒻᒪᓗ ᐃᑳᔪᑕᐅᔪᑦ ᐃᓄᖕᓄᑦ; ᐊᒻᒪᓗ ᐃᑲᔪᖅᑐᕐᓗᑕ ᐱᕈᖅᐸᓪᓕᐊᓂᕐᒥᒃ, ᐃᓄᓕᕆᓃᑦ, ᐊᐅᓚᑦᑎᓂᖅ ᐊᒻᒪᓗ ᐱᖅᑯᓯᐅᔪᖅ ᖃᓄᐃᖏᑦᑎᐊᕐᓂᖏᑦ.
ᑐᕌᒐᖓ ᐃᓄᖕᓄᑦ ᓇᖕᒥᓂᕆᔭᐅᔪᓂᒃ ᓄᓇᒥᒃ ᐊᐅᓚᑦᑎᓂᕐᒧᑦ ᐱᓕᕆᐊᕆᓗᒋᑦ ᓄᓇᐅᔪᑦ ᐃᑲᔪᖅᑐᕐᓗᒋᑦ ᐃᖕᒥᓂᒃ-ᐊᑐᕈᖕᓇᕐᓂᐊᕐᓗᑎᒃ ᐊᒻᒪᓗ ᐱᖅᑯᓯᕆᔭᐅᔪᖅ ᐃᓅᖃᑎᒌᓪᓗ ᖃᓄᐃᖏᑦᑎᐊᖁᑉᓗᒋᑦ ᐅᑉᓗᒥᐅᔪᖅ ᐊᒻᒪᓗ ᓯᕗᓂᒃᓴᒥᑦ.
ᐃᓄᖕᓄᑦ ᓇᖕᒥᓂᕆᔭᐅᔪᑦ ᓄᓇᐃᑦ ᐊᐅᓚᑕᐅᔭᕆᐊᖃᖅᑐᑦ ᐊᔪᙱᓐᓂᐊᕐᓗᓂ ᐊᒻᒪᓗ ᐱᐅᓯᒋᐊᖅᑎᓪᓗᒋᑦ ᐱᒻᒪᕆᐅᓂᖏᑦ ᓄᓇᐃᑦ.

## Slide 3: ᕿᒥᕐᕈᓂᖅ ᐱᔭᒃᓴᐅᑎᒋᔭᐅᔪᓂᑦ Review Objectives
Ensure that the potential impacts and benefits were comprehensively assessed
Ensure Inuit Qaujimajatuqangit values were incorporated into impact determination, mitigation, project design and monitoring
ᐊᒃᑐᖅᓯᓂᐅᔪᖕᓇᖅᑐᑦ ᐊᒻᒪᓗ ᐃᑲᔫᑏᑦ ᑕᒪᓗᒃᑖᒃᑯᑦ ᖃᐅᔨᓴᖅᑕᐅᑎᓪᓗᒋᑦ
ᐱᒻᒪᕆᐅᒋᔭᐅᔪᑦ ᐃᓄᐃᑦ ᖃᐅᔨᒪᔭᑐᖃᖏᑦ ᐃᓚᓕᐅᑎᔭᐅᓗᑎᒃ ᐊᒃᑐᖅᓯᓂᕐᒥᒃ ᖃᐅᔨᔾᔪᑕᐅᓂᐊᖅᑐᓄᑦ, ᐊᖏᓗᐊᖏᒋᐊᖅᑎᑦᑎᓂᕐᓄᑦ, ᐱᓕᕆᐊᑉ ᖃᓄᐃᖓᓂᐊᕐᓂᖓᓄᑦ ᐊᒻᒪᓗ ᖃᐅᔨᓴᐃᓂᕐᒧᑦ

## Slide 4: ᕿᒥᕐᕈᓗᒋᑦ ᐱᓐᓂᑯᐃᑦ - ᖃᐅᔨᓴᐃᓂᐅᖅᑲᐅᑕᐅᔪᖅ Review History – Initial Assessment
AEM submitted an Amendment Application to their Type A Water Licence 2AM-MEL1631 on August 27, 2020 seeking permission for the following amendments:
  Updated total dissolved solids thresholds to Meliadine Lake;
  Increased annual freshwater consumption;
  Construction of additional laydown areas;
  Updated waste management strategy;
  Construction of site access roads; and
  Updated Interim Closure and Reclamation Plan.
KIA Lands completed a completeness and initial technical review on September 22, 2020 highlighting 13 information requests and initial technical concerns.
ᐊᒡᓃᑯᒃᑯᑦ ᑐᓂᓯᔪᑦ ᐋᖅᑭᒋᐊᖅᓯᓂᕐᒧᑦ ᑐᒃᓯᕋᐅᑎᒥᒃ Type A ᐃᒪᕐᒧᑦ ᓚᐃᓴᓐᓯᖓᓄᑦ 2AM-MEL1631 ᐊᑯᓪᓕᕈᕐᕕᒃ (ᐋᒋᓯ) 27, 2020-ᒥᑦ ᐱᔪᖕᓇᖅᑎᑕᐅᔪᒪᑉᓗᑎᒃ ᐅᑯᓂᙵᑦ ᐋᖅᑭᒋᐊᖅᓂᕐᓂᑦ:
  ᐅᑉᓗᒥᒨᓕᖅᑐᖅᓯᒪᔪᑦ ᑲᑎᖦᖢᒋᑦ ᓄᖑᑎᖅᓯᒪᔪᑦ ᓯᑎᔪᑦ ᑎᑭᐅᑎᓂᐅᔪᑦ ᑕᓯᕐᔪᐊᕐᒧᑦ;
  ᐊᖏᒡᓕᒋᐊᕐᓗᒍ ᐊᕐᕌᒍᑕᒫᖅ ᐃᒪᑦᑎᐊᕙᒃᑐᕐᓂᖅ;
  ᓴᓇᔭᐅᓂᖏᑦ ᓄᖅᑲᖓᕝᕕᐅᒃᑲᓐᓂᕐᓂᐊᖅᑐᓄᑦ ᐃᓂᐅᔪᓂᒃ;
  ᐅᑉᓗᒥᒨᓕᖅᑐᖅᓯᒪᔪᖅ ᐃᒪᕐᒥᒃ ᐊᐅᓚᑦᑎᓂᕐᒧᑦ ᖃᓄᖅᑑᕈᑎ;
  ᓴᓇᔭᐅᕙᓪᓕᐊᔪᒧᙵᐅᔪᖅ ᐊᑉᖁᑏᑦ; ᐊᒻᒪᓗ
  ᐅᑉᓗᒥᒨᓕᖅᑐᖅᓯᒪᔪᖅ ᐅᒃᑯᐊᖅᐸᓪᓕᐊᓕᖅᐸᑦ ᐊᒻᒪᓗ ᐅᑎᖅᑎᑎᕆᕙᓪᓕᐊᓂᕐᒧᑦ ᐸᕐᓇᐅᑎ.
ᑭᕙᓪᓕᖅ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᐱᐊᓂᓚᐅᖅᑕᖏᑦ ᐱᐊᓂᒃᓯᒪᓂᕐᒧᑦ ᐊᒻᒪᓗ ᐱᓕᕆᐊᕐᒧᑦ ᖃᐅᔨᓴᐃᓂᐅᓚᐅᖅᑐᖅ ᐊᒥᕋᐃᔭᕐᕕᒃ (ᓯᑎᐱᕆ) 22, 2020-ᒥᑦ 13-ᖑᔪᑦ ᑐᑭᓯᐅᒪᔾᔪᑏᑦ ᑐᒃᓯᕋᐅᑎᒋᓚᐅᖅᑕᖏᑦ ᐊᒻᒪᓗ ᐱᓕᕆᐊᕐᒧᑦ ᐃᓱᒫᓘᑕᐅᓚᐅᖅᑐᑦ.

## Slide 5: ᕿᒥᕐᕈᓗᒋᑦ ᐱᓐᓂᑯᐃᑦ - ᖃᐅᔨᓴᐃᓂᐅᖅᑲᐅᑕᐅᔪᖅ Review History – Initial Assessment
AEM responded to KIA’s initial set of 13 information requests, resolving most by:
  Providing additional clarifications regarding TDS measurement approaches, toxicity monitoring, water management and geotechnical concerns
  Reiterating their commitment to including IQ throughout all phases of the mine.
  Committing to update their Freshet Management Plan to reflect the decommissioning of the P-Area.
ᐊᒡᓃᑯᒃᑯᑦ ᑭᐅᔪᑦ ᑭᕙᓪᓕᖅ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ 13-ᓂᒃ ᑐᑭᓯᐅᒪᔾᔪᑎᓂᒃ ᑐᒃᓯᕋᓚᐅᖅᑐᑦ, ᐋᖅᑭᒃᓯᓂᐊᖅᑐᑦ ᐃᒪᓐᓇᓗᐊᖅ:
  ᓇᓗᓇᐃᖅᓯᒃᑲᓐᓂᕐᓗᑎᒃ ᑲᑎᖦᖢᒋᑦ ᓄᖑᑎᖅᓯᒪᔪᑦ ᓯᑎᔪᓂᒃ ᐆᒃᑐᕋᐃᓂᕐᒧᑦ ᐊᑐᖅᑕᐅᔪᓂᑦ, ᐱᑦᑕᐅᖏᑦᑐᓂᒃ ᖃᐅᔨᓴᐃᓂᖅ, ᐃᒪᕐᒥᒃ ᐊᐅᓚᑦᑎᓂᖅ ᐊᒻᒪᓗ ᓄᓇᓕᕆᓂᕐᒧᑦ ᐃᓱᒫᓘᑕᐅᔪᑦ
  ᐅᖃᐅᓯᕆᒃᑲᓐᓂᕐᓗᒋᑦ ᐃᓚᐅᑎᓐᓂᐊᖅᑕᖏᑦ ᐃᓄᐃᑦ ᖃᐅᔨᒪᔭᑐᖃᖏᑦ ᓇᓃᓐᓂᓗᒃᑖᖓᓂᑦ ᐅᔭᕋᒃᑕᕆᐊᖅ.
  ᐅᑉᓗᒥᒨᓕᖅᑐᕐᓂᐊᕐᓗᒋᑦ ᐊᐅᒃᐸᓪᓕᐊᑎᓪᓗᒍ ᐊᐅᓚᑦᑎᓂᕐᒧᑦ ᐸᕐᓇᐅᑎᖓᑦ ᑕᑯᒃᓴᐅᑎᓐᓂᐊᕐᓗᒍ ᓄᖅᑲᖅᑎᑉᐸᓪᓕᐊᓂᖓᑦ P-ᐃᓂᐅᔪᖅ (P-Area).

## Slide 6: ᕿᒥᕐᕈᓗᒋᑦ ᐱᓐᓂᑯᐃᑦ - ᖃᐅᔨᓴᐃᓂᐅᖅᑲᐅᑕᐅᔪᖅ Review History – Initial Assessment
The following three information requests remained unresolved and were caried forward to the technical review stage:
  AEM had not adequately addressed KIA’s request to investigate opportunities for improved source control from runoff to prevent the need for increase discharge criterion.
  AEM had not clearly committed to divert all site contact water away from Meliadine Lake using the proposed waterlines currently under review by the NIRB
  Concerns remain surrounding the viability of the proposed short-and medium-term saline groundwater management strategies.
ᐅᑯᐊ ᐱᖓᓱᑦ (3) ᑐᑭᓯᐅᒪᔾᔪᑎᓂᒃ ᑐᒃᓯᕋᖅᑕᐅᔪᑦ ᐋᖅᑭᒃᑕᐅᖏᑦᑐᑦ ᓱᓕ ᐊᒻᒪᓗ ᓯᕗᒻᒧᒃᑕᐅᓚᐅᖅᑐᑦ ᐱᓕᕆᐊᕐᒥᑦ ᕿᒥᕐᕈᓂᕐᒧᑦ:
  ᐊᒡᓃᑯᒃᑯᑦ ᐱᓕᕆᐊᖄᓂᓚᐅᖏᑦᑐᑦ ᑭᕙᓪᓕᖅ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᑐᒃᓯᕋᐅᑎᒋᓚᐅᖅᑕᖏᓐᓂᒃ ᖃᐅᔨᓴᐃᖁᑉᓗᒋᑦ ᐱᐅᓯᒋᐊᖅᓯᓂᐅᔪᖕᓇᖅᑐᓂᒃ ᐱᕝᕕᐅᔪᒥᒃ ᐊᐅᓚᑦᑎᓂᕐᒥᒃ ᑯᕕᔪᒥᒃ ᐊᖏᒡᓕᒋᐊᖅᓯᓂᖃᕆᐊᖃᕐᓂᐊᖏᓪᓗᑎᒃ ᑯᕕᓯᑎᑦᑎᓂᕐᒧᑦ.
  ᐊᒡᓃᑯᒃᑯᑦ ᐱᓕᕆᐊᖄᓂᓚᐅᖏᑦᑐᑦ ᓴᖑᑎᑦᑎᓂᐊᕐᓗᑎᒃ ᐃᓂᐅᔪᒥᑦ ᐃᒪᖅ ᐊᒃᑐᖅᑕᐅᓯᒪᔪᓗᒃᑖᓂᒃ ᓱᑉᓗᓕᐊᖑᔾᔪᑕᐅᓂᐊᖅᑐᓄᑦ.
  ᐃᓱᒫᓘᑕᐅᖏᓐᓇᖅᑐᑦ ᐊᔪᙱᓐᓂᐊᕐᓂᖏᓐᓄᑦ ᓇᐃᑦᑐᒥᑦ ᐊᒻᒪᓗ ᕿᑎᐊᓃᑦᑐᒥᑦ ᑕᕆᐅᓕᖕᒥᑦ ᓄᓇᒥᑦ ᐃᒪᕐᒥᒃ ᐊᐅᓚᑦᑎᓂᕐᒧᑦ ᖃᓄᖅᑑᕈᑏᑦ.

## Slide 7: ᐱᓕᕆᐊᕐᒥᑦ ᕿᒥᕐᕈᓂᖅ Technical Review
KIA Lands submitted our technical review to the NWB on November 6, 2020 highlighting 5 new technical concerns in 5 new areas:
  Develop an effluent and receiving environment site specific water quality objective for chloride.
  Justification for the use of average values for the water quality model.
  Missing source term for runoff from the tailings storage facility in the water quality model.
  Potential insufficient design capacity of CP1 and D-CP1.
  Inclusion of soil and water quality objectives in closure criteria for Rankin Inlet Facilities.
AEM responded to those technical concerns November 13, fully resolving issue 5.
ᑭᕙᓪᓕᖅ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᓄᓇᕗᒻᒥ ᐃᒪᓕᕆᔨᒃᑯᓐᓄᑦ ᑐᓂᓯᓚᐅᖅᑐᑦ ᐱᓕᕆᐊᕐᒧᑦ ᕿᒥᕐᕈᓂᑉᑎᖕᓂᑦ ᑲᑕᒑᕆᕝᕕᒃ (ᓄᕕᐱᕆ) 6, 2020-ᒥᑦ ᑕᑯᒃᓴᐅᑎᑕᐅᑉᓗᑎᒃ ᑕᓪᓕᒪᐃᑦ (5) ᓄᑖᑦ ᐱᓕᕆᐊᕐᒧᑦ ᐃᓱᒫᓘᑕᐅᔪᑦ ᑕᓪᓕᒪᐅᔪᓂᑦ (5) ᓄᑖᖑᔪᓂᑦ:
  ᐋᖅᑭᒃᓯᓗᑎᒃ ᑯᕕᔪᒧᑦ ᐊᒻᒪᓗ ᑯᕕᕝᕕᐅᔪᒧᑦ ᐱᔾᔪᑎᖃᖅᑐᒥᒃ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓᓄᑦ ᐱᓕᕆᐊᖑᓂᐊᖅᑐᒥᒃ ᑯᓘᕋᐃᑦᒧᑦ (chloride).
  ᐋᖅᑭᒡᓗᒍ ᐊᑐᖅᑕᐅᓂᖓ ᐊᒥᓱᑦ ᐊᑕᐅᓯᙳᖅᖢᒍ ᓈᓴᐅᑎᓄᑦ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓᓄᑦ ᐊᑐᖅᑕᐅᔪᒥᑦ.
  ᐱᑕᖃᙱᑦᑐᑦ ᐱᕝᕕᐅᔪᖅ ᑯᕕᑎᑦᑎᓂᕐᒧᑦ ᕿᒪᒃᑎᑦᑐᓄᑦ ᑐᖅᑯᖅᓯᓯᒪᕝᕕᖕᒥᑦ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓᓄᑦ ᐊᑐᖅᑕᐅᔪᒥᑦ.
  ᓈᒻᒪᙱᑐᐃᓐᓇᕆᐊᖃᖅᑐᖅ ᖃᓄᐃᖓᓂᐊᕐᓂᖏᑦ CP1 ᐊᒻᒪᓗ D-CP1.
  ᐃᓚᐅᓗᑎᒃ ᐃᑉᔪᐃᑦ ᐊᒻᒪᓗ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓᓄᑦ ᐱᔭᒃᓴᐅᑕᐅᔪᑦ ᐅᒃᑯᐊᖅᐸᓪᓕᐊᓂᕐᒥᑦ ᑲᖏᖅᖠᓂᕐᒦᑦᑐᓄᑦ ᐱᖁᑎᓄᑦ.
ᐊᒡᓃᑯᒃᑯᑦ ᐅᐸᓗᐊᔾᔪᑎᖃᓚᐅᖅᑐᑦ ᐱᓕᕆᐊᕐᒧᑦ ᐃᓱᒫᓘᑕᐅᓚᐅᖅᑐᓄᑦ ᑲᑕᒑᕆᕝᕕᒃ (ᓄᕕᐱᕆ) 13-ᒥᑦ, ᐱᔾᔪᑕᐅᔪᑦ ᑕᓪᓕᒪᐃᑦ ᐋᖅᑭᓗᒃᑖᖅᖢᒋᑦ.

## Slide 8: ᒫᓐᓇᐅᔪᖅ ᖃᓄᐃᖓᓂᕆᔭᖏᑦ ᐱᓕᕆᐊᕐᒧᑦ ᐃᓱᒫᓘᑕᐅᔪᑦ Current Status of Technical Concerns
NWB hosted a technical meeting on November 30, 2020
During those hearings, KIA Lands’ remaining technical concerns were either fully resolved or resolved pending fulfillment of commitments made by AEM
ᑲᑕᒑᕆᕝᕕᒃ (ᓄᕕᐱᕆ) 30, 2020-ᒥᑦ
ᑐᓵᔭᐅᑎᓪᓗᒋᑦ, ᑭᕙᓪᓕᖅ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᐊᒥᐊᒃᑯᖏᑦ ᐱᓕᕆᐊᕐᒧᑦ ᐃᓱᒫᓘᑕᐅᔪᑦ ᐋᖅᑭᒃᑕᐅᓚᐅᖅᑐᑦ ᐅᕝᕙᓘᓐᓃᑦ ᐋᖅᑭᒃᑕᐅᓂᐊᖅᑐᑦ ᐱᐊᓂᒃᐸᖏᑦ ᐊᒡᓃᑯᒃᑯᑦ

## Slide 9: ᑐᑭᓯᐅᒪᔾᔪᑏᑦ ᐱᔭᐅᔪᒪᓚᐅᖅᑐᑦ ᐊᒻᒪᓗ ᐱᓕᕆᐊᕐᒧᑦ ᐃᓱᒫᓘᑕᐅᔪᓄᑦ ᐱᔭᐅᖏᑦᑐᑦ ᓱᓕ Outstanding Information Requests and Technical Concerns
Information Requests: 11/13 fully resolved, 2/13 pending resolution
Technical Comments: 4/5 fully resolved, 1/5 pending resolution
ᑐᑭᓯᐅᒪᔾᔪᑎᓂᒃ ᑐᒃᓯᕋᐅᑕᐅᔪᑦ: 11-ᖑᔪᑦ 13-ᖑᔪᓂᑦ ᐋᖅᑭᒃᑕᐅᔪᑦ, 2-ᖑᔪᑦ 13-ᖑᔪᓂᑦ ᐋᖅᑭᒃᑕᐅᔭᕆᐊᖃᖅᑐᑦ ᓱᓕ
ᐱᓕᕆᐊᒧᑦ ᐅᖃᐅᓯᒃᓴᐃᑦ: 4-ᖑᔪᑦ 5-ᖑᔪᓂᑦ ᐋᖅᑭᒃᑕᐅᔪᑦ, 1-ᖑᔪᑦ 5-ᖑᔪᓂᑦ ᐋᖅᑭᒃᑕᐅᔭᕆᐊᖃᖅᑐᑦ ᓱᓕ

## Slide 10: KIA-IR#1 ᑐᒃᓯᕋᐅᑕᐅᔪᖅ ᑲᑎᖦᖢᒋᑦ ᓄᖑᑎᖅᓯᒪᔪᑦ ᓯᑎᔪᓄᑦ ᑐᕌᒐᐅᔪᑦ ᐊᒻᒪᓗ ᐊᓯᐊᒍᖔᖅ ᐊᑐᖅᑕᐅᔪᖕᓇᖅᑐᑦ ᐊᐅᓚᑕᐅᓂᖓ CP1-ᒦᑦᑐᖅ ᐃᒪᖅ Proposed total dissolved solids targets and alternatives to manage CP1 water
KIA Lands was concerned that insufficient evidence had been provided demonstrating the need for increased TDS discharge criteria.
KIA Lands also highlighted community concerns with the discharge of TDS rich effluent to Meliadine Lake
Resolution
AEM presented additional data during the technical meeting illustrating difficulties in further reducing TDS in discharges to Meliadine Lake. KIA Lands is satisfied that AEM requires an increased discharge criteria as proposed through the Amendment Application
AEM also committed to divert discharges from Meliadine Lake to the waterlines if approved by the NIRB
ᑭᕙᓪᓕᖅ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᐃᓱᒫᓘᑎᖃᓚᐅᖅᑐᑦ ᓈᒻᒪᙱᑦᑐᓂᒃ ᐱᓐᓂᑯᓂᒃ ᑐᓂᓯᓚᐅᖏᒻᒪᑕ ᐱᔾᔪᑎᒋᔭᖓᓐᓂᒃ ᐊᖏᒡᓕᒋᐊᖅᓯᔭᕆᐊᖃᕐᓂᖏᓐᓂᒃ ᑲᑎᖦᖢᒋᑦ ᓄᖑᑎᖅᓯᒪᔪᑦ ᓯᑎᔪᓂᒃ ᑯᕕᑎᑦᑎᓂᕐᒧᑦ.
ᑭᕙᓪᓕᖅ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᖃᐅᔨᑎᑦᑎᓚᐅᕐᒥᔪᑦ ᓄᓇᓕᖕᒥᐅᑕᐃᑦ ᐃᓱᒫᓘᑎᖏᓐᓂᒃ ᑯᕕᑎᑕᐅᓂᖏᑦ ᑲᑎᖦᖢᒋᑦ ᓄᖑᑎᖅᓯᒪᔪᑦ ᓯᑎᔪᓂᑦ ᑕᓯᕐᔪᐊᕐᒧᑦ
ᐱᖁᔨᕗᖔᒧᑦ ᓈᓴᐅᑎ
ᐊᒡᓃᑯᒃᑯᑦ ᑐᓂᓯᓚᐅᖅᑐᑦ ᓈᓴᐅᑎᓂᒃ/ᑎᑎᖅᑲᐅᑎᒃᑲᓐᓂᕐᓂᒃ ᐱᓕᕆᐊᑉ ᒥᒃᓵᓄᑦ ᑲᑎᒪᑎᓪᓗᒋᑦ ᑕᑯᒃᓴᐅᑎᖦᖢᒋᑦ ᐊᔪᕐᓇᕐᓂᐅᔪᑦ ᒥᒃᖠᒋᐊᖅᑎᒃᑲᓐᓂᕐᓂᐊᕐᓗᒋᑦ ᑲᑎᖦᖢᒋᑦ ᓄᖑᑎᖅᓯᒪᔪᑦ ᓯᑎᔪᐃᑦ ᑕᓯᕐᔪᐊᕐᒥᑦ
ᐊᒡᓃᑯᒃᑯᑦ ᒥᑭᓛᒃᑰᖅᑎᑦᑎᔪᒪᖕᒥᔪᑦ ᑯᕕᑎᑦᑎᓂᕐᒥᒃᒃ ᑕᓯᕐᔪᐊᕐᒧᑦ ᐊᔪᙱᑕᓗᒃᑖᖏᓐᓂᒃ ᓴᖑᑎᓪᓗᒋᑦ ᐃᒪᖅ CP1-ᒥᑦ ᓱᑉᓗᓕᖕᓄᑦ.

## Slide 11: KIA-IR#2 ᓴᖑᑎᑦᑎᓂᖅ CP1-ᒥᑦ ᓱᑉᓗᓕᖕᒧᑦ Diversion of CP1 water to waterline
KIA Lands requested that AEM divert all contact water from CP1 to the waterlines currently under review by the NIRB if they become available
Pending Resolution
AEM has committed to minimize discharges to Meliadine Lake by diverting as much water as possible from CP1
AEM will be submitting a plan outlining how much water can be diverted to the waterline and under what conditions by January 29, 2021
KIA Lands will review the plan to confirm it addresses our concerns.
ᑭᕙᓪᓕᖅ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᐊᒡᓃᑯᒃᑯᓐᓄᑦ ᓴᖑᑎᑕᐅᖁᓚᐅᖅᑕᖏᑦ ᑕᒪᓗᒃᑖᖅ ᐊᒃᑐᖅᑕᐅᓯᒪᔪᖅ ᐃᒪᖅ CP1-ᒥᑦ ᓱᑉᓗᓕᖕᓄᑦ ᑕᐃᒪᐅᓕᖅᐸᑕ
ᐋᖅᑭᒃᑕᐅᓂᐊᖅᑐᖅ
ᐊᒡᓃᑯᒃᑯᑦ ᒥᑭᓛᒃᑰᖅᑎᑦᑎᓂᐊᖅᑐᑦ ᑯᕕᑎᑦᑎᓂᕐᓂᒃ ᑕᓯᕐᔪᐊᕐᒧᑦ ᓴᖑᑎᓪᓗᒋᑦ ᐊᔪᙱᑕᓗᒃᑖᖏᑦ CP1-ᒥᑦ ᓱᑉᓗᓕᖕᓄᑦ.
ᐊᒡᓃᑯᒃᑯᑦ ᑐᓂᓯᓂᐊᖅᑐᑦ ᐸᕐᓇᐅᑎᒥᑦ ᑕᑯᒃᓴᐅᓗᓂ ᖃᓄᖅ ᐊᖏᑎᒋᔪᖅ ᐃᒪᖅ ᓴᖑᑎᑕᐅᖕᒪᖔᑦ ᓱᑉᓗᓕᖕᒧᑦ ᐊᒻᒪᓗ ᖃᓄᐃᖓᑉᓗᑎᒃ ᑕᖅᑮᓐᓇᕐᔪᐊᖅ (ᔭᓄᐊᕆ) 29, 2020-ᒥᑦ ᑐᖔᓂᓘᓐᓃᑦ.
ᑭᕙᓪᓕᖅ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᕿᒥᕐᕈᓂᐊᖅᑕᖓᑦ ᐸᕐᓇᐅᑎ ᓇᓗᓇᐃᕐᓂᐊᕐᓗᒋᑦ ᐱᓕᕆᐊᖑᖕᒪᑕ ᑕᒪᕐᒥᒃ ᐃᓱᒫᓘᑎᕗᑦ ᐊᒻᒪᓗ ᓄᓇᓕᖕᒥᐅᓂᑦ ᐅᖃᐅᓯᐅᓚᐅᖅᑐᑦ.

## Slide 12: KIA-IR#9 ᐊᔪᙱᓐᓂᐊᕐᓂᖓ ᕿᑎᐊᓃᖓᔪᖅ ᖃᓄᖅᑑᕈᑎ ᐊᐅᓚᓐᓂᐊᕐᓗᒍ ᑕᕆᐅᓕᒃ ᓄᓇᒥᑦ ᐃᒪᖅ Viability of medium-term strategy to mange saline groundwater
KIA Lands raised concerns with the viability of the short and medium term approach to manage saline groundwater, particularly because the waterline has yet to be permitted.
Pending Resolution
AEM has provided additional information indicating the Tiriganiaq-2 open pit can be used to store excess saline groundwater that, in addition to grouting practices, will provide up to seven years of additional storage.
AEM will also provide an updated groundwater management plan for KIA review prior to the final hearings.
ᑭᕙᓪᓕᖅ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᐃᓱᒫᓘᑎᖃᓚᐅᖅᑐᑦ ᐊᔪᙱᓐᓂᐊᕋᓗᐊᕐᓂᖓᓄᑦ ᓇᐃᑦᑑᔪᒥᑦ ᐊᒻᒪᓗ ᕿᑎᐊᓃᖓᔪᒥᑦ ᐊᐅᓚᑦᑎᓂᐊᕐᓗᓂ ᑕᕆᐅᓕᒃ ᓄᓇᒥᑦ ᐃᒪᕐᒥᑦ, ᐱᓗᐊᖅᑐᒥᑦ ᓱᑉᓗᓕᒃ ᐊᖏᖅᑕᐅᓯᒪᙱᑎᓪᓗᒍ ᓱᓕ.
ᐋᖅᑭᒃᑕᐅᓂᐊᖅᑐᖅ
ᐊᒡᓃᑯᒃᑯᑦ ᓇᓗᓇᐃᓚᐅᖅᑐᑦ ᑎᕆᒐᓂᐊᖅ-2 ᓄᓇᒥᑦ ᐅᒃᑯᐃᖓᔪᖅ ᑐᖅᑯᖅᓯᕝᕕᐅᔪᖕᓇᕐᓂᐊᕐᓂᖓᓄᑦ ᑕᕆᐅᓕᒃ ᓄᓇᒥᑦ ᐃᒪᕐᒥᑦ ᓱᑉᓗᓕᒃ ᐊᑐᕈᖕᓇᖅᓯᓚᐅᖅᑳᖅᑎᓐᓇᒍ. ᖃᓄᖅᑑᕈᑕᐅᔪᖅ ᐊᑐᖅᑕᐅᖃᑦᑕᖅᑐᓄᑦ 7 ᐅᑭᐅᓄᑦ ᑐᖅᑯᖅᓯᓯᒪᑎᑦᑎᒃᑲᓐᓂᕈᖕᓇᖅᑐᖅ.
ᐊᒡᓃᑯᒃᑯᑦ ᐅᑉᓗᒥᒨᓕᖅᑐᖅᓯᒪᔪᒥᒃ ᓄᓇᒥᑦ ᐃᒪᕐᒥᒃ ᐊᐅᓚᑦᑎᓂᕐᒧᑦ ᐸᕐᓇᐅᑎᒥᒃ ᑐᓂᓯᓂᐊᖅᑐᑦ ᕿᒥᕐᕈᔭᐅᓂᐊᕐᓗᓂ ᑭᖑᓪᓕᖅᐹᒃᑯᑦ ᑐᓵᑎᑦᑎᓂᐊᓵᕐᓗᑎᒃ.

## Slide 13: KIA-TC#1 ᐃᓂᐅᔪᒥᑦ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖏᖓᓄᑦ ᐱᓕᕆᐊᒃᓴᐃᑦ ᑲᑎᖦᖢᒋᑦ ᓄᖑᑎᖅᓯᒪᔪᑦ ᓯᑎᔪᓃᑦᑐᓂᒃ Site Specific Water Quality Objectives for Total Dissolved Solids Constituents
The current ratios of total dissolved solids in the effluent permit greater tolerance by aquatic life.
KIA Lands recommended that AEM develop a site specific water quality objective for chloride, the key constituent of total dissolved solids discharged from the Meliadine Mine, in the event the chemistry of the effluent changes.
Resolution
AEM has agreed to develop a Site-Specific Water Quality Objective for chloride should the proportion of chloride in the effluent meet or exceed 60% as compared to the current approximate 50% contribution
ᑭᒡᓕᐅᓗᐊᖅᑐᑦ ᑲᑎᖦᖢᒋᑦ ᓄᖑᑎᖅᓯᒪᔪᓕᐅᖃᑦᑕᖅᑐᑦ ᐊᑕᐅᓯᐅᖓᓗᑎᒃ ᐱᐅᖏᑦᑑᔪᖕᓇᖅᑐᑦ, ᑭᓯᐊᓂ ᒫᓐᓇᐅᔪᖅ ᖃᓄᑎᒋᐅᓕᕆᓂᕐᓂᑦ ᐃᓗᐊᓃᑦᑐᑦ ᑯᕕᑎᑕᐅᔪᖕᓇᕐᓂᕐᒧᑦ ᐊᖏᓂᖅᓴᐅᔪᑦ ᓈᒻᒪᖕᓂᖏᓐᓄᑦ ᐃᒪᕐᒥᑦ ᐆᒪᓂᖃᖃᑎᒌᒃᑐᓄᑦ.
ᑭᕙᓪᓕᖅ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᐊᒡᓃᑯᒃᑯᓐᓂᑦ ᐋᖅᑭᒃᓯᖁᔨᔪᑦ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓᓄᑦ ᐱᔭᒃᓴᐅᑎᒥᒃ ᑯᓘᕋᐃᑦᒧᑦ (chloride), ᐃᓗᐊᓃᑦᑐᓂᒃ ᑲᑎᖦᖢᒋ ᓄᖑᑎᖅᓯᒪᔪᑦ ᓯᑎᔪᐃᑦ ᑯᕕᑎᑕᐅᔪᑦ ᑕᓯᕐᔪᐊᕐᒥᑦ, ᖃᓄᐃᓕᐊᕐᓂᖏᑦ ᑯᕕᑎᑕᐅᔫᑉ ᐊᓯᐊᙳᕋᔭᖅᐸᑕ.
ᐱᖁᔨᕗᖔᒧᑦ ᓈᓴᐅᑎ
ᐊᒡᓃᑯᒃᑯᑦ ᐋᖅᑭᒃᓯᓂᐊᕐᓂᕋᖅᑐᑦ ᐃᓂᐅᔪᒥᑦ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓᓄᑦ ᐱᔭᒃᓴᐅᑎᒥᒃ ᑯᓘᕋᐃᑦᒧᑦ (chloride) ᐃᓚᖓᓂᒃ ᑯᓘᕋᐃᑦᒥᑦ ᑯᕕᔪᖅ ᑎᑭᐅᑎᒃᐸᑦ ᐅᖓᑕᐅᑦᑎᒃᐸᓪᓘᓐᓃᑦ 60%-ᒥᒃ ᖃᓄᐃᓐᓂᖅᓴᐅᓂᖓᓅᖅᖢᒍ ᒫᓐᓇᐅᔪᖅ 50%-ᓗᐊᒥᒃ ᐱᑕᖃᕐᓂᕐᒥᒃ

## Slide 14: KIA-TC#2 ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓᓄᑦ ᐊᑐᖅᑕᐅᔪᓂᑦ ᐱᔭᐅᔪᑦ Water quality model inputs
KIA Lands raised concerns that inputs representing the environment selected by AEM for application within the water quality model may limit the model’s ability to accurately predict TDS concentrations in the discharges to Meliadine Lake.
Resolution
AEM has responded by updating the Site Water Balance and Water Quality Model relying largely on observed site conditions and monitoring data from 2019 and 2020
The updated model provides additional confidence in the accuracy of the model outputs
ᑭᕙᓪᓕᖅ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᐃᓱᒫᓘᑎᖃᓚᐅᖅᑐᑦ ᐱᔭᐅᔪᓂᒃ ᓂᕈᐊᖅᑕᐅᔪᑦ ᐊᒡᓃᑯᒃᑯᓐᓂᑦ ᐊᑐᖅᑕᐅᓂᐊᕐᓗᓂ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓᓄᑦ ᑭᒡᓕᖃᖅᑎᑦᑎᔪᖕᓇᕐᒪᑦ ᓇᓚᐅᑦᑖᕆᑦᑎᐊᕐᓂᕐᒧᑦ ᑲᑎᖦᖢᒋᑦ ᓄᖑᑎᖅᓯᒪᔪᑦ ᓯᑎᔪᑦ ᑯᕕᑎᑕᐅᔪᑦ ᑕᓯᕐᔪᐊᕐᒧᑦ.
ᐱᖁᔨᕗᖔᒧᑦ ᓈᓴᐅᑎ
ᐊᒡᓃᑯᒃᑯᑦ ᑭᐅᓚᐅᖅᑐᑦ ᐅᑉᓗᒥᒨᓕᖅᑐᖅᖢᒋᑦ ᐃᓂᐅᔪᒥᑦ ᐃᒪᕐᒧᑦ ᐊᒥᐊᒃᑯ ᐊᒻᒪᓗ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓᓄᑦ ᐊᑐᖅᑕᐅᔪᖅ ᖃᐅᔨᔭᐅᔪᒃᑯᓗᐊᖑᔪᑦ ᐃᓂᐅᔪᖅ ᖃᓄᐃᖓᓂᖃᖅᑎᓪᓗᒍ ᐊᒻᒪᓗ ᖃᐅᔨᓴᐃᓂᕐᒧᑦ ᓈᓴᐅᑎᓂᒃ/ᑎᑎᖅᑲᓂᒃ 2019-ᒥᑦ ᐊᒻᒪᓗ 2020-ᒥᑦ
ᐅᑉᓗᒥᒨᓕᖅᑐᖅᓯᒪᔪᑦ ᐊᑐᖅᑕᐅᔪᓂᑦ ᓇᓗᓇᙱᑎᑦᑎᒃᑲᓐᓂᖅᑐᑦ ᓇᓚᐅᑦᑎᓯᒪᓂᖏᓐᓂᒃ ᐊᑐᖅᑕᐅᔪᒥᑦ ᐱᔭᐅᔪᓂᒃ

## Slide 15: KIA-TC#3 CP3-ᒥᑦ ᑲᑎᖦᖢᒋᑦ ᓄᖑᑎᖅᓯᒪᔪᑦ ᓯᑎᔪᐃᑦ CP1-ᒧᐊᖅᑐᑦ CP3 TDS loading to CP1
On site observations support the potential of elevated TDS concentrations in CP3 through Tailings Storage Facility runoff. KIA Lands raised concerns that no input was included in the current water quality model from Tailings Storage Facility runoff into CP3.
Resolution
AEM has responded by updating the Site Water Balance and Water Quality Model relying largely on observed site conditions and monitoring data from 2019 and 2020
KIA is satisfied with the updated modelling and that AEM adequately understands Tailings Storage Facility water quality
ᖃᐅᔨᔭᐅᔪᑦ ᐃᑲᔪᐃᔪᑦ ᖁᑦᑎᒃᓯᓯᒪᔪᖕᓇᕐᓂᖏᓐᓄᑦ ᑲᑎᖦᖢᒋᑦ ᓄᖑᑎᖅᓯᒪᔪᑦ ᓯᑎᔪᐃᑦ CP3-ᒥᑦ ᕿᒪᒃᑎᑦᑐᓄᑦ ᑐᖅᑯᖅᓯᓯᒪᕝᕕᒃᑯᑦ ᑯᕕᔪᒥᑦ. ᑭᕙᓪᓕᖅ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᐃᓱᒫᓘᑎᖃᖅᑐᑦ ᐱᔭᐅᔪᓂᒃ ᐃᓚᐅᔪᖃᓚᐅᖏᒻᒪᑦ ᒫᓐᓇᐅᔪᖅ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓᓄᑦ ᐊᑐᖅᑕᐅᔪᒥᑦ ᕿᒪᒃᑎᑦᑐᓄᑦ ᑐᖅᑯᖅᓯᓯᒪᕝᕕᖕᒥᑦ ᑯᕕᔪᖅ CP3-ᒧᑦ.
ᐱᖁᔨᕗᖔᒧᑦ ᓈᓴᐅᑎ
ᐊᒡᓃᑯᒃᑯᑦ ᑭᐅᓚᐅᖅᑐᑦ ᐅᑉᓗᒥᒨᓕᖅᑐᖅᖢᒋᑦ ᐃᓂᐅᔪᒥᑦ ᐃᒪᕐᒧᑦ ᐊᒥᐊᒃᑯ ᐊᒻᒪᓗ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓᓄᑦ ᐊᑐᖅᑕᐅᔪᖅ ᖃᐅᔨᔭᐅᔪᒃᑯᓗᐊᖑᔪᑦ ᐃᓂᐅᔪᖅ ᖃᓄᐃᖓᓂᖃᖅᑎᓪᓗᒍ ᐊᒻᒪᓗ ᖃᐅᔨᓴᐃᓂᕐᒧᑦ ᓈᓴᐅᑎᓂᒃ/ᑎᑎᖅᑲᓂᒃ 2019-ᒥᑦ ᐊᒻᒪᓗ 2020-ᒥᑦ
ᑭᕙᓪᓕᖅ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᓈᒻᒪᒃᓴᖅᑐᑦ ᐅᑉᓗᒥᒨᓕᖅᑐᖅᓯᒪᔪᖅ ᐊᑐᖅᑕᐅᔪᒥᑦ ᐊᒻᒪᓗ ᐊᒡᓃᑯᒃᑯᑦ ᑐᑭᓯᐊᔪᑦ ᕿᒪᒃᑎᑦᑐᓄᑦ ᑐᖅᑯᖅᓯᓯᒪᕝᕕᖕᒥᑦ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓᓂᒃ

## Slide 16: KIA-TC#4 ᐃᒪᕐᒥᒃ ᐊᐅᓚᑦᑎᓂᕐᒧᑦ ᐊᑐᖅᑕᐅᖔᕈᖕᓇᖅᑐᑦ Water management alternatives
KIA Lands raised concerns that CP1 may not have sufficient capacity to manage extreme rainfall events
Current wet weather modeling did not appear to account for a scenario such as the rainfall during summer 2019
Pending Resolution
AEM has committed to minimize discharges from CP1 to Meliadine Lake by diverting as much water as possible away from Meliadine Lake via the waterline if approved by the NIRB
Specific volumes and conditions under which diversions will occur will be presented for KIA review in late January 2021
ᑭᕙᓪᓕᖅ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᐃᓱᒫᓘᑎᖃᓚᐅᖅᑐᑦ CP1 ᐃᓂᖄᓂᒍᖕᓇᕋᓗᐊᕐᒪᖔᑦ ᒪᖁᒡᔪᐊᕋᔭᖅᐸᑦ
ᒫᓐᓇᐅᔪᖅ ᖃᐅᓯᕐᓂᕐᒧᑦ ᐊᑐᖅᑕᐅᔪᒥᑦ ᑕᐃᒪᓐᓇᐃᓐᓇᔭᖅᑑᔭᙱᑦᑐᖅ ᐊᐅᔭᐅᓚᐅᖅᑐᖅ 2019-ᒥᑐᑦ
ᐋᖅᑭᒃᑕᐅᓂᐊᖅᑐᖅ
ᐊᒡᓃᑯᒃᑯᑦ ᒥᑭᓛᒃᑰᖅᑎᑦᑎᓂᐊᖅᑐᑦ ᑯᕕᑎᑕᐅᔪᖅ CP1-ᒥᑦ ᑕᓯᕐᔪᐊᕐᒧᑦ ᐊᔪᙱᑕᓕᒫᖏᑦ ᓴᖑᑎᓪᓗᒍ ᐃᑎᕕᐊᓄᑦ
ᐃᓚᖏᑦ ᐃᒪᐅᑉ ᐊᖏᓂᖓ ᐊᒻᒪᓗ ᖃᓄᐃᖓᓂᐅᔪᑦ ᓴᖑᑎᑦᑎᓂᖃᕐᓂᐊᕐᓗᓂ ᑐᓂᔭᐅᓂᐊᖅᑐᑦ ᑭᕙᓪᓕᖅ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᓐᓄᑦ ᕿᒥᕐᕈᓂᐊᕐᓗᓂᔾᔪᒃ ᑕᖅᑮᓇᕐᔪᐊᖅ (ᔭᓄᐊᕆ) 2020-ᒥᑦ

## Slide 17: KIA-TC#5 ᑲᖏᖅᖠᓂᕐᒥᑦ ᐱᖁᑏᑦ ᐅᒃᑯᐊᖅᑕᐅᓂᐊᕐᓗᑎᒃ ᐱᔭᒃᓴᐅᑕᐅᔪᑦ Rankin Inlet facilities closure objectives
AEM indicates that soil and water monitoring will be used to determine whether the Rankin Inlet Facility area may be a source of future contamination.
KIA Lands recommended the Interim Closure and Reclamation Plan be updated with soil and water quality objectives that must be met to evaluate the closure criteria for the Rankin Inlet Facilities.
Resolution
AEM has agreed to update the Interim Closure and Reclamation Plan accordingly as well as the related management and monitoring plans.
KIA is also working with AEM to finalize an updated value for reclamation security.
ᐊᒡᓃᑯᒃᑯᑦ ᐅᖃᖅᑐᑦ ᐃᑉᔪᓂᒃ ᐊᒻᒪᓗ ᐃᒪᕐᒥᒃ ᖃᐅᔨᓴᐃᓂᖅ ᐊᑐᖅᑕᐅᓂᐊᖅᑐᑦ ᖃᐅᔨᓂᐊᕐᓗᑎᒃ ᑲᖏᖅᖠᓂᕐᒥᑦ ᐱᖁᑏᑦ ᐱᔾᔪᑕᐅᑐᐃᓐᓇᕆᐊᖃᕋᔭᕐᒪᖔᑕ ᐱᐅᖏᑦᑐᓄᑦ ᓯᕗᓂᒃᓴᒥᑦ.
ᑭᕙᓪᓕᖅ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᐅᒃᑯᐊᖅᓯᒪᓚᐅᐱᓪᓚᖕᓂᕐᒧᑦ ᐊᒻᒪᓗ ᐅᑎᖅᑎᑎᕆᓂᕐᒧᑦ ᐸᕐᓇᐅᑎ ᐅᑉᓗᒥᒨᓕᖅᑐᖁᔭᖏᑦ ᐃᑉᔪᐃᑦ ᐊᒻᒪᓗ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓᓄᑦ ᐱᔭᒃᓴᐅᑎᐅᓂᐊᖅᑐᓄᑦ ᑎᑭᐅᑎᓯᒪᔭᕆᐊᖃᖅᖢᑎᒃ ᕿᒥᕐᕈᓂᐊᕐᓗᒍ ᐅᒃᑯᐊᓚᐅᐱᓪᓚᒃᓯᒪᓂᖅ ᑲᖏᖅᖠᓂᕐᒥᑦ ᐱᖁᑏᑦ.
ᐱᖁᔨᕗᖔᒧᑦ ᓈᓴᐅᑎ
ᐊᒡᓃᑯᒃᑯᑦ ᐊᖏᖅᓯᒪᔪᑦ ᐅᑉᓗᒥᒨᓕᖅᑐᕐᓂᐊᕐᓗᒋᑦ ᐅᒃᑯᐊᖅᓯᒪᓚᐅᐱᓪᓚᖕᓂᕐᒧᑦ ᐊᒻᒪᓗ ᐅᑎᖅᑎᑎᕆᓂᕐᒧᑦ ᐸᕐᓇᐅᑎ ᐊᒻᒪᓗ ᐃᓚᒋᔭᐅᔪᑦ ᐊᐅᓚᑦᑎᓂᕐᒧᑦ ᐊᒻᒪᓗ ᖃᐅᔨᓴᐃᓂᕐᒧᑦ ᐸᕐᓇᐅᑏᑦ.
ᑭᕙᓪᓕᖅ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᐊᒡᓃᑯᒃᑯᑦ ᐱᓕᕆᖃᑎᖃᕐᒥᔪᑦ ᐊᒡᓃᑯᒃᑯᓐᓂᑦ ᑭᖑᓪᓕᖅᐹᒃᑰᖓᓕᖅᑎᓐᓂᐊᕐᓗᒋᑦ ᐅᑉᓗᒥᒨᓕᖅᑐᖅᓯᒪᔪᑦ ᐊᑭᒋᔭᐅᔪᒥᒃ ᐅᑎᖅᑎᑎᕆᓂᕐᒧᑦ ᒥᐊᓂᖅᓯᓂᕐᒥᒃ.