## Slide 1
Water Licence Amendment Application for
Agnico Eagle Mines Ltd. (AEM), Meliadine Project, Water Licence No. 2AM-MEL1631
Nunavut Water Board Technical Meeting
2021-01-19
ᐃᒪᕐᒧᑦ ᓚᐃᓴᓐᓯᒥᒃ ᐋᖅᑭᒋᐊᖅᓯᓂᕐᒧᑦ ᑐᒃᓯᕋᐅᑎ ᐊᒡᓃᑯ ᐄᒍ
ᐅᔭᕋᒃᑕᕆᐊᓕᕆᔨᒃᑯᑦ (ᐊᒡᓃᑯᒃᑯᑦ), ᑕᓯᕐᔪᐊᕐᒥᑦ,
ᐃᒪᕐᒧᑦ ᓚᐃᓴᓐᓯᐅᑉ ᓈᓴᐅᑎᖓ 2AM-MEL1631
ᓄᓇᕗᒻᒥ ᐃᒪᓕᕆᔨᒃᑯᑦ ᐱᓕᕆᐊᑉ ᒥᒃᓵᓄᑦ ᑲᑎᒪᓂᖓᑦ
2021-01-19

## Slide 2: ᐱᔾᔪᑕᐅᔪᑦ
ᐱᓕᕆᐊᑦ ᐊᒻᒪᓗ ᐱᔭᒃᓴᐅᑏᑦ
ᐃᑲᔪᖅᑐᑦ ᐃᒪᕐᒧᑦ ᓚᐃᓴᓐᓯᒥᒃ ᕿᒥᕐᕈᓂᕐᒧᑦ
ᐱᔾᔪᑏᑦ ᐅᖃᐅᓯᐅᔪᑦ:
  ᑲᑎᖦᖢᒋ ᓄᖑᑎᖅᓯᒪᔪᑦ ᓯᑎᔪᑦ (TDS) ᑎᑭᐅᑎᓃᑦ
  ᐱᓕᕆᓃᑦ ᐱᔾᔪᑎᖃᖅᑐᑦ ᐱᑕᖃᕐᕕᐅᔪᒃᑲᓐᓂᕐᓄᑦ
  ᐃᒪᐅᑉ ᐃᒡᓗᒌᖕᓂᕆᔭᖓ ᐊᒻᒪᓗ ᖃᓄᐃᓐᓂᕐᒧᑦ ᓇᓗᓇᐃᖅᓯᓃᑦ
  WRSF3 ᐊᖏᒡᓕᒋᐊᖅᑕᐅᓂᖓᓄᑦ ᐅᑉᓗᒥᒨᓕᖅᓯᒪᔪᖅ ᐊᒃᑕᑯᓂᒃ ᐊᐅᓚᑦᑎᓂᕐᒧᑦ ᖃᓄᖅᑑᕆᓂᖅ
  ᓇᓗᓇᐃᖅᑕᐅᓂᖓ ᑐᒃᓯᕋᐅᑕᐅᔪᖅ TDS-ᓂᒃ ᑯᕕᓯᑎᑦᑎᓂᕐᒨᖓᔪᓄᑦ
  ᓄᓇᐅᑉ ᖄᖓᓂᑦ ᐃᒪᕐᒥᒃ ᐊᐅᓚᑦᑎᓂᖅ ᐊᒻᒪᓗ ᓱᑉᓗᓕᒃᑯᑦ ᑯᕕᓯᓂᖅ ᐃᑎᕕᐊᓄᑦ
  ᐅᑎᖅᑎᑎᕆᕙᓪᓕᐊᓂᕐᒧᑦ ᒥᐊᓂᖅᓯᓂᕐᒥᒃ ᓇᓚᐅᑦᑖᖅᑕᐅᔪᓄᑦ ᐅᑉᓗᒥᒨᓕᖅᓯᒪᔪᖅ
ᐱᐊᓂᖕᓂᖅ
Outline
Roles and Responsibilities
Contributions to the Water Licence Review
Topics discussed:
  Total Dissolved Solids (TDS) Thresholds
  Works Related to Additional Deposits
  Water Balance and Quality Clarifications
  WRSF3 Expansion and Updated Waste Management Strategy
  Validation of Proposed TDS Discharge Criteria
  Surface Contact Water Management and Waterline Discharge to Melvin Bay
  Reclamation Security Estimate Update
Conclusion

## Slide 3: Roles and responsibilities
Crown-Indigenous Relations and Northern Affairs Canada’s (CIRNAC) responsibilities, mandate, and obligations are in alignment with the following:
Crown-Indigenous Relations and Northern Affairs Act
Nunavut Agreement
Nunavut Land Claims Agreement Act
Nunavut Waters and Nunavut Surface Rights Tribunal Act and the associated regulations
Nunavut Planning and Project Assessment Act
Territorial Lands Act and the associated regulations
Arctic Waters Pollution Prevention Act
ᐃᓄᓕᕆᔨᑐᖃᒃᑯᑦ ᑲᓇᑕ ᐱᓕᕆᐊᔅᓴᖏᑦ, ᑎᓕᔭᐅᓯᒪᔪᑦ, ᐊᒻᒪᓗ ᒪᓕᒐᖅᑎᒍᑦ ᐊᑐᕆᐊᖃᖅᑕᖏᑦ ᐅᑯᓄᖓ ᒪᓕᑦᑎᐊᕐᓗᑎᒃ ᐊᑖᓂ ᑎᑎᕋᖅᓯᒪᔪᓂᒃ:
ᑲᓇᑕᐅᑉ-ᓄᓇᖃᖅᑳᖅᑐᑦ ᐱᓕᕆᖃᑎᒌᖕᓂᖏᑦ ᐊᒻᒪᓗ ᐅᑭᐅᖅᑕᖅᑐᓕᕆᓂᕐᒧᑦ ᐱᖁᔭᖅ
ᓄᓇᕗᒻᒧᑦ ᐊᖏᖃᑎᒌᒍᑎ
ᓄᓇᕗᒻᒥ ᓄᓇᑖᕐᓂᕐᒧᑦ ᐊᖏᖃᑎᒌᒍᑎᒧᑦ ᐱᖁᔭᖅ
ᓄᓇᕗᒻᒥ ᐃᒪᐃᑦ ᐊᒻᒪᓗ ᖄᖏᓐᓄᑦ ᐱᔪᖕᓇᐅᑎᓕᕆᓂᕐᒧᑦ ᐱᖁᔭᖅ ᑕᒪᒃᑯᓄᙵᓗ ᒪᓕᒐᕋᓛᑦ
ᓄᓇᕗᒻᒥ ᐸᕐᓇᐃᓂᖅ ᐊᒻᒪᓗ ᐱᓕᕆᐊᕐᒥᒃ ᖃᐅᔨᓴᐃᓂᕐᒧᑦ ᐱᖁᔭᖅ
ᐅᑭᐅᖅᑕᖅᑐᒥᑦ ᓄᓇᐃᑦ ᒥᒃᓵᓄᑦ ᐱᖁᔭᖅ ᑕᒪᒃᑯᓄᙵᓗ ᒪᓕᒐᕋᓛᑦ
ᐅᑭᐅᖅᑕᖅᑐᒥᑦ ᐃᒪᐃᑦ ᐱᐅᖏᑦᑐᖃᓕᖅᑎᑦᑕᐃᓕᓂᕐᒧᑦ ᐱᖁᔭᖅ
ᐃᖅᑲᓇᐃᔮᖅ ᐊᒻᒪᓗ ᐱᓕᕆᐊᔅᓴᐃᑦ

## Slide 4: Contributions to application review
CIRNAC made the following submissions to the Nunavut Water Board:
Information Requests: September 22, 2020
Response to Information Requests: October 2, 2020
Meeting with AEM and KivIA on Security Estimate: October 30, 2020
Technical Review Comments: November 8, 2020
ᐃᑲᔪᕈᑎᑦᓴᐃᑦ ᑕᑕᑎᕆᐊᓕᓐᓂᒃ ᕿᒥᕐᕈᓂᕐᒧᑦ
CIRNAC-ᑯᑦ ᐅᑯᓂᙵᑦ ᑐᓂᓯᓚᐅᖅᑐᑦ ᓄᓇᕗᒻᒥ ᐃᒪᓕᕆᔨᒃᑯᓐᓄᑦ:
ᑐᑭᓯᐅᒪᔾᔪᑎᓂᒃ ᑐᒃᓯᕋᐅᑎᓂᒃ: ᐊᒥᕋᐃᔭᕐᕕᒃ (ᓯᑎᐱᕆ) 22, 2020
ᑭᐅᔭᐅᓂᖏᑦ ᑐᑭᓯᐅᒪᔾᔪᑎᓂᒃ ᑐᒃᓯᕋᐅᑕᐅᔪᑦ: ᐅᑭᐅᓖᑦ (ᐅᒃᑑᐱᕆ) 2, 2020
ᑲᑎᒪᓂᖏᑦ ᐊᒡᓃᑯᒃᑯᑦ ᐊᒻᒪᓗ ᑭᕙᓪᓕᕐᒥᑦ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᒥᐊᓂᖅᓯᓂᕐᒧᑦ ᓇᓚᐅᑦᑖᖅᑕᐅᔪᒧᑦ: ᐅᑭᐅᓖᑦ (ᐅᒃᑑᐱᕆ) 30, 2020
ᐱᓕᕆᐊᑉ ᒥᒃᓵᓄᑦ ᕿᒥᕐᕈᓂᕐᒧᑦ ᐅᖃᐅᓯᐅᔪᑦ: ᑲᑕᒑᕆᕝᕕᒃ (ᓄᕕᐱᕆ) 8, 2020

## Slide 5: Technical Review Topics ᐱᓕᕆᐊᕐᒥᒃ ᕿᒥᕐᕈᓂᕐᒧᑦ ᐱᔾᔪᑕᐅᔪᑦ

## Slide 6: I. Total Dissolved Solids (TDS) Thresholds ᑲᑎᖦᖢᒋ ᓄᖑᑎᖅᓯᒪᔪᑦ ᓯᑎᔪᑦ (TDS) ᑎᑭᐅᑎᓃᑦ
ᐱᔾᔪᑕᐅᔪᖅ
ᐊᓯᐊᙳᖅᑕᐅᔪᒪᔪᑦ TDS ᑎᑭᐅᑎᓂᕐᓄᑦ ᐊᒻᒪᓗ ᑯᕕᑎᑕᐅᔪᖅ ᖃᓄᐃᓐᓂᖓ ᐊᒻᒪᓗ ᐅᔭᕋᒃᑕᕆᐊᕐᒨᖓᔪᖅ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓᓄᑦ ᐱᔭᒃᓴᐃᑦ ᐃᑲᔪᖅᑕᐅᖏᑦᑐᑦ ᑐᒃᓯᕋᐅᑎᒥᑦ.
ᐃᒪᓐᓈᖅᑑᑎ
ᖃᐅᔨᓐᓇᐅᑎᓂᒃ ᑐᓂᓯᓗᑎᒃ ᖃᓄᐃᓕᐅᕈᑕᐅᓂᐊᖅᑐᓂᒃ ᑐᒃᓯᕋᐅᑕᐅᔪᒧᑦ ᐋᖅᑭᒋᐊᖅᓯᓂᕐᓄᑦ TDS ᑎᑭᐅᑎᓂᕐᒧᑦ.
ᖃᓄᐃᖓᓂᖅ
ᐃᓚᖓᒍᑦ ᐋᖅᑭᒃᑕᐅᔪᖅ.
Issue
The proposed changes to the TDS threshold and Effluent Quality Criteria and Site-Specific Water Quality Objective are not supported in the application.
Recommendation
Provide an evidence-based rationale for the proposed revisions to the TDS threshold.
Status
Partially resolved.

## Slide 7: II. Works Related to Additional Deposits (Discovery, Pump, Fzone, and WES-NORMEG) ᐱᓕᕆᓃᑦ ᐱᔾᔪᑎᖃᖅᑐᑦ ᐱᑕᖃᖅᑐᒃᑲᓐᓂᕐᓄᑦ (Discovery, Pump, Fzone, ᐊᒻᒪᓗ WES-NORMEG)
Issue
Insufficient information for the mining of referenced additional deposits (Discovery, Pump, Fzone, WES-NORMEG deposits).
Recommendation
Confirm intention to develop these deposits.
Provide additional information on the deposits not currently included in 3AM-MEL1631 and plans for their development and mining.
Status
Resolved.
ᐱᔾᔪᑕᐅᔪᖅ
ᑐᑭᓯᐅᒪᔾᔪᑎᑕᖄᓂᙱᑦᑐᖅ ᐅᔭᕋᒃᑕᖅᑕᐅᓂᐊᕐᓗᑎᒃ ᐅᖃᐅᓯᐅᔪᑦ ᐱᑕᖃᖅᑐᒃᑲᓐᓂᕐᓄᑦ (Discovery, Pump, Fzone, WES-NORMEG ᐱᑕᓖᑦ).
ᐃᒪᓐᓈᖅᑑᑎ
ᓇᓗᓇᐃᕐᓗᑎᒃ ᖃᓄᐃᓕᐅᕈᒪᓂᖏᓐᓂᑦ ᐱᕙᓪᓕᐊᔭᐅᓂᐊᕐᓗᑎᒃ ᐱᑕᓖᑦ.
ᑐᑭᓯᐅᒪᔾᔪᑎᒃᑲᓐᓂᕐᓂᒃ ᑐᓂᓯᓗᑎᒃ ᐱᑕᓖᑦ ᒥᒃᓵᓄᑦ ᐃᓚᐅᑎᑕᐅᖏᑦᑐᑦ ᒫᓐᓇᐅᔪᖅ 3AM-MEL1631-ᒥᑦ ᐊᒻᒪᓗ ᐸᕐᓇᐅᑏᑦ ᐱᕙᓪᓕᐊᓂᐊᕐᓗᒍ ᐊᒻᒪᓗ ᐅᔭᕋᒃᑕᕐᓂᖅ.
ᖃᓄᐃᖓᓂᖅ
ᐋᖅᑭᒃᑕᐅᔪᖅ.

## Slide 8: III. Water Balance and Quality Clarifications ᐃᒪᐅᑉ ᐃᒡᓗᒌᖕᓂᖓᓄᑦ ᐊᒻᒪᓗ ᖃᓄᐃᓐᓂᖓᓄᑦ ᓇᓗᓇᐃᖅᓯᓃᑦ
Issue
There is a lack of clarity on the 3,500 mg/L TDS threshold for RO treatment and on water diversion from CP1 to SP3.
Recommendation
Provide clarification on the threshold applied in the management of CP5 water quality for RO treatment of TDS before discharge.
Provide rationale for diverting water from CP1 to SP3.
Status
Resolved.
ᐱᔾᔪᑕᐅᔪᖅ
ᓇᓗᓇᐃᖅᓯᒪᙱᓗᐊᖅᑐᑦ 3,500 mg/L TDS ᑎᑭᐅᑎᓂᕐᒧᑦ RO ᐱᓕᕆᐊᖑᓂᐊᕐᓗᓂ ᐊᒻᒪᓗ ᐃᒪᕐᒥᒃ ᓴᖑᑎᑦᑎᓂᖅ CP1-ᒥᑦ SP3-ᒧᑦ.
ᐃᒪᓐᓈᖅᑑᑎ
ᓇᓗᓇᐃᕐᓗᓂ ᑎᑭᐅᑎᓂᕐᓄᑦ ᐊᑐᖅᑕᐅᔪᓄᑦ ᐊᐅᓚᑦᑎᓂᕐᒧᑦ CP5-ᒥᑦ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓᓄᑦ RO ᐱᓕᕆᐊᖑᓂᖓᓄᑦ TDS ᑯᕕᑎᑕᐅᓂᐊᓵᕐᓗᓂ.
ᖃᓄᐃᓕᐅᕐᓂᐊᕐᓂᖏᓐᓂᒃ ᑐᓂᓯᓗᓂ ᓴᖑᑎᑕᐅᓂᐊᕐᓗᓂ ᐃᒪᖅ CP1-ᒥᑦ SP3-ᒧᑦ.
ᖃᓄᐃᖓᓂᖅ
ᐋᖅᑭᒃᑕᐅᔪᖅ.

## Slide 9: IV. WRSF3 Expansion and Updated Waste Management Strategy WRSF3-ᒥᒃ ᐊᖏᒡᓕᒋᐊᖅᓯᓂᖅ ᐊᒻᒪᓗ ᐅᑉᓗᒥᒨᓕᖅᑐᖅᑕᐅᓯᒪᔪᖅ ᐊᒃᑕᑰᖅᑕᐅᔪᓂᒃ ᐊᐅᓚᑦᑎᓂᕐᒧᑦ ᖃᓄᖅᑑᕈᑎ
Issue
Rationale for placing the waste rock/overburden in WRSF3, instead of WRSF2 as was originally planned, is unclear.
There is also a lack of clarity on additional deposits and the nature and extent of waste rock from these deposits.
Recommendation
Provide rationale for extension of WRSF3.
Provide additional information on the lithological and geochemical nature and extent of waste rock from these additional deposits.
Status
Resolved.
ᐱᔾᔪᑕᐅᔪᖅ
ᖃᓄᐃᓕᐅᕈᑕᐅᓂᐊᖅᑐᖅ ᐃᓕᓯᓂᐊᕐᓗᓂ ᐊᒃᑕᑰᖅᑕᐅᔪᑦ ᐅᔭᖅᑲᓄᑦ/ᐅᖓᑕᐅᑦᑎᔪᑦ WRSF3-ᒧᑦ, WRSF2-ᒨᖏᖔᖅᑐᖅ ᐸᕐᓇᐅᑕᐅᖅᑲᐅᑕᐅᓚᐅᕐᓂᖓᑐᑦ, ᓇᓗᓇᖅᑐᖅ.
ᓇᓗᓇᖅᑐᖅ ᐱᑕᖃᒃᑲᓐᓂᖅᑐᓄᑦ ᐊᒻᒪᓗ ᖃᓄᐃᖓᓂᕆᔭᖓ ᐊᒻᒪᓗ ᑎᑭᐅᑎᓂᕆᔭᖓ ᐊᒃᑕᑰᖅᑕᐅᔪᑦ ᐅᔭᖅᑲᐃᑦ ᑖᑉᑯᓇᙶᕐᓂᐊᖅᑐᑦ ᐱᑕᖃᒃᑲᓐᓂᖅᑐᓂᑦ.
ᐃᒪᓐᓈᖅᑑᑎ
ᑐᓂᓯᓗᑎᒃ ᖃᓄᐃᓕᐅᕈᑕᐅᓂᐊᑐᓂᒃ ᐅᐃᒍᒋᐊᖅᑕᐅᓂᖓᓄᑦ WRSF3.
ᑐᑭᓯᐅᒪᔾᔪᑎᒃᑲᓐᓂᕐᓂᒃ ᑐᓂᓯᓗᑎᒃ ᐅᔭᖅᑲᓕᕆᓂᕐᓂᒃ ᐊᒻᒪᓗ ᖃᓄᐃᓕᐅᕐᓂᕆᔭᖏᓐᓂᒃ ᐅᔭᖅᑲᐃᑦ ᐊᒻᒪᓗ ᑎᑭᐅᑎᓂᕆᔭᖏᑦ ᐊᒃᑕᑰᖅᑕᐅᔪᑦ ᐅᔭᖅᑲᐃᑦ ᐱᑕᖃᒃᑲᓐᓂᖅᑐᓂᑦ ᐱᔭᐅᔪᓄᑦ.
ᖃᓄᐃᖓᓂᖅ
ᐋᖅᑭᒃᑕᐅᔪᖅ

## Slide 10: V. Validation of Proposed Total Dissolved Solids (TDS) Discharge Criteria ᓇᓗᓇᐃᖅᓯᓂᖅ ᑐᒃᓯᕋᐅᑕᐅᔪᖅ ᑲᑎᖦᖢᒋᑦ ᓄᖑᑎᖅᓯᒪᔪᑦ ᓯᑎᔪᑦ (TDS) ᑯᕕᑎᑕᐅᓂᖏᓐᓅᖓᔪᓄᑦ
ᐱᔾᔪᑕᐅᔪᖅ
ᐊᒡᓃᑯᒃᑯᑦ ᓇᓗᓇᐃᕐᓂᐊᖅᑐᑦ ᑐᒃᓯᕋᐅᑕᐅᔪᖅ TDS-ᓄᑦ ᖃᐅᔨᓴᐃᒃᑲᓐᓂᕐᓂᖃᕐᓗᑎᒃ ᖃᓄᐃᖓᓂᐅᔪᓂᒃ ᐃᓱᐊᓂᑦ CP1-ᒥᑦ ᑯᕕᓯᑎᑦᑎᓂᕐᒥᑦ ᐅᑭᐅᓖᑦ (ᐅᒃᑑᐱᕆ) 2020-ᒥᑦ.
ᐃᒪᓐᓈᖅᑑᑎ
ᓇᓗᓇᐃᕐᓗᒋᑦ ᑐᒃᓯᕋᐅᑕᐅᔪᑦ TDS-ᒥᒃ ᑯᕕᓯᑎᑦᑎᓂᕐᒨᖓᔪᓄᑦ ᖃᓄᐃᖓᓂᐅᔪᑦ ᖃᐅᔨᓴᐃᓂᐅᔪᓗᒃᑖᓄᑦ ᐊᒻᒪᓗ ᖃᐅᔨᓴᐃᕝᕕᖕᒥᑦ ᐆᒃᑐᕋᖅᑕᐅᔪᓄᑦ.
ᖃᓄᐃᖓᓂᖅ
ᐋᖅᑭᒃᑕᐅᔪᖅ.
Issue
AEM committed to validate the proposed TDS criteria with additional monitoring results at the end of CP1 discharge period in October 2020.
Recommendation
Validate the proposed TDS discharge criteria with the results of all monitoring efforts and laboratory tests.
Status
Resolved.

## Slide 11: VI. Surface Contact Water Management and Waterline Discharge to Melvin Bay ᓄᓇᐅᑉ ᖄᖓᓂᑦ ᐃᒪᕐᒥᒃ ᐊᐅᓚᑦᑎᓂᖅ ᐊᒻᒪᓗ ᓱᑉᓗᓕᒃᑯᑦ ᑯᕕᓯᑎᑦᑎᓂᖅ ᐃᑎᕕᐊᓄᑦ
ᐱᔾᔪᑕᐅᔪᖅ
ᓇᓗᓇᙱᑦᑐᓂᒃ ᖃᓄᐃᑦᑑᓂᖏᓐᓄᑦ ᐊᓯᐊᙳᖅᑐᓂᒃ ᐃᒪᕐᒥᒃ ᐊᐅᓚᑦᑎᓂᕐᒧᑦ ᖃᓄᖅᑑᕈᑎᒧᑦ ᐊᒻᒪᓗ ᐊᓯᐊᙳᖅᑕᐅᔪᒪᔪᓄᑦ ᐱᖁᑎᓄᑦ ᐊᒻᒪᓗ ᐊᐅᓛᖅᑎᑦᑎᓂᕐᓄᑦ ᐱᑕᖃᙱᑦᑐᖅ ᐅᔭᕋᒃᑕᕆᐊᕐᒧᑦ ᓱᑉᓗᓕᒃ ᐊᖏᕈᑕᐅᓯᒪᑉᓗᓂ ᐊᕙᑎᓕᕆᔨᒃᑯᓐᓄᑦ.
ᐃᒪᓐᓈᖅᑑᑎ
ᑐᑭᓯᐅᒪᔾᔪᑎᓂᒃ ᑐᓂᓯᓗᑎᒃ ᖃᓄᖅ ᐅᔭᕋᒃᑕᕆᐊᕐᒥᑦ ᐃᒪᕐᒥᒃ ᐊᐅᓚᑦᑎᓂᕐᒧᑦ ᖃᓄᖅᑑᕈᑎ ᐊᓯᐊᙳᖅᓯᓇᔭᕐᒪᖔᑦ ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᓈᒻᒪᒋᔭᖓᓄᑦ ᐊᒡᓃᑯᒃᑯᑦ ᐃᒪᕐᒧᑦ ᓱᑉᓗᓕᖕᒧᑦ ᑐᒃᓯᕋᐅᓯᐅᖅᑕᖓᓄᑦ.
ᑐᓂᓯᒃᑲᓐᓂᕐᓗᑎᒃ ᓇᓗᓇᐃᔭᖅᓯᒪᔪᓂᒃ ᐊᓯᐊᙳᕐᓂᐊᖅᑐᓄᑦ ᐅᔭᕋᒃᑕᕆᐊᕐᒥᑦ ᐱᖁᑎᓄᑦ ᐊᒃᑐᐊᓂᖃᕐᓂᐊᖅᖢᑎᒃ ᐃᒪᕐᒧᑦ ᓱᑉᓗᓕᓕᐊᖑᔪᒪᔪᒧᑦ.
ᖃᓄᐃᖓᓂᖅ
ᐋᖅᑭᒃᑕᐅᔪᖅ.
Issue
No clear descriptions related to changes to water management strategy and potential changes in physical infrastructure and operations at the site have been provided for the scenario where the waterline receives approval from by the Nunavut Impact Review Board (NIRB).
Recommendation
Provide information on how site water management strategy would change if the NIRB approves AEM’s waterline application.
Provide additional details related to expected changes in site facilities and operations of these facilities that would result in association with the proposed waterline.
Status
Resolved.

## Slide 12: VII. Reclamation Security Estimate Update ᐅᑎᖅᑎᑎᕆᕙᓪᓕᐊᓂᕐᒧᑦ ᒥᐊᓂᖅᓯᓂᕐᒥᒃ ᓇᓚᐅᑦᑖᖅᑕᐅᔪᒧᑦ ᐅᑉᓗᒥᒨᓕᖅᑐᐃᓂᖅ
ᐱᔾᔪᑕᐅᔪᖅ
CIRNAC-ᑯᑦ ᐅᑭᐅᓖᑦᒥᑦ (ᐅᒃᑑᐱᕆ) 2020 ᖃᐅᔨᓴᐃᓚᐅᖅᑐᑦ ᑲᑎᖦᖢᒋᑦ $68,136,616-ᓂᒃ ᑕᐅᑐᖔᖅᖢᒋᑦ ᑲᑎᖦᖢᒋ $66,879,978 ᑐᓂᔭᐅᔪᓂᒃ ᐊᒡᓃᑯᒃᑯᓐᓄᑦ.
ᐃᒪᓐᓈᖅᑑᑎ
ᐊᒥᓲᑎᒋᓂᖏᑦ ᓇᓚᐅᑦᑖᖅᑕᐅᔪᑦ ᑕᓯᕐᔪᐊᕐᒥᑦ ᒎᓗᒧᑦ ᐊᔭᕋᒃᑕᕆᐊᕐᒧᑦ ᐋᖅᑭᒃᑕᐅᓗᓂ $68,136,616-ᒧᑦ.
ᖃᓄᐃᖓᓂᖅ
ᐋᖅᑭᒃᑕᐅᔪᖅ.
Issue
CIRNAC’s October 2020 overall assessment is for a total of $68,136,616 as compared to a total of $66,879,978 provided by AEM.
Recommendation
The quantum of security estimate for the Meliadine Gold Mine project be set at $68,136,616.
Status
Resolved.

## Slide 13: Conclusion ᐃᓱᖓ
CIRNAC will continue to work through the water licence application review process with the aim of protecting Nunavut’s inland water resources while promoting sustainable development.
ᐃᓄᓕᕆᔨᑐᖃᒃᑯᑦ ᑲᔪᓯᓂᐊᖅᑐᑦ ᐃᖅᑲᓇᐃᔭᕐᓗᑎᒃ ᐃᒥᒧᑦ ᓚᐃᓴᒧᑦ ᐆᒃᑑᑎ ᖃᐅᔨᓴᖅᑕᐅᓂᕐᒧᑦ ᐱᕙᓪᓕᐊᓂᕐᒧᑦ ᑐᕌᒋᔭᖃᕐᓗᑎᒃ ᓴᐳᒻᒥᓂᐊᕐᓗᒋᑦ ᓄᓇᕗᑦ ᓄᓇᖏᑕ ᐃᒪᖏᓐᓄᑦ ᐊᑐᐃᓐᓇᐅᔪᓐᓇᖅᑐᑦ ᐊᑲᐅᓈᖅᑐᒃᑯᑦ ᐱᕙᓪᓕᐊᑎᓪᓗᒋᑦ.

## Slide 14
Lcᓇ Matna
ᖁᔭᓐᓇᒦᒃ Qujannamiik
Thank you
Merci