## GALReport
MEL-13-01 | Sample | 2020-06-07 17:19
Parameter | Unit
Conventional Parameters
pH | pH units | 7.31
Specific conductivity | umhos/cm | 130
Hardness, as CaCO3 (D) | mg/L | 37
Hardness, as CaCO3 (T) | mg/L | 37.2
Total alkalinity, as CaCO3 | mg/L | 28
Total dissolved solids | mg/L | 50
Total suspended solids | mg/L | 2
Total organic carbon | mg/L | 4.4
Dissolved organic carbon | mg/L | 4.3
Turbidity | NTU | 0.2
Major Ions
Bicarbonate, as CaCO3 | mg/L | 27
Calcium | mg/L | 11.5
Carbonate, as CaCO3 | mg/L | < 1.0
Chloride | mg/L | 18
Cyanide | mg/L | < 0.0050
Fluoride | mg/L | < 0.10
Magnesium | mg/L | 2.01
Potassium | mg/L | 1.45
Sodium | mg/L | 7.89
Sulphate | mg/L | 7.5
Silica | mg/L | 0.67
Cyanide (free) | mg/L | < 0.0010
Cyanide (WAD) | mg/L | < 0.0010
Nutrients and Chlorophyll a
Nitrate | mg/L | < 0.10
Nitrite | mg/L | < 0.010
Nitrate + nitrite | mg/L | < 0.10
Total ammonia | mg/L | < 0.050
Total Kjeldahl nitrogen | mg/L | 0.21
Total phosphorus | mg/L | < 0.020
Total Metals
Aluminum | mg/L | < 0.0030
Antimony | mg/L | < 0.00050
Arsenic | mg/L | 0.00047
Barium | mg/L | 0.0121
Beryllium | mg/L | < 0.00010
Bismuth | mg/L | < 0.0010
Boron | mg/L | < 0.05
Cadmium | mg/L | < 0.000010
Calcium | mg/L | 11.6
Chromium | mg/L | < 0.0010
Cobalt | mg/L | < 0.00020
Copper | mg/L | 0.00108
Iron | mg/L | < 0.01
Lead | mg/L | < 0.00020
Lithium | mg/L | < 0.0020
Magnesium | mg/L | 2
Manganese | mg/L | 0.0013
Mercury | mg/L | < 0.00001
Molybdenum | mg/L | < 0.0010
Nickel | mg/L | < 0.0010
Potassium | mg/L | 1.4
Selenium | mg/L | < 0.00010
Silicon | mg/L | 0.307
Silver | mg/L | < 0.000020
Sodium | mg/L | 7.53
Strontium | mg/L | 0.0676
Sulphur | mg/L | < 3
Thallium | mg/L | < 0.000010
Tin | mg/L | < 0.0050
Titanium | mg/L | < 0.0050
Uranium | mg/L | < 0.00010
Vanadium | mg/L | < 0.0050
Zinc | mg/L | < 0.0050
Zirconium | mg/L | < 0.00010
Dissolved Metals
Aluminum | mg/L | < 0.0030
Antimony | mg/L | < 0.00050
Arsenic | mg/L | 0.00046
Barium | mg/L | 0.012
Beryllium | mg/L | < 0.00010
Bismuth | mg/L | < 0.0010
Boron | mg/L | < 0.05
Cadmium | mg/L | < 0.000010
Chromium | mg/L | < 0.0010
Cobalt | mg/L | < 0.00020
Copper | mg/L | 0.0011
Iron | mg/L | 0.0062
Lead | mg/L | < 0.00020
Lithium | mg/L | < 0.0020
Manganese | mg/L | < 0.0010
Mercury | mg/L | < 0.00001
Molybdenum | mg/L | < 0.0010
Nickel | mg/L | < 0.0010
Selenium | mg/L | < 0.00010
Silicon | mg/L | 0.283
Silver | mg/L | < 0.000020
Strontium | mg/L | 0.0619
Sulphur | mg/L | < 3.0
Thallium | mg/L | < 0.000010
Tin | mg/L | < 0.0050
Titanium | mg/L | < 0.0050
Uranium | mg/L | < 0.00010
Vanadium | mg/L | < 0.0050
Zinc | mg/L | < 0.0050
Zirconium | mg/L | < 0.00010
< Indicates parameter was below laboratory equipment detection limit.
> Indicates parameter detected above equipment analytical range.
- Chemical not analyzed or criteria not defined.

## Data
FACILITY_ID | FACILITY_CODE | SYS_LOC_CODE | LOC_NAME | SAMPLE_ID | SYS_SAMPLE_CODE | SAMPLE_NAME | SAMPLE_DATE | SAMPLEDATE | SAMPLETIME | SAMPLE_TYPE_CODE | START_DEPTH | END_DEPTH | DEPTH_UNIT | MATRIX_CODE | TASK_CODE | TASK_CODE_2 | PARENT_SAMPLE_CODE | FIELD_SDG | ANALYSIS_LOCATION | LAB_SAMPLE_ID | LAB_MATRIX_CODE | LAB_NAME_CODE | ANALYTIC_METHOD | ANALYSIS_DATE | COLUMN_NUMBER | FRACTION | TEST_TYPE | PREP_METHOD | LEACHATE_METHOD | LEACHATE_DATE | LAB_SDG | PERCENT_MOISTURE | DILUTION_FACTOR | TEST_ID | CAS_RN | CHEMICAL_NAME | ORGANIC_YN | REPORT_RESULT_TEXT | REPORT_RESULT_VALUE | REPORT_RESULT_UNIT | REPORT_RESULT_LIMIT | REPORT_METHOD_DETECTION_LIMIT | REPORT_REPORTING_LIMIT | REPORT_QUANTITATION_LIMIT | REPORTABLE_RESULT | DETECT_FLAG | INTERPRETED_QUALIFIERS | VALIDATOR_QUALIFIERS | LAB_QUALIFIERS | QUANTITATION_LIMIT | METHOD_DETECTION_LIMIT | REPORTING_DETECTION_LIMIT | DETECTION_LIMIT_UNIT | APPROVAL_CODE | RESULT_TEXT | RESULT_NUMERIC | RESULT_UNIT | RESULT_TYPE_CODE | X_COORD | Y_COORD | Z_COORD_AVG | ZFROM | ZTO | LONGITUDE | LATITUDE | REMARK | LOC_MAJOR_BASIN | dt_field_sample_field_sdg | METHOD_ANALYTE_GROUP | MAG_REPORT_ORDER | DETECTED | DETECTED_FLAG
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | CYANIDE_FREE | 2020-06-15 20:06 | NA | N | I |  |  |  | C0E3719 |  | 1 | 26616379 | CN_WAD | Cyanide (WAD) | N | < 0.0010 | 0.001 | mg/L | 0.001 | 0.001 | 0.001 |  | Yes | N |  |  |  |  | 0.001 | 0.001 | mg/L |  |  |  | mg/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC03-Major Ions | 38
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 10:55 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616380 | 63705-05-5 | Sulphur | N | < 3.0 | 3 | mg/L | 3 | 3 | 3 |  | Yes | N |  |  |  |  | 3 | 3 | mg/L |  |  |  | mg/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 39
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 10:55 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616380 | 7439-95-4 | Magnesium | N | 2.01 | 2.01 | mg/L | 0.05 | 0.05 | 0.05 |  | Yes | Y |  |  |  |  | 0.05 | 0.05 | mg/L |  | 2.01 | 2.01 | mg/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC03-Major Ions | 28 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 10:55 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616380 | 2023695 | Potassium | N | 1.45 | 1.45 | mg/L | 0.05 | 0.05 | 0.05 |  | Yes | Y |  |  |  |  | 0.05 | 0.05 | mg/L |  | 1.45 | 1.45 | mg/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC03-Major Ions | 29 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 10:55 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616380 | 7440-23-5 | Sodium | N | 7.89 | 7.89 | mg/L | 0.05 | 0.05 | 0.05 |  | Yes | Y |  |  |  |  | 0.05 | 0.05 | mg/L |  | 7.89 | 7.89 | mg/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC03-Major Ions | 30 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 10:55 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616380 | 7440-70-2 | Calcium | N | 11.5 | 11.5 | mg/L | 0.05 | 0.05 | 0.05 |  | Yes | Y |  |  |  |  | 0.05 | 0.05 | mg/L |  | 11.5 | 11.5 | mg/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC03-Major Ions | 19 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7429-90-5 | Aluminum | N | < 0.0030 | 0.003 | mg/L | 0.003 | 0.003 | 0.003 |  | Yes | N |  |  |  |  | 3 | 3 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 1
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7439-89-6 | Iron | N | < 0.01 | 0.01 | mg/L | 0.01 | 0.01 | 0.01 |  | Yes | N |  |  |  |  | 10 | 10 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 24
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7439-92-1 | Lead | N | < 0.00020 | 0.0002 | mg/L | 0.0002 | 0.0002 | 0.0002 |  | Yes | N |  |  |  |  | 0.2 | 0.2 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 26
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7439-93-2 | Lithium | N | < 0.0020 | 0.002 | mg/L | 0.002 | 0.002 | 0.002 |  | Yes | N |  |  |  |  | 2 | 2 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 27
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7439-96-5 | Manganese | N | 0.0013 | 0.0013 | mg/L | 0.001 | 0.001 | 0.001 |  | Yes | Y |  |  |  |  | 1 | 1 | ug/L |  | 1.3 | 1.3 | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 31 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7439-98-7 | Molybdenum | N | < 0.0010 | 0.001 | mg/L | 0.001 | 0.001 | 0.001 |  | Yes | N |  |  |  |  | 1 | 1 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 36
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7440-02-0 | Nickel | N | < 0.0010 | 0.001 | mg/L | 0.001 | 0.001 | 0.001 |  | Yes | N |  |  |  |  | 1 | 1 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 37
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7440-21-3 | Silicon | N | 0.307 | 0.307 | mg/L | 0.1 | 0.1 | 0.1 |  | Yes | Y |  |  |  |  | 100 | 100 | ug/L |  | 307 | 307 | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 43 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7440-22-4 | Silver | N | < 0.000020 | 2e-05 | mg/L | 2e-05 | 2e-05 | 2e-05 |  | Yes | N |  |  |  |  | 0.02 | 0.02 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 44
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7440-24-6 | Strontium | N | 0.0676 | 0.0676 | mg/L | 0.001 | 0.001 | 0.001 |  | Yes | Y |  |  |  |  | 1 | 1 | ug/L |  | 67.6 | 67.6 | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 46 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7440-28-0 | Thallium | N | < 0.000010 | 1e-05 | mg/L | 1e-05 | 1e-05 | 1e-05 |  | Yes | N |  |  |  |  | 0.01 | 0.01 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 50
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7440-31-5 | Tin | N | < 0.0050 | 0.005 | mg/L | 0.005 | 0.005 | 0.005 |  | Yes | N |  |  |  |  | 5 | 5 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 52
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7440-32-6 | Titanium | N | < 0.0050 | 0.005 | mg/L | 0.005 | 0.005 | 0.005 |  | Yes | N |  |  |  |  | 5 | 5 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 53
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7440-36-0 | Antimony | N | < 0.00050 | 0.0005 | mg/L | 0.0005 | 0.0005 | 0.0005 |  | Yes | N |  |  |  |  | 0.5 | 0.5 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 2
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7440-38-2 | Arsenic | N | 0.00047 | 0.00047 | mg/L | 0.0001 | 0.0001 | 0.0001 |  | Yes | Y |  |  |  |  | 0.1 | 0.1 | ug/L |  | 0.47 | 0.47 | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 3 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7440-39-3 | Barium | N | 0.0121 | 0.0121 | mg/L | 0.001 | 0.001 | 0.001 |  | Yes | Y |  |  |  |  | 1 | 1 | ug/L |  | 12.1 | 12.1 | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 4 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7440-41-7 | Beryllium | N | < 0.00010 | 0.0001 | mg/L | 0.0001 | 0.0001 | 0.0001 |  | Yes | N |  |  |  |  | 0.1 | 0.1 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 5
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7440-42-8 | Boron | N | < 0.05 | 0.05 | mg/L | 0.05 | 0.05 | 0.05 |  | Yes | N |  |  |  |  | 50 | 50 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 7
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7440-43-9 | Cadmium | N | < 0.000010 | 1e-05 | mg/L | 1e-05 | 1e-05 | 1e-05 |  | Yes | N |  |  |  |  | 0.01 | 0.01 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 8
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7440-47-3 | Chromium | N | < 0.0010 | 0.001 | mg/L | 0.001 | 0.001 | 0.001 |  | Yes | N |  |  |  |  | 1 | 1 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 16
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7440-48-4 | Cobalt | N | < 0.00020 | 0.0002 | mg/L | 0.0002 | 0.0002 | 0.0002 |  | Yes | N |  |  |  |  | 0.2 | 0.2 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 21
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7440-50-8 | Copper | N | 0.00108 | 0.00108 | mg/L | 0.0005 | 0.0005 | 0.0005 |  | Yes | Y |  |  |  |  | 0.5 | 0.5 | ug/L |  | 1.08 | 1.08 | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 22 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7440-61-1 | Uranium | N | < 0.00010 | 0.0001 | mg/L | 0.0001 | 0.0001 | 0.0001 |  | Yes | N |  |  |  |  | 0.1 | 0.1 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 55
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7440-62-2 | Vanadium | N | < 0.0050 | 0.005 | mg/L | 0.005 | 0.005 | 0.005 |  | Yes | N |  |  |  |  | 5 | 5 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 56
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7440-66-6 | Zinc | N | < 0.0050 | 0.005 | mg/L | 0.005 | 0.005 | 0.005 |  | Yes | N |  |  |  |  | 5 | 5 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 58
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7440-67-7 | Zirconium | N | < 0.00010 | 0.0001 | mg/L | 0.0001 | 0.0001 | 0.0001 |  | Yes | N |  |  |  |  | 0.1 | 0.1 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 59
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7440-69-9 | Bismuth | N | < 0.0010 | 0.001 | mg/L | 0.001 | 0.001 | 0.001 |  | Yes | N |  |  |  |  | 1 | 1 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 6
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 14:57 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616381 | 7782-49-2 | Selenium | N | < 0.00010 | 0.0001 | mg/L | 0.0001 | 0.0001 | 0.0001 |  | Yes | N |  |  |  |  | 0.1 | 0.1 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 42
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7429-90-5 | Aluminum | N | < 0.0030 | 0.003 | mg/L | 0.003 | 0.003 | 0.003 |  | Yes | N |  |  |  |  | 3 | 3 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 1
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7439-89-6 | Iron | N | 0.0062 | 0.0062 | mg/L | 0.005 | 0.005 | 0.005 |  | Yes | Y |  |  |  |  | 5 | 5 | ug/L |  | 6.2 | 6.2 | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 18 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7439-92-1 | Lead | N | < 0.00020 | 0.0002 | mg/L | 0.0002 | 0.0002 | 0.0002 |  | Yes | N |  |  |  |  | 0.2 | 0.2 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 21
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7439-93-2 | Lithium | N | < 0.0020 | 0.002 | mg/L | 0.002 | 0.002 | 0.002 |  | Yes | N |  |  |  |  | 2 | 2 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 23
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7439-96-5 | Manganese | N | < 0.0010 | 0.001 | mg/L | 0.001 | 0.001 | 0.001 |  | Yes | N |  |  |  |  | 1 | 1 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 24
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7439-98-7 | Molybdenum | N | < 0.0010 | 0.001 | mg/L | 0.001 | 0.001 | 0.001 |  | Yes | N |  |  |  |  | 1 | 1 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 28
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7440-02-0 | Nickel | N | < 0.0010 | 0.001 | mg/L | 0.001 | 0.001 | 0.001 |  | Yes | N |  |  |  |  | 1 | 1 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 29
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7440-21-3 | Silicon | N | 0.283 | 0.283 | mg/L | 0.1 | 0.1 | 0.1 |  | Yes | Y |  |  |  |  | 100 | 100 | ug/L |  | 283 | 283 | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 36 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7440-22-4 | Silver | N | < 0.000020 | 2e-05 | mg/L | 2e-05 | 2e-05 | 2e-05 |  | Yes | N |  |  |  |  | 0.02 | 0.02 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 37
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7440-24-6 | Strontium | N | 0.0619 | 0.0619 | mg/L | 0.001 | 0.001 | 0.001 |  | Yes | Y |  |  |  |  | 1 | 1 | ug/L |  | 61.9 | 61.9 | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 38 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7440-28-0 | Thallium | N | < 0.000010 | 1e-05 | mg/L | 1e-05 | 1e-05 | 1e-05 |  | Yes | N |  |  |  |  | 0.01 | 0.01 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 42
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7440-31-5 | Tin | N | < 0.0050 | 0.005 | mg/L | 0.005 | 0.005 | 0.005 |  | Yes | N |  |  |  |  | 5 | 5 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 44
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7440-32-6 | Titanium | N | < 0.0050 | 0.005 | mg/L | 0.005 | 0.005 | 0.005 |  | Yes | N |  |  |  |  | 5 | 5 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 45
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7440-36-0 | Antimony | N | < 0.00050 | 0.0005 | mg/L | 0.0005 | 0.0005 | 0.0005 |  | Yes | N |  |  |  |  | 0.5 | 0.5 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 2
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7440-38-2 | Arsenic | N | 0.00046 | 0.00046 | mg/L | 0.0001 | 0.0001 | 0.0001 |  | Yes | Y |  |  |  |  | 0.1 | 0.1 | ug/L |  | 0.46 | 0.46 | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 3 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7440-39-3 | Barium | N | 0.012 | 0.012 | mg/L | 0.001 | 0.001 | 0.001 |  | Yes | Y |  |  |  |  | 1 | 1 | ug/L |  | 12 | 12 | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 4 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7440-41-7 | Beryllium | N | < 0.00010 | 0.0001 | mg/L | 0.0001 | 0.0001 | 0.0001 |  | Yes | N |  |  |  |  | 0.1 | 0.1 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 5
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7440-42-8 | Boron | N | < 0.05 | 0.05 | mg/L | 0.05 | 0.05 | 0.05 |  | Yes | N |  |  |  |  | 50 | 50 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 7
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7440-43-9 | Cadmium | N | < 0.000010 | 1e-05 | mg/L | 1e-05 | 1e-05 | 1e-05 |  | Yes | N |  |  |  |  | 0.01 | 0.01 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 8
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7440-47-3 | Chromium | N | < 0.0010 | 0.001 | mg/L | 0.001 | 0.001 | 0.001 |  | Yes | N |  |  |  |  | 1 | 1 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 12
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7440-48-4 | Cobalt | N | < 0.00020 | 0.0002 | mg/L | 0.0002 | 0.0002 | 0.0002 |  | Yes | N |  |  |  |  | 0.2 | 0.2 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 15
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7440-50-8 | Copper | N | 0.0011 | 0.0011 | mg/L | 0.0002 | 0.0002 | 0.0002 |  | Yes | Y |  |  |  |  | 0.2 | 0.2 | ug/L |  | 1.1 | 1.1 | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 16 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7440-61-1 | Uranium | N | < 0.00010 | 0.0001 | mg/L | 0.0001 | 0.0001 | 0.0001 |  | Yes | N |  |  |  |  | 0.1 | 0.1 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 47
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7440-62-2 | Vanadium | N | < 0.0050 | 0.005 | mg/L | 0.005 | 0.005 | 0.005 |  | Yes | N |  |  |  |  | 5 | 5 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 48
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7440-66-6 | Zinc | N | < 0.0050 | 0.005 | mg/L | 0.005 | 0.005 | 0.005 |  | Yes | N |  |  |  |  | 5 | 5 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 50
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7440-67-7 | Zirconium | N | < 0.00010 | 0.0001 | mg/L | 0.0001 | 0.0001 | 0.0001 |  | Yes | N |  |  |  |  | 0.1 | 0.1 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 51
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7440-69-9 | Bismuth | N | < 0.0010 | 0.001 | mg/L | 0.001 | 0.001 | 0.001 |  | Yes | N |  |  |  |  | 1 | 1 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 6
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-16 04:43 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616382 | 7782-49-2 | Selenium | N | < 0.00010 | 0.0001 | mg/L | 0.0001 | 0.0001 | 0.0001 |  | Yes | N |  |  |  |  | 0.1 | 0.1 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 35
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-17 10:55 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616383 | 63705-05-5 | Sulphur | N | < 3 | 3 | mg/L | 3 | 3 | 3 |  | Yes | N |  |  |  |  | 3000 | 3000 | ug/L |  |  |  | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 47
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-17 10:55 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616383 | 7439-95-4 | Magnesium | N | 2 | 2 | mg/L | 0.05 | 0.05 | 0.05 |  | Yes | Y |  |  |  |  | 50 | 50 | ug/L |  | 2000 | 2000 | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 28 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-17 10:55 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616383 | 2023695 | Potassium | N | 1.4 | 1.4 | mg/L | 0.05 | 0.05 | 0.05 |  | Yes | Y |  |  |  |  | 50 | 50 | ug/L |  | 1400 | 1400 | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 39 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-17 10:55 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616383 | 7440-23-5 | Sodium | N | 7.53 | 7.53 | mg/L | 0.05 | 0.05 | 0.05 |  | Yes | Y |  |  |  |  | 50 | 50 | ug/L |  | 7530 | 7530 | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 45 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E200.8 | 2020-06-17 10:55 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616383 | 7440-70-2 | Calcium | N | 11.6 | 11.6 | mg/L | 0.05 | 0.05 | 0.05 |  | Yes | Y |  |  |  |  | 50 | 50 | ug/L |  | 11600 | 11600 | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 9 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E335.3 | 2020-06-15 20:16 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616384 | 57-12-5 | Cyanide | N | < 0.0050 | 0.005 | mg/L | 0.005 | 0.005 | 0.005 |  | Yes | N |  |  |  |  | 0.005 | 0.005 | mg/L |  |  |  | mg/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC03-Major Ions | 24
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E375.4 | 2020-06-15 08:16 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616385 | 14808-79-8 | Sulphate | N | 7.5 | 7.5 | mg/L | 1 | 1 | 1 |  | Yes | Y |  |  |  |  | 1 | 1 | mg/L |  | 7.5 | 7.5 | mg/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC03-Major Ions | 31 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | E415.1 | 2020-06-13 02:56 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616386 | TOC | Total organic carbon | N | 4.4 | 4.4 | mg/L | 0.4 | 0.4 | 0.4 |  | Yes | Y |  |  |  |  | 0.4 | 0.4 | mg/L |  | 4.4 | 4.4 | mg/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC02-Conventional Parameters | 30 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | MAXX_ALKCAL-W | 2020-06-15 17:28 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616387 | ALKB | Bicarbonate, as CaCO3 | N | 27 | 27 | mg/L | 1 | 1 | 1 |  | Yes | Y |  |  |  |  | 1 | 1 | mg/L |  | 27 | 27 | mg/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC03-Major Ions | 7 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | MAXX_ALKCAL-W | 2020-06-15 17:28 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616387 | ALKC | Carbonate, as CaCO3 | N | < 1.0 | 1 | mg/L | 1 | 1 | 1 |  | Yes | N |  |  |  |  | 1 | 1 | mg/L |  |  |  | mg/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC03-Major Ions | 21
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | SM2130B | 2020-06-12 14:10 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616388 | TURB | Turbidity | N | 0.2 | 0.2 | NTU | 0.1 | 0.1 | 0.1 |  | Yes | Y |  |  |  |  | 0.1 | 0.1 | NTU |  | 0.2 | 0.2 | NTU | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC02-Conventional Parameters | 37 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | SM2320 | 2020-06-12 22:11 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616389 | ALK | Total alkalinity, as CaCO3 | N | 28 | 28 | mg/L | 1 | 1 | 1 |  | Yes | Y |  |  |  |  | 1 | 1 | mg/L |  | 28 | 28 | mg/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC02-Conventional Parameters | 18 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | SM2340B | 2020-06-16 10:55 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616390 | HARDCA | Hardness, as CaCO3 (D) | N | 37 | 37 | mg/L | 0.5 | 0.5 | 0.5 |  | Yes | Y |  |  |  |  | 0.5 | 0.5 | mg/L |  | 37 | 37 | mg/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC02-Conventional Parameters | 11 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | SM2340B | 2020-06-17 10:55 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616391 | HARDCA | Hardness, as CaCO3 (T) | N | 37.2 | 37.2 | mg/L | 0.5 | 0.5 | 0.5 |  | Yes | Y |  |  |  |  | 500 | 500 | ug/L |  | 37200 | 37200 | ug/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC02-Conventional Parameters | 12 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | SM2510 | 2020-06-12 22:11 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616392 | EL_COND | Specific conductivity | N | 130 | 130 | umhos/cm | 1 | 1 | 1 |  | Yes | Y |  |  |  |  | 1 | 1 | umhos/cm |  | 130 | 130 | umhos/cm | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC02-Conventional Parameters | 10 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | SM2540C | 2020-06-16 09:36 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616393 | TDS | Total dissolved solids | N | 50 | 50 | mg/L | 10 | 10 | 10 |  | Yes | Y |  |  |  |  | 10 | 10 | mg/L |  | 50 | 50 | mg/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC02-Conventional Parameters | 21 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | SM2540D | 2020-06-15 11:11 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616394 | TSS | Total suspended solids | N | 2 | 2 | mg/L | 1 | 1 | 1 |  | Yes | Y |  |  |  |  | 1 | 1 | mg/L |  | 2 | 2 | mg/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC02-Conventional Parameters | 25 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | SM4500-Cl- | 2020-06-15 11:49 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616395 | 16887-00-6 | Chloride | N | 18 | 18 | mg/L | 1 | 1 | 1 |  | Yes | Y |  |  |  |  | 1 | 1 | mg/L |  | 18 | 18 | mg/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC03-Major Ions | 23 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | SM4500-H+ | 2020-06-12 22:11 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616396 | pH | pH | N | 7.31 | 7.31 | pH units |  |  |  |  | Yes | Y | [6 empty] | pH units |  | 7.31 | 7.31 | pH units | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC02-Conventional Parameters | 1 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | SM4500-NO3-I | 2020-06-15 16:23 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616397 | 14797-55-8-N | Nitrate | N | < 0.10 | 0.1 | mg/L | 0.1 | 0.1 | 0.1 |  | Yes | N |  |  |  |  | 0.1 | 0.1 | mg/L |  |  |  | mg/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC04-Nutrients and Chlorophyll a | 1
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | SM4500-NO3-I | 2020-06-15 16:23 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616397 | 14797-65-0-N | Nitrite | N | < 0.010 | 0.01 | mg/L | 0.01 | 0.01 | 0.01 |  | Yes | N |  |  |  |  | 0.01 | 0.01 | mg/L |  |  |  | mg/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC04-Nutrients and Chlorophyll a | 3
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | SM4500-NO3-I | 2020-06-15 16:23 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616397 | NO3NO2N | Nitrate + nitrite | N | < 0.10 | 0.1 | mg/L | 0.1 | 0.1 | 0.1 |  | Yes | N |  |  |  |  | 0.1 | 0.1 | mg/L |  |  |  | mg/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC04-Nutrients and Chlorophyll a | 5
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | SM4500-PBF | 2020-06-15 20:10 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616398 | 7723-14-0 | Total phosphorus | N | < 0.020 | 0.02 | mg/L | 0.02 | 0.02 | 0.02 |  | Yes | N |  |  |  |  | 0.02 | 0.02 | mg/L |  |  |  | mg/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC04-Nutrients and Chlorophyll a | 26
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | SM5310B | 2020-06-13 05:22 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616399 | DOC | Dissolved organic carbon | N | 4.3 | 4.3 | mg/L | 0.4 | 0.4 | 0.4 |  | Yes | Y |  |  |  |  | 0.4 | 0.4 | mg/L |  | 4.3 | 4.3 | mg/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC02-Conventional Parameters | 33 |  | x
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | SW7470 | 2020-06-16 10:34 | NA | D | I |  |  |  | C0E3719 |  | 1 | 26616400 | 7439-97-6 | Mercury | N | < 0.00001 | 1e-05 | mg/L | 1e-05 | 1e-05 | 1e-05 |  | Yes | N |  |  |  |  | 1e-05 | 1e-05 | mg/L |  |  |  | mg/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC07-Dissolved Metals | 26
3825 | MEL | MEL-13-01 | MEL-13-01 | 26616278 | MEL-13-01-06/07/2020 | MEL-13-01 | 2020-06-07 17:19 | 07 Jun 2020 | 17:19 | N |  |  |  | WS |  |  |  | C0E3719 | LB | MVP882 | WS | Maxxam-Ottawa | SW7470 | 2020-06-17 14:15 | NA | T | I |  |  |  | C0E3719 |  | 1 | 26616401 | 7439-97-6 | Mercury | N | < 0.00001 | 1e-05 | mg/L | 1e-05 | 1e-05 | 1e-05 |  | Yes | N |  |  |  |  | 1e-05 | 1e-05 | mg/L |  |  |  | mg/L | TRG | [7 empty] | The Ammonia results were reported by analysing sample from TKN bottle. |  | C0E3719 | WQTC06-Total Metals | 34